## All Requirements
ADDENDUM 3-Appendix D Requirement Response Workbook- 040-18 GIS Electric Distribution Design Solution- Requirement Response Workbook (Enter Data in Yellow Cells Only)
Classification | Functional Area | Category | Req_# | Req_Name | Requirement Description | Meets Requirement Fully, Partially, Not | Base/Configuration (YES / NO) | Product Enhancement (YES/NO) | Customization (YES/NO) | In this Section Explain How this requirement is currently being met. If this requirement is not currently being met how does the Respondent plan to meet it.
Compatible Unit Estimating | Plating | CU Library | 1 | CU Creation
Compatible Unit Estimating | Plating | CU Library | 1.1 | CU Creation | The system shall read a Compatible Unit (CU) from asset management system.
Compatible Unit Estimating | Plating | CU Library | 1.2 | CU Creation | The system shall create a unique key identifier code for each CU.
Compatible Unit Estimating | Plating | CU Library | 1.3 | CU Creation | The system shall sync with Compatible Unit (CU) library from asset management system.
Compatible Unit Estimating | Plating | CU Estimating | 2 | Estimate Process
Compatible Unit Estimating | Plating | CU Estimating | 2.1 | Estimate Process | The system shall allow user to create a Construction Estimate (CE)
Compatible Unit Estimating | Plating | CU Estimating | 2.2 | Estimate Process | The system shall auto generate a number for each Construction Estimate
Compatible Unit Estimating | Plating | CU Estimating | 2.3 | Estimate Process | The system shall allow user to duplicate a CE
Compatible Unit Estimating | Plating | CU Estimating | 2.4 | Estimate Process | The system shall update a Changed By field each time a CE is edited
Compatible Unit Estimating | Plating | CU Estimating | 2.5 | Estimate Process | The system shall allow user to add and remove Attachments to a CE
Compatible Unit Estimating | Plating | CU Estimating | 2.6 | Estimate Process | The system shall allow user to input CE Type
Compatible Unit Estimating | Plating | CU Estimating | 2.7 | Estimate Process | The system shall allow user to input Construction Estimate Description
Compatible Unit Estimating | Plating | CU Estimating | 2.8 | Estimate Process | The system shall allow user to change Status
Compatible Unit Estimating | Plating | CU Estimating | 2.9 | Estimate Process | The system shall allow user to input Status Date
Compatible Unit Estimating | Plating | CU Estimating | 2.10 | Estimate Process | The system shall allow user to select Storeroom Information
Compatible Unit Estimating | Plating | CU Estimating | 2.11 | Estimate Process | The system shall allow user to input the costs of Applied Contributions
Compatible Unit Estimating | Plating | CU Estimating | 2.12 | Estimate Process | The CE report shall include 1) a summary sheet with costs for materials, transformers, crew time, extraordinary costs, fringe benefits, engineering costs, project equipment costs, material handling costs, construction inspection, total project cost, work order cost, billable equipment depreciation, customer billing estimate with and without transformer costs, and crew time estimate separated into columns for JEA crews and contractor crews. 2) A detail report of every station and all of the CU's in that station. 3) A summary list of material for the entire CE. 4) A "Conductor Report" showing the To and From Station for all Span Unit CU's in the CE. 5) A summary list of all the CU's for the entire CE. 6) A summary list of all CU's for the entire CE that do not have an associated Contract Labor cost.
Compatible Unit Estimating | Plating | CU Estimating | 2.13 | Estimate Process | The system shall allow a multiplying factor when creating "span to" lengths
Compatible Unit Estimating | Plating | CU Estimating | 2.14 | Estimate Process | The system shall allow editing of an estimate in any non asbuilt status.
Compatible Unit Estimating | Plating | CU Estimating | 2.15 | Estimate Process | The system shall allow for navigation between CU estimates
Compatible Unit Estimating | Plating | CU Estimating | 2.16 | Estimate Process | The system shall allow for navigation between estimate and attached WO.
Compatible Unit Estimating | Plating | CU Estimating | 2.17 | Estimate Process | The system shall allow reports to be sent electronically.
Compatible Unit Estimating | Plating | CU Estimating | 2.18 | Estimate Process | The system shall display a sortable and filterable list of all CUEs.
Compatible Unit Estimating | Plating | CU Estimating | 2.19 | Estimate Process | The system shall print and display reports in a coherent format.
Compatible Unit Estimating | Plating | CU Estimating | 2.20 | Estimate Process | The system shall be 'keyboard friendly' and/or 'mouse friendly' rather than requiring switching from one to the other.
Compatible Unit Estimating | Plating | CU Estimating | 2.21 | Estimate Process | The system shall read real time inventory data, including unit cost. (estimating)
Compatible Unit Estimating | Plating | CU Estimating | 2.22 | Estimate Process | The system shall allow users to specify different JEA labor and contractor labor for a CU depending on the work function (install, remove, relocate, remain).
Compatible Unit Estimating | Plating | CU Estimating | 2.23 | Estimate Process | The system shall allow users to specify different quantities (positive and negative) of storeroom items for a CU depending on the work function (install, remove, relocate, remain).
Compatible Unit Estimating | Plating | CU Estimating | 2.24 | Estimate Process | The system shall allow the library to be search or filtered by unique identifier code or commonly used name, as well as any fields under that code.
Compatible Unit Estimating | Plating | CU Estimating | 3 | Stations
Compatible Unit Estimating | Plating | CU Estimating | 3.1 | Stations | The system shall allow user to create a Station
Compatible Unit Estimating | Plating | CU Estimating | 3.2 | Stations | The system shall allow user to input Station #
Compatible Unit Estimating | Plating | CU Estimating | 3.3 | Stations | The system shall allow user to input Station Description
Compatible Unit Estimating | Plating | CU Estimating | 3.4 | Stations | The system shall allow station duplication for modification.
Compatible Unit Estimating | Plating | CU Estimating | 3.5 | Stations | The system shall allow CU duplication for modification.
Compatible Unit Estimating | Plating | CU Estimating | 3.6 | Stations | The system shall allow user to add multiple CU's to a single Station on the same screen that they created the Station
Compatible Unit Estimating | Plating | CU Estimating | 3.7 | Stations | The system shall allow user to remove CU's from a Station
Compatible Unit Estimating | Plating | CU Estimating | 3.8 | Stations | The system shall allow user to filter the Station screen so that they only see CU's in one station while they are entering new CU's on the Station
Compatible Unit Estimating | Plating | CU Estimating | 3.9 | Stations | The system shall allow station insertion and renumbering.
Compatible Unit Estimating | Plating | CU Estimating | 3.1 | Stations | The system shall leave plating in the order placed by user.
Compatible Unit Estimating | Plating | CU Estimating | 3.11 | Stations | The system shall allow user to input a quantity for each CU added to a Station
Compatible Unit Estimating | Plating | CU Estimating | 3.12 | Stations | The system shall allow user to input a Work Function (Install, Relocate, Remove, Remain) for each CU entered on a Station
Compatible Unit Estimating | Plating | CU Estimating | 3.13 | Stations | The system shall allow user to enter the same CU with different Work Functions on a single Station
Compatible Unit Estimating | Plating | CU Estimating | 3.14 | Stations | The system shall have a separate field for station address and station note and concatenate both fields in the report form
Compatible Unit Estimating | Plating | CU Estimating | 3.15 | Stations | The system shall allow user to enter a Vintage Year for each station
Compatible Unit Estimating | Plating | CU Estimating | 3.16 | Stations | Each Station shall have the ability to contain multiple conductor "span to" locations and also inputting conductor with no "span to" for jumpers.
Compatible Unit Estimating | Plating | CU Estimating | 4 | Versioning
Compatible Unit Estimating | Plating | CU Estimating | 4.1 | Versioning | The System shall allow user to create multiple Versions of a Construction Estimate
Compatible Unit Estimating | Plating | CU Estimating | 4.2 | Versioning | The system shall allow user to input Estimate Version Description
Compatible Unit Estimating | Plating | CU Estimating | 4.3 | Versioning | The system shall allow user to input Estimate Version Number
Compatible Unit Estimating | Plating | CU Estimating | 4.4 | Versioning | The system shall allow user to input the Version Status
Compatible Unit Estimating | Plating | CU Estimating | 4.5 | Versioning | The system shall allow user to input the Accounting Filters: Voltage FERC Function
Compatible Unit Estimating | Plating | CU Estimating | 4.6 | Versioning | The system shall allow user to duplicate a Version
Compatible Unit Estimating | Plating | CU Estimating | 4.7 | Versioning | The system shall allow user to add or remove Stations and CU's in each version
Compatible Unit Estimating | Plating | CU Estimating | 4.8 | Versioning | The system shall allow user to depict a different Contractor with associated labor costs for each Version
Compatible Unit Estimating | Plating | CU Estimating | 4.9 | Versioning | The system shall display the date a version was updated.
Compatible Unit Estimating | Plating | CU Estimating | 4.10 | Versioning | The system shall update a Changed By field each time a version is updated
Compatible Unit Estimating | Plating | CU Estimating | 4.11 | Versioning | The system shall allow the user to input the Operating Location in miles
Compatible Unit Estimating | Plating | Material Forecasting | 5 | Create Forecast
Compatible Unit Estimating | Plating | Material Forecasting | 5.1 | Create Forecast | The system shall allow users to create a Material Forecast from a Construction Estimate at any time while the CE is open
Compatible Unit Estimating | Plating | Material Forecasting | 5.2 | Create Forecast | The system shall allow users to create a Need Date for the Material Forecast
Compatible Unit Estimating | Plating | Material Forecasting | 5.3 | Create Forecast | The system shall create a Forecast Workorder with all the inventory materials from the CE when the Material Forecast is created
Compatible Unit Estimating | Plating | Material Forecasting | 6 | Update Forecast
Compatible Unit Estimating | Plating | Material Forecasting | 6.1 | Update Forecast | The system shall allow users to update Material Forecast at any time while the CE is open
Compatible Unit Estimating | Plating | Material Forecasting | 6.2 | Update Forecast | The updated Material Forecast will wipe the Forecast Work Order clean of all previous materials and add a new list of materials with need dates
Compatible Unit Estimating | Plating | Material Forecasting | 6.3 | Update Forecast | The system shall allow user to see details of the most recent Material Forecast from the Construction Estimate
Compatible Unit Estimating | Plating | Material Forecasting | 7 | Cancel Forecast
Compatible Unit Estimating | Plating | Material Forecasting | 7.1 | Cancel Forecast | The system shall allow user to cancel the Material Forecast at any time while the CE is open
Compatible Unit Estimating | Plating | Material Forecasting | 8 | Release Workorder
Compatible Unit Estimating | Plating | Material Forecasting | 8.1 | Release Workorder | The system shall allow user to release the most recent Forecast Work Order when the design phase is complete
Compatible Unit Estimating | Plating | Material Forecasting | 9 | Aggregate CE to Single Work Order
Compatible Unit Estimating | Plating | Material Forecasting | 9.1 | Aggregate CE to Single Work Order | The system shall transmit all materials from the CE to a single Work Order in Oracle eAM
Compatible Unit Estimating | Plating | Material Forecasting | 9.2 | Aggregate CE to Single Work Order | The system shall create one and only one line in the Work Order for each unique inventory material item
Graphic Design | Design | General Functionality | 10 | Manage Design
Graphic Design | Design | General Functionality | 10.1 | Manage Design | The system shall have file tracking
Graphic Design | Design | General Functionality | 10.2 | Manage Design | The system shall be able to open, and read in 2D & 3D
Graphic Design | Design | General Functionality | 10.3 | Manage Design | The system shall allow multiple views and windows of the same design
Graphic Design | Design | General Functionality | 10.4 | Manage Design | The system shall have the capability to insert Digital Signatures
Graphic Design | Design | General Functionality | 10.5 | Manage Design | The system shall allow the user to specify Geographic Coordinate Systems for the designs
Graphic Design | Design | General Functionality | 10.6 | Manage Design | The system shall allow keyboard shortcuts for navigation within design files
Graphic Design | Design | General Functionality | 10.7 | Manage Design | The system shall have Global Positioning System (GPS) capability
Graphic Design | Design | General Functionality | 10.8 | Manage Design | The system shall create intelligent geospatial objects
Graphic Design | Design | General Functionality | 10.9 | Manage Design | The system shall allow users to create a tool library
Graphic Design | Design | General Functionality | 10.10 | Manage Design | The system shall be able to undo every action and/or save.
Graphic Design | Design | Interoperability | 11 | Interoperability
Graphic Design | Design | Interoperability | 11.1 | Interoperability | The system shall maintain the properties of a CADD file when imported, manipulated, and exported back to the original CADD format
Graphic Design | Design | Interoperability | 11.2 | Interoperability | The system shall be able to attach, view, and edit Reference files of differing CADD formats including raster files.
Graphic Design | Design | Interoperability | 11.3 | Interoperability | System shall allow users to attach large image files (rasters) to a file exported to a standard CADD format such as dgn, dwg, dxf.
Graphic Design | Design | Interoperability | 11.4 | Interoperability | System shall import and export images files such as but not limited to .JPG, .TIF, .BMP and .PNG
Graphic Design | Design | interoperability | 11.7 | Interoperability | The system shall have the ability to open, edit, and save existing common cadd files in their native format (dgn, dwg, dxf)
Graphic Design | Design | interoperability | 11.8 | Interoperability | The system shall incorporate / import/ edit / export data in native Esri formats.
Graphic Design | Design | interoperability | 11.10 | Interoperability | the system shall view and import Web Feature Services (WFS) and web map services (WMS) data directly.
Graphic Design | Design | Versioning | 12 | Versioning
Graphic Design | Design | Versioning | 12.1 | Versioning | The system shall allow user to create copies of the same design
Graphic Design | Design | Versioning | 12.2 | Versioning | The system shall allow user to edit, delete and save copies of the same design
Graphic Design | Design | Redlines | 13 | Redlines
Graphic Design | Design | Redlines | 13.1 | Redlines | The system shall allow user to relate and exchange digital markups of designs with built-in tools
Graphic Design | Design | update | 14
Graphic Design | Design | Update | 14.1 | Update | The system shall update drawings automatically
Graphic Design | Design | Update | 14.2 | Update | The system shall update drawings after every action
Graphic Design | Design | Annotations | 15 | Annotations
Graphic Design | Design | Annotations | 15.1 | Annotations | The system shall update linked annotations dynamically
Graphic Design | Design | Annotations | 15.2 | Annotations | The system shall allow the user to create and edit all properties of annotations
Graphic Design | Design | Annotations | 15.3 | Annotations | the system shall edit annotation layers.
Graphic Design |  | Drafting | 16 | Drafting
Graphic Design | Design | Drafting | 16.1 | Drafting | The system shall have comprehensive drafting and detailing tools.
Graphic Design | Design | Symbology | 18 | Symbology
Graphic Design | Design | Symbology | 18.1 | Symbology | The system shall allow an administrator to create and edit a palette of commonly used drafting symbols to simplify and standardize the drafting process
Graphic Design | Design | Symbology | 18.3 | Symbology | The system shall provide the ability to save and reuse line styles, drawing symbols, text, etc.
Graphic Design | Design | Symbology | 18.5 | Symbology | The system shall allow user to manipulate the size and angle (rotate) of point symbols as well as area and periphery of polygon symbols.
Graphic Design | Design | Symbology | 18.6 | Symbology | The system shall allow administrator to assign multiple types of intelligent attribution to design symbols
Graphic Design | Design | Symbology | 18.7 | Symbology | The system shall allow administrator to add/remove/change intelligent attribution related to design symbols
Graphic Design | Design | Symbology | 18.10 | Symbology | The system shall be able to add a pre-existing palette of design symbols saved in a format that can be imported
Graphic Design | Design | Symbology | 18.11 | Symbology | System shall allow design symbols in libraries to be selectable for design space.
Graphic Design | Design | Symbology | 18.13 | Symbology | The system shall allow the user to create, edit, and remove pre-defined drafting symbols to be used by all designers
Graphic Design | Design | Symbology | 18.14 | Symbology | The system shall allow user to search for a pre defined drafting symbol by a commonly used name or code
Graphic Design | Design | Symbology | 18.15 | Symbology | System shall allow user to assign design symbols
Graphic Design | Design | Symbology | 18.16 | Symbology | The system shall allow user to see only the symbols applicable to the users specific needs
Graphic Design | Design | level/Layer | 19 | level/Layer
Graphic Design | Design | Level/Layer | 19.1 | Level/Layer | System shall save and maintain level/layer attribute information
Graphic Design | Design | Level/Layer | 19.2 | Level/Layer | System shall allow users to designate different levels/layers in design file
Graphic Design | Design | Raster Imagery | 20 | Raster/Imagery
Graphic Design | Design | Raster Imagery | 20.1 | Raster / Imagery | System shall allow users to manipulate and edit images (rasters) within a design
Graphic Design | Design | Raster Imagery | 20.2 | Raster / Imagery | System shall allow users to import and view large image files of any size
Graphic Design | Design | Snapping | 21 | Snapping
Graphic Design | Design | Snapping | 21.1 | Snapping | System shall have ability for intelligent and interactive snapping for all lines, polygons, point symbols
Graphic Design | Design | Snapping | 21.2 | Snapping | System shall allow users to turn on or off snappable handles
Graphic Design | Design | Plotting | 22 | Plotting
Graphic Design | Design | Plotting | 22.1 | Plotting | The system shall allow users to create, manage, and navigate plot sets
Graphic Design | Design | Plotting | 22.2 | Plotting | The system shall allow users to print the design in multiple sizes
Graphic Design | Design | Plotting | 22.3 | Plotting | The system shall control print settings using print styles.
Graphic Design | Design | Plotting | 22.5 | Plotting | The system shall allow users to print designs in color.
Graphic Design | Design | Plotting | 22.6 | Plotting | The system shall allow the user to create multiple batch print files
Graphic Design | Design | Plotting | 22.8 | Plotting | The system shall allow the user to scale the size of the final plot / print
GIS | General Functionality | All Existing GIS Functions / Features | 23 | Current GIS Functionality
GIS | General Functionality | All Existing GIS Functions / Features | 23.1 | Current GIS Functionality | Maintain all existing mapping/ analysis/editing functionality, including managing the electric geometric network, conduit network management, fiber network management, and modeling all other existing assets as is available in the present GIS solution. Ability to maintain data in a format that is compatible with all current GIS integrations with other existing systems including Customer Care, Phasing and Load Management, Distribution System Load, Enterprise Asset Management, and the electric distribution Outage Management System.
GIS | General Functionality | All Existing GIS Functions / Features | 23.2 | Current GIS Functionality | The system shall create design data information exportable into an Oracle SDE geodatabase as a pre-prepared version fully digitized and attributed as per the existing geodatabase schema.
GIS | General Functionality | All Existing GIS Functions / Features | 23.3 | Current GIS Functionality | Initiate all ArcFM functionality such as the ArcFM Feeder Manager, auto updaters, and field updaters upon as builting the construction job and inclusion into the electric distribution esri geometric network model.
IT Security | IT Security | IT Security | 24 | IT Security
IT Security | IT Security | IT Security | 24.1 | IT Security | The application or system shall provide the ability to authenticate the user to the application or system through Active Directory using LDAP
IT Security | IT Security | IT Security | 24.2 | IT Security | The application or system rights and responsibilities for users shall be managed through security groups in Active Directory
IT Security | IT Security | IT Security | 24.3 | IT Security | Changes to the Application or System Active Directory security groups shall be reflected in the Application using LDAP
IT Security | IT Security | IT Security | 24.4 | IT Security | All application or system security groups shall have a named data owner for approval of access to each security privilege
IT Security | IT Security | IT Security | 24.5 | IT Security | User access to the application or system shall terminate when the user accounts are disabled in Active Directory
IT Security | IT Security | IT Security | 24.6 | IT Security | Application or system new user accounts shall be created automatically through LDAP when the user accounts are created in Active Directory
IT Security | IT Security | IT Security | 24.7 | IT Security | Application or system data types shall be identified and classified by the business and approved by Information Security according to TS Information Protection Policy
IT Security | IT Security | IT Security | 24.8 | IT Security | Application or system shall provide the ability to encrypt confidential data in the database
IT Security | IT Security | IT Security | 24.9 | IT Security | Application or system access to public information in the application/system or by the application/system shall not require a password or centralized administration
IT Security | IT Security | IT Security | 24.10 | IT Security | Application or system access to company information shall require a network login and password
IT Security | IT Security | IT Security | 24.11 | IT Security | Application or system shall provide a centralized security administration
IT Security | IT Security | IT Security | 24.12 | IT Security | Application or system shall generate an electronic and printable report of security groups with all assigned users
IT Security | IT Security | IT Security | 24.13 | IT Security | Application or system shall generate an electronic and printable report of assigned users with their security groups
IT Security | IT Security | IT Security | 24.14 | IT Security | Applications or systems that have company use or above data shall enable logging for System Administrator Accounts and Security Administrator Accounts
IT Security | IT Security | IT Security | 24.15 | IT Security | Application or system project team shall provide a list of security groups with assigned rights during the Turnover phase before completion of the project.
IT Security | IT Security | IT Security | 24.16 | IT Security | Application or system project team shall provide a list of security groups with business owner signed approval for rights and membership during the Turnover phase before completion of the project
IT Security | IT Security | IT Security | 24.17 | IT Security | Application or system shall provide classification of data types in the application or system to be included in the SAD and provided to Information Security during requirements development
IT Security | IT Security | IT Security | 24.18 | IT Security | The application or system shall provide the ability to have passwords in configuration files
IT Security | IT Security | IT Security | 24.19 | IT Security | Application or system passwords shall not be hard coded in the Application or system
IT Security | IT Security | IT Security | 24.20 | IT Security | Multi Tier Web application
IT Security | IT Security | IT Security | 24.21 | IT Security | Web Application is 2-Tier (Presentation and Application are on the same server and database is on a separate server)
IT Security | IT Security | IT Security | 24.22 | IT Security | Web Application is 3-Tier (Presentation on own server, application on own server and databases are on their own server)
IT Security | IT Security | IT Security | 24.23 | IT Security | All external facing applications will be secured using a Trusted Certificate Authority
IT Security | IT Security | IT Security | 24.24 | IT Security | All external facing applications must be proxied through Corporate Reverse Proxy solution.
IT Security | IT Security | IT Security | 24.25 | IT Security | Must protect against SQL Injection, all inputs to DB queries validated and queries performed by parameters or stored procedure.
IT Security | IT Security | IT Security | 24.26 | IT Security | Runtime environment should not be susceptible to buffer overflows
IT Security | IT Security | IT Security | 24.27 | IT Security | The application must protect against Cross Site Scripting attacks
IT Security | IT Security | IT Security | 24.28 | IT Security | The application may not use persistent cookies
IT Security | IT Security | IT Security | 24.29 | IT Security | Log out users as soon as they leave the site
IT Security | IT Security | IT Security | 24.30 | IT Security | Application should not allow simultaneous log-ins
IT Security | IT Security | IT Security | 24.31 | IT Security | Database information should not be stored in global.asa
IT Security | IT Security | IT Security | 24.32 | IT Security | Cross site scripting prevented, all input fields validated.
IT Security | IT Security | IT Security | 24.33 | IT Security | SQL Injection prevention, all inputs to DB queries validated and queries performed by parameters or stored procedure.
IT Security | IT Security | IT Security | 24.34 | IT Security | Applications must use stored procedures to access databases
IT Security | IT Security | IT Security | 24.35 | IT Security | No caching of sensitive customer information
IT Security | IT Security | IT Security | 24.36 | IT Security | Applications should use input validation for data entry fields
IT Security | IT Security | IT Security | 24.37 | IT Security | Passwords must be encrypted in storage and in transmission
IT Security | IT Security | IT Security | 24.38 | IT Security | Passwords must not be hard-coded into operating programs, applications or stored in batch files
IT Security | IT Security | IT Security | 24.39 | IT Security | Passwords must not be embedded in any automated login process, stored in a macro or function key;
IT Security | IT Security | IT Security | 24.40 | IT Security | All authentication credentials for accessing services external to the application are encrypted and stored in a protected location (not in source code).
IT Security | IT Security | IT Security | 24.41 | IT Security | Require passwords to meet complexity rules. The password must contain at least three of the following four character sets:
IT Security | IT Security | IT Security | 24.42 | IT Security | Lowercase letters
IT Security | IT Security | IT Security | 24.43 | IT Security | Uppercase letters
IT Security | IT Security | IT Security | 24.44 | IT Security | Numbers
IT Security | IT Security | IT Security | 24.45 | IT Security | Special characters
IT Security | IT Security | IT Security | 24.46 | IT Security | Internal (Corporate) users must change their passwords at least once every 90 days
IT Security | IT Security | IT Security | 24.47 | IT Security | External customers must change their passwords at least once every 365 days.
IT Security | IT Security | IT Security | 24.48 | IT Security | Must implement some kind of brute-force protection on login page, e.g. CAPTCHA
IT Security | IT Security | IT Security | 24.49 | IT Security | Must have a secure policy for password recovery (e.g. not simply a "secret question")

## PickList (hidden)
YES
NO
Fully Met
Partially Met
Not Met