## Water Main
Addendum 2 Appendix B - Bid Workbook - Complete the Prices in Yellow Cells
063-20 Boulevard Street Force Main and Water Main Replacement
WATER MAIN REPLACEMENT
*Unless otherwise noted, this column refers to paragraphs /sections found in the latest edition of the JEA’s Water & Sewer Standards Manual. This document can be found on www.jea.com. **Reference found in this solicitation. ***Refer to 063-20 Appendix A - Technical Specifications.
Item | Spec | Est. | Unit | Description | Unit Price | Total Price
No. | Num. | Qty.
1 | 801.IV.4 | 1413 | CY | A-3 Soil Backfill | 0 | 0
2 | 801.IV.8 | 100 | CY | Flowable Fill | 0 | 0
3 | 801.VIII | 515 | SY | Sodding | 0 | 0 | 67
4 | 801.IX.1 | 2019 | SY | Removal of Paving | 0 | 0
5 | 801.IX.2 | 2019 | SY | Case III/IV Pavement Repair | 0 | 0
6 | 801.IX.6 | 3924 | SY | 1" Mill and Resurface Asphalt Pavement | 0 | 0
7 | 801.X.2 | 95 | SY | Remove Concrete Driveway | 0 | 0
8 | 801.X.5 | 95 | SY | Replace Concrete Driveway | 0 | 0
9 | 801.X.3 | 170 | LF | Remove Concrete Curb & Gutter | 0 | 0
10 | 801.X.6 | 170 | LF | Replace Concrete Curb & Gutter | 0 | 0
11 | 801.X.1 | 90 | SY | Remove Concrete Sidewalk | 0 | 0
12 | 801.X.4 | 90 | SY | Replace Concrete Sidewalk | 0 | 0
13 | 801.IX.7 | 2 | EA | Traffic Loops | 0 | 0
14 | 801.XIII.1 | 447 | LF | 12-inch CLDI class 350. Water Main | 0 | 0
15 | 801.XIII.2 | 4 | EA | 12-inch 45° Bend R.M.J. | 0 | 0
16 | 801.XIII.2 | 1 | EA | 12-inch 90° Bend R.M.J. | 0 | 0
17 | 801.XIII.2 | 1 | EA | 12-inch x 8-inch R.M.J. Reducer | 0 | 0
18 | 801.XIII.2 | 1 | EA | 12-inch x 12-inch x 6-inch R.M.J. Tee | 0 | 0
19 | 801.XIII.2 | 2 | EA | 12-inch x 12-inch x 8-inch R.M.J. Tee | 0 | 0
20 | 801.XIII.2 | 1 | EA | 12-inch R.M.J. Plug/Cap | 0 | 0
21 | 801.XIII.6 | 6 | EA | 12-inch Bell Restraints | 0 | 0
22 | 801.XIV.3 | 3 | EA | 12-inch Gate Valve CLDI class 350 R.M.J. | 0 | 0
23 | 801.III.2.3 | 428 | LF | 12-inch Abandonment of Piping by Grout Filling | 0 | 0
24 | 801.XIII.2 | 1 | EA | 10-inch x 8-inch R.M.J. Reducer | 0 | 0
25 | 801.XIII.2 | 4 | EA | 10-inch Restraints | 0 | 0
26 | 801.XIV.4 | 2 | EA | 10-inch Tapping Sleeve & Valve | 0 | 0
27 | 801.XIV.4 | 1 | EA | 10-inch x 8-inch Tapping Sleeve & Valve | 0 | 0
28 | 801.XIII.10 | 2 | EA | 10-inch Linestop Valve | 0 | 0
29 | 801.III.2.3 | 785 | LF | 10-inch Abandonment of Piping by Grout Filling | 0 | 0
30 | 801.XIII.1 | 1596 | LF | 8-inch CLDI class 350. Water Main | 0 | 0
31 | 801.XIII.2 | 1 | EA | 8-inch 11.25° Bend R.M.J. | 0 | 0
32 | 801.XIII.2 | 45 | EA | 8-inch 45° Bend R.M.J. | 0 | 0
33 | 801.XIII.2 | 5 | EA | 8-inch x 4-inch R.M.J. Tee | 0 | 0
34 | 801.XIII.2 | 6 | EA | 8-inch x 6-inch R.M.J. Tee | 0 | 0
35 | 801.XIII.2 | 10 | EA | 8-inch x 8-inch R.M.J. Tee | 0 | 0
36 | 801.XIII.2 | 17 | EA | 8-inch R.M.J. Plug/Cap | 0 | 0
37 | 801.XIII.6 | 57 | EA | 8-inch Bell Restraints | 0 | 0
38 | 801.XIV.3 | 18 | EA | 8-inch Gate R.M.J. Valve | 0 | 0
39 | 801.XIV.4 | 4 | EA | 8-inch Tapping Sleeve & Valve | 0 | 0
40 | 801.XIII.10 | 4 | EA | 8-inch Linestop Valve | 0 | 0
41 | 801.III.2.3 | 1010 | LF | 8-inch Abandonment of Piping by Grout Filling | 0 | 0
42 | 801.XIII.1 | 108 | LF | 6-inch CLDI class 350. Water Main | 0 | 0
43 | 801.XIII.2 | 4 | EA | 6-inch 45° Bend R.M.J. | 0 | 0
44 | 801.XIII.2 | 5 | EA | 6-inch 90° Bend R.M.J. | 0 | 0
45 | 801.XIII.2 | 4 | EA | 6-inch R.M.J. Plug/Cap | 0 | 0
46 | 801.XIII.6 | 10 | EA | 6-inch Bell Restraints | 0 | 0
47 | 801.XIV.1 | 5 | EA | Fire Hydrant (W-13) | 0 | 0
48 | 801.III.3 | 3 | EA | Existing Fire Hydrant Removal | 0 | 0
49 | 801.XIV.3 | 5 | EA | 6-inch Gate R.M.J. Valve | 0 | 0
50 | 801.XIV.4 | 2 | EA | 6-inch Tapping Sleeve & Valve | 0 | 0
51 | 801.XIII.10 | 2 | EA | 6-inch Linestop Valve | 0 | 0
52 | 801.III.2.3 | 57 | LF | 6-inch Abandonment of Piping by Grout Filling | 0 | 0
53 | 801.XIII.1 | 122 | LF | 4-inch CLDI class 350. Water Main | 0 | 0
54 | 801.XIII.2 | 10 | EA | 4-inch 45° Bend R.M.J. | 0 | 0
55 | 801.XIII.2 | 2 | EA | 4-inch 90° Bend R.M.J. | 0 | 0
56 | 801.XIII.2 | 1 | EA | 4-inch x 4-inch R.M.J Tee | 0 | 0
57 | 801.XIII.2 | 9 | EA | 4-inch R.M.J. Plug/Cap | 0 | 0
58 | 801.XIII.6 | 5 | EA | 4-inch Bell Restraints | 0 | 0
59 | 801.XIV.3 | 5 | EA | 4-inch Gate R.M.J. Valve | 0 | 0
60 | 801.XIV.4 | 4 | EA | 4-inch Tapping Sleeve & Valve | 0 | 0
61 | 801.XIII.10 | 4 | EA | 4-inch Linestop Valve | 0 | 0
62 | 801.XIII.2 | 2 | EA | 4-inch By 2-inch R.M.J. Reducer | 0 | 0
63 | 801.XIII.1 | 25 | LF | 2-inch Polyethylene | 0 | 0
64 | 801.XIII.2 | 2 | EA | 2-inch R.M.J. Plug/Cap | 0 | 0
65 | 801.XIII.12 | 15 | EA | 1-inch Temporary Sample Tap (W-25) | 0 | 0
66 | 801.XIII.9 | 6 | EA | 2-inch Short-Side Service | 0 | 0
67 | 801.XIII.9 | 2 | EA | 2-inch Long-Side Service | 0 | 0
68 | 801.XIII.7 | 7 | EA | Thrust Block | 0 | 0
69 | 2.13.37** | 1 | LS | Law Enforcement Allowance | 1000 | 1000
70 | 2.16.1** | 1 | LS | Testing Allowance | 6000 | 6000
71 | 2.17.5** | 1 | LS | JEA SWA | 120000 | 120000
|  |  |  | SUBTOTAL |  | 127000
1 LS |  |  |  | GENERAL/SPECIAL CONDITIONS (MAX. 10% OF SUBTOTAL) |  | 0
TOTAL Bid Price (Subtotal plus General Conditions & Special Conditions, inclusive transfer total to Page 1 Appendix B - Bid Form) | [5 empty] | 127000
*** JEA Water and Wastewater Standards or Technical Specifications Reference

## Force Main 7th-12th
Addendum 2 Appendix B - Bid Workbook - Complete the Prices in Yellow Cells
063-20 Boulevard Street Force Main and Water Main Replacement
FORCE MAIN REPLACEMENT 7TH TO 12TH ST
*Unless otherwise noted, this column refers to paragraphs /sections found in the latest edition of the JEA’s Water & Sewer Standards Manual. This document can be found on www.jea.com. **Reference found in this solicitation. ***Refer to 063-20 Appendix A - Technical Specifications.
Item | Spec | Est. | Unit | Description | Unit Price | Total Price
No. | Num. | Qty.
1 | 801.IV.4 | 1314 | CY | A-3 Soil Backfill | 0 | 0
2 | 801.VIII | 604 | SY | Sodding | 0 | 0
3 | 801.IX.1 | 1578 | SY | Remove Asphalt Pavement | 0 | 0
4 | 801.IX.2 | 37 | SY | Case X Permanent Pavement Repair | 0 | 0
5 | 801.IX.2 | 1541 | SY | Case III/IV Permanent Pavement Repair | 0 | 0
6 | 801.IX.6 | 6567 | SY | 1" Mill and Resurface Asphalt Pavement | 0 | 0
7 | 801.X.1 | 6 | LF | Remove Concrete Sidewalk | 0 | 0
8 | 801.X.4 | 6 | LF | Replace Concrete Sidewalk | 0 | 0
9 | 801.X.3 | 1355 | LF | Remove Concrete Curb & Gutter | 0 | 0
10 | 801.X.6 | 1355 | LF | Replace Concrete Curb & Gutter | 0 | 0
11 | 801.XVII.1 | 2066 | LF | 16-inch PVC DR25 C900 M.J. Force Main (Push-on) | 0 | 0
12 | 801.XVII.1 | 10 | LF | 14-inch PVC DR25 C900 M.J. Force Main (Push-on) | 0 | 0
13 | 801.XVII.3 | 23 | EA | 16-inch 45° Bend R.M.J. | 0 | 0
14 | 801.XVII.3 | 3 | EA | 16-inch 22.5° Bend R.M.J. | 0 | 0
15 | 801.XVII.3 | 1 | EA | 16-inch x 14-inch Reducer RMJ | 0 | 0
16 | 801.XVIII.4 | 2 | EA | 2-inch Air Release Valve Assembly | 0 | 0
17 | 801.XVII.7 | 55 | EA | 16-inch Pipe Bell Restraints | 0 | 0
18 | 801.XV.4 | 1 | EA | Connection to Existing Manhole/Lift Station | 0 | 0
19 | 801XVIII.1 | 3 | EA | 16-inch Resilient Seat Gate R.M.J. Valve | 0 | 0
20 | 801XVIII.1 | 1 | EA | 14-inch Resilient Seat Gate R.M.J. Valve | 0 | 0
21 | 801.XVII.3 | 1 | EA | 14-inch DI RMJ Sleeve | 0 | 0
22 | 801.XVII.3 | 1 | EA | 14-inch R.M.J. Plug/Cap | 0 | 0
23 | 801.III.2.3 | 2025 | LF | Abandon 14-inch Pipe by Grout Filling | 0 | 0
24 | 801.III.2.3 | 70 | LF | Abandon 6-inch Pipe by Grout Filling | 0 | 0
25 | 801.III.2.2 | 2 | EA | Plug 2-inch ARV Line | 0 | 0
26 | 801.XV.2 | 1 | EA | ARV Vault Removal | 0 | 0
27 | 953*** | 1 | LS | SPECIAL CONDITION 03- CONNECT TO EXISTING FM AT 12TH | 0 | 0
28 | 801.XVII.2 | 1 | LS | Sewage Removal Allowance | 10000 | 10000
29 | 925*** | 1 | LS | CSI Geo Monitoring Allowance | 43000 | 43000
30 | 2.16.1** | 1 | LS | Testing Allowance | 5000 | 5000
31 | 2.17.5** | 1 | LS | JEA SWA | 100000 | 100000
|  |  |  | SUBTOTAL |  | 158000
1 LS |  |  |  | GENERAL/SPECIAL CONDITIONS (MAX. 10% OF SUBTOTAL) |  | 0
TOTAL Bid Price (Subtotal plus General Conditions & Special Conditions, inclusive transfer total to Page 1 Appendix B - Bid Form) | [5 empty] | 158000
*** JEA Water and Wastewater Standards or Technical Specifications Reference

## Force Main 12th-16th
Addendum 2 Appendix B - Bid Workbook - Complete the Prices in Yellow Cells
063-20 Boulevard Street Force Main and Water Main Replacement
FORCE MAIN REPLACEMENT 12TH TO 16TH ST
*Unless otherwise noted, this column refers to paragraphs /sections found in the latest edition of the JEA’s Water & Sewer Standards Manual. This document can be found on www.jea.com. **Reference found in this solicitation. ***Refer to 063-20 Appendix A - Technical Specifications.
Item | Spec | Est. | Unit | Description | Unit Price | Total Price
No. | Num. | Qty.
1 | 801.IV.4 | 280 | CY | A-3 Soil Backfill | 0 | 0
2 | 801.VIII | 259 | SY | Sodding | 0 | 0
3 | 801.IX.1 | 307 | SY | Remove Asphalt Pavement | 0 | 0
4 | 801.IX.2 | 307 | SY | Case III/IV Permanent Pavement Repair | 0 | 0
5 | 801.IX.6 | 3306 | SY | 1" Mill and Resurface Asphalt Pavement | 0 | 0
6 | 801.X.2 | 39.6667 | SY | Remove Concrete Driveway | 0 | 0
7 | 801.X.2 | 39.6667 | SY | Replace Concrete Driveway | 0 | 0
8 | 801.X.3 | 46.4444 | SY | Remove Concrete Sidewalk | 0 | 0
9 | 801.X.6 | 46.4444 | SY | Replace Concrete Sidewalk | 0 | 0
10 | 801.X.3 | 20 | LF | Remove Concrete Curb & Gutter | 0 | 0
11 | 801.X.6 | 20 | LF | Replace Concrete Curb & Gutter | 0 | 0
12 | 801.XVII.1 | 1413 | LF | 16-inch PVC DR25 C900 M.J. Force Main (Push-on) | 0 | 0
13 | 801.XVII.1 | 10 | LF | 14-inch PVC DR25 C900 M.J. Force Main (Push-on) | 0 | 0
14 | 801.XVII.3 | 10 | EA | 16-inch 45° Bend R.M.J. | 0 | 0
15 | 801.XVII.3 | 3 | EA | 16-inch 11.25° Bend R.M.J. | 0 | 0
16 | 801.XVII.3 | 1 | EA | 16-inch x 14-inch Reducer RMJ | 0 | 0
17 | 801.XVIII.4 | 2 | EA | 2-inch Air Release Valve Assembly | 0 | 0
18 | 801.XVII.7 | 27 | EA | 16-inch Pipe Bell Restraints | 0 | 0
19 | 801XVIII.1 | 1 | EA | 16-inch Resilient Seat Gate R.M.J. Valve | 0 | 0
20 | 801XVIII.1 | 1 | EA | 14-inch Resilient Seat Gate R.M.J. Valve | 0 | 0
21 | 801.XVII.3 | 1 | EA | 14-inch 45° Bend R.M.J. | 0 | 0
22 | 801.XVII.3 | 1 | EA | 14-inch Solid Sleeve | 0 | 0
23 | 801.XVII.3 | 1 | EA | 14-inch DI MJ Cap | 0 | 0
24 | 801.III.2.3 | 1438 | LF | Abandon 14-inch Pipe by Grout Filling | 0 | 0
25 | 951*** | 1 | LS | SPECIAL CONDITION 01-JACK AND BORE | 0 | 0
26 | 952*** | 1 | LS | SPECIAL CONDITION 02-CONNECT TO EXISTING FM AT 16TH | 0 | 0
27 | 925*** | 1 | LS | CSI Geo Monitoring Allowance | 17000 | 17000
28 | 926*** | 1 | LS | Frac Tank Allowance | 100000 | 100000
29 | 2.17.5** |  |  | JEA SWA | 50000 | 50000
|  |  |  | SUBTOTAL |  | 167000
1 LS |  |  |  | GENERAL/SPECIAL CONDITIONS (MAX. 10% OF SUBTOTAL) |  | 0
TOTAL Bid Price (Subtotal plus General Conditions & Special Conditions, inclusive transfer total to Page 1 Appendix B - Bid Form) | [5 empty] | 167000
*** JEA Water and Wastewater Standards or Technical Specifications Reference