## Sheet1
068-20 SCADA FIELD SERVICES - BID WORKBOOK
LABOR
# | LABOR CLASSIFICATION ** Note - If your company only uses one classification for descriptions below, the same rate will be used to populate the Rate for each line | FORECAST HOURS/ YEAR | ST RATE ($/HR) | OT RATE1 Up to 1.5 X Str. (for Reference) | Extended Total
1 | Lead Field Service Technician | 4000 | 0 | 0 | 0
2 | Field Service Technician | 4000 | 0 | 0 | 0
3 | Field Service Apprentice | 4000 | 0 | 0 | 0
FIXED PRICE SCOPES OF WORK
# | FIXED PRICE SCOPES OF WORK | FORECAST QUANTITY/ YEAR | LUMP SUM PRICE PER FIXED PRICE JOB SCOPE |  | Extended Total
4 | RADIO STUDY - ON A PER LOCATION BASIS IN ACCORDANCE WITH THE JEA STANDARDS | 24 | 0 |  | 0
5 | TROUBLE SHOOTING TELEMETRY & TESTING IN ACCORDANCE WITH THE JEA STANDARDS | 12 | 0 |  | 0
6 | RADIO TOWER INSTALLATION - SIZE 1 (MASTER - 100') ALUMINUM SELF SUPPORT WITH STAINLESS STEEL HARDWARE | 2 | 0 |  | 0
7 | RADIO MAST/ANTENNA INSTALLATION - SIZE 2 (STANDARD NON BUILDING- 20') | 20 | 0 |  | 0
8a | RADIO MAST/ANTENNA INSTALLATION - SIZE 2a (STANDARD BUILDING - 20') | 5 | 0 |  | 0
9b | RADIO MAST/ANTENNA INSTALLATION - SIZE 3 (HIGH GAIN NON BUILDING - 30') | 15 | 0 |  | 0
10c | RADIO MAST/ANTENNA INSTALLATION - SIZE 3a (HIGH GAIN BUILDING - 30') | 5 | 0 |  | 0
11 | FIBER TERMINATION WITHOUT FAN-OUT KIT (6 FIBER) | 20 | 0 |  | 0
11a | FIBER TERMINATION WITH FAN-OUT KIT (6 FIBER) | 20 | 0 |  | 0
MATERIALS
| LISTED MATERIALS |  | FORECAST QUANTITY/ YEAR | UNIT PRICE | Extended Total
12 | STANDARD GE MDS TRANSNET900 RTU KIT |  | 12 | 0 | 0
12a | STANDARD GE MDS SD09 SS RTU KIT |  | 12 | 0 | 0
13 | MANHOLE MONITORING ANTENNA KIT |  | 10 | 0 | 0
14 | SCALA TY-900 ANTENNA |  | 10 | 0 | 0
14a | HIGH GAIN FULLY WELDED YAGI ANTENNA 890-960 |  | 10 | 0 | 0
14b | PERMANENT MOUNT PHANTOM ANTENNA 890-960 |  | 10 | 0 | 0
14c | SMA RIGHT ANGLE PORTABLE ANTENNA 890-960 |  | 10 | 0 | 0
15 | RADIO, GE MDS TRANSNET900 |  | 12 | 0 | 0
16 | RADIO, GE MDS INET 900 |  | 2 | 0 | 0
17 | RADIO, GE MDS INET II |  | 2 | 0 | 0
18 | RADIO, GE MDS SD09 SS |  | 30 | 0 | 0
18a | RADIO, GE MDS SD09 ES |  | 2 | 0 | 0
19 | RADIO, GE MDS ORBIT UNLICENSED 900 WITH WIFI |  | 20 | 0 | 0
19a | RADIO, GE MDS ORBIT UNLICENSED 900 WITHOUT WIFI |  | 20 | 0 | 0
20 | RADIO, GE MDS DIN RAIL MOUNT |  | 50 | 0 | 0
21 | VOLTAGE REGULATOR 12V 3A |  | 30 | 0 | 0
22 | RADIO, 4RF APRISA SR+ HALF DUPLEX |  | 2 | 0 | 0
22a | RADIO, 4RF APRISA SR+ FULL DUPLEX |  | 2 | 0 | 0
22b | 4RF APRISA SR+ MIGRATION MASTER STATION |  | 1 | 0 | 0
23 | 10DB ATTENUATOR |  | 5 | 0 | 0
23a | 20DB ATTENUATOR |  | 5 | 0 | 0
24 | JUMPER 3FT SD RADIO TO POLYPHASER |  | 50 | 0 | 0
25 | CABLE 3FT SD RADIO DATA |  | 50 | 0 | 0
26 | CABLE 3FT SINAUT |  | 50 | 0 | 0
27 | CABLE LMR195DB |  | 150 | 0 | 0
27a | CABLE LMR400DB |  | 250 | 0 | 0
27b | CABLE LDF4 |  | 500 | 0 | 0
28 | CORNING FIBER 12F 012K8F-31130-29 |  | 500 | 0 | 0
28a | CORNING FIBER 6F 006K8F-31130-29 |  | 100 | 0 | 0
28b | CORNING FIBER 6F 370-947-FDDI-06 |  | 100 | 0 | 0
29 | FIBER ENCLOSURE WALL MOUNT 12F |  | 10 | 0 | 0
29a | FIBER ENCLOSURE WALL MOUNT 24/48 |  | 2 | 0 | 0
29b | FIBER ENCLOSURE WALL MOUNT 2P |  | 2 | 0 | 0
29c | FIBER ENCLOSURE WALL MOUNT 48CT |  | 2 | 0 | 0
30 | FIBER PANEL 12 PORT ST MM |  | 10 | 0 | 0
30a | FIBER PANEL 6 PORT ST |  | 10 | 0 | 0
31 | FIBER JUMPER 1 METER ST ST |  | 10 | 0 | 0
31a | FIBER JUMPER 2 METER ST ST |  | 10 | 0 | 0
31b | FIBER JUMPER 3 METER ST ST |  | 10 | 0 | 0
32 | FIBER FANOUT KIT 12F |  | 4 | 0 | 0
32a | FIBER FANOUT KIT 6F |  | 2 | 0 | 0
33 | FIBER CONNECTOR UNICAM SC |  | 20 | 0 | 0
33a | FIBER CONNECTOR UNICAM ST |  | 100 | 0 | 0
34 | MEDIA CONVERTER ST 10/100 BASE T |  | 4 | 0 | 0
34a | MEDIA CONVERTER SIGNAMAX 065-1195 |  | 4 | 0 | 0
35 | EXPLOSION PROOF SURGE ARRESTOR |  | 4 | 0 | 0
35a | N FEMALE TO N FEMALE SURGE ARRESTOR |  | 10 | 0 | 0
35b | NETWORK (ETHERNET) SURGE ARRESTOR |  | 4 | 0 | 0
| NON-LIST MATERIALS DESCRIPTION |  | PERCENT (not to exceed 10%) | Non-List Materials Estimate | Extended Total
36 | Materials Markup - not to exceed 10%. For materials purchased, the Company shall provide the original invoice (Company Cost) for the materials purchased by the company. With the mark up percentage applied, enter your final Price to JEA. |  | 0% | 10000 | 10000
SUBCONTRACT MARKUP
| DESCRIPTION |  | PERCENT (not to exceed 10%) | Subconcontract Estimate | Extended Total
37 | Subcontract Markup - not to exceed 10% - For specific work identified after contract execution, where JEA requires the Contractor to perform and the Contractor does not have the in-house capability to perform |  | 0% | 20000 | 20000
| Five Year Bid Total - Enter this value in Bid Form -> |  |  |  | 150000
Notes
1. Double Time (2X) Labor rates are not permitted. JEA will only pay up to 1.5X the straight time rate for Overtime hours.
2. All trades shall be local, no travel or per diem will paid to trades