## Bid UG Unit Prices
Section & Group | Appendix B - Bid Workbook 069-19 JEA Overhead and Underground Electrical Maintenance, Construction and Repair Services (UNDERGROUND)
Section A or B / Group | Bid Item | JEA Standard | JEA DESCRIPTION | Unit Price | UOM | Five Year Forecast | Extended Price
SEC A / GROUP I - BORE AND JACK (OUTSIDE DOWNTOWN) | 22602 | DIR-BORE*1 | DIRECTIONAL BORE 1" CONDUIT, LF | 0 | LF | 14361 | 0
| 22603 | DIR-BORE*2 | DIRECTIONAL BORE 2" CONDUIT, LF | 0 | LF | 108338 | 0
| 22604 | DIR-BORE*3 | DIRECTIONAL BORE 3" CONDUIT, LF | 0 | LF | 47001 | 0
| 22605 | DIR-BORE*4 | DIRECTIONAL BORE 4" CONDUIT, LF | 0 | LF | 18293 | 0
| 22625 | DIR-BORE*2-4 | DIRECTIONAL BORE 2-4" CONDUIT, LF | 0 | LF | 27901 | 0
| 22606 | DIR-BORE*6 | DIRECTIONAL BORE 6" CONDUIT, LF | 0 | LF | 8100 | 0
| 22626 | DIR-BORE*2-6 | DIRECTIONAL BORE 2-6" CONDUIT, LF | 0 | LF | 30150 | 0
SEC A / GROUP II - BACKFILL (DOWNTOWN) | 20102 | BKFL | BACKFILL, COMPACTED, CY | 0 | CY | 1 | 0
SEC A / GROUP II - BACKFILL (DOWNTOWN & OUTSIDE DOWNTOWN) | 20101 | BASE COURSE | BASE COURSE, CY | 0 | CY | 1 | 0
| 20103 | BKFL-COMP | SELECT BACKFILL, COMPACTED, CY | 0 | CY | 1 | 0
| 20105 | GROUT 1:10 | GROUT, 1:10, CY | 0 | CY | 1 | 0
| 20110 | FLOW | FLOWABLE FILL, CY | 0 | CY | 805 | 0
SEC A / GROUP III - TRENCH (DOWNTOWN) | 20201 | EXC12-2 | TRENCH, 12" X 2', LF | 0 | LF | 1 | 0
| 20202 | EXC12-2-1/2 | TRENCH, 12" X 2'-6", LF | 0 | LF | 1 | 0
| 20203 | EXC12-3 | TRENCH, 12" X 3', LF | 0 | LF | 1 | 0
| 20204 | EXC12-3-1/2 | TRENCH, 12" X 3'-6", LF | 0 | LF | 1 | 0
| 20205 | EXC12-4 | TRENCH, 12" X 4', LF | 0 | LF | 1 | 0
| 20301 | EXC24-2 | TRENCH, 24" X 2', LF | 0 | LF | 1 | 0
| 20302 | EXC24-2-1/2 | TRENCH, 24" X 2'-6", LF | 0 | LF | 1 | 0
| 20303 | EXC24-3 | TRENCH, 24" X 3', LF | 0 | LF | 1 | 0
| 20304 | EXC24-3-1/2 | TRENCH, 24" X 3'-6", LF | 0 | LF | 1 | 0
| 20305 | EXC24-4 | TRENCH, 24" X 4', LF | 0 | LF | 1 | 0
| 20306 | EXC24-5 | TRENCH, 24" X 5', LF | 0 | LF | 1 | 0
| 20401 | EXC30-2 | TRENCH, 30" X 2', LF | 0 | LF | 1 | 0
| 20402 | EXC30-2-1/2 | TRENCH, 30" X 2'-6", LF | 0 | LF | 1 | 0
| 20403 | EXC30-3 | TRENCH, 30" X 3', LF | 0 | LF | 1 | 0
| 20404 | EXC30-3-1/2 | TRENCH, 30" X 3'-6", LF | 0 | LF | 1 | 0
SEC A / GROUP III - TRENCH - CONTINUED (DOWNTOWN) | 20405 | EXC30-4 | TRENCH, 30" X 4', LF | 0 | LF | 1 | 0
| 20406 | EXC30-5 | TRENCH, 30" X 5', LF | 0 | LF | 1 | 0
| 20501 | EXC42-3 | TRENCH, 42" X 3', LF | 0 | LF | 1 | 0
| 20502 | EXC42-3-1/2 | TRENCH, 42" X 3'-6", LF | 0 | LF | 1 | 0
| 20503 | EXC42-4 | TRENCH, 42" X 4', LF | 0 | LF | 1 | 0
| 20504 | EXC42-5 | TRENCH, 42" X 5', LF | 0 | LF | 1 | 0
| 20505 | EXC42-6 | TRENCH, 42" X 6', LF | 0 | LF | 1 | 0
| 20506 | EXC42-7 | TRENCH, 42" X 7', LF | 0 | LF | 1 | 0
| 20507 | EXC42-8 | TRENCH, 42" X 8', LF | 0 | LF | 1 | 0
| 20508 | EXC42-9 | TRENCH, 42" X 9', LF | 0 | LF | 1 | 0
| 20509 | EXC42-10 | TRENCH, 42" X 10', LF | 0 | LF | 1 | 0
| 20510 | EXC42-11 | TRENCH, 42" X 11', LF | 0 | LF | 1 | 0
| 20511 | EXC42-12 | TRENCH, 42" X 12', LF | 0 | LF | 1 | 0
| 20512 | EXC42-13 | TRENCH, 42" X 13', LF | 0 | LF | 1 | 0
| 20513 | EXC42-14 | TRENCH, 42" X 14', LF | 0 | LF | 1 | 0
| 20601 | EXC48-3-1/2 | TRENCH, 48" X 3'-6", LF | 0 | LF | 1 | 0
| 20602 | EXC48-4 | TRENCH, 48" X 4', LF | 0 | LF | 1 | 0
| 20603 | EXC48-5 | TRENCH, 48" X 5', LF | 0 | LF | 1 | 0
| 20604 | EXC48-6 | TRENCH, 48" X 6', LF | 0 | LF | 1 | 0
| 20605 | EXC48-7 | TRENCH, 48" X 7', LF | 0 | LF | 1 | 0
| 20606 | EXC48-8 | TRENCH, 48" X 8', LF | 0 | LF | 1 | 0
| 20607 | EXC48-9 | TRENCH, 48" X 9', LF | 0 | LF | 1 | 0
| 20608 | EXC48-10 | TRENCH, 48" X 10', LF | 0 | LF | 1 | 0
| 20609 | EXC48-11 | TRENCH, 48" X 11', LF | 0 | LF | 1 | 0
| 20610 | EXC48-12 | TRENCH, 48" X 12', LF | 0 | LF | 1 | 0
| 20611 | EXC48-13 | TRENCH, 48" X 13', LF | 0 | LF | 1 | 0
| 20612 | EXC48-14 | TRENCH, 48" X 14', LF | 0 | LF | 1 | 0
| 20701 | EXC54-3-1/2 | TRENCH, 54" X 3'-6", LF | 0 | LF | 1 | 0
| 20702 | EXC54-4 | TRENCH, 54" X 4', LF | 0 | LF | 1 | 0
| 20703 | EXC54-5 | TRENCH, 54" X 5', LF | 0 | LF | 1 | 0
| 20704 | EXC54-6 | TRENCH, 54" X 6', LF | 0 | LF | 1 | 0
| 20705 | EXC54-7 | TRENCH, 54" X 7', LF | 0 | LF | 1 | 0
| 20706 | EXC54-8 | TRENCH, 54" X 8', LF | 0 | LF | 1 | 0
| 20707 | EXC54-9 | TRENCH, 54" X 9', LF | 0 | LF | 1 | 0
| 20708 | EXC54-10 | TRENCH, 54" X 10', LF | 0 | LF | 1 | 0
| 20709 | EXC54-11 | TRENCH, 54" X 11', LF | 0 | LF | 1 | 0
| 20710 | EXC54-12 | TRENCH, 54" X 12', LF | 0 | LF | 1 | 0
SEC A / GROUP III - TRENCH - CONTINUED (DOWNTOWN) | 20711 | EXC54-13 | TRENCH, 54" X 13', LF | 0 | LF | 1 | 0
| 20712 | EXC54-14 | TRENCH, 54" X 14', LF | 0 | LF | 1 | 0
| 20801 | EXC60-3-1/2 | TRENCH, 60" X 3'-6", LF | 0 | LF | 1 | 0
| 20802 | EXC60-4 | TRENCH, 60" X 4', LF | 0 | LF | 1 | 0
| 20803 | EXC60-5 | TRENCH, 60" X 5', LF | 0 | LF | 1 | 0
| 20804 | EXC60-6 | TRENCH, 60" X 6', LF | 0 | LF | 1 | 0
| 20805 | EXC60-7 | TRENCH, 60" X 7', LF | 0 | LF | 1 | 0
| 20806 | EXC60-8 | TRENCH, 60" X 8', LF | 0 | LF | 1 | 0
| 20807 | EXC60-9 | TRENCH, 60" X 9', LF | 0 | LF | 1 | 0
| 20808 | EXC60-10 | TRENCH, 60" X 10', LF | 0 | LF | 1 | 0
| 20809 | EXC60-11 | TRENCH, 60" X 11', LF | 0 | LF | 1 | 0
| 20810 | EXC60-12 | TRENCH, 60" X 12', LF | 0 | LF | 1 | 0
SEC A / GROUP III - TRENCH - CONTINUED (DOWNTOWN) | 20811 | EXC60-13 | TRENCH, 60" X 13', LF | 0 | LF | 1 | 0
| 20812 | EXC60-14 | TRENCH, 60" X 14', LF | 0 | LF | 1 | 0
| 20901 | EXC72-3-1/2 | TRENCH, 72" X 3'-6", LF | 0 | LF | 1 | 0
| 20902 | EXC72-4 | TRENCH, 72" X 4', LF | 0 | LF | 1 | 0
| 20903 | EXC72-5 | TRENCH, 72" X 5', LF | 0 | LF | 1 | 0
| 20904 | EXC72-6 | TRENCH, 72" X 6', LF | 0 | LF | 1 | 0
| 20905 | EXC72-7 | TRENCH, 72" X 7', LF | 0 | LF | 1 | 0
| 20906 | EXC72-8 | TRENCH, 72" X 8', LF | 0 | LF | 1 | 0
| 20907 | EXC72-9 | TRENCH, 72" X 9', LF | 0 | LF | 1 | 0
| 20908 | EXC72-10 | TRENCH, 72" X 10', LF | 0 | LF | 1 | 0
| 20909 | EXC72-11 | TRENCH, 72" X 11', LF | 0 | LF | 1 | 0
| 20910 | EXC72-12 | TRENCH, 72" X 12', LF | 0 | LF | 1 | 0
| 20911 | EXC72-13 | TRENCH, 72" X 13', LF | 0 | LF | 1 | 0
| 20912 | EXC72-14 | TRENCH, 72" X 14', LF | 0 | LF | 1 | 0
| 20613 | EXC48-5U | TRENCH, 48"WIDE X 5'DEEP,UNCOMPACTED, LF | 0 | LF | 1 | 0
| 20614 | EXC48-5C | TRENCH, 48"WIDE X 5'DEEP, COMPACTED, LF | 0 | LF | 1 | 0
| 20615 | EXC48-6U | TRENCH, 48"WIDE X 6'DEEP, UNCOMPACTED, LF | 0 | LF | 1 | 0
| 20616 | EXC48-6C | TRENCH, 48"WIDE X 6'DEEP, COMPACTED, LF | 0 | LF | 1 | 0
| 20617 | EXC48+1U | TRENCH, 48"WIDE, EA FOOT OF DEPTH BEYOND 6', UNCOMPACT, LF | 0 | LF | 1 | 0
| 20618 | EXC48+1C | TRENCH, 48"WIDE, EA FOOT OF DEPTH BEYOND 6',COMPACT, LF | 0 | LF | 1 | 0
SEC A / GROUP III - TRENCH (OUTSIDE DOWNTOWN) | 20619 | UCT12*U | TRENCH, 12" X 4'-0" DEEP, CLASS U, LF | 0 | LF | 10 | 0
| 20620 | UCT24*U | TRENCH, 24" X 4'-0" DEEP, CLASS U, LF | 0 | LF | 1477 | 0
| 20621 | UCT36*U | TRENCH, 36" X 4'-0" DEEP, CLASS U, LF | 0 | LF | 4650 | 0
| 20622 | UCT12*D | TRENCH, 12" X 4'-0" DEEP, CLASS D, LF | 0 | LF | 2118 | 0
| 20623 | UCT24*D | TRENCH, 24" X 4'-0" DEEP, CLASS D, LF | 0 | LF | 21238 | 0
SEC A / GROUP III - TRENCH - CONTINUED (OUTSIDE DOWNTOWN) | 20624 | UCT36*D | TRENCH, 36" X 4'-0" DEEP, CLASS D, LF | 0 | LF | 21893 | 0
| 20625 | UCTC24*D | TRENCH, 24" X 4'-0" DEEP, CLASS D, COMPACTED, LF | 0 | LF | 150 | 0
| 20626 | UCTC36*D | TRENCH, 36" X 4'-0" DEEP, CLASS D, COMPACTED, LF | 0 | LF | 622 | 0
| 20627 | UCT__*_+1 | EACH ADDITIONAL FT OF TRENCH BEYOND 4' DEPTH, LF | 0 | LF | 17485 | 0
SEC A / GROUP IV - EXCAVATION (DOWNTOWN) | 21001 | EXC4X6-9 | EXCAVATION, 8' X 10' X 9', EA | 0 | EA | 1 | 0
| 21002 | EXC4X6-10 | EXCAVATION, 8' X 10' X 10', EA | 0 | EA | 1 | 0
| 21003 | EXC4X6-11 | EXCAVATION, 8' X 10' X 11', EA | 0 | EA | 1 | 0
| 21004 | EXC4X6-12 | EXCAVATION, 8' X 10' X 12', EA | 0 | EA | 1 | 0
| 21005 | EXC4X6-13 | EXCAVATION, 8' X 10' X 13', EA | 0 | EA | 1 | 0
| 21006 | EXC4X6-14 | EXCAVATION, 8 'X 10 'X 14', EA | 0 | EA | 1 | 0
| 21021 | EXC6X9-9 | EXCAVATION, 10' X 13' X 9', EA | 0 | EA | 1 | 0
| 21022 | EXC6X9-10 | EXCAVATION, 10' X 13' X 10', EA | 0 | EA | 1 | 0
| 21023 | EXC6X9-11 | EXCAVATION, 10' X 13' X 11', EA | 0 | EA | 1 | 0
| 21024 | EXC6X9-12 | EXCAVATION, 10' X 13' X 12', EA | 0 | EA | 1 | 0
| 21025 | EXC6X9-13 | EXCAVATION, 10' X 13' X 13', EA | 0 | EA | 1 | 0
| 21026 | EXC6X9-14 | EXCAVATION, 10' X 13' X 14', EA | 0 | EA | 1 | 0
| 21101 | EXC6X12-9 | EXCAVATION, 10' X 16' X 9', EA | 0 | EA | 1 | 0
| 21102 | EXC6X12-10 | EXCAVATION, 10' X 16' X 10', EA | 0 | EA | 1 | 0
| 21103 | EXC6X12-11 | EXCAVATION, 10' X 16' X 11', EA | 0 | EA | 1 | 0
| 21104 | EXC6X12-12 | EXCAVATION, 10' X 16' X 12', EA | 0 | EA | 1 | 0
| 21105 | EXC6X12-13 | EXCAVATION, 10' X 16' X 13', EA | 0 | EA | 1 | 0
| 21106 | EXC6X12-14 | EXCAVATION, 10' X 16' X 14', EA | 0 | EA | 1 | 0
| 21107 | EXC6X12-15 | EXCAVATION, 10' X 16' X 15', EA | 0 | EA | 1 | 0
| 21201 | EXC8X12-9 | EXCAVATION, 12' X 16' X 9', EA | 0 | EA | 1 | 0
| 21202 | EXC8X12-10 | EXCAVATION, 12' X 16' X 10', EA | 0 | EA | 1 | 0
| 21203 | EXC8X12-11 | EXCAVATION, 12' X 16' X 11', EA | 0 | EA | 1 | 0
| 21204 | EXC8X12-12 | EXCAVATION, 12' X 16' X 12', EA | 0 | EA | 1 | 0
| 21205 | EXC8X12-13 | EXCAVATION, 12' X 16' X 13', EA | 0 | EA | 1 | 0
| 21206 | EXC8X12-14 | EXCAVATION, 12' X 16' X 14', EA | 0 | EA | 1 | 0
| 21207 | EXC8X12-15 | EXCAVATION, 12' X 16' X 15', EA | 0 | EA | 1 | 0
| 21301 | EXC8X16-12 | EXCAVATION, 12' X 20' X 12', EA | 0 | EA | 1 | 0
| 21302 | EXC8X16-13 | EXCAVATION, 12' X 20' X 13', EA | 0 | EA | 1 | 0
| 21303 | EXC8X16-14 | EXCAVATION, 12' X 20' X 14', EA | 0 | EA | 1 | 0
| 21304 | EXC8X16-15 | EXCAVATION, 12' X 20' X 15', EA | 0 | EA | 1 | 0
SEC A / GROUP V - MANHOLES (DOWNTOWN) | 21711 | MSET-4X6*9C | PRECAST MANHOLE, SET 4' X 6' X 6' MANHOLE 9' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21712 | MSET-4X6*9H | PRECAST MANHOLE, SET 4' X 6' X 6' MANHOLE 9' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 21721 | MSET-4X6*10C | PRECAST MANHOLE, SET 4' X 6' X 6' MANHOLE 10' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21722 | MSET-4X6*10H | PRECAST MANHOLE, SET 4' X 6' X 6' MANHOLE 10' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 21731 | MSET-4X6*11C | PRECAST MANHOLE, SET 4' X 6' X 6' MANHOLE 11' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21732 | MSET-4X6*11H | PRECAST MANHOLE, SET 4' X 6' X 6' MANHOLE 11' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 21741 | MSET-4X6*12C | PRECAST MANHOLE, SET 4' X 6' X 6' MANHOLE 12' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21742 | MSET-4X6*12H | PRECAST MANHOLE, SET 4' X 6' X 6' MANHOLE 12' DEEP, CLASS II, EA | 0 | EA | 1 | 0
SEC A / GROUP V - MANHOLES (DOWNTOWN) | 21751 | MSET-6X9*9C | PRECAST MANHOLE, SET 6' X 9' X 7' MANHOLE 9' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21752 | MSET-6X9*9H | PRECAST MANHOLE, SET 6' X 9' X 7' MANHOLE 9' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 21761 | MSET-6X9*10C | PRECAST MANHOLE, SET 6' X 9' X 7' MANHOLE 10' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21762 | MSET-6X9*10H | PRECAST MANHOLE, SET 6' X 9' X 7' MANHOLE 10' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 21771 | MSET-6X9*11C | PRECAST MANHOLE, SET 6' X 9' X 7' MANHOLE 11' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21772 | MSET-6X9*11H | PRECAST MANHOLE, SET 6' X 9' X 7' MANHOLE 11' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 21781 | MSET-6X9*12C | PRECAST MANHOLE, SET 6' X 9' X 7' MANHOLE 12' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21782 | MSET-6X9*12H | PRECAST MANHOLE, SET 6' X 9' X 7' MANHOLE 12' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 21811 | MSET-6X12*10C | PRECAST MANHOLE, SET 6' X 12' X 7' MANHOLE 10' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21812 | MSET-6X12*10H | PRECAST MANHOLE, SET 6' X 12' X 7' MANHOLE 10' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 21821 | MSET-6X12*11C | PRECAST MANHOLE, SET 6' X 12' X 7' MANHOLE 11' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21822 | MSET-6X12*11H | PRECAST MANHOLE, SET 6' X 12' X 7' MANHOLE 11' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 21831 | MSET-6X12*12C | PRECAST MANHOLE, SET 6' X 12' X 7' MANHOLE 12' DEEP, CLASS I, EA | 0 | EA | 1 | 0
SEC A / GROUP V - MANHOLES - CONTINUED (DOWNTOWN) | 21832 | MSET-6X12*12H | PRECAST MANHOLE, SET 6' X 12' X 7' MANHOLE 12' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 21841 | MSET-6X12*13C | PRECAST MANHOLE, SET 6' X 12' X 7' MANHOLE 13' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21842 | MSET-6X12*13H | PRECAST MANHOLE, SET 6' X 12' X 7' MANHOLE 13' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 21911 | MSET-6X12X10*13C | PRECAST MANHOLE, SET 6' X 12' X 10' MANHOLE 13' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21912 | MSET-6X12X10*13H | PRECAST MANHOLE, SET 6' X 12' X 10' MANHOLE 13' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 21921 | MSET-6X12X10*14C | PRECAST MANHOLE, SET 6' X 12' X 10' MANHOLE 14' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21922 | MSET-6X12X10*14H | PRECAST MANHOLE, SET 6' X 12' X 10' MANHOLE 14' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 21931 | MSET-6X12X10*15C | PRECAST MANHOLE, SET 6' X 12' X 10' MANHOLE 15' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21932 | MSET-6X12X10*15H | PRECAST MANHOLE, SET 6' X 12' X 10' MANHOLE 15' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 21941 | MSET-6X12X10*16C | PRECAST MANHOLE, SET 6' X 12' X 10' MANHOLE 16' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 21942 | MSET-6X12X10*16H | PRECAST MANHOLE, SET 6' X 12' X 10' MANHOLE 16' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 22011 | MSET-8X12*10C | PRECAST MANHOLE, SET 8' X 12' X 7' MANHOLE 10' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 22012 | MSET-8X12*10H | PRECAST MANHOLE, SET 8' X 12' X 7' MANHOLE 10' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 22021 | MSET-8X12*11C | PRECAST MANHOLE, SET 8' X 12' X 7' MANHOLE 11' DEEP, CLASS I, EA | 0 | EA | 1 | 0
| 22022 | MSET-8X12*11H | PRECAST MANHOLE, SET 8' X 12' X 7' MANHOLE 11' DEEP, CLASS II, EA | 0 | EA | 1 | 0
| 22031 | MSET-8X12*12C | PRECAST MANHOLE, SET 8' X 12' X 7' MANHOLE 12' DEEP,CLASS I, EA | 0 | EA | 1 | 0
| 22032 | MSET-8X12*12H | PRECAST MANHOLE, SET 8' X 12' X 7' MANHOLE 12' DEEP,CLASS II, EA | 0 | EA | 1 | 0
| 22041 | MSET-8X12*13C | PRECAST MANHOLE, SET 8' X 12' X 7' MANHOLE 13' DEEP,CLASS I, EA | 0 | EA | 1 | 0
| 22042 | MSET-8X12*13H | PRECAST MANHOLE, SET 8'X 12'X 7' MANHOLE 13' DEEPCLASS II, EA | 0 | EA | 1 | 0
| 22111 | MSET-8X16*10C | PRECAST MANHOLE, SET 8' X 16' X 7' MANHOLE 10' DEEP,CLASS I, EA | 0 | EA | 1 | 0
| 22112 | MSET-8X16*10H | PRECAST MANHOLE, SET 8' X 16' X 7' MANHOLE 10' DEEP,CLASS II, EA | 0 | EA | 1 | 0
| 22121 | MSET-8X16*11C | PRECAST MANHOLE, SET 8' X 16' X 7' MANHOLE 11' DEEP,CLASS I, EA | 0 | EA | 1 | 0
| 22122 | MSET-8X16*11H | PRECAST MANHOLE, SET 8' X 16' X 7' MANHOLE 11' DEEP,CLASS II, EA | 0 | EA | 1 | 0
| 22131 | MSET-8X16*12C | PRECAST MANHOLE, SET 8' X 16' X 7' MANHOLE 12' DEEP,CLASS I, EA | 0 | EA | 1 | 0
SEC A / GROUP V - MANHOLES - CONTINUED (DOWNTOWN) | 22132 | MSET-8X16*12H | PRECAST MANHOLE, SET 8' X 16' X 7' MANHOLE 12' DEEP,CLASS II, EA | 0 | EA | 1 | 0
| 22141 | MSET-8X16*13C | PRECAST MANHOLE, SET 8' X 16' X 7' MANHOLE 13' DEEP,CLASS I, EA | 0 | EA | 1 | 0
| 22142 | MSET-8X16*13H | PRECAST MANHOLE, SET 8' X 16' X 7' MANHOLE 13' DEEP,CLASS II, EA | 0 | EA | 1 | 0
| 22151 | MSET-8X16*14C | PRECAST MANHOLE, SET 8' X 16' X 7' MANHOLE 14' DEEP,CLASS I, EA | 0 | EA | 1 | 0
| 22152 | MSET-8X16*14H | PRECAST MANHOLE, SET 8' X 16' X 7' MANHOLE 14' DEEP,CLASS II, EA | 0 | EA | 1 | 0
| 23911 | MSET-PVC-MH*C | MANHOLE, PVC, CLASS I, INSTALL, EA | 0 | EA | 1 | 0
| 23912 | MSET-PVC-MH*H | MANHOLE, PVC, CLASS II, INSTALL, EA | 0 | EA | 1 | 0
| 23913 | MSET-PVC-MH*C | MANHOLE, PVC, CLASS I, REMOVE, EA | 0 | EA | 1 | 0
| 23914 | MSET-PVC-MH*H | MANHOLE, PVC, CLASS II, REMOVE, EA | 0 | EA | 1 | 0
SEC A / GROUP V - MANHOLES (OUTSIDE DOWNTOWN) | 21743 | SET-4X6 | SET 4'X 6' PRECAST CONCRETE MANHOLE, EA | 0 | EA | 2 | 0
| 21783 | SET-6X9 | SET 6'X 9' PRECAST CONCRETE MANHOLE, EA | 0 | EA | 2 | 0
| 21843 | SET-6X12 | SET 6'X 12' PRECAST CONCRETE MANHOLE, EA | 0 | EA | 2 | 0
| 21844 | SET-8X12 | SET 8'X12' PRECAST CONCRETE MANHOLE, EA | 0 | EA | 2 | 0
| 23915 | SET-PVC-MH | SET 36"X 60"X 36" POLYMER CONCRETE MANHOLE, EA | 0 | EA | 2 | 0
| 23916 | REM-PVC-MH | REMOVE PVC MANHOLE, EA | 0 | EA | 48 | 0
SEC A / GROUP VI - CAST-IN-PLACE MANHOLES (DOWNTOWN) | 21502 | REBAR-L | REBAR, #6-#10, LONGITUDINAL IN CONDUIT, LB | 0 | LB | 1 | 0
| 21503 | REBAR-T | REBAR, #6-#7, TRANSVERSE IN CONDUIT, LB | 0 | LB | 1 | 0
| 21600 | PULL-IRONS | PULLING IRONS, INSTALL, EA | 0 | EA | 1 | 0
| 22301 | FORM-PC | FORMS, PILE CAP, SFCA | 0 | SFCA | 1 | 0
| 22303 | FORM-WALL | FORM, REGULAR WALL, SFCA | 0 | SFCA | 1 | 0
| 22304 | FORM-WC | FORM, PILASTERED COLUMN, WALL, SFCA | 0 | SFCA | 1 | 0
| 22305 | FORM-TOP-1 | FORM, ELEVATED FLAT SLAB, SFCA | 0 | SFCA | 1 | 0
| 22306 | FORM-TOP-2 | FORM, ELEVATED TWO-WAY BEAM AND SLAB, SFCA | 0 | SFCA | 1 | 0
| 22307 | FORM-CURB | FORMS, TRANSFORMER VAULT ACCESS CURB, SFCA | 0 | SFCA | 1 | 0
SEC A / GROUP VI - CAST-IN-PLACE MANHOLES (DOWNTOWN & OUTSIDE DOWNTOWN) | 21401 | CONC-3 | CONCRETE, 3000 PSI, CY | 0 | CY | 1 | 0
| 21402 | CONC-5 | CONCRETE, 5000 PSI, CY | 0 | CY | 1 | 0
| 21403 | CONC-3.5 | CONCRETE, 3500 PSI, CY | 0 | CY | 1 | 0
| 21501 | REBAR-S | REBAR, #3-#8 FOR CAST-IN PLACE STRUCTURES, LB | 0 | LB | 1 | 0
| 22302 | FORM-SLAB | FORM, SLAB, SFCA | 0 | SFCA | 1 | 0
| 23103 | SEAL-DUCT1 | SEAL DUCT UP TO 6" IN DIAMETER, EA | 0 | EA | 1 | 0
| 23104 | SEAL-DUCT2 | SEAL DUCT 7" TO 18" IN DIAMETER, EA | 0 | EA | 1 | 0
| 23105 | SEAL-DUCT3 | SEAL DUCT 19" TO 36" IN DIAMETER, EA | 0 | EA | 1 | 0
GROUP VII - MANHOLE NECKS (DOWNTOWN & OUTSIDE DOWNTOWN) | 22401 | BLD-MH-NECK | MANHOLE NECK, INSTALL, EA | 0 | EA | 1 | 0
| 22405 | ADJ-MH-NT | ADJUST NON-TRAFFIC BEARING MANHOLE COVER, EA | 0 | EA | 1 | 0
| 22406 | ADJ-MH-T | ADJUST TRAFFIC BEARING MANHOLE COVER, EA | 0 | EA | 1 | 0
| 22407 | ADD-BRICK | ADDITIONAL COURSE OF BRICK, EA | 0 | EA | 1 | 0
| 22408 | ADJ-MH-MILL-A | ADJUST MANHOLE COVER AFTER MILL, EA | 0 | EA | 1 | 0
| 22409 | ADJ-MH-MILL-B | ADJUST MANHOLE COVER BEFORE MILL, EA | 0 | EA | 1 | 0
| 22410 | REP-BFLY-SP | REPLACE BUTTERFLY MANHOLE ROOF, EA | 0 | EA | 1 | 0
SEC A / GROUP VIII - DIRECT BURIED DUCT (DOWNTOWN & OUTSIDE DOWNTOWN) | 22510 | UC*_ | INSTALL OR REMOVE CONDUIT, PVC OR STEEL, LF | 0 | LF | 1 | 0
| 22511 | UC*__ | INSTALL OR REMOVE CONDUIT, PVC OR STEEL, | 0 | LF | 1 | 0
| 22512 | UCL9*__, UCL4*__, | INSTALL OR REMOVE CONDUIT ELBOW, PVC OR STEEL, | 0 | EA | 2507 | 0
| 22513 | UCL9*__, UCL4*__, | INSTALL OR REMOVE CONDUIT ELBOW, PVC OR STEEL, | 0 | EA | 1300 | 0
| 22701 | DB-2/2-4 | DUCT BANK, DIRECT BURY, 4", 2 HIGH X 2 WIDE, LF | 0 | LF | 1 | 0
| 22702 | DB-2/3-4 | DUCT BANK, DIRECT BURY, 4", 2 HIGH X 3 WIDE, LF | 0 | LF | 1 | 0
| 22703 | DB-2/4-4 | DUCT BANK, DIRECT BURY, 4", 2 HIGH X 4 WIDE, LF | 0 | LF | 1 | 0
| 22704 | DB-2/5-4 | DUCT BANK, DIRECT BURY, 4", 2 HIGH X 5 WIDE, LF | 0 | LF | 1 | 0
| 22705 | DB-3/3-4 | DUCT BANK, DIRECT BURY, 4", 3 HIGH X 3 WIDE, LF | 0 | LF | 1 | 0
| 22711 | DB-2/2-6 | DUCT BANK, DIRECT BURY, 6", 2 HIGH X 2 WIDE, LF | 0 | LF | 1 | 0
| 22712 | DB-2/3-6 | DUCT BANK, DIRECT BURY, 6", 2 HIGH X 3 WIDE, LF | 0 | LF | 1 | 0
| 22713 | DB-2/4-6 | DUCT BANK, DIRECT BURY, 6", 2 HIGH X 4 WIDE, LF | 0 | LF | 1 | 0
| 22714 | DB-2/5-6 | DUCT BANK, DIRECT BURY, 6", 2 HIGH X 5 WIDE, LF | 0 | LF | 1 | 0
| 22715 | DB-3/3-6 | DUCT BANK, DIRECT BURY, 6", 3 HIGH X 3 WIDE, LF UP TO 3" DIAMETER, LF | 0 | LF | 1 | 0
| 22715 | DB-3/3-6 | DUCT BANK, DIRECT BURY, 6", 3 HIGH X 3 WIDE, LF 4" TO 6" DIAMETER, LF | 0 | LF | 1 | 0
| 22715 | DB-3/3-6 | DUCT BANK, DIRECT BURY, 6", 3 HIGH X 3 WIDE, LF UP TO 3" DIAMETER, EA | 0 | LF | 1 | 0
| 22715 | DB-3/3-6 | DUCT BANK, DIRECT BURY, 6", 3 HIGH X 3 WIDE, LF 4" TO 6" DIAMETER, EA | 0 | LF | 1 | 0
SEC A / GROUP IX - CONCRETE REMOVAL (DOWNTOWN) | 23011 | REM-4*C | DUCT BANK, NON-REINFORCED, 1 TO 4 DUCTS,CLASS I, REMOVE, LF | 0 | LF | 1 | 0
| 23012 | REM-4*H | DUCT BANK, NON-REINFORCED, 1 TO 4 DUCTS,CLASS II, REMOVE, LF | 0 | LF | 1 | 0
| 23013 | REM-R4*C | DUCT BANK, REINFORCED, 1 TO 4 DUCTS,CLASS I, REMOVE, LF | 0 | LF | 1 | 0
| 23014 | REM-R4*H | DUCT BANK, REINFORCED, 1 TO 4 DUCTS,CLASS II, REMOVE, LF | 0 | LF | 1 | 0
| 23021 | REM-8*C | DUCT BANK, NON-REINFORCED, 5 TO 8 DUCTS,CLASS I, REMOVE, LF | 0 | LF | 1 | 0
| 23022 | REM-8*H | DUCT BANK, NON-REINFORCED, 5 TO 8 DUCTS,CLASS II, REMOVE, LF | 0 | LF | 1 | 0
| 23023 | REM-R8*C | DUCT BANK, REINFORCED, 5 TO 8 DUCTS,CLASS I, REMOVE, LF | 0 | LF | 1 | 0
| 23024 | REM-R8*H | DUCT BANK, REINFORCED, 5 TO 8 DUCTS,CLASS II, REMOVE, LF | 0 | LF | 1 | 0
| 23031 | REM-12*C | DUCT BANK, NON-REINFORCED, 9 TO 12 DUCTS,CLASS I, REMOVE, LF | 0 | LF | 1 | 0
| 23032 | REM-12*H | DUCT BANK, NON-REINFORCED, 9 TO 12 DUCTS,CLASS II, REMOVE, LF | 0 | LF | 1 | 0
| 23033 | REM-R12*C | DUCT BANK, REINFORCED, 9 TO 12 DUCTS,CLASS I, REMOVE, LF | 0 | LF | 1 | 0
| 23034 | REM-R12*H | DUCT BANK, REINFORCED, 9 TO 12 DUCTS,CLASS II, REMOVE, LF | 0 | LF | 1 | 0
| 23041 | REM-16*C | DUCT BANK, NON-REINFORCED, 13 TO 16 DUCTS,CLASS I, REMOVE, LF | 0 | LF | 1 | 0
| 23042 | REM-16*H | DUCT BANK, NON-REINFORCED, 13 TO 16 DUCTS,CLASS II, REMOVE, LF | 0 | LF | 1 | 0
| 23043 | REM-R16*C | DUCT BANK, REINFORCED, 13 TO 16 DUCTS,CLASS I, REMOVE, LF | 0 | LF | 1 | 0
| 23044 | REM-R16*H | DUCT BANK, REINFORCED, 13 TO 16 DUCTS,CLASS II, REMOVE, LF | 0 | LF | 1 | 0
SEC A / GROUP IX - CONCRETE REMOVAL (DOWNTOWN) | 23051 | REM-20*C | DUCT BANK, NON-REINFORCED, 17 TO 20 DUCTS,CLASS I, REMOVE, LF | 0 | LF | 1 | 0
| 23052 | REM-20*H | DUCT BANK, NON-REINFORCED, 17 TO 20 DUCTS,CLASS II, REMOVE, LF | 0 | LF | 1 | 0
| 23053 | REM-R20*C | DUCT BANK, REINFORCED, 17 TO 20 DUCTS,CLASS I, REMOVE, LF | 0 | LF | 1 | 0
| 23054 | REM-R20*H | DUCT BANK, REINFORCED, 17 TO 20 DUCTS,CLASS II, REMOVE, LF | 0 | LF | 1 | 0
| 23061 | REM-30*C | DUCT BANK, NON-REINFORCED, 21 TO 30 DUCTS,CLASS I, REMOVE, LF | 0 | LF | 1 | 0
| 23062 | REM-30*H | DUCT BANK, NON-REINFORCED, 21 TO 30 DUCTS,CLASS II, REMOVE, LF | 0 | LF | 1 | 0
| 23063 | REM-R30*C | DUCT BANK, REINFORCED, 21 TO 30 DUCTS,CLASS I, REMOVE, LF | 0 | LF | 1 | 0
| 23064 | REM-R30*H | DUCT BANK, REINFORCED, 21 TO 30 DUCTS,CLASS II, REMOVE, LF | 0 | LF | 1 | 0
SEC A / GROUP IX - CONCRETE REMOVAL (DOWNTOWN & OUTSIDE DOWNTOWN) | 22911 | REM_CONC*C | NON-REINFORCED CONCRETE, CLASS I, REMOVE, CF | 0 | CF | 4398 | 0
| 22912 | REM-CONC*H | NON-REINFORCED CONCRETE, CLASS II, REMOVE, CF | 0 | CF | 1 | 0
| 22921 | REM-RECONC*C | REINFORCED CONCRETE, CLASS I, REMOVE, CF | 0 | CF | 1 | 0
| 22922 | REM-RECONC*H | REINFORCED CONCRETE, CLASS II, REMOVE, CF | 0 | CF | 1 | 0
| 22923 | REM-MOD-BRK | MODULAR BRICK STRUCTURE, REMOVE, CF | 0 | CF | 1 | 0
| 23071 | MH-ABND | ABANDON MANHOLE, CF | 0 | CF | 1 | 0
SEC A / GROUP X - DUCT BANK (DOWNTOWN) | 23201 | BLD-2/2-4 | DUCT BANK, 4" DUCT, 2 HIGH BY 2 WIDE, LF | 0 | LF | 1 | 0
| 23202 | BLD-2/3-4 | DUCT BANK, 4" DUCT, 2 HIGH BY 3 WIDE, LF | 0 | LF | 1 | 0
| 23203 | BLD-2/4-4 | DUCT BANK, 4" DUCT, 2 HIGH BY 4 WIDE, LF | 0 | LF | 1 | 0
| 23204 | BLD-2/5-4 | DUCT BANK, 4" DUCT, 2 HIGH BY 5 WIDE, LF | 0 | LF | 1 | 0
| 23205 | BLD-3/3-4 | DUCT BANK, 4" DUCT, 3 HIGH BY 3 WIDE, LF | 0 | LF | 1 | 0
| 23206 | BLD-3/4-4 | DUCT BANK, 4" DUCT, 3 HIGH BY 4 WIDE, LF | 0 | LF | 1 | 0
| 23207 | BLD-4/3-4 | DUCT BANK, 4" DUCT, 4 HIGH BY 3 WIDE, LF | 0 | LF | 1 | 0
| 23208 | BLD-4/4-4 | DUCT BANK, 4" DUCT, 4 HIGH BY 4 WIDE, LF | 0 | LF | 1 | 0
SEC A / GROUP X - DUCT BANK - CONTINUED (DOWNTOWN) | 23301 | BLD-2/2-6 | DUCT BANK, 6" DUCT, 2 HIGH BY 2 WIDE, LF | 0 | LF | 1 | 0
| 23302 | BLD-2/3-6 | DUCT BANK, 6" DUCT, 2 HIGH BY 3 WIDE, LF | 0 | LF | 1 | 0
| 23303 | BLD-2/4-6 | DUCT BANK, 6" DUCT, 2 HIGH BY 4 WIDE, LF | 0 | LF | 1 | 0
| 23304 | BLD-2/5-6 | DUCT BANK, 6" DUCT, 2 HIGH BY 5 WIDE, LF | 0 | LF | 1 | 0
| 23305 | BLD-3/3-6 | DUCT BANK, 6" DUCT, 3 HIGH BY 3 WIDE, LF | 0 | LF | 1 | 0
| 23306 | BLD-3/4-6 | DUCT BANK, 6" DUCT, 3 HIGH BY 4 WIDE, LF | 0 | LF | 1 | 0
| 23307 | BLD-4/3-6 | DUCT BANK, 6" DUCT, 4 HIGH BY 3 WIDE, LF | 0 | LF | 1 | 0
| 23308 | BLD-4/4-6 | DUCT BANK, 6" DUCT, 4 HIGH BY 4 WIDE, LF | 0 | LF | 1 | 0
SEC A / GROUP XI - PADS & PITS (DOWNTOWN & OUTSIDE DOWNTOWN) | 23601 | UPD8, 10, 11, 15 | INSTALL PIT, ALL, EA | 0 | EA | 1 | 0
| 21847 | UPDI,2,3,5 | REMOVE PAD, ALL, EA | 0 | EA | 20 | 0
| 21849 | PADADJ | ADJUST PAD, ALL, EA | 0 | EA | 40 | 0
| 21855 | PITADJ | ADJUST PIT, ALL, EA | 0 | EA | 2 | 0
| 24900 | UPD 1,2,3,5 | INSTALL PAD, ALL, EA | 0 | EA | 52 | 0
| 24907 | UPD8,10,11,15 | REMOVE PIT, ALL, EA | 0 | EA | 15 | 0
SEC A / GROUP XII - PADMOUNT EQUIPMENT (DOWNTOWN & OUTSIDE DOWNTOWN) | 23604 | UVGA*__, UVF__, UWGA*__, URGA*__ | INSTALL SINGLE PHASE PADMOUNT EQUIPMENT, ALL, EA | 0 | EA | 2878 | 0
| 23605 | UVGA*__, UVF__, UWGA*__, URGA*__ | REMOVE SINGLE PHASE PADMOUNT EQUIPMENT, ALL, EA | 0 | EA | 68 | 0
| 23606 | UVGA*__, UVF__, UWGA*__, URGA*__ | RELOCATE SINGLE PHASE PADMOUNT EQUIPMENT, ALL, EA | 0 | EA | 40 | 0
SEC A / GROUP XII - PADMOUNT EQUIPMENT- CONTINUED, (DOWNTOWN & OUTSIDE DOWNTOWN) | 23607 | UVGC*__, UVS*, UVF__, UWGC*__, URGC*__, UVSA*__ | RELOCATE THREE PHASE PADMOUNT EQUIPMENT, ALL, EA, UP TO 750 kVA | 0 | EVENT | 1 | 0
| 23608 | UVGC*__, UVS*, UVF__, UWGC*__, URGC*__, UVSA*__ | RELOCATE THREE PHASE PADMOUNT EQUIPMENT, ALL, EA, 1000 kVA TO 2500 kVA, | 0 | EVENT | 1 | 0
| 23609 | UVGC*__, UVS*, UVF__, UWGC*__, URGC*__, UVSA*__ | INSTALL THREE PHASE PADMOUNT EQUIPMENT, ALL, EA, UP TO 750 Kva | 0 | EVENT | 185 | 0
| 23610 | UVGC*__, UVS*, UVF__, UWGC*__, URGC*__, UVSA*__ | INSTALL THREE PHASE PADMOUNT EQUIPMENT, ALL, EA, 1000 kVA TO 2500 kVA | 0 | EVENT | 8 | 0
| 23611 | UVGC*__, UVS*, UVF__, UWGC*__, URGC*__, UVSA*__ | REMOVE THREE PHASE PADMOUNT EQUIPMENT, ALL, EA, UP TO 750 kVA | 0 | EVENT | 13 | 0
| 23612 | UVGC*__, UVS*, UVF__, UWGC*__, URGC*__, UVSA*__ | REMOVE THREE PHASE PADMOUNT EQUIPMENT, ALL, EA, 1000 kVA TO 2500 kVA | 0 | EVENT | 1 | 0
SEC A / GROUP XIII - PULL AND SERVICE BOXES (DOWNTOWN & OUTSIDE DOWNTOWN) | 23811 | PULL-BOX*__, SERV-BOX-P*__, SERV-BOX-C__*, SERV-BOX-D*__, SERV-BOX-M__* | INSTALL PULL AND SERVICE BOXES, ALL, EA | 0 | EA | 395 | 0
| 23812 | PULL-BOX*__, SERV-BOX-P*__, SERV-BOX-C__*, SERV-BOX-D*__, SERV-BOX-M__* | REMOVE PULL AND SERVICE BOXES, ALL, EA | 0 | EA | 69 | 0
| 23813 | USP-_ | INSTALL PEDSTALS, ALL, EA | 0 | EA | 1 | 0
| 23814 | USP-_ | REMOVE PEDSTALS, ALL, EA | 0 | EA | 1 | 0
SEC A / GROUP XIV - GROUNDING (DOWNTOWN & OUTSIDE DOWNTOWN) | 24001 | G1P,G2P | GROUND ROD ASSEMBLY, INSTALL, EA | 0 | EA | 1 | 0
| 24002 | G3P | MANHOLE BONDING GROUND, INSTALL, EA | 0 | EA | 1 | 0
SEC A / GROUP XV - SIDEWALK AND PAVEMENT (DOWNTOWN & OUTSIDE DOWNTOWN) | 24600 | REM-ASPH | ASPHALT PAVEMENT, REMOVAL, SF | 0 | SF | 1 | 0
| 24690 | BLD-OVERLAY | ASPHALT OVERLAY LESS THAN 2" THICK, SF | 0 | SF | 5272 | 0
| 24700 | BLD-ASPH | ASPHALT PAVEMENT AND LIMEROCK REPLACEMENT, SF | 0 | SF | 1 | 0
| 24801 | REM-SW-6 | CONCRETE SIDEWALK AND PAVEMENT 6" AND UNDER, REM., SF | 0 | SF | 1 | 0
| 24802 | REM-SW+6 | CONCRETE SIDEWALK AND PAVEMENT OVER 6", REMOVE, CF | 0 | CF | 1 | 0
| 24803 | REM-MOD | MODULAR PAVEMENT, REMOVE, SF | 0 | SF | 1 | 0
| 24804 | BLD-MOD | MODULAR PAVEMENT, INSTALL, SF | 0 | SF | 1 | 0
| 24901 | BLD-4SW | CONCRETE SIDEWALK AND PAVEMENT 4" THICK, INSTALL, SF | 0 | SF | 1 | 0
| 24902 | BLD-5SW | CONCRETE SIDEWALK AND PAVEMENT 5" THICK, INSTALL, SF | 0 | SF | 1 | 0
SEC A / GROUP XV - SIDEWALK AND PAVEMENT (DOWNTOWN & OUTSIDE DOWNTOWN) | 24903 | BLD-6SW | CONCRETE SIDEWALK AND PAVEMENT 6" THICK, INSTALL, SF | 0 | SF | 1 | 0
| 25001 | REM-CURB | CONCRETE CURB AND GUTTER, REMOVE, LF | 0 | LF | 1 | 0
| 25002 | BLD-CURB | CONCRETE CURB AND GUTTER, ALL TYPES, INSTALL, LF | 0 | LF | 1 | 0
| 25003 | REM-GCURB | GRANITE CURB REMOVAL, LF | 0 | LF | 1 | 0
| 25201 | SAW-CONC | SAW CONCRETE, LF | 0 | LF | 1 | 0
| 25202 | SAW-ASPH | SAW ASPHALT, LF | 0 | LF | 1 | 0
SEC A / GROUP XVI - SEED AND SOD (DOWNTOWN & OUTSIDE DOWNTOWN) | 25301 | SEED1 | RAKE, SEED, AND MULCH 1000 SQUARE FEET AND LESS, SF | 0 | SF | 1 | 0
| 25302 | SEED2 | RAKE, SEED, AND MULCH 1001 TO 5000 SQUARE FEET, SF | 0 | SF | 1 | 0
| 25303 | SEED3 | RAKE, SEED, AND MULCH 5001 SF AND ABOVE, SF | 0 | SF | 1 | 0
| 25304 | SOD1 | GRADE AND SOD 1000 SQUARE FEET AND LESS, SF | 0 | SF | 1 | 0
| 25305 | SOD2 | GRADE AND SOD 1001 SQUARE FEET AND ABOVE, SF | 0 | SF | 1 | 0
| 25306 | SODX | REMOVE/REPLACE SOD,SF | 0 | SF | 1 | 0
SEC A / GROUP XVII - STREET LIGHTING (DOWNTOWN & OUTSIDE DOWNTOWN) | 24400 | LPA01*DC, LDA01*DC | POLE AND FIXTURE, ALL OPTIONS, INSTALL OR REM., EA | 0 | EA | 1 | 0
| 24410 | LDA01*14, LPA01*14, LPA03*14 | POLE AND FIXTURE, ALL OPTIONS, INSTALL OR REM., EA | 0 | EA | 1 | 0
| 24420 | LTDS01 | POLE AND FIXTURE, ALL OPTIONS, INSTALL OR REMOVE, EA | 0 | EA | 1 | 0
| 24460 | LDDA01 | POLE BRACKET AND TWO FIXTURES, INSTALL OR REMOVE, EA | 0 | EA | 15 | 0
| 24461 | LTDT01 | POLE BRACKET AND TWO FIXTURES, INSTALL OR REMOVE, EA | 0 | EA | 200 | 0
| 24462 | ANCBASE__ | INSTALL/REMOVE ANCHOR BASE, ALL, EA | 0 | EA | 1 | 0
| 24471 | L101U, L201U, L301U | INSTALL STREET LIGHT L101U, L201U, L301U, ALL OPTIONS, EA | 0 | EA | 12 | 0
| 24472 | L401 | INSTALL STREET LIGHT L401, ALL OPTIONS, EA | 0 | EA | 3487 | 0
| 24473 | L601T, L1501T, L1601T | INSTALL STREET LIGHT SINGLE ARM L601, L1501, L1601, ALL OPTIONS, EA | 0 | EA | 1115 | 0
| 24474 | L601DT, L1501DT, L1601DT | INSTALL STREET LIGHT DOUBLE ARM L601, L1501, L1601, ALL OPTIONS, EA | 0 | EA | 1 | 0
| 24475 | L14 | WALL PACK FIXTURE, ALL OPTIONS, INSTALL OR REMOVE, EA | 0 | EA | 10 | 0
| 24476 | L101U, L201U, L301U, L401 | REMOVE STREET LIGHT L101, L201, L301, ALL OPTIONS, EA | 0 | EA | 95 | 0
| 24470 | L1601T, L601DT, L1501DT, L1601DT, L14 | REMOVE STREET LIGHT& BASE, ALL, EA | 0 | EA | 35 | 0
SEC A / GROUP XVIII - PRIMARY CABLE, PULLING, SPLICING, & TERMINATING (OUTSIDE DOWNTOWN) | 24701 | UVC*__ | PULL SINGLE PHASE PRIMARY CABLE UP TO & INCLUDING 1/0 , LF | 0 | LF | 1476912 | 0
| 24702 | UVC*__-__ | PULL THREE PHASE PRIMARY CABLE UP TO & INCLUDING 1/0, LF | 0 | LF | 236155 | 0
| 24703 | UVC*_-_ | PULL THREE PHASE CABLE 350 MCM & LARGER, LF | 0 | LF | 71242 | 0
| 24704 | UVC*_ | REMOVE SINGLE PHASE PRIMARY CABLE, ALL,LF | 0 | LF | 43908 | 0
| 24705 | UVC*_ | REMOVE THREE PHASE PRIMARY CABLE, ALL,LF | 0 | LF | 26625 | 0
| 24706 | UVSS*__, UVSH*__ | SINGLE PHASE SPLICE, UP TO AND INCLUDING 1/0 AWG, EA | 0 | EA | 2582 | 0
| 24707 | UVSS*__, UVSH*__ | SINGLE PHASE SPLICE, 350 MCM AND LARGER, EA | 0 | EA | 327 | 0
| 24708 | UVT6*__, UVT7*, UVF6,URF6,UWF6 | SINGLE PHASE TERMINATION, UP TO AND INCLUDING 1/0 AWG, EA | 0 | EA | 7288 | 0
| 24709 | UVT6*__, UVT7*__ | SINGLE PHASE TERMINATION, 350 MCM AND LARGER, EA | 0 | EA | 140 | 0
| 24710 | UVT1*__ | SINGLE PHASE RISER POLE, EA | 0 | EA | 67 | 0
| 24711 | UVT2*__ | TWO PHASE RISER POLE, EA | 0 | EA | 83 | 0
| 24712 | UVT3*__ | THREE PHASE 1/0 AWG RISER POLE, EA | 0 | EA | 110 | 0
| 24713 | UVT4*350 | THREE PHASE 350 MCM RISER POLE, EA | 0 | EA | 1 | 0
| 24714 | UVT4*1000 | THREE PHASE 1000 MCM RISER POLE, EA | 0 | EA | 50 | 0
| 24715 | UVT1*_, UVT*2_ UVT3*_, UVT4*350 | STRIP OUT RISER POLE - SINGLE OR MULTIPHASE - UP TO 350MCM, EA | 0 | EA | 102 | 0
| 24716 | UVT4*1000 | STRIP OUT RISER POLE - 1000 MCM, EA | 0 | EA | 17 | 0
| 24717 | UVC*__ | PULL THREE PHASE CABLE UP TO & INCLUDING 1/0, LF | 0 | LF | 1 | 0
| 24718 | UVC*__ | PULL THREE PHASE CABLE 400KCM & LARGER, LF | 0 | LF | 1440 | 0
SEC A / GROUP XIX - CABLE REMOVAL (DOWNTOWN) | 25601 | CBL-REM1 | PRIMARY, CABLE REMOVAL, UP TO 1/0, LF | 0 | LF | 1 | 0
| 25602 | CBL-REM2 | PRIMARY, CABLE REMOVAL, 1/0 TO 400 KCM, LF | 0 | LF | 1 | 0
| 25603 | CBL-REM3 | PRIMARY, CABLE REMOVAL, 401 KCM TO 750 KCM, LF | 0 | LF | 1 | 0
| 25604 | CBL-REMS | SECONDARY, CABLE REMOVAL, 500 KCM OR SMALLER, LF | 0 | LF | 1 | 0
SEC A / GROUP XX - SECONDARY CABLE, PULLING, SPLICING, & TERMINATING (DOWNTOWN) | 25605 | MUSC*12D | 12/2 SECONDARY CABLE INSTALLATION, LF | 0 | LF | 6805 | 0
| 25606 | MUSC*2 | #2 COPPER SECONDARY CABLE INSTALLATION, LF | 0 | LF | 1 | 0
| 25607 | MUSC*2/0T | 2/0 TRIPLEX SECONDARY CABLE INSTALLATION, LF | 0 | LF | 850 | 0
| 25608 | MUSC*4/0T | 4/0 TRIPLEX SECONDARY CABLE INSTALLATION, LF | 0 | LF | 340 | 0
SEC A / GROUP XX - SECONDARY CABLE, PULLING, SPLICING, & TERMINATING (OUTSIDE DOWNTOWN) | 25612 | USC*__ FO-PULL | INSTALL SECONDARY CABLE UP TO & INCLUDING 4/0 AND FIBER OPTIC CABLE, ALL, LF | 0 | LF | 625638 | 0
| 25613 | USC*__ | INSTALL SECONDARY CABLE 350 AND LARGER, ALL, LF | 0 | LF | 4472 | 0
| 25614 | USC*__ FO-PULL | REMOVE SECONDARY CABLE UP TO & INCLUDING 4/0 AND FIBER OPTIC CABLE, ALL, LF | 0 | LF | 27587 | 0
| 25615 | USC*__ | REMOVE SECONDARY CABLE 350 AND LARGER, ALL, LF | 0 | LF | 255 | 0
| 25616 | USN*__,USS-1*__, USS-SL1,USTSL, USS-SL*_,UST-2*_, USS*_,UST*_ | SPLICE/TERMINATE SECONDARY, INSTALL, ALL, EA | 0 | EA | 18873 | 0
SEC A / GROUP XX - SECONDARY CABLE, PULLING, SPLICING, & TERMINATING (OUTSIDE DOWNTOWN) | 25617 | USN*__,USS-1*__, USS-SL1,USTSL, USS-SL*_,UST-2*_, USS*_,UST*_ | REMOVE SPLICE/TERMINATION SECONDARY, ALL, EA | 0 | EA | 3560 | 0
| 25618 | USRC*_, USRW*_, USRXC*_, USRXW*_, USR1XC*_, USR1XW*_, USRB*_, FO-RIS1C, FO-RIS1W | INSTALL & REMOVE UNDERGROUND SECONDARY RISER,ALL,EA | 0 | EA | 150 | 0
SEC A / GROUP XX - SECONDARY CABLE, PULLING, SPLICING, & TERMINATING (DOWNTOWN) | 25609 | USS*__, UST*__ | SPLICE OR TERMINATION, SECONDARY, INSTALL, ALL, EA | 0 | EA | 355 | 0
| 25610 | USS*__, UST*__ | REMOVE SPLICE/TERMINATION SECONDARY, ALL, EA | 0 | EA | 137 | 0
SEC A / GROUP XXI - EQUIPMENT PAINTING AND MARKING | 15501 |  | PAINT SINGLE PHASE TRANSFORMER/ENCLOSURE, ALL, EA | 0 | EA | 1 | 0
| 15502 |  | PAINT THREE PHASE TRANSFORMER/ENCLOSURE, ALL, EA | 0 | EA | 1 | 0
| 15508 | PAINT-SLP | PAINT ALUMINUM/STEEL STREET LIGHT POLE, ALL, EA | 0 | EA | 1 | 0
| 15509 | PAINT-SLP1 | PAINT L4 STREET LIGHT POLE, EA. | 0 | EA | 1 | 0
SEC A / GROUP XXII - MISCELLANEOUS (DOWNTOWN & OUTSIDE DOWNTOWN) | 21602 | EXC1 | EXCAVATE 2'X4'X60" DEEP,ALL,EA | 0 | EA | 1 | 0
| 21603 | EXC2 | EXCAVATE 4'X6'X60" DEEP,ALL,EA | 0 | EA | 2 | 0
| 21604 | EXC3 | EXCAVATE 6'X6'X60" DEEP,ALL,EA | 0 | EA | 2 | 0
| 21605 | BKFL-SELECT | INSTALL SELECT BACKFILL,CU YD | 0 | CY | 73 | 0
| 21606 | ISOLATION | EXCESSIVE ISOLATION,HR | 0 | HR | 276 | 0
| 21607 | LOC-EX-FAC | ABNORMAL LOCATE SITUATIONS,HR | 0 | HR | 179 | 0
| 21608 | UPDB | EQUIPMENT BUMPER,EA | 0 | EA | 55 | 0
| 21609 | CBL-RACK | CABLE RACK, MANHOLE,INCLUDING 3 ARMS,EA | 0 | EA | 1522 | 0
| 21610 | FOAM-DUCT | FOAM DUCT, INSTALL, EA | 0 | EA | 245 | 0
SEC A / GROUP XXII - MISCELLANEOUS CONT. (DOWNTOWN & OUTSIDE DOWNTOWN) | 22700 | MEAS-PL-TAPE | MEASURING PULL TAPE, INSTALL, LF | 0 | LF | 1 | 0
| 23101 | GROUT-DUCT*C | GROUT AND SEAL DUCT, CLASS I, EA | 0 | EA | 1 | 0
| 23102 | GROUT-DUCT*H | GROUT AND SEAL DUCT, CLASS II, EA | 0 | EA | 1 | 0
| 23401 | COUPLE-3-1/2*C | COUPLE TO 3-1/2" DUCT BANK, EA | 0 | EA | 1 | 0
| 23402 | COUPLE-4*C | COUPLE TO 4" DUCT BANK, EA | 0 | EA | 1 | 0
| 23403 | COUPLE-3-1/2*H | COUPLE TO 3-1/2" DUCT BANK, EA | 0 | EA | 1 | 0
| 23404 | COUPLE-4*H | COUPLE TO 4" DUCT BANK, EA | 0 | EA | 1 | 0
| 23501 | SPLT-DCT-4 | SPLIT DUCT, 4", INSTALL, LF | 0 | LF | 1 | 0
| 23502 | SPLT-DCT-6 | SPLIT DUCT, 6", INSTALL, LF | 0 | LF | 1 | 0
| 23510 | ROD-DUCT*2 | ROD 2" DUCT, LF | 0 | LF | 1 | 0
| 23511 | ROD-DUCT*3 | ROD 3" DUCT, LF | 0 | LF | 1 | 0
| 23512 | ROD-DUCT*4 | ROD 4" DUCT/LF | 0 | LF | 1 | 0
| 23513 | ROD-DUCT*6 | ROD 6" DUCT/LF | 0 | LF | 1 | 0
| 24200 | PUMP-MH | PUMP OUT MANHOLE, EA | 0 | EA | 1 | 0
| 24300 | CLEAN-MH | CLEAN OUT MANHOLE, EA | 0 | EA | 1 | 0
| 25400 | STUB-OUT | DRILL HOLE IN MANHOLE FOR CONDUIT STUB-OUT, ALL OPTIONS, EA | 0 | EA | 1 | 0
| 25500 | SLUG-DUCT | PULL PROPER SIZE DUCT SLUG THRU DUCT, ALL OPTIONS, LF | 0 | LF | 1 | 0
SEC B / GROUP XXIII - L.E.M. LABOR | 28001 |  | General Foreman - Straight Time | 0 | HR | 1 | 0
| 28002 |  | General Foreman - Time & Half (1.5 X Straight Time), Hr | 0 | HR | 1 | 0
| 28003 |  | General Foreman - Double Time (2.0 X Straight Time), Hr | 0 | HR | 1 | 0
| 28004 |  | Foreman (Equip. Operator) - Straight Time, Hr | 0 | HR | 1 | 0
| 28005 |  | Foreman (Equip. Operator) - Time & Half (1.5 X Straight Time), Hr | 0 | HR | 1 | 0
| 28006 |  | Foreman (EQUIP. OPR.) - Double Time (2.0 X Straight Time), Hr | 0 | HR | 1 | 0
| 28007 |  | Lineman - Straight Time, Hr | 0 | HR | 2021 | 0
| 28008 |  | Lineman - Time & Half (1.5 X Straight Time), Hr | 0 | HR | 2229 | 0
| 28009 |  | Lineman - Double Time (2 X Straight Time) | 0 | HR | 1 | 0
| 28010 |  | Laborer - Straight Time | 0 | HR | 1 | 0
| 28011 |  | Laborer - Time & Half (1.5 X Straight Time) | 0 | HR | 1 | 0
| 28012 |  | Laborer - Double Time (2.0 X Straight Time) | 0 | HR | 1 | 0
| 28013 |  | Foreman - Straight Time | 0 | HR | 9617 | 0
| 28014 |  | Foreman - Time & Half (1.5 X Straight Time) | 0 | HR | 2696 | 0
| 28015 |  | Foreman - Double Time (2.0 X Straight Time) | 0 | HR | 1 | 0
| 28029 |  | Electrical Contractor, Straight Time | 0 | HR | 1 | 0
SEC B / GROUP XXIV - L.E.M. EQUIPMENT | 29001 |  | Hammer for Backhoe,HR | 0 | HR | 62 | 0
| 29002 |  | Hammer, PNEUMATIC, 80 LB,HR | 0 | HR | 7 | 0
| 29003 |  | Generator, 1 TO 5.0 KW,HR | 0 | HR | 5 | 0
| 29004 |  | Cutting torch and Gas,HR | 0 | HR | 8 | 0
| 29005 |  | Portable Welder,HR | 0 | HR | 103 | 0
| 29006 |  | VIibrator, Concrete,HR | 0 | HR | 1 | 0
| 29007 |  | Compactor, Roller, 2 Drum 2000 LB,HR | 0 | HR | 1 | 0
| 29008 |  | Air Compressor,(250 CFM HOUR),HR | 0 | HR | 250 | 0
| 29009 |  | Truck, Flatbed, 14 Foot to 16 Foot,HR | 0 | HR | 563 | 0
| 29010 |  | Truck, Pickup, 4 Wheel Drive, HR | 0 | HR | 16090 | 0
| 29011 |  | Truck, Tractor 4X2,HR | 0 | HR | 1 | 0
| 29012 |  | Truck, Flatbed, 14 to 16 Foot, HR | 0 | HR | 487 | 0
| 29013 |  | Truck, Dump, 12 Yard,HR | 0 | HR | 412 | 0
| 29014 |  | Truck, Dump, 6 Yards, HR | 0 | HR | 430 | 0
| 29015 |  | Truck, Water, 1 Ton for Well Drilling,HR | 0 | HR | 57 | 0
| 29016 |  | Truck, Dump, 16 Yards, HR | 0 | HR | 22 | 0
SEC B / GROUP XXIV - L.E.M. EQUIPMENT | 29017 |  | Truck, Bucket, 42 Foot Working Height, HR | 0 | HR | 3693 | 0
| 29018 |  | Truck, Corner/center Mount, HR | 0 | HR | 358 | 0
| 29019 |  | Truck, Utility Line, HR | 0 | HR | 101 | 0
| 29020 |  | Trailer, Semi Tractor, Hr | 0 | HR | 1 | 0
| 29021 |  | Trailer, water tank, engine driven discharge,HR | 0 | HR | 69 | 0
| 29022 |  | Crane, 15 Ton, HR | 0 | HR | 13 | 0
| 29023 |  | Crane 40 Ton, HR | 0 | HR | 12 | 0
| 29024 |  | Crane 75 Ton, HR | 0 | HR | 1 | 0
| 29025 |  | Crane, 90 Ton, HR | 0 | HR | 1 | 0
| 29026 |  | Backhoe, CASE 580C or Equal with Transport Trailer, Hr | 0 | HR | 2259 | 0
| 29027 |  | Backhoe, CASE 780C or Equal with Transport Trailer, Hr | 0 | HR | 1 | 0
| 29028 |  | Backhoe, Crawler Type with Transport Trailer, Hr | 0 | HR | 143 | 0
| 29029 |  | Bulldozer, D4 Cat or Equal, Hr | 0 | HR | 1 | 0
| 29030 |  | Bulldozer, D6 Cat or Equal, Hr | 0 | HR | 1 | 0
| 29031 |  | Tractor and Mower, Bush Hog, Hr | 0 | HR | 1 | 0
| 29032 |  | Trencher, Davis 40+4 or Equal with Transport Trailer, Hr | 0 | HR | 148 | 0
| 29033 |  | Pump, Single Diaphragm, 5 HP Minimum, Hr | 0 | HR | 130 | 0
| 29034 |  | Pump, 4" Jet with Intake and Discharge Hose, Hr | 0 | HR | 8 | 0
| 29035 |  | Pump, 6" for Well Point Operation, Hr | 0 | HR | 1 | 0
| 29036 |  | Pump, 6" for Well Point Operation, WK | 0 | HR | 1 | 0
| 29037 |  | Air Compressor with One Hammer, 100 CFM Minimum, Hr | 0 | HR | 10 | 0
| 29038 |  | Air Compressor, 250 CFM Hour, Hr | 0 | HR | 66 | 0
| 29043 |  | Saw, Concrete, Walking Type, Hr | 0 | HR | 1 | 0
| 29044 |  | Saw, Concrete, Handheld Type, Hr | 0 | HR | 12 | 0
| 29045 |  | Trailer, Material/Equipment, 6 Wheel, Hr | 0 | HR | 1863 | 0
| 29046 |  | Tamper, Power, 5HP Minimum, Hr | 0 | HR | 57 | 0
| 29047 |  | Van, Splicer/Equipment, Hr | 0 | HR | 1 | 0
| 29050 |  | GROUND PENETRATING RADAR UNIT (HR) | 0 | HR | 1 | 0
| 29051 |  | Bore and Jack Equipment, Hr | 0 | HR | 1 | 0
| 29052 |  | Directional Boring Equipment & Tank Truck, Hr | 0 | HR | 8 | 0
| 29053 |  | Truck Mounted Ground Rod Driving Equipment, Hr | 0 | HR | 1 | 0
| 29054 |  | Distribution Conductor Stringing Equipment | 0 | HR | 7 | 0
| 29055 |  | Reel Carrier for Distribution Conductor | 0 | HR | 1359 | 0
| 29056 |  | Distibution Dollie | 0 | HR | 1 | 0
Total Bid Price for Underground Work (Enter This Amount on the Bid Form Page 1, line 2) | [6 empty] | 0