## Bid OH Unit Prices
Appendix B - Bid Workbook 069-19 JEA Overhead and Underground Electrical Maintenance, Construction and Repair Services (OVERHEAD)
Bid Item | JEA Standard | JEA DESCRIPTION | Unit Price | UOM | Five Year Forecast | Extended Price
GROUP: I POLES - INSTALL
A. |  | CONCRETE POLES/EACH
1001 | P.*/*C | 0-4500 lbs. (30-45 ft. All Types, 50/3) | 0 | Ea | 28 | 0
1002 | P.*/*C | 4501-13000 lbs. (50-60/H) | 0 | Ea | 85 | 0
1003 | P.*/*C | 13001-23500 lbs. (55-65LT, 55-65/HT) | 0 | Ea | 45 | 0
1004 | P.*/*C | 23501-31500 lbs. (70-80/HT) | 0 | Ea | 1 | 0
1005 | P.*/*C | 31501-37500 lbs. (85-90/HT, 80/XHT) | 0 | Ea | 1 | 0
1006 | P.*/*C | 37501-44500 lbs. (95-100/HT, 85/XHT) | 0 | Ea | 1 | 0
1007 | P.*/*C | 44501-54000 lbs. (105-110/HT, 90-100/XHT) | 0 | Ea | 1 | 0
B. |  | WOOD POLES/EACH
1101 | P.*/*W | 0-1500 lbs. (30/4, 35/4, 40/4) | 0 | Ea | 119 | 0
1102 | P.*/*W | 1501-2500 lbs. (45/3, 50/3, 50/2) | 0 | Ea | 403 | 0
1103 | P.*/*W | 2501-4500 lbs. (55/1, 60/1) | 0 | Ea | 88 | 0
1104 | P.*/*W | 4501-5500 lbs. (65/1, 70/1) | 0 | Ea | 13 | 0
1105 | P.*/*W | 5501-6500 lbs. (75/1, 80/1) | 0 | Ea | 1 | 0
1106 | P.*/*W | 6501-8000 lbs. (85/1, 90/1) | 0 | Ea | 1 | 0
C. |  | FIBERGLASS POLES/EACH
1201 |  | 0 - 500 LBS. (35 ft.) | 0 | Ea | 1 | 0
GROUP: I POLES - REMOVE
D. |  | CONCRETE POLES/EACH
1301 | P.*/*C | 0-4500 lbs. (30-45 ft. All Types, 50/3) | 0 | Ea | 1 | 0
1302 | P.*/*C | 4501-13000 lbs. (50-60/H) | 0 | Ea | 1 | 0
1303 | P.*/*C | 13001-23500 lbs. (55-65LT, 55-65/HT) | 0 | Ea | 1 | 0
1304 | P.*/*C | 23501-31500 lbs. (70-80/HT) | 0 | Ea | 1 | 0
1305 | P.*/*C | 31501-37500 lbs. (85-90/HT, 80/XHT) | 0 | Ea | 1 | 0
1306 | P.*/*C | 37501-44500 lbs. (95-100/HT, 85/XHT) | 0 | Ea | 1 | 0
1307 | P.*/*C | 44501-54000 lbs. (105-110/HT, 90-100/XHT) | 0 | Ea | 1 | 0
E. |  | WOOD POLES/EACH
1401 | P.*/*W | 0-1500 lbs. (30/4, 35/4, 40/4) | 0 | Ea | 1 | 0
1402 | P.*/*W | 1501-2500 lbs. (45/3, 50/3, 50/2) | 0 | Ea | 1 | 0
1403 | P.*/*W | 2501-4500 lbs. (55/1, 60/1) | 0 | Ea | 1 | 0
1404 | P.*/*W | 4501-5500 lbs. (65/1, 70/1) | 0 | Ea | 1 | 0
1405 | P.*/*W | 5501-6500 lbs. (75/1, 80/1) | 0 | Ea | 1 | 0
1406 | P.*/*W | 6501-8000 lbs. (85/1, 90/1) | 0 | Ea | 1 | 0
1407 | OTRUSS | Remove Osmose Pole Support | 0 | Ea | 1 | 0
1250 | P.35/FGLASS | Remove Fiberglass pole 0 - 500 LBS. (35 ft.) | 0 | Ea | 1 | 0
GROUP: I POLES - MISCELLANEOUS
H. |  | MISCELLANEOUS UNITS
1701 | SEVP | Severe Condition - Poles/Visit | 0 | Event | 100 | 0
1702 |  | Relocate Pole Crew/LEM | 0 | Event | 1 | 0
1703 |  | Downtime Pole Crew/LEM | 0 | Event | 1 | 0
1705 | DEEPER | Set Pole Deeper/Foot | 0 | Ft | 593 | 0
1706 | JET | Jetting, Existing Poles Only/Foot | 0 | Ft | 5 | 0
1708 | LEAN | Lean/Straighten/Rake Pole/Each | 0 | Ea | 23 | 0
1710 | DRILL-X | Drill Hole In X-Arm/Each | 0 | Ea | 40 | 0
1711 | DRILL-W | Drill Hole In Wood Pole/Each | 0 | Ea | 158 | 0
1712 | DRILL-C | Drill Hole In Concrete Pole/Each | 0 | Ea | 85 | 0
1713 | CUT | Cut Pole/Cut X-Arm/Each | 0 | Ea | 955 | 0
1715 | ASPH | Cut & Remove Concrete, Asphalt/Square Foot | 0 | SF | 125 | 0
1716 | PATCH | Patch Concrete/Asphalt/Square Foot | 0 | SF | 1 | 0
1717 | OHSEED1 | Rake, Seed & Mulch/Sq. Ft. (up to 100 Sq. Ft.) | 0 | Event | 280 | 0
1718 | OHSEED2 | Rake, Seed & Mulch/Sq. Ft. (101 to 500 Sq. Ft.) | 0 | Event | 1500 | 0
1719 | OHSEED3 | Rake, Seed & Mulch/Sq. Ft. (Above 500 Sq. Ft.) | 0 | Event | 1 | 0
GROUP: II FRAMING - INSTALL
A. |  | VERTICAL PRIMARY/EACH
SINGLE PHASE WITH SHIELD
2001 | DA1F | Tangent to 10 Degree Angle | 0 | Ea | 28 | 0
2002 | DA2F | 10 to 30 Degree Angle | 0 | Ea | 8 | 0
2003 | DA3F | 30 to 60 Degree Angle | 0 | Ea | 1 | 0
2004 | DA4F | 60 to 90 Degree Corner | 0 | Ea | 8 | 0
2005 | DA5F | Deadend | 0 | Ea | 25 | 0
2006 | DA6F | Extension Off Deadend | 0 | Ea | 3 | 0
2007 | DA7F | Slackspan Deadend | 0 | Ea | 8 | 0
2008 | DA8F | Double Deadend | 0 | Ea | 15 | 0
2009 | DA18F | Tap Off Deadend 60 to 90 Deg. | 0 | Ea | 1 | 0
2010 | DA20F | Tap Off Tangent 75 to 90 Deg. | 0 | Ea | 15 | 0
2011 | DA21F | 0 to 10 Degree Cross | 0 | Ea | 1 | 0
2012 | DA22F | 10 to 30 Degree Cross | 0 | Ea | 1 | 0
SINGLE PHASE WITHOUT SHIELD
2024 | DA22F-5 | 10 to 30 Degree Cross | 0 | Ea | 1 | 0
2023 | DA21F-5 | 0 to 10 Degree Cross | 0 | Ea | 3 | 0
2022 | DA20F-5 | Tap Off Tangent 75 to 90 Deg. | 0 | Ea | 13 | 0
2021 | DA18F-5 | Tap Off Deadend 60 to 90 Deg. | 0 | Ea | 1 | 0
2020 | DA8F-5 | Double Deadend | 0 | Ea | 15 | 0
2019 | DA7F-5 | Slackspan Deadend | 0 | Ea | 1 | 0
2018 | DA6F-5 | Extension Off Deadend | 0 | Ea | 5 | 0
2017 | DA5F-5 | Deadend | 0 | Ea | 38 | 0
2016 | DA4F-5 | 60 to 90 Degree Corner | 0 | Ea | 13 | 0
2015 | DA3F-5 | 30 to 60 Degree Angle | 0 | Ea | 8 | 0
2014 | DA2F-5 | 10 to 30 Degree Angle | 0 | Ea | 23 | 0
2013 | DA1F-5 | Tangent to 10 Degree Angle | 0 | Ea | 55 | 0
2091 | DA6F-6 | Neutral to Shield Transition | 0 | Ea | 1 | 0
TWO PHASE WITH SHIELD
2025 | DB1F | Tangent to 10 Degree Angle | 0 | Ea | 3 | 0
2026 | DB2F | 10 to 30 Degree Angle | 0 | Ea | 1 | 0
2027 | DB3F | 30 to 60 Degree Angle | 0 | Ea | 1 | 0
2028 | DB4F | 60 to 90 Degree Corner | 0 | Ea | 1 | 0
2029 | DB5F | Deadend | 0 | Ea | 5 | 0
2030 | DB6F | Extension Off Deadend | 0 | Ea | 1 | 0
2031 | DB7F | Slackspan Deadend | 0 | Ea | 1 | 0
2032 | DB8F | Double Deadend | 0 | Ea | 1 | 0
2033 | DB18F | Tap Off Deadend 60 to 90 Deg. | 0 | Ea | 1 | 0
2034 | DB20F | Tap Off Tangent 75 to 90 Deg. | 0 | Ea | 3 | 0
2035 | DB21F | 0 to 10 Degree Cross | 0 | Ea | 1 | 0
2036 | DB22F | 10 to 30 Degree Cross | 0 | Ea | 1 | 0
TWO PHASE WITHOUT SHIELD
2048 | DB22F-5 | 10 to 30 Degree Cross | 0 | Ea | 1 | 0
2047 | DB21F-5 | 0 to 10 Degree Cross | 0 | Ea | 1 | 0
2046 | DB20F-5 | Tap Off Tangent 75 to 90 Deg. | 0 | Ea | 13 | 0
2045 | DB18F-5 | Tap Off Deadend 60 to 90 Deg. | 0 | Ea | 1 | 0
2044 | DB8F-5 | Double Deadend | 0 | Ea | 3 | 0
2043 | DB7F-5 | Slackspan Deadend | 0 | Ea | 3 | 0
2042 | DB6F-5 | Extension Off Deadend | 0 | Ea | 1 | 0
2041 | DB5F-5 | Deadend | 0 | Ea | 3 | 0
2040 | DB4F-5 | 60 to 90 Degree Corner | 0 | Ea | 1 | 0
2039 | DB3F-5 | 30 to 90 Degree Angle | 0 | Ea | 1 | 0
2038 | DB2F-5 | 10 to 30 Degree Angle | 0 | Ea | 1 | 0
2037 | DB1F-5 | Tangent to 10 Degree Angle | 0 | Ea | 3 | 0
2092 | DB6F-6 | Neutral to Shield Transition | 0 | Ea | 1 | 0
THREE PHASE WITH SHIELD
2049 | DC1F | Tangent to 10 Degree Angle | 0 | Ea | 73 | 0
2050 | DC2F | 10 to 30 Degree Angle | 0 | Ea | 53 | 0
2051 | DC3F | 30 to 60 Degree Angle | 0 | Ea | 1 | 0
2052 | DC4F | 60 to 90 Degree Corner | 0 | Ea | 1 | 0
2053 | DC5F | Deadend | 0 | Ea | 38 | 0
2054 | DC6F | Extension Off Deadend | 0 | Ea | 25 | 0
2055 | DC6F-6 | Neutral To Shield Trans. | 0 | Ea | 5 | 0
2056 | DC7F | Slackspan Deadend | 0 | Ea | 1 | 0
2057 | DC7SLF | Deadend & Slack Carry Thru | 0 | Ea | 3 | 0
2058 | DC8F | Double Deadend | 0 | Ea | 30 | 0
2059 | DC18F | Tap Off Deadend 60 to 90 Deg. | 0 | Ea | 3 | 0
2060 | DC20F | Tap Off Tangent 75 to 90 Deg. | 0 | Ea | 13 | 0
2061 | DC21F | 0 to 10 Degree Cross | 0 | Ea | 1 | 0
2062 | DC22F | 10 to 30 Degree Cross | 0 | Ea | 1 | 0
THREE PHASE WITH SHIELD
2063 | DC1F-5 | Tangent to 10 Degree Angle | 0 | Ea | 135 | 0
2064 | DC2F-5 | 10 to 30 Degree Angle | 0 | Ea | 45 | 0
2065 | DC3F-5 | 30 to 60 Degree Angle | 0 | Ea | 3 | 0
2066 | DC4F-5 | 60 to 90 Degree Corner | 0 | Ea | 8 | 0
2067 | DC5F-5 | Deadend | 0 | Ea | 33 | 0
2068 | DC6F-5 | Extension Off Deadend | 0 | Ea | 10 | 0
2069 | DC7F-5 | Slackspan Deadend | 0 | Ea | 3 | 0
2070 | DC8F-5 | Double Deadend | 0 | Ea | 18 | 0
2071 | DC18F-5 | Tap Off Deadend 60 to 90 Deg. | 0 | Ea | 3 | 0
2072 | DC20F-5 | Tap Off Tangent 75 to 90 Deg. | 0 | Ea | 18 | 0
2073 | DC21F-5 | 0 to 10 Degree Cross | 0 | Ea | 1 | 0
2074 | DC22F-5 | 10 to 30 Degree Cross | 0 | Ea | 1 | 0
B. |  | CONTAMINATED ENVIRONMENT/EACH
2075 | DA1F-2 | 0 TO 15 Degree Tangent (Maintenance Only) | 0 | Ea | 1 | 0
2076 | DA3F-2 | 15 to 60 Degree Angle (Maintenance Only) | 0 | Ea | 1 | 0
2077 | DA4F-2 | 60 to 90 Degree Corner (Maintenance Only) | 0 | Ea | 1 | 0
2078 | DA5F-2 | Deadend (Maintenance Only) | 0 | Ea | 1 | 0
2079 | DA6F-2 | Extension (Maintenance Only) | 0 | Ea | 1 | 0
2080 | DA8F-2 | Double Deadend (Maintenance Only) | 0 | Ea | 1 | 0
2081 | DA20F-2 | Tap (Maintenance Only) | 0 | Ea | 1 | 0
2082 | DA22F-2 | Cross (Maintenance Only) | 0 | Ea | 1 | 0
2083 | VA1-2 | Fog Bowl, X-Arm (Maintenance Only) | 0 | Ea | 1 | 0
2084 | VA2-2 | Jumper Pin (Maintenance Only) | 0 | Ea | 1 | 0
2085 | DGAF-2 | 26.4kV Single-Phase Transformer | 0 | Ea | 43 | 0
2086 | DGBF-2 | 26.4kV Two-Phase Transformer Bank | 0 | Ea | 3 | 0
2087 | DGCF-2 | 26.4kV Three-Phase Transformer Bank | 0 | Ea | 1 | 0
2088 | DUAF-2 | Single-Phase Riser - Tangent | 0 | Ea | 10 | 0
2089 | DUBF-2 | Two-Phase Riser - Tangent | 0 | Ea | 3 | 0
2090 | DUCF-2 | Three-Phase Riser - Tangent | 0 | Ea | 23 | 0
C. |  | SUBSTRUCTURES/EACH
PRIMARY
2101 | DX1 | Flying Cross | 0 | Ea | 1 | 0
2102 | DX2 | Flying Cross | 0 | Ea | 1 | 0
2103 | DX3 | Tee-Tap | 0 | Ea | 1 | 0
2104 | P1 | Tie Top Insulator w/Bracket | 0 | Ea | 1 | 0
2105 | P1-1 | Tie Top Post Insulator | 0 | Ea | 1 | 0
2106 | P1-2 | Tie Top - Steel Post | 0 | Ea | 1 | 0
2107 | P1-3 | Two Tie Top Post | 0 | Ea | 1 | 0
2108 | P1-4 | X-Arm Jumper Pin w/Insulator | 0 | Ea | 1 | 0
2109 | P2 | Clamp Top Insulator | 0 | Ea | 1 | 0
2110 | P2-1 | Clamp Top Post Insulator | 0 | Ea | 1 | 0
2111 | P2-2 | Clamp Top - Steel Post | 0 | Ea | 1 | 0
2112 | P3 | Suspension Insulator, 30 to 60 Degree Angle | 0 | Ea | 1 | 0
2113 | P4 | Suspension Insulator, Tap 60 to 90 Degree Angle | 0 | Ea | 1 | 0
2114 | P5 | Suspension Insulator, Deadend 60 to 90 Degree | 0 | Ea | 1 | 0
2115 | P7 | Clamp Top Insulator w/Bracket, Slack Span Deadend | 0 | Ea | 1 | 0
2116 | P7-1 | Clamp Top Insulator, Slack Span Deadend | 0 | Ea | 1 | 0
2117 | P8 | Clamp or Tie Top w/ Extension Bracket | 0 | Ea | 1 | 0
2129 | P9 | Pole Top Bracket w/ Tie Top Insulator | 0 | Ea | 1 | 0
2118 | PB | Primary Break | 0 | Ea | 1 | 0
SHIELD
2119 | SH1 | Tangent | 0 | Ea | 1 | 0
2120 | SH2 | Flying Angle | 0 | Ea | 1 | 0
2121 | SH3 | Angle | 0 | Ea | 1 | 0
2122 | SH4 | Corner | 0 | Ea | 1 | 0
2123 | SH5 | Deadend | 0 | Ea | 1 | 0
2124 | SH6 | Corner Deadend/Extension | 0 | Ea | 1 | 0
2125 | SH8 | Double Deadend/Slack Span | 0 | Ea | 1 | 0
2126 | SH20 | Tangent & Tap | 0 | Ea | 1 | 0
2127 | SH21 | Cross | 0 | Ea | 1 | 0
2128 | SH30 | Split Bolt Assembly | 0 | Ea | 1 | 0
D. |  | HORIZONTAL PRIMARY/EACH
SHIELDED
2201 | VA20 | Tap Off T1 or T2 | 0 | Ea | 1 | 0
2202 | VA22 | 0 to 5 Degree Cross | 0 | Ea | 1 | 0
2203 | T1 | Tangent to 5 Degree Angle | 0 | Ea | 1 | 0
2204 | T2 | 5 to 30 Degree Angle | 0 | Ea | 1 | 0
2206 | T5 | Deadend | 0 | Ea | 1 | 0
2205 | T6 | Extension Off Deadend | 0 | Ea | 1 | 0
2207 | T8 | Double Deadend | 0 | Ea | 1 | 0
2208 | T20 | Tap | 0 | Ea | 1 | 0
2209 | T22 | Cross Tap | 0 | Ea | 1 | 0
UNSHIELDED
2210 | VA20-1 | X-Arm Tap Off T1 or T2 | 0 | Ea | 1 | 0
2211 | VA20-5 | Tap Off T1 or T2 | 0 | Ea | 1 | 0
2212 | VA22-5 | 0 to 5 Degree Cross | 0 | Ea | 1 | 0
2213 | VB1-5 | Tangent to 5 Degree Angle | 0 | Ea | 1 | 0
2214 | VB2-5 | 5 to 30 Degree Angle | 0 | Ea | 1 | 0
2215 | VB6-5 | Extension Off Deadend | 0 | Ea | 1 | 0
2216 | VB7-5 | Deadend | 0 | Ea | 1 | 0
2217 | VB8-5 | Double Deadend | 0 | Ea | 1 | 0
2218 | VB20-5 | Tap 0 to 5 Degree Angle | 0 | Ea | 1 | 0
2219 | VB22-5 | 0 to 5 Degree Cross | 0 | Ea | 1 | 0
2220 | T1-5 | Tangent to 5 Degree Angle | 0 | Ea | 1 | 0
2221 | T2-5 | 5 to 30 Degree Angle | 0 | Ea | 1 | 0
2222 | T5-5 | Deadend | 0 | Ea | 1 | 0
2223 | T8-5 | Double Deadend | 0 | Ea | 1 | 0
2224 | T6-5 | Extension Off Deadend | 0 | Ea | 1 | 0
2225 | T20-5 | Tap | 0 | Ea | 1 | 0
2226 | T22-5 | 0 to 5 Degree Cross Tap | 0 | Ea | 1 | 0
2227 | ARM | Crossarm, Temporary | 0 | Ea | 1 | 0
E. |  | AERIAL CABLE/EACH
2322 | AE1 | Tangent to 10 Degree Angle | 0 | Ea | 1 | 0
2323 | AE2 | Tangent to 10 Degree Angle | 0 | Ea | 1 | 0
2324 | AE3 | Angle - 10 to 60 Degree Angle | 0 | Ea | 1 | 0
SINGLE PHASE
2301 | KA20-F | Tap (Front of Pole) Fused (Maintenance Only) | 0 | Ea | 1 | 0
2302 | KA20-1F | Tap (Back of Pole) Fused (Maintenance Only) | 0 | Ea | 1 | 0
2303 | KA22-F | Double Tap Fused (Maintenance Only) | 0 | Ea | 1 | 0
TWO PHASE
2304 | KB1 | Tangent to 5 Degree Angle (Maintenance Only) | 0 | Ea | 1 | 0
2305 | KB1-1 | Tangent to 5 deg(w/Anti-Sway) (Maintenance Only) | 0 | Ea | 1 | 0
2306 | KB2 | 5 to 10 Degree Angle (Maintenance Only) | 0 | Ea | 1 | 0
2307 | KB3 | 10 to 60 Degree Angle (Maintenance Only) | 0 | Ea | 1 | 0
2308 | KB4 | 60 to 90 Degree Angle (Maintenance Only) | 0 | Ea | 1 | 0
2309 | KB5 | Deadend (Maintenance Only) | 0 | Ea | 1 | 0
2310 | KB20 | Tap (Front of Pole) Fused (Maintenance Only) | 0 | Ea | 1 | 0
2311 | KB20-1 | Tap (Back of Pole) Fused (Maintenance Only) | 0 | Ea | 1 | 0
2312 | KB22 | 0 to 5 Degree Cross Tap (Maintenance Only) | 0 | Ea | 1 | 0
THREE PHASE
2313 | KC1 | Tangent to 5 Degree Angle (Maintenance Only) | 0 | Ea | 1 | 0
2314 | KC1-1 | Tangent to 5 Deg(w/Anti-Sway) (Maintenance Only) | 0 | Ea | 1 | 0
2315 | KC2 | 5 to 10 Degree Angle (Maintenance Only) | 0 | Ea | 1 | 0
2316 | KC3 | 10 to 60 Degree Angle (Maintenance Only) | 0 | Ea | 1 | 0
2317 | KC4 | 60 to 90 Degree Angle (Maintenance Only) | 0 | Ea | 1 | 0
2318 | KC5 | Deadend (Maintenance Only) | 0 | Ea | 1 | 0
2319 | KC20 | Tap (Front of Pole) Fused (Maintenance Only) | 0 | Ea | 1 | 0
2320 | KC20-1 | Tap (Back of Pole) Fused (Maintenance Only) | 0 | Ea | 1 | 0
2321 | KC22 | 0 to 5 Degree Cross Tap (Maintenance Only) | 0 | Ea | 1 | 0
F. |  | SINGLE-PHASE PRIMARY/EACH
2350 | SP1 | Tangent, 0 to 10 Degree Angle | 0 | Ea | 1 | 0
2351 | SP2 | Tangent, 10 to 30 Degree Angle | 0 | Ea | 1 | 0
2352 | SP3 | Cross | 0 | Ea | 1 | 0
2353 | SP4 | Tangent w/ Single-phase Tap | 0 | Ea | 1 | 0
G. |  | SINGLE-PHASE PRIMARY/EACH
2401 | DGAF | Single Phase | 0 | Ea | 1 | 0
| WGAF | Single Phase | 0 | Ea | 1 | 0
| RGAF | Single Phase | 0 | Ea | 1 | 0
| DGRA | Single Phase | 0 | Ea | 1 | 0
| LG2 | Single Phase | 0 | Ea | 1 | 0
2402 | DGBF | Two Phase | 0 | Ea | 1 | 0
| WGBF | Two Phase | 0 | Ea | 1 | 0
| RGBF | Two Phase | 0 | Ea | 1 | 0
| DGRB | Two Phase | 0 | Ea | 1 | 0
2403 | DGCF | Three Phase | 0 | Ea | 1 | 0
| WGCF | Three Phase | 0 | Ea | 1 | 0
| RGCF | Three Phase | 0 | Ea | 1 | 0
| DGRC | Three Phase | 0 | Ea | 1 | 0
2404 | TRANS | Transformer, Individual | 0 | Ea | 1 | 0
2405 | TGCUT | Cutout For Temporary Grounding | 0 | Ea | 1 | 0
H. |  | SWITCHES/EACH
GROUP
2501 | DS1S | Switch Handle Conversion Kit | 0 | Ea | 1 | 0
2502 | DS1-5 | Group Operated Switch 26.4 kV | 0 | Ea | 1 | 0
| DS1R-5 | (Horizontal or Vertical) | 0 | Ea | 1 | 0
| DS1RT-5 |  | 0 | Ea | 1 | 0
| DS2-5 |  | 0 | Ea | 1 | 0
2508 | SCADA | Vertical or Horizontal Style Scada-Mate Switch | 0 | Ea | 1 | 0
HOOK
2504 | DS3-5 | Underhung, 26.4kV | 0 | Ea | 1 | 0
2506 | DS5-5 | Vertical, 26.4kV | 0 | Ea | 1 | 0
| DS5R-5 |  | 0 | Ea | 1 | 0
| DS5RT-5 |  | 0 | Ea | 1 | 0
2507 | RS3-5 | Underhung, 4 kV | 0 | Ea | 1 | 0
PRIMARY METERING
2509 | MD1 | Primary Metering Equipment - Vertical Const. | 0 | Ea | 8 | 0
| MR1 |  | 0 | Ea | 1 | 0
2510 | MD2 | Primary Metering Equipment - Horz. Const. | 0 | Ea | 1 | 0
| MR2 |  | 0 | Ea | 1 | 0
I. |  | SYSTEM PROTECTION/EACH
2601 | F1 | Wishbone For Tap | 0 | Ea | 1 | 0
2602 | F2 | Wishbone For Double Tap | 0 | Ea | 1 | 0
2603 | F3 | Wishbone For Cross | 0 | Ea | 1 | 0
2605 | F5 | Standoff - Sectionalizing | 0 | Ea | 1 | 0
2606 | F5-1 | Wishbone - Sectionalizing | 0 | Ea | 1 | 0
2616 | F5-2 | Wishbone - Sectionalizing | 0 | Ea | 8 | 0
2607 | F6 | X-arm Mount For Tap | 0 | Ea | 1 | 0
2608 | F7 | X-arm Mount For Cross | 0 | Ea | 1 | 0
2609 | F8 | X-arm Mount, Sectionalizing | 0 | Ea | 1 | 0
2610 | F9 | Single Phase Tap From X-Arm or Pole Top Pin | 0 | Ea | 1 | 0
2611 | F10 | Single Phase Cross From X-Arm or Pole Top Pin | 0 | Ea | 1 | 0
2612 | F11 | Arrester | 0 | Ea | 1 | 0
| F11-H |  | 0 | Ea | 1 | 0
| F11-S |  | 0 | Ea | 1 | 0
2617 | F11-SS | Arrester (Double) | 0 | Ea | 30 | 0
2613 | I.FUSOH*** | Fuse Link Exchange/Replace | 0 | Ea | 1 | 0
2614 | I.ARRLI*** | Intermediate Arrester Only | 0 | Ea | 1 | 0
2615 | I.ARRLI*** | Arrester Only | 0 | Ea | 1 | 0
2618 | I.CUTOT*** | Cutout Only | 0 | Ea | 38 | 0
J. |  | RISER POLES/EACH
SINGLE PHASE
2701 | RUAF | Tangent or Deadend | 0 | Ea | 1 | 0
| WUAF |  | 0 | Ea | 1 | 0
| DUAF |  | 0 | Ea | 1 | 0
TWO PHASE
2703 | RUBF | Tangent or Deadend | 0 | Ea | 1 | 0
| WUBF |  | 0 | Ea | 1 | 0
| DUBF |  | 0 | Ea | 1 | 0
|  | THREE PHASE | 0 | Ea | 1 | 0
2705 | RUCF | Tangent | 0 | Ea | 1 | 0
| WUCF |  | 0 | Ea | 1 | 0
| DUCF |  | 0 | Ea | 1 | 0
|  | RELOCATION OF RISER POLES | 0 | Ea | 1 | 0
2707 | PRISER1 | Primary Riser, 1/0, Per Phase | 0 | Ea | 8 | 0
2708 | PRISER3 | Primary Riser, 350KCM-1000KCM, Three-Phase | 0 | Ea | 1 | 0
2709 | SRISERSMALL | Secondary Riser, 4/0 or Smaller, Per Riser | 0 | Ea | 35 | 0
2710 | SRISERLARGE | Secondary Riser, Larger Than 4/0, Per Riser | 0 | Ea | 3 | 0
REMOVAL OF RISER POLES
2711 |  | Primary and Secondary Riser Removal | 0 | Ea | 1 | 0
K. |  | IDENTIFICATION/STATION
2801 | Numbering | Numbering all | 0 | Ea | 1 | 0
L. |  | LIGHTING/EACH
2901 | L1/L101 | Roadway Fixture | 0 | Ea | 88 | 0
| L2/L202 |  | 0 | Ea | 1 | 0
| L3/L303 |  | 0 | Ea | 1 | 0
| FL1 | Floodlight - Single Mount | 0 | Ea | 1 | 0
| FL3 |  | 0 | Ea | 1 | 0
2909 | FL2 | Floodlight - Double Mount | 0 | Ea | 1 | 0
| FL4 |  | 0 | Ea | 1 | 0
2902 | L13 | Obstruction Light | 0 | Ea | 1 | 0
2903 | LAMP | Street Light Light Lamp Only | 0 | Ea | 1 | 0
2904 | REFR | Street Light Refractor Only | 0 | Ea | 1 | 0
2906 | PHOTO | Photo Cell Only | 0 | Ea | 3 | 0
2907 | L1R / L101R | 70W HPS / LED Fixture Only | 0 | Ea | 1 | 0
| L2R / L201R | 200W HPS / LED Fixture Only | 0 | Ea | 1 | 0
| L3R / L201R | 250W HPS / LED Fixture Only | 0 | Ea | 1 | 0
| L8R / L301R | 400W MH / LED Fixture Only | 0 | Ea | 1 | 0
| L9R | 400W HPS Cut-off Fixture Only | 0 | Ea | 1 | 0
2908 | LB1 | 8 Foot Bracket - w/o Fixture | 0 | Ea | 1 | 0
| LB2 | 12 Foot Bracket - w/o Fixture | 0 | Ea | 1 | 0
| LB3 | 15 Foot Bracket - w/o Fixture | 0 | Ea | 1 | 0
M. |  | SECONDARY/EACH
3001 | S1 | Open Wire Spool (Wht) | 0 | Ea | 93 | 0
3002 | S1-1 | Open Wire Spool (Brn) | 0 | Ea | 5 | 0
3003 | S4 | Secondary Deadend | 0 | Ea | 55 | 0
3004 | S5 | Neutral Deadend | 0 | Ea | 583 | 0
3005 | S6 | Double Eyebolt | 0 | Ea | 605 | 0
3006 | S7 | Tangent Assembly Neutral | 0 | Ea | 353 | 0
3007 | S8 | Flying Angle | 0 | Ea | 15 | 0
3008 | S9 | Splice | 0 | Ea | 148 | 0
3009 | S10 | Break | 0 | Ea | 1 | 0
3010 | S20 or S20Q | Connection | 0 | Ea | 903 | 0
3011 | S21 or S21Q | Connection At House | 0 | Ea | 5 | 0
3014 | I.NUTEY002 | Eyenut | 0 | Ea | 28 | 0
3015 | I.CLASR001 | CD80 Only | 0 | Ea | 8 | 0
3016 | I.CLASR002 | CD81 Only | 0 | Ea | 30 | 0
3017 | S7-1 | Tangent Assembly (Hot) | 0 | Ea | 3 | 0
3018 | SC1 | Control 0 to 10 Degree | 0 | Ea | 1 | 0
3019 | SC2 | Control 10 to 60 Degree | 0 | Ea | 1 | 0
3020 | SC4 | Control 60 to 90 Degree | 0 | Ea | 1 | 0
3021 | SC5 | Control Cable Deadend | 0 | Ea | 1 | 0
3022 | SC8 | Control Double DE | 0 | Ea | 1 | 0
GROUP: II FRAMING - REMOVE
N. |  | BRACKETS/EACH
PRIMARY/SECONDARY
3101 | PIN | Pin Support Type, Pin Top For Xarm. | 0 | Ea | 143 | 0
3102 | POLETOP | Pole Top, etc. | 0 | Ea | 60 | 0
3103 | STANDOFF | Standoff (Vertical Const.) | 0 | Ea | 668 | 0
3104 | AERIAL | Aerial Cable, All Plus Spacers | 0 | Ea | 1 | 0
3105 | EQUIP | Equipment Pothead/Cable Term. | 0 | Ea | 25 | 0
3106 | CLUSTER | Cluster Mount | 0 | Ea | 25 | 0
3107 | DOWNLEAD | Downlead Standoff | 0 | Ea | 1 | 0
3108 | OFFSET | Offset Deadend | 0 | Ea | 1 | 0
3109 | SWITCH | Switch Mounting | 0 | Ea | 288 | 0
3110 | SEC | Secondary, All (Bolt Does Not Constitute) | 0 | Ea | 108 | 0
TRANSFORMER
3111 | SINGLE | Single Phase | 0 | Ea | 5 | 0
3112 | MULTI | Two and Three Phase | 0 | Ea | 5 | 0
STREETLIGHTING
3113 | A15-FOOT | 15 Foot Truss | 0 | Ea | 1 | 0
3114 | A12-FOOT | 12 Foot Truss | 0 | Ea | 38 | 0
3115 | A8-FOOT | 8 Foot and Smaller Trusses | 0 | Ea | 30 | 0
3128 | FLDBKT | Floodlight Bracket, Single or Double Mount | 0 | Ea | 1 | 0
O. |  | MISCELLANEOUS HARDWARE/EACH
3116 | DESHOE | Neutral Deadend | 0 | Ea | 820 | 0
3117 | DEYE | Double Eyebolt | 0 | Ea | 588 | 0
3118 | POLECON | Connection | 0 | Ea | 878 | 0
3119 | HOUSECON | Connection At House | 0 | Ea | 3 | 0
3120 | TANGENT | Tangent Assembly Secondary | 0 | Ea | 278 | 0
3121 | MIDSPAN | Mid-Span Secondard Tap | 0 | Ea | 1 | 0
3123 | NUMBER | Number, All (per station) | 0 | Ea | 273 | 0
3124 | EYENUT | Eyenuts | 0 | Ea | 173 | 0
3125 | SMWEDGE | CD80 | 0 | Ea | 235 | 0
3126 | LGWEDGE | CD81 | 0 | Ea | 50 | 0
3127 | CUTBOLT | Cut Bolts to Length | 0 | Ea | 13 | 0
P. |  | INSULATORS/EACH
PRIMARY
3201 | PRIINS | Up To 69 kV | 0 | Ea | 1963 | 0
SECONDARY
3202 | SECINS | All | 0 | Ea | 168 | 0
Q. |  | CROSSARMS
3303 | SARMDIST | Single 8-11 Foot | 0 | Ea | 190 | 0
3304 | DARMDIST | Double 8-11 Foot | 0 | Ea | 33 | 0
3305 | SARMTRAN | Single 15 Foot | 0 | Ea | 10 | 0
3306 | DARMTRAN | Double 15 Foot | 0 | Ea | 1 | 0
R. |  | SHIELD
3307 | BAYONET | Bayonets, All | 0 | Ea | 145 | 0
S. |  | SWITCHES, CUTOUTS, ARRESTERS/EACH | 0 | Ea | 1 | 0
3401 | GROUP | Three Phase Group, All, Includes Pipe | 0 | Ea | 13 | 0
3402 | HOOK | Single Phase Hook Switch | 0 | Ea | 45 | 0
3403 | ARRESTER | Arrester
3404 | IA | Intermediate Arrester | 0 | Ea | 1 | 0
3405 | INLINE | Single Phase In-Line Switch | 0 | Ea | 1 | 0
3406 | BYPASS | Single Phase By-Pass Switch | 0 | Ea | 8 | 0
3407 | CUTOUT | Cutout, Fuse | 0 | Ea | 295 | 0
T. |  | TRANSFORMERS/EACH |  |  | 0
3501 | BANK10 | Single Phase Bank | 0 | Ea | 133 | 0
|  | Largest Transformer 75 kVA | 0 | Ea | 1 | 0
|  | (Includes Step Down Transformers) | 0 | Ea | 1 | 0
3502 | BANK11 | Single Phase Bank (Largest Transformer 250 kVA) | 0 | Ea | 3 | 0
3503 | BANK20 | Two Phase Bank (Largest Transformer 75 kVA) | 0 | Ea | 10 | 0
3504 | BANK21 | Two Phase Bank (Largest Transformer 250 kVA) | 0 | Ea | 1 | 0
3505 | BANK30 | Three Phase Bank (Largest Transformer 75 kVA) | 0 | Ea | 5 | 0
3506 | BANK31 | Three Phase Bank (Largest Transformer 250 kVA) | 0 | Ea | 1 | 0
U. |  | STREET LIGHTING LUMINAIRES/EACH
3601 | LUM7 | Overhead, all. HPS or LED Equivalent | 0 | Ea | 158 | 0
| LUM20 |  | 0 | Ea | 1 | 0
| LUM25 |  | 0 | Ea | 1 | 0
| LUM40 |  | 0 | Ea | 1 | 0
| LUM40M |  | 0 | Ea | 1 | 0
| LUM17M |  | 0 | Ea | 1 | 0
3603 | OBSLUM | Obstruction | 0 | Ea | 1 | 0
V. |  | MISCELLANEOUS UNITS
3700 | SEVF | Severe Condition Framing/Visit | 0 | Ea | 13 | 0
3701 |  | Relocate Framing Crew/LEM | 0 | Ea | 1 | 0
3702 |  | Downtime Framing Crew/LEM | 0 | Ea | 3 | 0
3703 | RUBUP | Line Rubber-Install/Each | 0 | Ea | 1 | 0
3704 | RUBDOWN | Line Rubber-Remove/Each | 0 | Ea | 1 | 0
3705 | SPLICE | Splice/Sleeve Install (All)/Each | 0 | Ea | 218 | 0
3706 | DHLC | Hot Line Clamp Only-Install/Each | 0 | Ea | 665 | 0
3707 | CLAMP | Hot Line Clamp Only-Remove/Each | 0 | Ea | 613 | 0
3708 |  | Mechanical Jumper - Install or Remove/Each | 0 | Ea | 658 | 0
GROUP: II FRAMING - RELOCATE
W. |  | STREET LIGHTING/EACH
3800 | L1/L101 | Roadway Fixture | 0 | Ea | 1 | 0
| L2/L202 |  | 0 | Ea | 1 | 0
| L3/L303 |  | 0 | Ea | 1 | 0
| FL1 | Floodlight - Single Mount | 0 | Ea | 1 | 0
| FL3 |  | 0 | Ea | 1 | 0
3804 | FL2 | Floodlight - Double Mount | 0 | Ea | 1 | 0
| FL4 |  | 0 | Ea | 1 | 0
3801 | L1R / L101R | 70W HPS Fixture Only | 0 | Ea | 1 | 0
| L2R / L201R | 200W HPS Fixture Only | 0 | Ea | 1 | 0
| L3R / L201R | 250W HPS Fixture Only | 0 | Ea | 1 | 0
| L8R / L301R | 400W MH Fixture Only | 0 | Ea | 1 | 0
| L9R | 400W HPS Cut-off Fixture Only | 0 | Ea | 1 | 0
3802 | LB1 | 8 Foot Bracket - w/o Fixture | 0 | Ea | 1 | 0
| LB2 | 12 Foot Bracket - w/o Fixture | 0 | Ea | 1 | 0
| LB3 | 15 Foot Bracket - w/o Fixture | 0 | Ea | 1 | 0
3803 | L13 | Obstruction Light | 0 | Ea | 1 | 0
GROUP II - WORK UNIT TOTAL
GROUP: III GUYS AND ANCHORS - INSTALL
A. |  | DOWN GUYS/EACH
4003 | GY3 | 3/8" Strand, 8' X 10" Anchor | 0 | Ea | 288 | 0
4005 | GY7 | 7/16" Strand, Multi-Helix, Anchor | 0 | Ea | 203 | 0
4009 | GY3-A | 3/8" Strand, No Anchor | 0 | Ea | 128 | 0
4010 | GY7-A | 7/16" Strand, No Anchor | 0 | Ea | 85 | 0
4015 | GY7SPL | 7/16" Special Downguy For Horizontal Construction | 0 | Ea | 1 | 0
4016 | GY7MR | 7/16" Down Guy With Manta Ray Anchor | 0 | Ea | 1 | 0
B. |  | SIDEWALK GUYS/EACH
4102 | GY3SW | 3/8" Strand - 8' X 10" Anchor | 0 | Ea | 3 | 0
C. |  | OVERHEAD GUYS/EACH
4201 | GY3SPN | 3/8" Strand Spanguy | 0 | Ea | 65 | 0
4202 | GY7SPN | 7/16" Strand Spanguy | 0 | Ea | 25 | 0
4203 | GY3BK | Breaker Addition For Existing 3/8" Guy At Pole | 0 | Ea | 33 | 0
4204 | GY3MBK | Breaker Addition For Existing 3/8" Guy At Midspan | 0 | Ea | 1 | 0
4205 | GY7BK | Breaker Addition For Existing 7/16" Guy At Pole | 0 | Ea | 1 | 0
4206 | GY7MBK | Breaker Addition For Existing 7/16" Guy At Midspan | 0 | Ea | 8 | 0
D. |  | SPECIAL CONDITIONS/EACH
4301 | GYBOGW | Bog Shoe - Wood Pole | 0 | Ea | 1 | 0
4302 | GYBOGC | Bog Shoe - Concrete Pole | 0 | Ea | 1 | 0
4303 | GYKEY-LD | Pole Key-Light Duty (45-55 Ft. Concrete Pole) | 0 | Ea | 1 | 0
4304 | GYKEY-HD | Pole Key - Heavy Duty (60' or Larger) | 0 | Ea | 1 | 0
4305 | GYBUTT-LD | Butt Guy - Light Duty | 0 | Ea | 1 | 0
4306 | GYBUTT-HD | Butt Guy - Heavy Duty | 0 | Ea | 1 | 0
4307 | GYPUSH | Push Pole | 0 | Ea | 1 | 0
4308 | GYBRACE-HD | Pole Brace - Heavy Duty | 0 | Ea | 1 | 0
4309 | GYBRACE-LD | Pole Brace - Light Duty | 0 | Ea | 1 | 0
4350 | GYX3.5 | Multi-Helix Anchor Extension (3' - 6") | 0 | Ea | 1 | 0
4351 | GYX5 | Multi-Helix Anchor Extension (5' - 0") | 0 | Ea | 1 | 0
4352 | GYX3.5MR | Manta Ray Anchor Extension (3' - 6") | 0 | Ea | 1 | 0
4353 | GYX7MR | Manta Ray Anchor Extension (7' - 0") | 0 | Ea | 1 | 0
GROUP: III GUYS AND ANCHORS - REMOVE
E. |  | ANCHORS/EACH
4401 | ANCHOR | 5 & 8 Foot All Sizes (8", 10" & 15") | 0 | Ea | 63 | 0
4402 | MANCHOR | Multi-Helix All Sizes, Manta-Ray | 0 | Ea | 15 | 0
4403 | A5FTEXT | Rod Extension Up To 5 Foot | 0 | Ea | 30 | 0
4404 | A7FTEXT | Rod Extension 7 Ft. & Longer | 0 | Ea | 1 | 0
4405 | ANCHEYE | Aux. Anchor Eye | 0 | Ea | 3 | 0
4406 | KEY | Key | 0 | Ea | 1 | 0
4407 | CUTANC | Cut Anchor | 0 | Ea | 193 | 0
F. |  | GUYS/EACH
4501 | SPAN | Span All | 0 | Ea | 55 | 0
4502 | DOWN3/8 | Down 3/8" | 0 | Ea | 260 | 0
4503 | DOWN7/16 | Down 7/16" | 0 | Ea | 135 | 0
4504 | SIDEWALK | Sidewalk | 0 | Ea | 5 | 0
4505 | STRAIN | Strain Insulator | 0 | Ea | 205 | 0
4506 | GUARD | Guy Guard | 0 | Ea | 203 | 0
GROUP: III GUYS AND ANCHORS - MISCELLANEOUS
G. |  | MISCELLANEOUS UNITS
4601 | SEVGA | Severe Guys & Anchors/Visit | 0 | Ea | 25 | 0
4602 |  | Relocate Guy & Anchor Crew/LEM | 0 | Ea | 1 | 0
4603 |  | Downtime Guy & Anchor Crew/LEM | 0 | Ea | 1 | 0
GROUP: IV GROUNDING - INSTALL
A |  | POLE BOND/EACH
5001 | G1W | Equipment - Wood Pole | 0 | Ea | 370 | 0
5002 | G1C | Equipment - Concrete Pole | 0 | Ea | 83 | 0
5005 | G3W | Wood Pole | 0 | Ea | 330 | 0
5006 | G3C | Concrete Pole | 0 | Ea | 88 | 0
5007 | G4W | Wood Pole w/Existing Rod | 0 | Ea | 1 | 0
5008 | G4C | Concrete Pole w/Existing Rod | 0 | Ea | 1 | 0
5009 | RODINS | Additional Rod | 0 | Ea | 35 | 0
5010 | G1T | Transmission Ground (10 ohms or less) | 0 | Ea | 1 | 0
B. |  | GUY BOND/EACH
5101 | G6 | Insulated | 0 | Ea | 1 | 0
5102 | G7 | Non-Insulated | 0 | Ea | 1 | 0
5103 | G8 | Rod For Existing Pole Ground | 0 | Ea | 5 | 0
5104 | G9 | Pole Ground Repair | 0 | Ea | 3 | 0
GROUP: IV GROUNDING - REMOVE
C. |  | BONDING, ALL (INCLUDES ALL CONNECTIONS AND JUMPERS)/EACH
5201 | RODREM | 1 Rod, Partial Ground (Used | 0 | Ea | 1 | 0
As Extra Rods On Full Ground)
5202 | FULLGRD | 3 Rods, Full Ground | 0 | Ea | 58 | 0
5203 | CONCGRD | Concrete Pole Ground | 0 | Ea | 13 | 0
5204 | WOODGRD | Wood Pole Ground | 0 | Ea | 135 | 0
D. |  | MISCELLANEOUS UNITS
5301 | SEVG | Severe Condition Grounding/Visit | 0 | Ea | 3 | 0
5302 |  | Relocate Grounding Crew/LEM | 0 | Ea | 1 | 0
5303 |  | Downtime Grounding Crew/LEM | 0 | Ea | 1 | 0
GROUP: V CONDUCTOR - INSTALL
A. |  | DISTRIBUTION/TRANSMISSION CLASS/PER FOOT
DUPLEX
6001 | C.* | #6 or #2 Duplex | 0 | Ea | 17205 | 0
ALUMOWELD/COPPERWELD
6002 | C.* | 3-#6AW, 3-#8CW | 0 | Ea | 2950 | 0
6003 | C.* | 7-#7AW | 0 | Ea | 1 | 0
AERIAL CABLE OR FIBER OPTIC CABLE
6004 | C.* | 2SP-2/0SP or Fiber Optic Cable | 0 | Ea | 1 | 0
6005 | C.* | 336 KCM SP | 0 | Ea | 1 | 0
ALUMINUM
6006 | C.* | #4-1/0 Aluminum | 0 | Ea | 113875 | 0
6007 | C.* | 3/0 Aluminum to 4/0 Aluminum | 0 | Ea | 25905 | 0
6008 | C.* | 336 KCM Al. to 636 KCM Al. | 0 | Ea | 99533 | 0
6017 | C.* | 954 to 1590 KCM, All | 0 | Ea | 1 | 0
COPPER
6009 | C.* | #6 Copper to 2/0 Copper | 0 | Ea | 1 | 0
6010 | C.* | 4/0 Copper | 0 | Ea | 1 | 0
6011 | C.* | 500 KCM Copper | 0 | Ea | 1 | 0
TRIPLEX
6012 | C.* | #4 Triplex | 0 | Ea | 1 | 0
6013 | C.* | #2 to 1/0 Triplex | 0 | Ea | 24290 | 0
PAP
6014 | C.* | 2/0 PAP to 4/0 PAP | 0 | Ea | 1610 | 0
QUADRUPLEX
6015 | C.* | #2 Quad to 4/0 Quad | 0 | Ea | 2970 | 0
6016 | C.* | 636 KCM Quad | 0 | Ea | 1 | 0
NOTE: * Refers To Conductor Option.
GROUP: V CONDUCTOR - REMOVE
B. |  | DISTRIBUTION/TRANSMISSION CLASS/PER FOOT PRIMARY
6101 | C.* | #8 to 4/0, All | 0 | Ea | 102600 | 0
6102 | C.* | 336 to 1590 KCM, All | 0 | Ea | 35123 | 0
|  | SECONDARY | 0 | Ea | 1 | 0
6103 | C.* | #8 to 4/0, Aluminum & Copper | 0 | Ea | 24083 | 0
6104 | C.* | 336 to 636 KCM, Aluminum & Cu. | 0 | Ea | 6810 | 0
6105 | C.* | #6 or #2 Duplex,# 4 to 1/0 Triplex | 0 | Ea | 9895 | 0
6106 | C.* | 2/0 to 4/0 PAP | 0 | Ea | 3308 | 0
6107 | C.* | 636 KCM PAP | 0 | Ea | 1 | 0
6108 | C.* | #2 to 4/0 QUAD | 0 | Ea | 813 | 0
6109 | C.* | 636 KCM QUAD | 0 | Ea | 1 | 0
6110 | C.* | Jumpers | 0 | Ea | 63 | 0
6111 | C.* | Shield/Messenger, All or Fiber Optic Cable | 0 | Ea | 450 | 0
GROUP: V CONDUCTOR - RELOCATE
C. |  | DISTRIBUTION/TRANSMISSION CLASS/PER STATION
ALUMOWELD/COPPERWELD
6401 | RC.* | 3-#6AW, 3-#8CW | 0 | Ea | 235 | 0
6402 | RC.* | 7-#7AW | 0 | Ea | 1 | 0
AERIAL CABLE OR FIBER OPTIC CABLE
6403 | RC.* | 2SP to 2/0SP or Fiber Optic Cable | 0 | Ea | 5 | 0
6404 | RC.* | 336SP | 0 | Ea | 1 | 0
ALUMINUM
6405 | RC.* | #4 to 1/0 Aluminum | 0 | Ea | 993 | 0
6406 | RC.* | 3/0 Al. to 4/0 Al. | 0 | Ea | 98 | 0
6407 | RC.* | 336 KCM to 636 KCM Aluminum | 0 | Ea | 503 | 0
6408 | RC.* | 954 KCM to 1590 KCM Al. | 0 | Ea | 5 | 0
DUPLEX
6409 | RC.* | #6 or #2 Duplex | 0 | Ea | 413 | 0
TRIPLEX
6410 | RC.* | #4 Triplex | 0 | Ea | 3 | 0
6411 | RC.* | #2 to 1/0 Triplex | 0 | Ea | 353 | 0
PAP
6412 | RC.* | 2/0 to 636 KCM | 0 | Ea | 295 | 0
QUADRUPLEX
6413 | RC.* | #2 to 4/0 Quadruplex | 0 | Ea | 525 | 0
6414 | RC.* | 636 KCM Quadruplex | 0 | Ea | 1 | 0
COPPER
6415 | RC.* | #6 to 2/0 Copper | 0 | Ea | 38 | 0
6416 | RC.* | 4/0 Copper | 0 | Ea | 8 | 0
6417 | RC.* | 500 KCM Copper | 0 | Ea | 1 | 0
GROUP: V CONDUCTOR - MISCELLANEOUS
D. |  | MISCELLANEOUS UNITS
6501 | SEVC | Severe Condition Cond. Crew/Visit | 0 | Ea | 68 | 0
6502 |  | Relocate Conductor Crew/LEM | 0 | Ea | 1 | 0
6503 |  | Downtime Conductor Crew/LEM | 0 | Ea | 1 | 0
6504 | BREAKER | Guy Breaker (Pri. Section)/Each | 0 | Ea | 3 | 0
GROUP: VI REGULATORS/CAPACITORS/RECLOSERS - INSTALL |  |  | 0 | Ea | 1 | 0
A. |  | REGULATORS/CAPACITORS/RECLOSERS/EACH
7001 | YDC-6S | 600 kVAR, 26.4kV, Switched | 0 | Ea | 1 | 0
| YDC-12SN | 1200 kVAR, 26.4kV, Switched Neutral | 0 | Ea | 1 | 0
| YDC-12S | 1200 kVAR, 26.4kV, Switched | 0 | Ea | 1 | 0
| YWC-3S | 300 KVAR, 13.2kV, Switched | 0 | Ea | 1 | 0
| YWC-6S | 600 KVAR, 13.2kV, Switched | 0 | Ea | 1 | 0
7020 | YDCA | Capacitor Bank, Automated | 0 | Ea | 1 | 0
7004 | FCR | 3-Phase Reclosers | 0 | Ea | 8 | 0
| FCRDA |  | 0 | Ea | 1 | 0
7005 | FCR-1 | 3-Phase Reclosers, Horizontal | 0 | Ea | 1 | 0
7007 | FCS | 3-Phase Sectionalizer | 0 | Ea | 1 | 0
7008 | FCS-1 | 3-Phase Sectionalizer, Horizontal | 0 | Ea | 1 | 0
7010 | YRC-1.5 | 150 kVAR, 4kV | 0 | Ea | 1 | 0
| YRC-3 | 300 kVAR, 4kV | 0 | Ea | 1 | 0
| YRC-6 | 600 kVAR, 4kV | 0 | Ea | 1 | 0
7017 | REG2 | 200A Voltage Regulator Bank | 0 | Ea | 3 | 0
7018 | REG4 | 400A Voltage Regulator Bank | 0 | Ea | 3 | 0
7014 | I.CAPUN*** | Capacitor Can | 0 | Ea | 1 | 0
7015 | I.SWEOL*** | Capacitor Switch | 0 | Ea | 1 | 0
7016 | FCRS | Single-Phase Recloser, 3-Phase Const. | 0 | Ea | 1 | 0
7019 | ANTENNA | Antenna For Remote Operation | 0 | Ea | 5 | 0
GROUP: VI REGULATORS/CAPACITORS/RECLOSERS - REMOVE
B. |  | REGULATORS/CAPACITORS/RECLOSERS/EACH
7101 | CAPBANK | Capacitor Bank | 0 | Ea | 1 | 0
7102 | CAPCAN | Capacitor Can | 0 | Ea | 1 | 0
7103 | CAPSW | Capacitor Switch, Includes Control Relay | 0 | Ea | 1 | 0
7104 | REG | Regulator Bank | 0 | Ea | 1 | 0
7105 | RECL | Recloser | 0 | Ea | 3 | 0
GROUP: VII LABOR, EQUIPMENT, AND MATERIAL (LEM)
A. |  | LABOR/HOUR
8001 |  | General Foreman - Straight Time | 0 | Hr | 3878 | 0
8002 |  | General Foreman - Time & Half | 0 | Hr | 1602 | 0
8003 |  | General Foreman - Double Time | 0 | Hr | 1 | 0
8004 |  | Foreman - Straight Time | 0 | Hr | 18495 | 0
8005 |  | Foreman - Time & Half | 0 | Hr | 6108 | 0
8006 |  | Foreman - Double Time | 0 | Hr | 27 | 0
8007 |  | Lineman - Straight Time | 0 | Hr | 41689 | 0
8008 |  | Lineman - Time & Half | 0 | Hr | 13989 | 0
8009 |  | Lineman - Double Time | 0 | Hr | 68 | 0
8010 |  | Apprentice Step 1 - Straight Time | 0 | Hr | 6184 | 0
8011 |  | Apprentice Step 1 - Time & Half | 0 | Hr | 1728 | 0
8012 |  | Apprentice Step 1 - Double Time | 0 | Hr | 1 | 0
8013 |  | Apprentice Step 2 - Straight Time | 0 | Hr | 9053 | 0
8014 |  | Apprentice Step 2 - Time & Half | 0 | Hr | 1842 | 0
8015 |  | Apprentice Step 2 - Double Time | 0 | Hr | 1 | 0
8016 |  | Apprentice Step 3 - Straight Time | 0 | Hr | 2415 | 0
8017 |  | Apprentice Step 3 - Time & Half | 0 | Hr | 1054 | 0
8018 |  | Apprentice Step 3 - Double Time | 0 | Hr | 1 | 0
8019 |  | Apprentice Step 4 - Straight Time | 0 | Hr | 7568 | 0
8020 |  | Apprentice Step 4 - Time & Half | 0 | Hr | 1287 | 0
8021 |  | Apprentice Step 4 - Double Time | 0 | Hr | 1 | 0
8022 |  | Apprentice Step 5 - Straight Time | 0 | Hr | 6144 | 0
8023 |  | Apprentice Step 5 - Time & Half | 0 | Hr | 997 | 0
8024 |  | Apprentice Step 5 - Double Time | 0 | Hr | 1 | 0
8025 |  | Apprentice Step 6 - Straight Time | 0 | Hr | 243 | 0
8026 |  | Apprentice Step 6 - Time & Half | 0 | Hr | 394 | 0
8027 |  | Apprentice Step 6 - Double Time | 0 | Hr | 1 | 0
8028 |  | Apprentice Step 7 - Straight Time | 0 | Hr | 923 | 0
8029 |  | Apprentice Step 7 - Time & Half | 0 | Hr | 603 | 0
8030 |  | Apprentice Step 7 - Double Time | 0 | Hr | 1 | 0
8031 |  | Heavy Equip. Operator - Straight Time | 0 | Hr | 1838 | 0
8032 |  | Heavy Equip. Operator - Time & Half | 0 | Hr | 868 | 0
8033 |  | Heavy Equip. Operator - Double Time | 0 | Hr | 1 | 0
8034 |  | Winch Truck Operator - Straight Time | 0 | Hr | 3994 | 0
8035 |  | Winch Truck Operator - Time & Half | 0 | Hr | 1904 | 0
8036 |  | Winch Truck Operator - Double Time | 0 | Hr | 1 | 0
8037 |  | Groundman Class 1 - Straight Time | 0 | Hr | 12873 | 0
8038 |  | Groundman Class 1 - Time & Half | 0 | Hr | 3285 | 0
8039 |  | Groundman Class 1 - Double Time | 0 | Hr | 1 | 0
8040 |  | Groundman Class 2 - Straight Time | 0 | Hr | 117 | 0
8041 |  | Groundman Class 2 - Time & Half | 0 | Hr | 58 | 0
8042 |  | Groundman Class 2 - Double Time | 0 | Hr | 1 | 0
GROUP: VII LABOR, EQUIPMENT AND MATERIAL (LEM)
B.
9001 |  | Pickup Truck 1/2 to 3/4 Ton | 0 | Hr | 1 | 0
9002 |  | Pickup Truck 4 Wheel Drive | 0 | Hr | 36425 | 0
9003 |  | Flatbed 14 to 16 Foot Truck | 0 | Hr | 618 | 0
9004 |  | Flatbed All Wheel Drive Truck | 0 | Hr | 540 | 0
9005 |  | Dump Truck 6 Yards | 0 | Hr | 70 | 0
9006 |  | Dump Truck 18 Yards | 0 | Hr | 234 | 0
9007 |  | Bucket Truck 42 Foot Working Height | 0 | Hr | 32403 | 0
9008 |  | Bucket Truck 75 Foot Working Height | 0 | Hr | 743 | 0
9009 |  | Bucket Truck 105 Foot Working Height | 0 | Hr | 9014 | 0
9010 |  | Corner/Center Mount Truck | 0 | Hr | 31545 | 0
9011 |  | Utility Line Truck | 0 | Hr | 963 | 0
9012 |  | Crane 15 Ton | 0 | Hr | 294 | 0
9013 |  | Crane 40 Ton | 0 | Hr | 788 | 0
9014 |  | Crane 75 Ton | 0 | Hr | 1 | 0
9015 |  | Crane 90 Ton | 0 | Hr | 1 | 0
9076 |  | Crane 120 Ton | 0 | Hr | 1 | 0
9016 |  | Backhoe and Transport Trailer | 0 | Hr | 2431 | 0
9017 |  | Backhoe, Crawler Type | 0 | Hr | 177 | 0
9018 |  | Well Point System - Riser Pipe to 10' | 0 | Hr | 1 | 0
9019 |  | Well Point System - Riser Pipe to 20' | 0 | Hr | 1 | 0
9020 |  | Well Point Operation - 6" Pump Min. | 0 | Hr | 1 | 0
9021 |  | Well Point Operation, Double Diaphragm Pump | 0 | Hr | 1 | 0
9022 |  | Air Compressor with Hammer (160 CFM) | 0 | Hr | 142 | 0
9077 |  | Bucket Truck 125 Foot Working Height | 0 | Hr | 8308 | 0
9023 |  | Pneumatic Hammer | 0 | Hr | 1 | 0
9024 |  | Spray Paint Equipment (With Air Comp., 1 HP-3CFM) | 0 | Hr | 1 | 0
9025 |  | Well Driller For Ground Rods | 0 | Hr | 1 | 0
9026 |  | Pump, Diaphragm (5HP/Minute) | 0 | Hr | 1 | 0
9027 |  | Pump, Jet | 0 | Hr | 1 | 0
9028 |  | Power Tamper (5HP/Minute) | 0 | Hr | 1 | 0
9029 |  | Portable Welder (180 Amperes/Minute) | 0 | Hr | 1 | 0
9030 |  | Generator (1300 to 3000 Watts) | 0 | Hr | 1 | 0
9031 |  | Cutting Torch and Gas | 0 | Hr | 1 | 0
9032 |  | Concrete Saw, Walking Type | 0 | Hr | 1 | 0
9033 |  | Concrete Saw, Handheld Type | 0 | Hr | 8 | 0
9034 |  | Material/Equipment Trailer (6 Wheel) | 0 | Hr | 30817 | 0
9035 |  | Trencher (6" X 48") Including Trailer | 0 | Hr | 20 | 0
9036 |  | Bulldozer (JD 350 or Equal) & Trailer | 0 | Hr | 1 | 0
9037 |  | Flatbed and/or Pole Trailer | 0 | Hr | 18893 | 0
9038 |  | "Altek" /Pressure Digger | 0 | Hr | 120 | 0
9039 |  | Water Wagon or Tank Truck | 0 | Hr | 70 | 0
9040 |  | Dragline | 0 | Hr | 1 | 0
9041 |  | Brush Chipper | 0 | Hr | 1 | 0
9042 |  | Chain Saw | 0 | Hr | 1 | 0
9043 |  | Fiberglass Extension Arm | 0 | Hr | 1 | 0
9044 |  | Distribution Conductor Stringing Equipment | 0 | Hr | 723 | 0
9045 |  | Transmission Conductor, Stringing Equipment | 0 | Hr | 15 | 0
9046 |  | Sagging Winches For Transmission Line Conductor | 0 | Hr | 47 | 0
9047 |  | Reel Carrier Trailer For Transmission Line Conductor | 0 | Hr | 160 | 0
9048 |  | Hot Line Tool Trailer | 0 | Hr | 1 | 0
9049 |  | EHV Barehand Conductive Suit | 0 | Hr | 1 | 0
9052 |  | Semi-Tractor Single Axle | 0 | Hr | 1 | 0
9053 |  | Semi-Tractor Tandem Axle | 0 | Hr | 1189 | 0
9054 |  | Distribution Dollie | 0 | Hr | 975 | 0
9055 |  | Transmission Dollie | 0 | Hr | 1 | 0
9056 |  | D6 CAT or Equal | 0 | Hr | 1 | 0
9057 |  | D4 CAT or Equal | 0 | Hr | 1 | 0
9058 |  | Demolition Hammer for Backhoe | 0 | Hr | 1 | 0
9059 |  | Skid Steer with trailer (John Deere 323 or equivalent) | 0 | Hr | 863 | 0
9060 |  | ATV 4 WD with trailer | 0 | Hr | 863 | 0
9061 |  | Outboard Boat | 0 | Hr | 863 | 0
9062 |  | Air Compressor 250 CFM | 0 | Hr | 135 | 0
9063 |  | Pump, 4" Jet w/Intake and Discharge | 0 | Hr | 1 | 0
9064 |  | Durabase Mat / Each (one week minimum) | 0 | Wk | 863 | 0
Total Bid Price for Overhead Work (Enter This Amount on the Bid Form Page 1, line 1) | [5 empty] | 0