## Bid Form
077-20 Addendum 1 - Appendix B - Bid Workbook
Item | Description | Est. Qty | Unit |  | Total
PART 'A' - LUMP SUM BID
1 | Mobilization (60% Maximum)/Demobilization (40%) | 1 | LS |  | 0
2 | General/Special Conditions (Total divided by contract months) | 1 | LS |  | 0
3 | Erosion Control | 1 | LS |  | 0
4 | Clearing Grubbing/Tree Removal & Existing Fencing Removal | 1 | LS |  | 0
5 |  | 5 | 1750 | /CY | 0 | 8750
6 | JEA High-Security Fencing and Gates | 1 | LS |  | 0
7 |  | 5 | 2000 | /CY | 0 | 10000
8 | Pavement Reworking/Reclamation, Grading, and Paving | 1 | LS |  | 0
9 | Diesel Generator Fuel Tank: Existing Foundation Demolition, Relocation, Fuel Piping Modifications & Fuel Tank Monitoring | 1 | LS |  | 0
10 | Existing Utility Locates and Protection or Relocation | 1 | LS |  | 0
11 | Bypass Pumping - Sequence A | 1 | LS |  | 0
12 | Bypass Pumping - Sequence B | 1 | LS |  | 0
13 | Existing Bypass Connection Modifications (Bypass Connection No. 1) | 1 | LS |  | 0
14 | Bypass Connection No. 2 | 1 | LS |  | 0
15 | Existing MH Ring & Cover Removal and Replacement (MH A, B, C, and D) | 1 | LS |  | 0
16 | Manhole No. 1 & Connection to Existing 30" Gravity Sewer | 1 | LS |  | 0
17 | Splitter Box with (2) 24" Gate Valves and (1) 30" Gate Valves | 1 | LS |  | 0
18 | Manhole No. 2 | 1 | LS |  | 0
19 | Manhole No. 3 | 1 | LS |  | 0
20 | 30" Gravity Sewer Piping | 1 | LS |  | 0
21 | 24" Gravity Sewer Piping | 1 | LS |  | 0
22 | Existing Yard Piping and Manholes Removal and Abandonment | 1 | LS |  | 0
23 | Water Main Relocation and Water Service to Odor Control System | 1 | LS |  | 0
24 | 30" Gravity Bypass Connection to Wetwell | 1 | LS |  | 0
25 | 16" Pony Pump Suction Piping, Connection to Wetwell, and Pipe Supports | 1 | LS |  | 0
26 | Existing Splitter Box: Slide Gates with Wall Sleeves Removal, 24" Piping Penetrations with wall sleeves, and Abandonment | 1 | LS |  | 0
27 | Slide Gate No. 1 and No. 2 Removal and Replacement (Concrete Repairs, Existing Wall Sleeve Connection, etc.) | 1 | LS |  | 0
28 | Slide Gate No. 3 Removal and Replacement (Concrete Repairs, Existing Wall Sleeve Connection, etc.) | 1 | LS |  | 0
29 | Wet Well Handrail Removal and Replacement with Spall Repairs | 1 | LS |  | 0
30 | Wet Well Abandoned Piping Removal | 1 | LS |  | 0
31 | 14" Check Valve Removal and Replacement (CV-301, 302, and 303) | 1 | LS |  | 0
32 | Odor Control System (Concrete Pad, Piping, Valves, Biofilter System, Control Panel, and Electrical/I&C) | 1 | LS |  | 0
33 | Sump Pump Duplex Pumping and Control Panel Removal and Replacement | 1 | LS |  | 0
34 | Existing Lighting Fixtures Removal and Replacement with LED Lighting Fixtures (conduit, cable, switch removal/replacement) | 1 | LS |  | 0
35 | Roofing Removal and Replacement (Handrail Additions, Overflow Additions, Flashing Improvements) | 1 | LS |  | 0
36 | Exterior Window Removal and Replacement with Stucco Finish | 1 | LS |  | 0
37 | PLC Removal and Replacement and Integration of System Components | 1 | LS |  | 0
38 | Generator Control Panel Modifications with JEA Distributed I/O Panel and Integration into SCADA System | 1 | LS |  | 0
39 | Site Restoration (Final Grading, Sodding, etc.) | 1 | LS |  | 0
40 | Existing MH 'B' Site Investigation and Repair Allowance | 1 | LS |  | 15000
41 | Permitting and Testing Allowance | 1 | LS |  | 15000
42 | SWA | 1 | LS |  | 149000
|  |  |  | 'PART A' SUBTOTAL LUMP SUM BID PRICE | 179000
PART 'B' - UNIT PRICE BID
Item | Description | Est. Qty | Unit | Unit Price | Total
43 | Unsuitable Material Removal and Disposal with Replacement with Suitable Material (A-3) | 700 | CY | 0 | 0
44 | Removal of Grit, Rags, Debris from Wetwell and Offsite Disposal | 5000 | GAL | 0 | 0
45 | Existing Splitter Box Rehabilitation
a | SSPC-SP2 Interior Concrete Removal (Interior Walls No. 1 thru 4) | 585 | SF | 0 | 0
b | Surface Preparation per JEA Specification 448(V) (Interior Walls No. 1 thru 4) | 585 | SF | 0 | 0
c | NDT Testing | 10 | Test | 0 | 0
d | Concrete Repair Type 'A' | 400 | SF | 0 | 0
e | Concrete Repair Type 'B' | 400 | SF | 0 | 0
f | Concrete Repair Type 'C' | 400 | SF | 0 | 0
g | Concrete Repair Type 'D' | 400 | SF | 0 | 0
h | Wall No. 1 Repair with Reinforcing Mat (Section 1/M-2/M-4) | 185 | SF | 0 | 0
|  |  |  | 'PART B' SUBTOTAL UNIT PRICE ITEMS | 0
|  |  |  | TOTAL 'PART A' + 'PART B' ITEMS | 179000
ADDITIVE ALTERNATES
46 | Additive Alternate No. 1 - Sump Pump Piping/Valving Replacement & Concrete Wall Repair | 1 | LS |  | 0
47 | Additive Alternate No. 2 - Stabilized Driveway and Drainage | 1 | LS |  | 0
|  |  |  | TOTAL BID (PART 'A' + PART 'B' + ADD ALTS) | 179000
PLEASE NOTE, THE 'PART A' BREAKDOWN IS FOR INFORMATIONAL PURPOSES ONLY.