## Bid Totals
RESPONDENT RATES WORKBOOK
078-19 JEA OVERHEAD CRANE & HOIST MAINTENANCE
Total 5-Year Cost - Northside Generating Station | 0
Total 5-Year Cost - Combustion Turbines | 0
Total 5-Year Cost - Water Treatment Plants | 4680
Total 5-Year Cost - Core City & BioSolids | 0
Total 5-Year Cost - North Grid | 0
Total 5-Year Cost - East Grid | 0
Total 5-Year Cost - South Grid | 0
Total 5-Year Cost - West Grid | 0
Total 5-Year Cost - St Johns Grid | 0
Total 5-Year Cost - Nassau Grid | 0
Total 5-Year Cost - T&M Rates | 300000
Total 5-Year Cost - Load Testing | 0
Grand Total - JEA Overhead Crane & Hoist Maintenance | 304680

## Northside Gen.
Overhead Crane & Hoist Maintenance - Northside Generating Station
4357 Heckscher Drive, Jacksonville, FL 32226
JEA Contact: Chris Pruitt, ph. 904.665.4090, email: pruicn@jea.com
Inspection Costs
Bid Item # | Equipment Location | JEA Equipment ID | Hoist Mfg. UON | Model # | Serial # | Capacity (tons) | Span | Lift | Criticality | Annual | Five-Year Totals
1.1 | Ship Unloader Hoist #1 | N00-FS57-016 | Morris Monorail Hoist (EWRH) | 420L-1/1STD | 16-305087 | 2 | 25' | 135' | Low | 0 | 0
1.2 | Ship Unloader Hoist #2 | N00-FS57-032 | Morris Monorail Hoist (EWRH) | 420L-1/1STD | 32-305086 | 3.2 | - | 185' | Low | 0 | 0
1.3 | Storeroom #4 | N00MB23-011 | Harnischfeger P&H Bridge Crane (EWRH) | 43JJ120 | T67239 | 5 | 40' | 20' | Low | 0 | 0
1.4 | LS Prep Bldg. Dryer/Mill "A" North 2nd Floor | N00-MB57-001 | Yale Monorail Hoist (EWRH) | BEW5X20 RT15D4 | 1984076E | 5 | 50' | 20' | Low | 0 | 0
1.5 | LS Prep Bldg. Dryer/Mill "B" Mid 2nd Floor | N00-MB57-002 | Yale Monorail Hoist (EWRH) | BEW5X20 RT15D4 | 1984076A | 5 | 50' | 20' | Low | 0 | 0
1.6 | LS Prep Bldg. Dryer/Mill "C" South 2nd Floor | N00-MB57-003 | Yale Monorail Hoist (EWRH) | BEW5X20 RT15D4 | 1984076E | 5 | 50' | 20' | Low | 0 | 0
1.7 | LS Prep Bldg. North Top Floor | N00-MB57-004 | Yale Monorail Hoist (EWRH) | EEW5X20 RT25S2 | 1983977A | 5 | 25' | 110' | Low | 0 | 0
1.8 | LS Prep Bldg. Mid Top Floor | N00-MB57-005 | Yale Monorail Hoist (ECH) |  | JLA-277-VND | 1.5 | - | - | Low | 0 | 0
1.9 | LS Prep Bldg. South Top Floor | N00-MB57-006 | Yale Monorail Hoist (ECH) |  | JLA-276-VND | 1.5 | 20' | 12' | Low | 0 | 0
1.1 | Bed Ash Blower Bldg. 72 | N00-MB57-007 | Yale Monorail Hoist (EWRH) | BEW5X33 RT12S4 | 2102845A | 5 | 40' | 15' | Low | 0 | 0
1.11 | NS 1 & 2 Stack CEMs Hoist | N00-MB57-010 | Hoist (EWRH) | EU55DNKUN20- 2500V1 |  | 0.5 | - | - | Low | 0 | 0
1.12 | Maint. Building Pump Shop Bridge Crane | N00-MB57-011 | DeShazo Crane Yale Hoist (EWRH) | 45B01555+ DEW15X16 RT11S4 | W314254-A | 15 | 40' | 25' | Low | 0 | 0
1.13 | Maint. Building Weld Shop Bridge Crane | N00-MB57-012 | DeShazo Crane Yale Hoist (EWRH) | 4501055+ CEW10X20ST1404 | W305093A | 10 | 40' | 25' | Low | 0 | 0
1.14 | Maint. Building Machine Shop Bridge Crane | N00-MB57-013 | Manning Maxwell & Moore Dresser (EWRH) | N/A | 65-38073HT | 25 | 40' | 25' | Low | 0 | 0
1,15 | Turbine Bldg. Bridge Crane 4th Floor | N00-MB57-014 | Whiting (EWRH) | Aux | 9184 | 25 | 100' | 100' | High | 0 | 0
1.16 | Turbine Bldg. Bridge Crane 4th Floor | N00-MB57-014 | Whiting (EWRH) | Aux | 9184 | 25 | 100' | 100' | High | 0 | 0
1.17 | Turbine Bldg. Bridge Crane 4th Floor | N00-MB57-014 | Whiting (EWRH) | Main | 9184 | 250 | 100' | 100' | High | 0 | 0
1.18 | Electric Shop Bridge Crane Ground Floor | N00-MB57-015 | Demag Crane Konecrane (ECH) | XN102000 12M16T2CT4I | 74038 | 5 | 35' | 15' | Low | 0 | 0
1.19 | MNX Hoist Tripper Floor | N00-MB57-314 | Yale Monorail Hoist (EWRH) |  |  | 5 | - | - | Low | 0 | 0
1.2 | Transfer Bldg. #5 | N00-MB57-315 | Yale Monorail Hoist (EWRH) |  |  | 5 | 40' | 150' | Low | 0 | 0
1.21 | N01 Fly Ash Silo Hoist | N00-MB57-922 | Reliable Crane Yale Hoist (ECH) | KELB0132 | 198344+ AH5700XD | 1 | 12' | 220' | Low | 0 | 0
1.22 | N02 Fly Ash Silo Hoist | N00-MB57-923 | Reliable Crane Yale Hoist (ECH) | KELB0132 | 334928 | 1 | - | - | Low | 0 | 0
1.23 | N01 Bed Ash Silo Hoist | N00-MB57-926 | Reliable Crane Yale Hoist (ECH) | KELB0132 | 334930 | 1 | 12' | 250' | Low | 0 | 0
1.24 | N02 Bed Ash Silo Hoist | N00-MB57-927 | Reliable Crane Yale Hoist (EWRH) | KELB0132 | 334945 | 1 | 12' | 220' | Low | 0 | 0
1.25 | Turbine Bldg. 4th Floor "A" Frame 36 | N00-MB57-931 | Wallace Gantry Harrington (ECH) | S4T21-S25+ EP1A-06SY1743 | 147209 | 2 | 25' | 20' | Low | 0 | 0
1.26 | Turbine Bldg. 4th Floor "A" Frame 35A | N00-MB57-932 | SPANCO Yellow Yale (EWRH) | XN25500020 | W320203A | 5 | 25' | 15' | Low | 0 | 0
1.27 | Turbine Bldg. 4th Floor "A" Frame 35B | N00-MB57-932 | SPANCO Yellow Konecranes (EWRH) | P12TC02B02 | 1027307461 | 10 | 25' | 15' | Low | 0 | 0
1.28 | N01 Bed Ash Surge Hopper | N01-MB57-001 | Konecranes Monorail Hoist (ECH) | XN05-1000054-H08S2E | E0809176 | 1 | 23' | 35' | Low | 0 | 0
1.29 | N01 SB MNX "A" 12th Floor Column "E9" | N01-MB57-002 | Electro-Lift Monorail Hoist (EWRH) |  | 150277 | 2 | - | 182' | Low | 0 | 0
1.3 | N01 SB MNX "B" 12th Floor Column "E5" | N01-MB57-003 | Electro-Lift Monorail Hoist(EWRH) |  | 150276 | 2 | - | 182' | Low | 0 | 0
1.31 | N01 12th Floor Column "C2" | N01-MB57-004 | Electro-Lift Monorail Hoist (EWRH) |  | 150246 | 3 | 20' | 182' | Low | 0 | 0
1.32 | N01 SDA Jib Crane and Hoist | N01-MB57-005 | Konecranes Trolley Hoist (ECH) | XN10-100160-P3251C | E0910112 | 1 | 12' | 200' | Low | 0 | 0
1.33 | N01 Fabric Filter Outside Jib | N01-MB57-008 | Gorbel Jib Demag Hoist (ECH) | DKU5-500-KV2-F4 |  | 0.5 | 12' | 80' | Low | 0 | 0
1.34 | N01 Fabric Filter "A" | N01-MB57-009 | Demag Monorail Hoist (ECH) | DKUN16-1600-KV1-F4 | 61254191 | 3 | 100' | 15' | Low | 0 | 0
1.35 | N01 Fabric Filter "B" | N01-MB57-010 | Demag Monorail Hoist (ECH) | DKUN16-1600-KV1-F4 | 61254192 | 3 | 100' | 15' | Low | 0 | 0
1.36 | N01 Fabric Filter "C" | N01-MB57-011 | Demag Monorail Hoist (ECH) | DKUN16-1600-KV1-F4 | 61254188 | 3 | 100' | 15' | Low | 0 | 0
1.37 | N01 Fabric Filter "D" | N01-MB57-012 | Demag Monorail Hoist (ECH) | DKUN16-1600-KV1-F4 | 61254186 | 3 | 100' | 15' | Low | 0 | 0
1.38 | N02 Bed Ash Surge Hopper | N02-MB57-001 | Konecranes Monorail Hoist (ECH) | XN05-100054-H08SZE | E0809176 | 1 | 23' | 35' | Low | 0 | 0
1.39 | N02 SB MNX "A" 12th Floor Column "E21" | N02-MB57-002 | Electro-Lift Monorail Hoist (EWRH) | N/A | 150279 | 2 | - | 182' | Low | 0 | 0
1.4 | N02 SB MNX "B" 12th Floor Column "E17" | N02-MB57-003 | Electro-Lift Monorail Hoist (EWRH) | N/A | 150278 | 2 | - | 182' | Low | 0 | 0
1.41 | N01 12th Floor Column "C15" | N02-MB57-004 | Electro-Lift Monorail Hoist (EWRH) | N/A | 160247 | 3 | - | 182' | Low | 0 | 0
1.42 | N02 SDA Jib Crane and Hoist | N02-MB57-005 | Coffing Trolley Hoist (ECH) | EC2032-4 | EC3F124VUD | 1 | 20' | 200' | Low | 0 | 0
1.43 | N02 Fabric Filter | N02-MB57-008 | Demag Monorail Hoist (ECH) | DKUN16-1600-KV1-F4 | 61254190 | 3 | 12' | 80' | Low | 0 | 0
1.44 | N02 Fabric Filter "A" | N02-MB57-009 | Gorbel Jib Demag Hoist (ECH) | XN10-100080-P32T1C | E0910165 | 1 | 12' | 15' | Low | 0 | 0
1.45 | N02 Fabric Filter "B" | N02-MB57-010 | Demag Monorail Hoist (ECH) | DKUN16-1600-KV1-F4 | 61254185 | 3 | 100 | 15' | Low | 0 | 0
1.46 | N02 Fabric Filter "C" | N02-MB57-011 | Demag Monorail Hoist (ECH) | DKUN16-1600-KV1-F4 | 61254187 | 3 | 100' | 15' | Low | 0 | 0
1.47 | N02 Fabric Filter "D" | N02-MB57-012 | Demag Monorail Hoist (ECH) | DKUN16-1600-KV1-F4 | 61254189 | 3 | 100' | 15' | Low | 0 | 0
1.48 | Byproduct Svcs |  | Harrington Navy Trolley Hoist (MCH) | CF40210 | B001.961 | 2 | - | - | Low | 0 | 0
1.49 | Byproduct Svcs |  | Morris Monorail Hoist (MCH) | CF40219 | 551918 | 2 | - | - | Low | 0 | 0
Total 5-Year Cost - NGS Overhead Crane & Hoist Maintenance | [9 empty] | 0 | 0

## CT's
Overhead Crane & Hoist Maintenance - Combustion Turbines
Brandy Branch Generating Station, 15701 West Beaver St, Jacksonville, FL 32234
JEA Contact: Kristin Anderson, ph. 904.665.7841, email: andekm@jea.com
Kennedy Generating Station, 4215 Talleyrand Ave, Jacksonville, FL 32206
Greenland Energy Center, 6850 Energy Center Drive, Jacksonville, FL 32256
JEA Contact: Roy Knight, ph. 904.665.8370, email: knigre@jea.com
Inspection Costs
Bid Item # | Equipment Location | JEA Equipment ID | Hoist Mfg. UON | Model # | Serial # | Capacity (tons) | Annual | Five-Year Totals
2.1 | BBGS MNX Shop | Bridge Crane | Konecranes |  | HFW04732 | 10 | 0 | 0
2.2 | B51 Turbine Enclosure | Manual Chain Hoist |  |  |  | 1 | 0 | 0
2.3 | B52 Turbine Enclosure | Manual Chain Hoist |  |  |  | 1 | 0 | 0
2.4 | B53 Turbine Enclosure | Manual Chain Hoist |  |  |  | 1 | 0 | 0
2.5 | KGS Warehouse North | Bridge Crane | Spanmaster/Yale | W307293B | BEW3X22 RT16S2 | 3 | 0 | 0
2.6 | KGS Warehouse South | Bridge Crane | ACI | WRLH01024 S02041 | 138402492 | 5 | 0 | 0
2.7 | K37 Turbine Enclosure | Manual Chain Hoist |  |  |  | 1 | 0 | 0
2.8 | K38 Turbine Enclosure | Manual Chain Hoist |  |  |  | 1 | 0 | 0
2.9 | GEC Warehouse | Bridge Crane | Mid-Atlantic |  | E-4105 | 10 | 0 | 0
2.1 | G61 Turbine Enclosure | Manual Chain Hoist |  |  |  | 1 | 0 | 0
2.11 | G62 Turbine Enclosure | Manual Chain Hoist |  |  |  | 1 | 0 | 0
Total 5-Year Cost - Combustion Turbine Overhead Crane & Hoist Maintenance | [6 empty] | 0 | 0

## Water Plants
Overhead Crane & Hoist Maintenance - Water Treatment Plants
Ridenhour WTP, 102 Kernan Blvd, Jacksonville, FL 32225
JEA Contact: Jay Barry, ph. 904.665.7815, email: barrjm@jea.com
Inspection Costs
Bid Item # | Equipment Location | JEA Equipment ID | Hoist Mfg. UON | Model # | Serial # | Capacity (tons) | Span | Lift | Criticality | Annual | Five-Year Totals
3.1 | Arlington WTP 1425 Maitland Rd 32211 | AR-01 252089 |  |  |  | 2 |  |  |  | 0 | 0
3.2 | Bartram Re-Pump 4503 Racetrack Rd 32259 | BT-01 263518 |  |  |  | 2 |  |  |  | 0 | 0
3.3 | Brierwood WTP 6513 Powers Ave 32207 | BR-01 252091 | Deshazo (EWRH) | SG-EOT-EWRH | 16313-3 | 5 | 36' | 23' | - | 0 | 0
3.4 | Cecil WTP 13601 Normandy Blvd 32221 | CC-01 252089 |  |  |  | 2 |  |  |  | 0 | 0
3.5 | Comm. Hall WTP 2935 Orange Pickers Rd 32223 | CH-01252090 | Yale (EWRH) | LEW322MT10S4 | LEW3B108XGD | 3 | 61' | 10' | - | 0 | 0
3.6 | Deerwood 3 WTP 7587 Southside Blvd 32256 | DW-01 252093 Pump Room | Deshazo (EWRH) | 806047 | 16313-2 | 5 | 36' | 30' | Low | 0 | 0
3.7 | Deerwood 3 WTP 7587 Southside Blvd 32256 | DW-01 SHOP CRANE | Yale (EWRH) | LEW322MT1QS4 | LEW3-B109XGD | 2 | 53' | 10' | Low | 0 | 0
3.8 | Greenland WTP 6850 Energy Center Dr 32256 | GR-01 269640 | Gorbel (MCH) | SGURPT | 527674 | 2 | 22' | 10' | - | 0 | 0
3.9 | Hendricks WTP 1418 Kings Ave 32207 | HD-01 252086 | MHS (MCH) |  | 82150 | 2 | 45' | 12' | Low | 0 | 0
3.1 | Highlands WTP 801 Beckner St 32218 | HL-01 234979 |  |  |  | 2 |  |  |  | 0 | 0
3.11 | Lakeshore WTP 2113 Hamilton St 32210 | LS-01 252084 | Homemade (MCH) | Series 648 | S-THA040FR | 2 | 27' | 11' | Low | 0 | 0
3.12 | Lovegrove WTP 5575 Barker St 32207 | LG-01 234978 | Yale (MCH) |  | LKTH-596779 | 2 | 39' | 10' | Low | 0 | 0
3.13 | Lovegrove WTP 5575 Barker St 32207 | LG-02 234978 | Detroit Hoist & Crane (EWRH) |  | 143982 | 3 | 30' | 8' | - | 0 | 0
3.14 | Marietta WTP 201 North McCargo St 32220 | MA-01 234977 |  |  |  | 2 |  |  |  | 0 | 0
3.15 | McDuff WTP 1040 South McDuff Ave 32205 | MD-01 252088 | Manning Maxwell & Moore (EWRH & MCH) | 3235781+ Series 648 | 15898+ 532063461S-THA128FK | 2 | 27' | 11' | Low | 0 | 0
3.16 | Norwood WTP 1033 Escambia St 32208 | NOW-01 248331 | Conco (MCH) | 49 | 4723+C-28 | 2 | 17' | 11' | Low | 0 | 0
3.17 | Oakridge WTP 11789 Saints Rd 32246 | OR-01 252092 | CM (ECH) |  | 1918H | 3 | - | - | - | 0 | 0
3.18 | Ridenhour WTP 102 Kernan Blvd 32225 | RID02 252085 | FHS (EWRH) |  |  | 5 | 50' | 30' | Moderate | 0 | 0
3.19 | Ridenhour WTP 102 Kernan Blvd 32225 | RID02 SHOP | FHS (EWRH) | 80L03030S16 | 97J20891 | 3 | 30' | 20' | - | 0 | 0
3.2 | River Oaks Re-Pump 1851 River Oaks Rd 32207 | RO-01 264539 | Industrial Scale & Equipment (MCH) | 41 | 11500 | 2 | 27' | 12' | Low | 0 | 0
3.21 | Southwest WTP 7754 Wheat Rd 32244 | SW-01 252094 | Philadelphia (MCH) | SGURPT | 82151A | 2 | 37' | 11' | Moderate | 0 | 0
3.22 | Southwest WTP 7754 Wheat Rd 32244 | SW-01 SHOP | MHS (MCH) |  |  | 2 | 41' | 17' | Moderate | 0 | 0
3.23 | St Johns Forest 2740-1 CR 210 32259 | WT-005 252171 |  |  |  | 2 |  |  |  | 0 | 0
3.24 | St Johns North WTP 2369 Hawkcrest Dr East 32259 | WT-011 257170 |  |  |  | 2 |  |  |  | 0 | 0
3.25 | Westlake WTP 4770 Cisco Lake Dr West 32219 | WL-01 234976 |  |  |  | 2 |  |  |  | 0 | 0
Overhead Crane & Hoist Maintenance - Ridenhour WTP
A-Framed Mounted Hoists & Cranes
Inspection Costs
Bid Item # | Equipment Location | JEA Equipment ID | Hoist Mfg. UON | Model # | Serial # | Capacity (tons) | Span | Lift | Criticality | Annual | Five-Year Totals
3.26 | Fairfax WTP 3020 Fairfax St 32209 | FF-01248333 | Wright (EWRH) |  | 552-06-3459 | 2 | 31' | 9' | Moderate | 234 | 1170
3.27 | Southeast WTP 13600 W.M. Davis Parkway 32224 | SW-036 Shop |  |  |  | 2 |  |  |  | 234 | 1170
3.28 | Main St WTP 1002 N. Main St 32206 | MS-01 Portable | Accolift (ECH) |  | 540909 | 2 | 20' | 14.5' | - | 234 | 1170
3.29 | Main St WTP 1002 N. Main St 32206 | MS-02 Gantry | Western (MCH) |  | 301763 | 2 | 7' | 9' | - | 234 | 1170
Total 5-Year Cost - WTP Overhead Crane & Hoist Maintenance | [9 empty] | 936 | 4680

## Core City & BioSolids
Overhead Crane & Hoist Maintenance - Core City Grid
Buckman WRF, 2400 Talleyrand Ave, Jacksonville, FL 32206
JEA Contact: Michael Durrett, ph. 904.665.8319, email: durrme@jea.com
Inspection Costs
Bid Item # | Equipment Location | JEA Equipment ID | Hoist Mfg. UON | Model # | Serial # | Capacity (tons) | Span | Lift | Criticality | Annual | Five-Year Totals
4.1 | Building 17 Blower | 1 | Abell-Howe (EWRH) | 71-4375-01 | T 4-4799 | 20 | 50' | 30' | High | 0 | 0
4.2 | Building 1 MPS | 10 | Manning Maxwell & Moore (EWRH) |  | 21.98 | 5 | 40' | 15' | High | 0 | 0
4.3 | North Pit #24 | 11 | Konecranes (MCH) | 52721237 | 10941439 | 1 | 60' | 30' | High | 0 | 0
4.4 | South Pit #25 | 12 | Konecranes |  |  | 1 |  |  |  | 0 | 0
4.5 | Main Building #2 | 13 | Wright (MCH) | 05 | T06-05-0279 | 2 | 100' | 12' | High | 0 | 0
4.6 | Machine Shop | 14 | Coffing (MCH) | LMHA | TR0193 | 1 | 20' | 12' | High | 0 | 0
4.7 | Electric Shop | 15A | CM (MCH) |  | LW-008FX | 1 | 25' | 14' | Moderate | 0 | 0
4.8 | Electric Shop | 15B | Wright (ECH) |  |  | 2 | 25' | 14' | Moderate | 0 | 0
4.9 | Grit Effluent Channel | M101 | Yale Monorail Hoist (EWRH) | GC3M07-02520-2 |  | 7.5 | - | - | - | 0 | 0
4.1 | Grit Effluent Channel | M102 | ElectroLift Monorail Hoist (EWRH) | 20100 | 202056 | 3 | - | - | - | 0 | 0
4.11 | Bldg. 35 Digester #3 |  | Yale Monorail Hoist (ECH) | MDT03C | TR4779VA | 3 | - | - | - | 0 | 0
Overhead Crane & Hoist Maintenance - BioSolids
Buckman BioSolids, 2400 Talleyrand Ave, Jacksonville, FL 32206
JEA Contact: Michael Durrett, ph. 904.665.8319, email: durrme@jea.com
Inspection Costs
Bid Item # | Equipment Location | JEA Equipment ID | Hoist Mfg. UON | Model # | Serial # | Capacity (tons) | Span | Lift | Criticality | Annual | Five-Year Totals
4.12 | Building 15 Compressor | 2 | Yale (EWRH) |  | 2202397 | 2 | 50' | 15' | High | 0 | 0
4.13 | Bldg. 1 3rd Floor | 3 | US Monorail Yale (EWRH) | BEW2-622G20D2 | 2202405A | 2 | 150' | 65' | Moderate | 0 | 0
4.14 | Bldg. 1 3rd Floor | 4 | Yale (EWRH) | DEW10-75RT15 | W318556A | 8 | 100' | 60' | High | 0 | 0
4.15 | Bldg. 1 3rd Floor | 5 | I-Beam Manual Trolley No Hoist |  |  | 0.5 | 12' | 15' | Low | 0 | 0
4.16 | Bldg. 1 3rd Floor | 6 | I-Beam Manual Trolley No Hoist |  |  | 0.5 | 12' | 15' | Low | 0 | 0
4.17 | Building 14 | 7 | Yale (ECH) | 11690047 | 280331 | 2 | 15' | 10' | High | 0 | 0
4.18 | Bldg. 1 3rd Floor | 8 | Konecranes (EWRH) | CXT50410100 P75JJNQS | HLY87128 | 8 | 100' | 66' | High | 0 | 0
4.19 | Bldg. 1 3rd Floor | 9 | Coffing (ECH) | EC10005-3 | TEC3E-152 NHD | 5 | 100' | 50' | Moderate | 0 | 0
Total 5-Year Cost - Core City & BioSolids Overhead Crane & Hoist Maintenance | [9 empty] | 0 | 0

## North Grid
Overhead Crane & Hoist Maintenance - North Grid
1840 Cedar Bay Rd, Jacksonville, FL 32218
JEA Contact: Kent Williamson, ph. 904.665.8383, email: willkc@jea.com
Inspection Costs
Bid Item # | Equipment Location | JEA Equipment ID | Hoist Mfg. UON | Model # | Serial # | Capacity (tons) | Span | Lift | Criticality | Annual | Five-Year Totals
5.1 | 11305 Harts Rd |  | Yale | CEW550ST20702 | AZ227396 | 5 |  |  |  | 0 | 0
5.2 | 10800 Keyhaven Blvd |  | Yale | CEW550ST20702 | AZ227387 | 5 |  |  |  | 0 | 0
5.3 | 604 Water St |  | CM | Valustar | LW1801RY | 2 |  |  |  | 0 | 0
5.4 | 604 Water St |  | Chester Hoist | Zephyr | TR1269 | 2 |  |  |  | 0 | 0
5.5 | 834 Bay St |  | Wright | 05 |  | 5 |  |  |  | 0 | 0
5.6 | 834 Bay St |  | CM | Lodestar | L934CD | 2 |  |  |  | 0 | 0
5.7 | 210 Hollybrook St |  | Harrington | 512062 | SNER0206 | 2 |  |  |  | 0 | 0
5.8 | 2304 McMillan St |  | Wright |  | 6682 | 5 |  |  |  | 0 | 0
5.9 | 2304 McMillan St |  | CM |  |  | 2 |  |  |  | 0 | 0
5.1 | 1640 Talleyrand Ave |  | Wright | 05 | 06/05/06490 | 5 |  |  |  | 0 | 0
5.11 | 1640 Talleyrand Ave |  | Coff | EC8012.3 | EC3E14YHD | 4 |  |  |  | 0 | 0
5.12 | 5300 Buffalo Ave |  | Budget |  |  | 3 |  |  |  | 0 | 0
5.13 | 718 Standish Ave |  | Wright | 05 |  | 5 |  |  |  | 0 | 0
5.14 | 1840 Cedar Bay Rd MNX Shop |  | CM Loadstar (electric) |  |  | 2 |  |  |  | 0 | 0
5.15 | 1841 Cedar Bay Rd MNX Shop | 2 | CM (MCH) |  |  | 2 |  |  |  | 0 | 0
5.16 | 1842 Cedar Bay Rd Blower Bldg. | 1 | TC America ACCO (EWRH) | 3237581 | 532079112 | 3 | 36' | 15' | Moderate | 0 | 0
Total 5-Year Cost - North Grid Overhead Crane & Hoist Maintenance | [9 empty] | 0 | 0

## East Grid
Overhead Crane & Hoist Maintenance - East Grid
1555 Millcoe Rd, Jacksonville, FL 32225
JEA Contact: Dan Weaver, ph. 904.665.4485, email: weavds2@jea.com
Inspection Costs
Bid Item # | Equipment Location | JEA Equipment ID | Hoist Mfg. UON | Model # | Serial # | Capacity (tons) | Annual | Five-Year Totals
6.1 | 2588 Lofberg Dr. | Station Crane | Harrington | ER020L | 00070403 | 2 | 0 | 0
6.2 | Arlington East Blower Bldg. | Blower Bldg. Crane | Sheppard Niles |  |  | 10 | 0 | 0
6.3 | Arlington East Chlorine Bldg. | Chlorine Bldg. Crane | CM | Loadstar | L3119UR | 0.5 | 0 | 0
6.4 | Arlington East Maint. Shop | Maint. Shop Crane | Coffing | JLC40083-15 | JMA6635RB-1 | 2 | 0 | 0
6.5 | Arlington East Storage Area | Overhead Crane | Coffing | AP5715 |  | 2 | 0 | 0
6.6 | Arlington East Storage Pump Drop Off | Jib Crane | CM | Valustar | LW350RA | 1 | 0 | 0
6.7 | Arlington East UV | UV Bridge Crane | ACI Hoist | WRLH0226S342 | 13840222 | 1 | 0 | 0
6.8 | 2045 Utah Ave. | Station Overhead Crane | Robbin & Myers | RE020L | 00070403 | 2 | 0 | 0
6.9 | 5802 Harris St. | Jib Crane | David Round & Son | JLC10162-20 | JM1306SV | 0.5 | 0 | 0
6.1 | 10477 Bradley Rd. | Station Overhead Crane | Reliable Crane |  | YH0440J | 5 | 0 | 0
6.11 | 7833 Holiday Rd. | Station Overhead Crane | Satellite |  |  | 3 | 0 | 0
Total 5-Year Cost - East Grid Overhead Crane & Hoist Maintenance | [6 empty] | 0 | 0

## South Grid
Overhead Crane & Hoist Maintenance - South Grid
Mandarin WRF - 10828 Hampton Rd, Jacksonville, FL 32257
JEA Contact: John Sgambettera, ph. 904.665.7917, email: sgamjj@jea.com
Inspection Costs
Bid Item # | Equipment Location | JEA Equipment ID | Hoist Mfg. UON | Model # | Serial # | Capacity (tons) | Annual | Five-Year Totals
7.1 | Mandarin WRF Building 1 MNX Shop | 01 | Shaw-Box | L05020S122-7102 | L5-84952 | 3.5 | 0 | 0
7.2 | Mandarin WRF Building 2 Influent Wetwell | 02 | Harrington | NERO 20L | 0006304 | 2 | 0 | 0
7.3 | Mandarin WRF Building 3 Blower Room | 03 | Shaw-Box | L05020S122-7103 | L6-85546 | 5 | 0 | 0
7.4 | Mandarin WRF Building 5 Thickener Room | 04 | Shaw-Box | L05020S122-7123 | L6-85547 | 5 | 0 | 0
7.5 | Mandarin WRF Building 7 Return Pump Rm | 05 | Shaw-Box | L05020S162-7103 | L6-85545 | 2 | 0 | 0
7.6 | Mandarin WRF Building 9 Internal Recycle Pumps | 06 | Shaw-Box | 72L1004OS14 | 97F-30709 | 7.5 | 0 | 0
7.7 | Mandarin WRF River UV Module Hoist | 07 | Konecranes | XNIO | 12403-11939 | 1 | 0 | 0
Total 5-Year Cost - South Grid Overhead Crane & Hoist Maintenance | [6 empty] | 0 | 0

## West Grid
Overhead Crane & Hoist Maintenance - West Grid
Southwest WRF, 5420 118th Street, Jacksonville, FL 32244
JEA Contact: Mike Jones, ph. 904.665.8333, email: joneml2@jea.com
Inspection Costs
Bid Item # | Equipment Location | JEA Equipment ID | Hoist Mfg. UON | Model # | Serial # | Capacity (tons) | Span | Lift | Criticality | Annual | Five-Year Totals
8.1 | MNX Shop Building #1 | SW1 | Cleveland Tramrail Konecreane (MCH) | KM Series II | 10360533 | 2 | 30' | 12' | Moderate | 0 | 0
8.2 | Aux Building Building #6 | SW2 | Span Master Konecrane (MCH) | KM Series II | 10305112 | 3 | 20' | 8' | Moderate | 0 | 0
8.3 | Power Building Building #5 | SW3 | Span Master Harrignton (MCH) |  | 5299 | 3 | 20' | 25' | Low | 0 | 0
8.4 | Pump Room Building #10 | SW4 | R&M (EWRH) | SC526 | 3048 | 5 | 23' | 24' | Moderate | 0 | 0
8.5 | UV #2 Treatment West Unit | SW5 | Columbia (EWRH) |  |  | 0.64 | 3' | 6' | Low | 0 | 0
8.6 | UV #2 Treatment East Unit | SW6 | Columbia (EWRH) |  |  | 0.64 | 3' | 6' | Low | 0 | 0
8.7 | UV #1 Treatment West Unit | SW7 | Columbia (EWRH) |  | 776207 | 0.64 | 3' | 6' | Low | 0 | 0
8.8 | UV #1 Treatment East Unit | SW8 | Columbia (EWRH) |  | 9776209 | 0.64 | 3' | 6' | Low | 0 | 0
8.9 | 5104 118th St (Eastmaster) | WG1 |  |  |  | 4 |  |  |  | 0 | 0
8.1 | 5105 118th St (Eastmaster) | WG2 | Gorbel (ECH) | WC200-B2-14-W16 | 1022926+ 10244926 | 2 | 15' | 25' | Low | 0 | 0
8.11 | 5106 118th St (Eastmaster) | WG3 | Gorbel (ECH) | WC200-B2-14-W16 | 10244927 | 2 | 15' | 25' | Low | 0 | 0
8.12 | 7039 Alachua Ave | WG4 |  |  |  | 2 |  |  |  | 0 | 0
8.13 | 4140 Kingsbury St | WG5 |  |  |  | 2 |  |  |  | 0 | 0
8.14 | 4881 Timuquana Rd | WG6 | Cleveland Tramrail |  | J360925D | 2 |  |  |  | 0 | 0
8.15 | 6217 Wilson Blvd | WG7 | Yale |  |  | 1 |  |  |  | 0 | 0
8.16 | 6217 Wilson Blvd | WG8 | Yale |  |  | 1 |  |  |  | 0 | 0
Chainfall & Come-Alongs - West Grid
Inspection Costs
Bid Item # | Equipment Location | JEA Equipment ID | Hoist Mfg. UON | Model # | Serial # | Capacity (tons) | Span | Lift | Criticality | Annual | Five-Year Totals
8.17 |  | Cable Winch | Columbia |  |  | 0.64 |  |  |  | 0 | 0
8.18 |  | Cable Winch |  |  |  | 0.64 |  |  |  | 0 | 0
8.19 |  | Cable Winch |  | 776207 |  | 0.64 |  |  |  | 0 | 0
8.2 |  | Cable Winch | Columbia | 9776209 |  | 0.64 |  |  |  | 0 | 0
8.21 |  | Chainfall | CM | T-AY-19 | Cyclone S | 2 |  |  |  | 0 | 0
8.22 |  | Chainfall | Harrington | 1612 | M3687 | 3 |  |  |  | 0 | 0
8.23 |  | Chainfall | Harrington | 5299 | M3687 | 3 |  |  |  | 0 | 0
8.24 |  | Chainfall | R&M Crane | A0004135 | SC526 | 5 |  |  |  | 0 | 0
8.25 |  | Chainfall | Lodestar (ECH) | Lodestar | L5590SQ | 2 | 25' | 15' | Low | 0 | 0
8.26 |  | Chainfall | Konecranes | KM Series |  | 2 |  |  |  | 0 | 0
8.27 |  | Chainfall | Konecranes | KM Series |  | 2 |  |  |  | 0 | 0
8.28 |  | Chainfall | Harrington |  |  | 2 |  |  |  | 0 | 0
8.29 |  | Chainfall |  | YSH-200 | 22010000280 | 2 |  |  |  | 0 | 0
8.3 |  | Chainfall |  | S |  | 2 |  |  |  | 0 | 0
8.31 |  | Chainfall | Yale |  |  | 2 |  |  |  | 0 | 0
8.32 |  | Chainfall | Yale |  |  | 2 |  |  |  | 0 | 0
Total 5-Year Cost - West Grid Overhead Crane & Hoist Maintenance | [9 empty] | 0 | 0

## St Johns Grid
Overhead Crane & Hoist Maintenance - St Johns Grid
Blacksford WRF - 1245 Reclaimation Dr., St. Johns FL 32259
Ponte Vedra WRF - 200 State Rd A1A, Ponte Vedra Beach, FL 32082
Ponte Vedra Vacuum Station - 253 State Rd A1A, Ponte Vedra Beach, FL 32082
JEA Contact: Andrei Ranga, ph. 904.665.5728, email: rangac@jea.com
Inspection Costs
Bid Item # | Equipment Location | JEA Equipment ID | Hoist Mfg. UON | Model # | Serial # | Capacity (tons) | Annual | Five-Year Totals
9.1 | 200 SR A1A | UV | SPANCO | YEL513MT16S1 | Jla-588-qmd | 0.5 | 0 | 0
9.2 | 201 SR A1A | A Frame | Coffing | CA-10 | 106-NU | 0.5 | 0 | 0
9.3 | Blacksford WRF | Maintenance Shop Crane | Shaw Box |  |  | 5 | 0 | 0
9.4 | Blacksford WRF | BioSolids Crane | Shaw Box |  |  | 5 | 0 | 0
9.5 | Blacksford WRF | Filters Crane | R&M |  |  | 0.5 | 0 | 0
9.6 | Blacksford WRF | UV Crane | R&M |  |  | 2 | 0 | 0
9.7 | Blacksford WRF | Reuse Building Crane | R&M |  |  | 2 | 0 | 0
9.8 | 253 SR A1A | Vac Station Electric Hoist | Coffing | MT20081 | TA2215XF | 1 | 0 | 0
Total 5-Year Cost - St Johns Grid Overhead Crane & Hoist Maintenance | [6 empty] | 0 | 0

## Nassau Grid
Overhead Crane & Hoist Maintenance - Nassau Grid
Nassau Regional WRF, 96237 Amelia Concourse, Yulee, FL 32097
JEA Contact: Paul Yarger, ph. 904.665.6611, email: yargp@jea.com
Inspection Costs
Bid Item # | Equipment Location | JEA Equipment ID | Hoist Mfg. UON | Model # | Serial # | Capacity (tons) | Annual | Five-Year Totals
10.1 | 96237 Amelia Concourse WWTP Yulee, FL |  | J. Herbert Corp. Gantry Crane | THUG-DM | 3204 | 3 | 0 | 0
10.2 | 96237 Amelia Concourse WWTP Yulee, FL |  | Met-Track | Metreel |  | 0.5 | 0 | 0
Total 5-Year Cost - Nassau Grid Overhead Crane & Hoist Maintenance | [6 empty] | 0 | 0

## T&M Rates
Overhead Crane & Hoist Maintenance - T&M Rates
Estimated Labor Hours - 5 Year Totals
Bid Item # | Job Classification | Estimated Hours Per Year | Straight Time Hourly Rate (95%) | Overtime Hourly Rate (5%) | 5-Year Totals
12.1 | Technician | 600 | 0 | 0 | 0
12.2 | Inspector | 200 | 0 | 0 | 0
Estimated Parts Replacement - 5 Year Totals
Bid Item # | JEA Business Unit | Parts Estimate Annual | Parts Mark Up % not to exceed 10% | Annual Rate | 5-Year Totals
12.3 | Electric Plants | 30000 | 0% | 30000 | 150000
12.4 | W/WW Plants | 30000 | 0% | 30000 | 150000
Total 5-Year Cost - T&M Rates |  |  |  |  | 300000

## Load Tests
Overhead Crane & Hoist Maintenance - Load Testing
Bid Item # | Description | Estimated Load Tests during Contract Term | Unit Price (UP) | Five-Year Totals
13.1 | Up to 1 Ton Load Test | 15 | 0 | 0
13.2 | 1 Ton to 3 Ton Load Test | 15 | 0 | 0
13.3 | 3 Ton to 7 Ton Load Test | 15 | 0 | 0
13.4 | 7.5 Ton to 9 Ton Load Test | 5 | 0 | 0
13.5 | 10 Ton Load Test | 5 | 0 | 0
13.6 | 15 Ton Load Test | 5 | 0 | 0
13.7 | 25 Ton Load Test | 5 | 0 | 0
13.8 | 100 Ton Main Hoist | 2 | 0 | 0
13.9 | 250 Ton Main Hoist plus two 25 Ton Aux Hoists | 3 | 0 | 0
Total 5-Year Cost - Load Testing |  |  |  | 0