## Sheet1
088-19 Addendum 2 - Appendix B - Workbook
Buckman - 5301 Buffalo Ave - Class IV Pump Station Rehabilitation
PART A - BASE BID
Item No. | Description | Quantity | Unit | Unit Price | Total Price
1 | Demolition of Site Components | 1 | LS | 0 | 0
2 | Demolition of Process/Electrical/HVAC/Plumbing Components | 1 | LS | 0 | 0
3 | Site Work (inc. grading, base replacement, asphalt paving, sidewalks, fencing and grassing) | 1 | LS | 0 | 0
4 | Miscellaneous Structural Repairs and Modifications | 1 | LS | 0 | 0
5 | Specialty Coating for Wet Surfaces - Base Bid per Spectrashield | 1 | LS | 0 | 0
6 | Install Two (2) Sluice Gates - Base Bid per Coplastix gates by Alfa-Laval | 1 | LS | 0 | 0
7 | Install Three (3) Service Pumps (inc. motors, VFDs, controls, etc.) | 1 | LS | 0 | 0
8 | Install Ancillary Pump Systems (inc. wash water pump system, seal water pump system and dry well sump pumps with accessories, controls, etc.) | 1 | LS | 0 | 0
9 | Install One (1) Submersible Mixer (inc. controls, etc.) | 1 | LS | 0 | 0
10 | Install One (1) 400kW Generator, one (1) 2,000-gal aboveground storage tank w/ piping, controls and electrical modifications (including ATS) | 1 | LS | 0 | 0
11 | Install Process Piping (inc. interior and yard process piping, fittings, valves, supports and hangers, wall sleeves, flowmeter, vaults, etc.) | 1 | LS | 0 | 0
12 | Switchboards, Transformers, Interior and Exterior Lighting, Major Conduit and Wiring | 1 | LS | 0 | 0
13 | Instrumentation and Controls ( inc. system integration, SCADA, etc.) | 1 | LS | 0 | 0
14 | HVAC (inc. fans, ducts, etc.) | 1 | LS | 0 | 0
15 | Plumbing and Fixtures | 1 | LS | 0 | 0
16 | Electrical Costs (inc. wire terminations, startup, testing, misc. conduit and connectors) | 1 | LS | 0 | 0
17 | Bypass Pumping | 1 | LS | 0 | 0
18 | Wetwell Dewatering, Cleaning and Debris Removal | 1 | LS | 0 | 0
19 | Security Requirements (inc. access control, video, etc.) | 1 | LS | 0 | 0
20 | Record Drawings | 1 | LS | 0 | 0
21 | Permitting | 1 | LS | 0 | 0
22 | Bonds and Insurance | 1 | LS | 0 | 0
23 | JEA SWA | 1 | LS | 200000 | 200000
24 | Credit for Existing Generator and Fuel Tank | 1 | LS | 0 | 0
Part A Subtotal Lump Sum Price Items |  |  |  |  | 200000
PART B - UNIT PRICE BID
Item No. | Description | Quantity | Unit | Unit Price | Total Price
25 | Concrete Repair Type 'A' (not inc. coating) | 40 | SF | 0 | 0
26 | Concrete Repair Type 'B' (not inc. coating) | 40 | SF | 0 | 0
27 | Concrete Repair Type 'C' (not inc. coating) | 20 | SF | 0 | 0
28 | Concrete Repair Type 'D' (not inc. coating) | 200 | SF | 0 | 0
29 | Concrete Repair Type 'E' (not inc. coating) | 50 | LF | 0 | 0
30 | Non-Destructive Testing (NDT) | 10 | EA | 0 | 0
31 | A-3 Sand | 50 | CY | 0 | 0
32 | 57 Stone | 50 | CY | 0 | 0
Part B Subtotal Unit Sum Price Items |  |  |  |  | 0
Part A + Part B Subtotal |  |  |  |  | 200000
33 | Mobilization (maximum 1.50% of Part A+Part B Subtotal) |  |  |  | 0
34 | Demobilization (maximum 1.00% of Part A+Part B Subtotal) |  |  |  | 0
35 | General Conditions (maximum 10% of Part A+Part B Subtotal) |  |  |  | 0
TOTAL BASE BID PRICE (INCLUDING GENERAL CONDITIONS) |  |  |  |  | 200000
PART C - ADDITIVE OR DEDUCTIVE ALTERNATE
Item No. | Description | Quantity | Unit | Unit Price | Total Price
5 | Specialty Coating for Wet Surfaces per GML Green Monster Liner | 1 | LS | 0 | 0
(Owner may elect to substitute this manufacturer for the Base Bid materials)
6 | Sluice Gates per RW Gates or PlastiFab Gates | 1 | LS | 0 | 0
(Owner may elect to substitute this manufacturer for the Base Bid materials. Gates shall meet or exceed the requirements specified in Section 11100)
PART D - UNIT COSTS
Item No. | Description | Quantity | Unit | Unit Price | Total Price
17 | Bypass Pumping | 0 | WEEKLY | 0 | 0
17 | Bypass Pumping | 0 | MONTHLY | 0 | 0