## Instructions
Instructions: Equipment Attribute Worksheets for 5301 Buffalo Ave Pump Station Rehabilitation
JEA employs an Enterprise Asset Management system (EAM) to assist in efficient management of it's many assets. One component of the EAM is an Asset Management Database. JEA uses IBM's Maximo database software for this purpose. The data allows JEA to make sound business decisions regarding it's assets. Data collected includes specification information on assets and locations, Vendor and Manufacturer contact information, Local representatives for each asset, spare parts associated with each asset and preventative maintenance requirements for each asset.
Step One:
1. Go to the "Assets" tab.
2. For each asset in column E, fill in the information indicated in Columns I through AL.
3. For reference, see "Assets Sample" tab for example of filled out form.
Step Two:
1. Go to the "Vendor-Manufacturer" tab.
2. For each Vendor and/or Manufacturer listed on the "Assets" tab, fill in a row with the Vendor and/or Manufacturer contact information.
3. Assign each Vendor/Manufacturer a unique Vendor ID.
4. For reference, see "Vendor/Manufacturer Sample" tab for example of filled out form.
Step Three:
1. Go to the "Local Representative" tab.
2. For each Vendor and/or Manufacturer listed on the "Vendor-Manufacturer" tab, fill in a row with the associated Local Representative contact information.
3. Indicate which Vendor is associated with each Local Representative by filling in the Vendor ID / Man. ID column.
4. For reference, see "Local Representative Sample" tab for example of filled out form.
Step Four:
1. Go to the "Spare Parts" tab.
2. For each Asset ID Description for which spare parts are required / provided, fill in a row with the spare part data requested.
3. For reference, see "Spare Parts Sample" tab for example of filled out form.
Step Five:
1. Go to the "Preventative Maintenance" tab.
2. For each Asset ID Description that requires preventative maintenance, fill in a row on the Preventative Maintenance Header Table.
3. Assign a PM ID number to each row. Reference the appropriate Asset ID Descriptions.
4. For reference, see "Preventative Maintenance Sample" tab for example of filled out form.
Step Six:
1. On the "Preventative Maintenance" Tab, for each PM listed in the Preventative Maintenance Header Table, provide a step by step description of the preventative maintenance required. Associate the Preventative Maintenance steps with the associated Preventative Maintenance with the PM ID.
2. For reference, see "Preventative Maintenance Sample" tab for example of filled out form.

## Assets
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | MANUFACTURER | VALVE TYPE | VALVE SIZE-INCH | SLUICE GATE SIZE-INCH | PORT SIZE-INCH | BODY MATERAL | SEAT MATERIAL | PACKING SIZE | PRESSURE RATING | OPERATOR TYPE
LS-000491 | INFLUENT CHANNEL |  | INFLUENT ASSEMBLY | GATE- | SLUICE GATE INFLUENT TO BAR RACK CHANNEL | SG-001 | NOT READY | [8 empty] | WW-VALVE
LS-000491 | INFLUENT CHANNEL |  | INFLUENT ASSEMBLY | GATE- | SLUICE GATE INFLUENT TO BAR SCREEN CHANNEL | SG-002 | NOT READY | [8 empty] | WW-VALVE
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | MANUFACTURER | AMP RATING-AMPS | VOLTAGE-VOLTS | PHASE | BREAKER SIZE-AMPS
LS-000491 | GENERATOR ROOM |  |  | BREAKER- | GENERATOR BREAKER, 600 AMP |  | NOT READY | [8 empty] | WW-CIRCUIT BREAKER
LS-000491 | ELECTRICAL ROOM |  |  | BREAKER- | MAIN BREAKER MCC-1, 600 AMP |  | NOT READY | [8 empty] | WW-CIRCUIT BREAKER
LS-000491 | ELECTRICAL ROOM |  |  | ATS- | AUTOMATIC TRANSFER SWITCH 600 AMP | ATS | NOT READY | [8 empty] | WW-CIRCUIT BREAKER
LS-000491 | ELECTRICAL ROOM |  |  | MCC- | MOTOR CONTROL CENTER | MCC | NOT READY | [8 empty] | WW-CIRCUIT BREAKER
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | MANUFACTURER | VOLTAGE-VOLTS | PHASE | ACL-VFD-SST | STARTER SIZE | NUMBER OF STARTERS | MAIN BREAKER SIZE-AMPS | MAIN CONDUCTOR SIZE | MANUFACTURER | PART NUMBER
LS-000491 | DRYWELL |  | DRYWELL SUMP PUMPS | SPCP- | CONTROL PANEL, SUMP PUMPS | SPCP | NOT READY | [8 empty] | WW-CONTROL PANEL
LS-000491 | ELECTRICAL ROOM |  |  | RCP- | RADIO PANEL | RCP | NOT READY | [8 empty] | WW-CONTROL PANEL
LS-000491 | ELECTRICAL ROOM |  | SERVICE PUMP ASSEMBLY 1 | PCP-1 | PUMP CONTROL PANEL 1 | PCP-1 | NOT READY | [8 empty] | WW-CONTROL PANEL
LS-000491 | ELECTRICAL ROOM |  | SERVICE PUMP ASSEMBLY 2 | PCP-2 | PUMP CONTROL PANEL 2 | PCP-2 | NOT READY | [8 empty] | WW-CONTROL PANEL
LS-000491 | ELECTRICAL ROOM |  | SERVICE PUMP ASSEMBLY 3 | PCP-3 | PUMP CONTROL PANEL 3 | PCP-3 | NOT READY | [8 empty] | WW-CONTROL PANEL
| ELECTRICAL ROOM |  |  |  | NETWORK/SECURITY RACK
| ELECTRICAL ROOM |  |  |  | DOOR CONTROLLER
| ELECTRICAL ROOM |  |  |  | AIR HANDLING UNIT #1 | AHU-1
| ELECTRICAL ROOM |  |  |  | AIR HANDLING UNIT #2 | AHU-2
| MOTOR ROOM |  |  |  | SEAL WATER SYSTEM CONTROL PANEL
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | MANUFACTURER | CRANE RATING-TON
LS-000491 | MOTOR ROOM |  |  | CRANE-01 | PORTABLE CRANE #1 | CR-100-1 | NOT READY | [8 empty] | WW-CRANE
LS-000491 | MOTOR ROOM |  |  | CRANE-02 | PORTABLE CRANE #2 | CR-100-2 | NOT READY | [8 empty] | WW-CRANE
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | MANUFACTURER | NUMBER OF BELTS | BELT SIZE | MOTOR SHEAVE SIZE | FAN SHEAVE SIZE | RPM | CFM | DAMPER TYPE | SPEED CONTROL | STATIC PRESSURE
LS-000491 | ROOF |  |  | FAN- | EXHAUST FAN #1, ROOF MOUNTED | EF-1 | NOT READY | [8 empty] | WW-FAN
LS-000491 | ROOF |  |  | FAN- | EXHAUST FAN #2, ROOF MOUNTED | EF-2 | NOT READY | [8 empty] | WW-FAN
LS-000491 | ROOF |  |  | FAN- | EXHAUST FAN #3, ROOF MOUNTED | EF-3 | NOT READY | [8 empty] | WW-FAN
LS-000491 | ROOF |  |  | FAN- | EXHAUST FAN #4, ROOF MOUNTED | EF-4 | NOT READY | [8 empty] | WW-FAN
LS-000491 | ROOF |  |  | FAN- | EXHAUST FAN #5, ROOF MOUNTED | EF-5 | NOT READY | [8 empty] | WW-FAN
LS-000491 | ROOF |  |  | FAN- | SUCTION FAN #1, ROOF MOUNTED | SF-1 | NOT READY | [8 empty] | WW-FAN
LS-000491 | ROOF |  |  | FAN- | SUCTION FAN #2, ROOF MOUNTED | SF-2 | NOT READY | [8 empty] | WW-FAN
| OUTSIDE BUILDING |  |  |  | CONDENSING UNIT #1 | CU-1
| OUTSIDE BUILDING |  |  |  | CONDENSING UNIT #2 | CU-2
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | MANUFACTURER | HP | VOLTAGE
LS-000491 |  |  |  | GEN- | GENERATOR, 400 KW |  | NOT READY | [8 empty] | WW-GEN
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | MANUFACTURER | VALVE TYPE | VALVE SIZE-INCH | PORT SIZE-INCH | BODY MATERAL | SEAT MATERIAL | PACKING SIZE | PRESSURE RATING | OPERATOR TYPE
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 1 | PLUG VALVE- | 20" FL PLUG VALVE | PV-001
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 2 | PLUG VALVE- | 20" FL PLUG VALVE | PV-002
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 3 | PLUG VALVE- | 20" FL PLUG VALVE | PV-003
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 1 | CHECK VALVE- | 12" FL CHECK VALVE | CV-001
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 2 | CHECK VALVE- | 12" FL CHECK VALVE | CV-002
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 3 | CHECK VALVE- | 12" FL CHECK VALVE | CV-003
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 1 | PLUG VALVE- | 20" FL PLUG VALVE | PV-004
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 2 | PLUG VALVE- | 20" FL PLUG VALVE | PV-005
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 3 | PLUG VALVE- | 20" FL PLUG VALVE | PV-006
LS-000491 | DRYWELL |  |  | PLUG VALVE- | 6" FL GATE VALVE | PV-007
LS-000491 | YARD |  |  | GATE VALVE- | 24" MJ GATE VALVE | GV-101
LS-000491 | YARD |  |  | GATE VALVE- | 24" MJ GATE VALVE | GV-102
LS-000491 | YARD |  |  | GATE VALVE- | 3" FL GATE VALVE | GV-103
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | MANUFACTURER | METER TYPE | PHASE | METER SIZE-INCH | DISPLAY RANGE | DISPLAY RANGE LOWER LIMIT | DISPLAY RANGE UPPER LIMIT | OUTPUT RANGE | OUTPUT RANGE LOWER LIMIT | OUTPUT RANGE UPPER LIMIT | METER ACCURACY
LS-000491 | WETWELL |  |  | METER- | LEVEL SENSOR AND TRANSMITTER |  | NOT READY | [8 empty] | WW-METER
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 1 | METER- | PRESSURE METER AND TRANSMITTER, PUMP #1 |  | NOT READY | [8 empty] | WW-METER
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 2 | METER- | PRESSURE METER AND TRANSMITTER, PUMP #2 |  | NOT READY | [8 empty] | WW-METER
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 3 | METER- | PRESSURE METER AND TRANSMITTER, PUMP #3 |  | NOT READY | [8 empty] | WW-METER
LS-000491 | YARD |  |  | METER- | ULTRASONIC FLOWMETER |  | NOT READY | [8 empty] | WW-METER
LS-000491 |  |  |  | METER- | H2S SENSOR |  | NOT READY | [8 empty] | WW-METER
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | MANUFACTURER | MIXER TYPE | MIXER SIZE-INCH | HORSEPOWER | VOLTAGE-VOLTS | PHASE | PROPELLER
LS-000491 | WETWELL |  |  | MIXER-01 | SUBMERSIBLE MIXER | MXR-001 | NOT READY | [8 empty] | WW-MIXER
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | MANUFACTURER | HORSEPOWER | VOLTAGE-VOLTS | PHASE | FULL LOAD AMPS | RPM | MOTOR TYPE | DUTY | FRAME | LUBE OIL-GREASE
LS-000491 | MOTOR ROOM |  | SEWAGE PUMP ASSEMBLY 1 | MOTOR- | MOTOR, PUMP #1 |  | NOT READY | [8 empty] | WW-MOTORS
LS-000491 | MOTOR ROOM |  | SEWAGE PUMP ASSEMBLY 2 | MOTOR- | MOTOR, PUMP #2 |  | NOT READY | [8 empty] | WW-MOTORS
LS-000491 | MOTOR ROOM |  | SEWAGE PUMP ASSEMBLY 3 | MOTOR- | MOTOR, PUMP #3 |  | NOT READY | [8 empty] | WW-MOTORS
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | PIPE MATERIAL | PIPE SIZE | PIPE LENGTH
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 1 | PIPE- | PIPE, SUCTION, 20" FL x PE | P-001 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 2 | PIPE- | PIPE, SUCTION, 20" FL x PE | P-002 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 3 | PIPE- | PIPE, SUCTION, 20" FL x PE | P-003 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 1 | PIPE- | PIPE, DISCHARGE, 20" FL x PE | P-004 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 2 | PIPE- | PIPE, DISCHARGE, 20" FL x PE | P-005 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 3 | PIPE- | PIPE, DISCHARGE, 20" FL x PE | P-006 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 1 | PIPE- | PIPE, DISCHARGE, 20" FL x FL | P-007 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 2 | PIPE- | PIPE, DISCHARGE, 20" FL x FL | P-008 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 3 | PIPE- | PIPE, DISCHARGE, 20" FL x FL | P-009 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 1 | PIPE- | PIPE, DISCHARGE, 20" FL x FL | P-010 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 2 | PIPE- | PIPE, DISCHARGE, 20" FL x FL | P-011 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 3 | PIPE- | PIPE, DISCHARGE, 20" FL x FL | P-012 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  |  | PIPE- | PIPE, DISCHARGE, 20" FL x FL | P-013 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  |  | PIPE- | PIPE, DISCHARGE, 24" FL x FL | P-014 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  |  | PIPE- | PIPE, DISCHARGE, 24" FL x FL | P-015 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  |  | PIPE- | PIPE, DISCHARGE, 24" FL x FL | P-016 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  |  | PIPE- | PIPE, DISCHARGE, 24" FL x PE | P-017 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | POTABLE WATER ASSEMBLY | PIPE- | PIPE, 6" FL x FL | P-018 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | POTABLE WATER ASSEMBLY | PIPE- | PIPE, 6" FL x FL | P-019 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | POTABLE WATER ASSEMBLY | PIPE- | PIPE, 6" FL x FL | P-020 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | DRYWELL |  | POTABLE WATER ASSEMBLY | PIPE- | PIPE, 6" FL x FL | P-021 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | YARD |  |  | PIPE- | PIPE, 24" PE x PE | P-101 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | YARD |  |  | PIPE- | PIPE, 24" PE x PE | P-102 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | YARD |  |  | PIPE- | PIPE, 24" PE x FL | P-103 | NOT READY | [8 empty] | WW-PIPE
LS-000491 | YARD |  |  | PIPE- | PIPE, 24" FL x FL | P-104 | NOT READY | [8 empty] | WW-PIPE
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | MANUFACTURER | PUMP MODEL NUMBER | MOTOR MODEL NUMBER | PUMP TYPE | HORSEPOWER | VOLTAGE-VOLTS | PHASE | FULL LOAD AMPS | RPM | DISCHARGE SIZE-INCH | IMPELLER DIAMETER
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 1 | PUMP- | PUMP #1 | SP-001 | NOT READY | [8 empty] | WW-PA
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 2 | PUMP- | PUMP #2 | SP-002 | NOT READY | [8 empty] | WW-PA
LS-000491 | DRYWELL |  | SEWAGE PUMP ASSEMBLY 3 | PUMP- | PUMP #3 | SP-003 | NOT READY | [8 empty] | WW-PA
LS-000491 | DRYWELL |  | SUMP PUMP ASSEMBLY | PUMP- | DRYWELL SUMP PUMP #1 | DSP-001 | NOT READY | [8 empty] | WW-PA
LS-000491 | DRYWELL |  | SUMP PUMP ASSEMBLY | PUMP- | DRYWELL SUMP PUMP #2 | DSP-002 | NOT READY | [8 empty] | WW-PA
LS-000491 | MOTOR ROOM |  | SEAL WATER ASSEMBLY | PUMP- | SEAL WATER PUMP #1 | SWP-001 | NOT READY | [8 empty] | WW-PA
LS-000491 | MOTOR ROOM |  | SEAL WATER ASSEMBLY | PUMP- | SEAL WATER PUMP #2 | SWP-002 | NOT READY | [8 empty] | WW-PA
LS-000491 | MOTOR ROOM |  | SEAL WATER ASSEMBLY | PUMP- | WASH WATER PUMP | WWP-001 | NOT READY | [8 empty] | WW-PA
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | MANUFACTURER | TANK TYPE | MATERIAL | TANK CAPACITY | PRESSURE RATING | OPERATING PRESSURE
LS-000491 |  |  | GENERATOR | TANK- | GENERATOR FUEL TANK, 2000 gal |  | NOT READY | [8 empty] | WW-TANK
LS-000491 |  |  | SEAL WATER SYSTEM | TANK- | SEAL WATER TANK, 360 GAL |  | NOT READY | [8 empty] | WW-TANK
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | MANUFACTURER | AMP RATING | VOLTAGE | SIZE | HP
LS-000491 | MCC BUILDING |  | SWITCH PANEL | VFD- | VARIABLE FREQUENCY DRIVE PUMP #1 | VFD-501 | NOT READY | [8 empty] | WW-VFD
LS-000491 | MCC BUILDING |  | SWITCH PANEL | VFD- | VARIABLE FREQUENCY DRIVE PUMP #2 | VFD-502 | NOT READY | [8 empty] | WW-VFD
LS-000491 | MCC BUILDING |  | SWITCH PANEL | VFD- | VARIABLE FREQUENCY DRIVE PUMP #3 | VFD-503 | NOT READY | [8 empty] | WW-VFD
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Asset Description | Tag Number | Current Status | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Classification | FITTING MATERIAL | SIZE
LS-000491 | WETWELL |  |  | FITTING- | 20" FL 90° FLARE | F-001 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | WETWELL |  |  | FITTING- | 20" FL 90° FLARE | F-002 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | WETWELL |  |  | FITTING- | 20" FL 90° FLARE | F-003 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL/WETWELL |  |  | FITTING- | 20" FL WALL PIPE | F-004 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL/WETWELL |  |  | FITTING- | 20" FL WALL PIPE | F-005 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL/WETWELL |  |  | FITTING- | 20" FL WALL PIPE | F-006 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20"x12" FL. ECCENTRIC RED. | F-007 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20"x12" FL. ECCENTRIC RED. | F-008 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20"x12" FL. ECCENTRIC RED. | F-009 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL. SINGLE ARCH EXP. JOINT | F-010 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL. SINGLE ARCH EXP. JOINT | F-011 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL. SINGLE ARCH EXP. JOINT | F-012 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20"x12" FL. CONCENTRIC RED. | F-013 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20"x12" FL. CONCENTRIC RED. | F-014 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20"x12" FL. CONCENTRIC RED. | F-015 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL 90° BASE BEND | F-016 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL 90° BASE BEND | F-017 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL 90° BASE BEND | F-018 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL COUPLING ADAPTER | F-019 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL COUPLING ADAPTER | F-020 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL COUPLING ADAPTER | F-021 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL 90° BEND | F-022 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL 90° BEND | F-023 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL 90° BEND | F-024 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL 90° BEND | F-025 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL 90° BEND | F-026 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL 90° BEND | F-027 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL 45° BEND | F-028 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL 45° BEND | F-029 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" FL 45° BEND | F-030 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 24"x20" FL RED WYE | F-031 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 24"x20" FL RED WYE | F-032 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 24"x20" FL CONCENTRIC RED. | F-033 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20"x20" FL WYE | F-034 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 20" BLIND FLANGE | F-035 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 24" FL 90° BEND | F-036 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 24" FL 90° BEND | F-037 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 24"x6" FL RED TEE | F-038 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 6" FL 45° BEND | F-039 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 6" FL 45° BEND | F-040 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 6" FL 45° BEND | F-041 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 6" FL 90° BEND | F-042 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | DRYWELL |  |  | FITTING- | 6" FL 90° BEND | F-043 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | YARD |  |  | FITTING- | 24" MJ TEE | F-101 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | YARD |  |  | FITTING- | 24" MJ 90° BEND | F-102 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | YARD |  |  | FITTING- | 24" FL 90° BEND | F-103 | NOT READY | [8 empty] | WW-FITTING
LS-000491 | YARD |  |  | FITTING- | 24" BLIND FLANGE | F-104 | NOT READY | [8 empty] | WW-FITTING

## Vendor - Manufacturer
Vendor and Manufacturer Data
Vendor ID | VendorName | Address | City | State | ZIP | Phone | Fax | Contact Name | Contact Phone | Contact Fax | Contact email

## Local Representative
Local Representative Data
Company Name | Address | City | State | ZIP | Contact Name | Contact Phone | Contact Fax | Contact email | Vendor ID / Man. ID
4

## Spare Parts
Spare Part Data
Spare Part or Kit ID | Spare Part / Kit Description | Vendor ID | Kit Contents | Asset ID(s)

## Preventative Maintenance
Preventive Maintenance Header
| PM ID | PM Description | Frequency - Calendar | Frequency - Runtime | Applicable Asset ID(s)
Preventive Maintenance Tasks
PM ID | Step | Step Description | Spare Part / Kit ID | Spare Part / Kit Quantify | Special Tools / Equipment Description

## Assets - Sample
Asset Data - Sample
Asset Data | Attributes required for all equipment | [6 empty] | Additional Attributes based on Classification
Asset Description | Vendor | Serial Number | Model | Life Expectancy (Years) | Purchase Price | Warranty Start Date | Warranty Duration (Years) | Horsepower | Ratio | Input | Output
AERATOR 1, RESERVOIR #1, GREENLAND WTP | VENDORA | RF77 | ABX | 25 | 5000 | 2012-05-01 | 1 Year | 25 | 7.22:1 | 1770 rpm | 245 rpm
Description | Vendor | Serial Number | Model | Life Expectancy (Years) | Purchase Price | Warranty Start Date | Warranty Duration (Years) | Service Factor | Frame | Horsepower | Phase | RPM | Hertz | Volts
Mechanical Bar Screen #1 Motor | VENDORA | 086811-01 |  |  | 10000 | 2012-05-01 | 2 Years | 1.15 | 447VP | 25 | 3 | 1770 | 60 | 460
Description | Vendor | Serial Number | Model | Life Expectancy (Years) | Purchase Price | Warranty Start Date | Warranty Duration (Years) | Service Factor | Frame | Horsepower | Phase | RPM | Hertz | Volts
Effluent Pump #1 Motor | VENDORA | 20080665-100R1 |  |  | 7000 | 2012-06-01 | 5 Years | 1.15 | 447VP | 100 | 3 | 885 | 60 | 460

## Vendor - Manufacturer Sample
Vendor and Manufacturer Data - Sample
Vendor ID / Man. ID | Vendor/ Manufacturer Name | Address | City | State | ZIP | Phone | Fax | Contact Name | Contact Phone | Contact Fax | Contact email
ACME | ACME Company | 1 Main St | Jacksonville | FL | 32210 | 9041234567 | 9041234568 | John Doe | 1234569 | 1234560 | john.doe@acme.com
VENDORA | Vendor A | 2 Main St | Jacksonville | FL | 32210 | 9042222222 | 9042222223 | Jane Doe | 2222224 | 2222225 | jane.doe@vendora.com

## Local Representative Sample
Local Representative Data - Sample
Company Name | Address | City | State | ZIP | Contact Name | Contact Phone | Contact Fax | Contact email
Rep Company A | 3 Main St | Jacksonville | FL | 32210 | John Smith | 1234569 | 1234560 | john.smith@rep-a.com
Rep Company B | 4 Main St | Jacksonville | FL | 32210 | Jane Smith | 2222224 | 2222225 | jane.smith@rep-b.com

## Spare Parts Sample
Spare Part Data - Sample
Spare Part or Kit ID | Spare Part / Kit Description | Vendor/Manufacturer ID | Kit Contents | Asset ID(s)
EXURXN2 | Exxon Mobil Unirex N2 Lithium Complex Grease, NLGI #2 with additives | VENDORA |  | GR0001, GR0002
ASCORBK | ASCO Rebuild Kit | ACME |  | VALVE111, VALVE112, VALVE113, VALVE114
1 Retaining cap
1 Retaining clip
1 Solenoid base sub-assembly
1 Bonnet gasket
1 Core spring
1 Core diaphragm sub-assembly
1 Body gasket
MOB600 | Mobilgear 600 XP-150, ISO 150 | VENDORA |  | GR0001, GR0002

## Preventative Maintenance Sample
Preventive Maintenance Data - Sample
| PM ID | PM Description | Frequency - Calendar | Frequency - Runtime | Applicable Asset ID(s)
| 1 | Mechanical Screen grease every 20,000 Hours or 5 Years whichever comes first | 5 YEARS | 20000 HOURS | GR0001
GR0002
| 2 | Mechanical Screen Drive Oil Change | 6 MONTHS | 2500 HOURS | GR0001
GR0002
| 3 | Mechanical Screen Monthly Maintenance | 1 MONTH |  | SCREEN001
SCREEN002
Preventive Maintenance Tasks
PM ID | Step | Step Description | Spare Part / Kit ID | Spare Part / Kit Quantity | Special Tools / Equipment Description
1 | 10 | Grease Screen Drive gear reducer (input section) | EXURXN2 | 0.5 Gallons
1 | 20 | Grease Brush Drive gear reducer (input section) | EXURXN2 | 0.5 Gallons
2 | 10 | Change Oil on Screen drive gear reducer (output section) | MOB600 | 0.87 Gallons
3 | 10 | Clean interior of Screen. Use high pressure washer to remove accumulated debris, particularly on the screen belt, spray system headers, and discharge chite seal. Do not apply high pressure wash to the brush bristles. |  |  | High Pressure Washer
3 | 20 | Clean exterior of reducers and motors. Check external temperature of drive gear reducers and motors. If high, check motor amp draw and insulation. Repair or replace drives as needed.
3 | 30 | Check all fasteners on the screen and brush drives. Check nuts on anchor bolts. Tighten as required.

## Asset Hierarchy
Location | Location Description | Parent Asset Number | Parent Asset Description | Asset Number | Description | Tag Number | Current Status | Status After PS Rehab
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | ACT- | ACTUATOR FOR GATE VALVE ON DISCHARGE FM 24" | MOV-702 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | ASBLY- | INFLUENT ASSEMBLY |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | ASBLY- | ODOR CONTROL ASSEMBLY |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | ASBLY- | POTABLE WATER ASSEMBLY |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | ASBLY- | SUMP PUMP ASSEMBLY |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | ATS- | AUTO TRANSFER SWITCH, 1200 AMP |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | INFLUENT ASSEMBLY | BARSCREEN- | BARSCREEN | SCN-201 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | BASE- | BASE, PUMP #1 |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | BASE- | BASE, PUMP #2 |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | BASE- | BASE, PUMP #3 |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | BASE- | BASE, PUMP #4 |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | BLOWER- | ODOR CONTROL BLOWER | B-855 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | BREAKER- | GENERATOR BREAKER, 900 AMP |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | MCC-950664 | MCC PANEL, MCC-1 | BREAKER- | MAIN BREAKER MCC-1, 600 AMP |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | BREAKER- | MAIN BREAKER, 1200 AMP |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | INFLUENT ASSEMBLY | CONVEYOR- | SHAFTLESS SCREW CONVEYOR | SC-211 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | CP- | CONTROL PANEL, ODOR CONTROL SYSTEM | VCP-800 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | CP- | CONTROL PANEL, SUMP PUMPS | VCP-400 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | CP- | PANEL | PP-1 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | INFLUENT ASSEMBLY | CP- | SCREEN CONTROL PANEL | VCP-200 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | CRANE- | PORTABLE DAVIT CRANE #1 |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | CRANE- | PORTABLE DAVIT CRANE #2 |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | FAN- | EXHAUST FAN #1, ROOF MOUNTED | EF-1 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | FAN- | EXHAUST FAN #2, ROOF MOUNTED | EF-2 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | FAN- | EXHAUST FAN #3, ROOF MOUNTED | EF-3 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | FAN- | EXHAUST FAN #4, ROOF MOUNTED | EF-4 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | FAN- | EXHAUST FAN #5, ROOF MOUNTED | EF-5 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | GEN- | GENERATOR, 500 KW |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | LOG- | STOP LOG #1 |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | LOG- | STOP LOG #2 |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | MEDIA- | MEDIA, BIOTRICKLING FILTER |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | MEDIA- | MEDIA, CARBON ABSORBER |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | METER- | LEVEL SENSOR AND TRANSMITTER | LE-201A//LIT-201B | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | METER- | PRESSURE METER AND TRANSMITTER | PE | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | METER- | PRESSURE METER AND TRANSMITTER, PUMP #1 | PI/PT-501 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | METER- | PRESSURE METER AND TRANSMITTER, PUMP #2 | PI/PT-502 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | METER- | PRESSURE METER AND TRANSMITTER, PUMP #3 | PI/PT-503 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | METER- | PRESSURE METER AND TRANSMITTER, PUMP #4 | PI/PT-504 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | INFLUENT ASSEMBLY | MH- | MANHOLE DOG HOUSE NO 1. (SOUTH) |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | INFLUENT ASSEMBLY | MH- | MANHOLE DOG HOUSE NO 2. (NORTH) |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | WELL-001423 | WET WELL | MIXER- | MIXER #1 - WETWELL | M-311 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | WELL-001423 | WET WELL | MIXER- | MIXER #2 - WETWELL | M-312 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | INFLUENT ASSEMBLY | MOTOR- | BARSCREEN MOTOR, 7.5 HP | SCN-201 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | MOTOR- | MOTOR, PUMP #1 |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | MOTOR- | MOTOR, PUMP #2 |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | MOTOR- | MOTOR, PUMP #3 |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | MOTOR- | MOTOR, PUMP #4 |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | MOTOR- | ODOR CONTROL BLOWER MOTOR |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | INFLUENT ASSEMBLY | MOTOR- | SCREW CONVEYOR MOTOR, 7.5 HP | SCN-211 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | PIPE- | BIOTRICKLING FILTER, PIPING, 18" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | PIPE- | BIOTRICKLING FILTER, PIPING, 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | PIPE- | CARBON ABSORBER PIPING, 20" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | PIPE- | ODOR CONTROL DRAINAGE PIPING, 4" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | PIPE- | PIPE, DISCHARGE 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | PIPE- | PIPE, DISCHARGE 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | PIPE- | PIPE, DISCHARGE 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | PIPE- | PIPE, DISCHARGE 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | POTABLE WATER ASSEMBLY | PIPE- | SEAL WATER PIPING |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | PIPE- | SUCTION BELL, 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | PIPE- | SUCTION BELL, 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | PIPE- | SUCTION BELL, 30" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | PIPE- | SUCTION BELL, 30" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | POTABLE WATER ASSEMBLY | PIPE- | WASH DOWN PIPING |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | PUMP- | NUTRIENT PUMP FOR BIOFILTER TANK |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | PUMP- | PUMP #1 | P-501 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | PUMP- | PUMP #2 | P-502 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | PUMP- | PUMP #3 | P-503 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | PUMP- | PUMP #4 | P-504 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | PUMP- | RECIRCULATING PUMP, BIOFILTER TANK | P-845 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | POTABLE WATER ASSEMBLY | PUMP- | SEAL WATER PUMP #1 | P-611 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | POTABLE WATER ASSEMBLY | PUMP- | SEAL WATER PUMP #2 | P-612 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | SUMP PUMP ASSEMBLY | PUMP- | SUMP PUMP #1 |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | SUMP PUMP ASSEMBLY | PUMP- | SUMP PUMP #2 |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | POTABLE WATER ASSEMBLY | PUMP- | WASH DOWN PUMP | P-613 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | INFLUENT ASSEMBLY | RACK- | BAR RACK |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | SWBD- | SWITCH PANEL | SWBD-1 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | TANK- | BIOTRICKLING FILTER TANK, 10' DAIMETER | OCS-850 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | TANK- | CARBON ABSORBER TANK | OCS-855 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | GEN- | GENERATOR, 500 KW | TANK- | GENERATOR FUEL TANK, 2000 gal |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | TANK- | NUTRIENT TANK FOR BIOFILTER TANK |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | POTABLE WATER ASSEMBLY | TANK- | POTABLE WATER TANK, 440 GAL |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | VALVE- | BIOTRICKLING FILTER, VALVE, 18" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | VALVE- | BUTTERFLY VALVE, CARBON ABSORBER DISCHARGE, 20" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | VALVE- | CHECK VALVE, 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | VALVE- | CHECK VALVE, 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | VALVE- | CHECK VALVE, 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | VALVE- | CHECK VALVE, 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | VALVE- | GATE VALVE ON DISCHARGE FM 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | INFLUENT ASSEMBLY | VALVE- | GATE VALVE ON DISCHARGE FM 42" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | VALVE- | GATE VALVE, DISCHARGE, 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | VALVE- | GATE VALVE, DISCHARGE, 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | VALVE- | GATE VALVE, DISCHARGE, 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | VALVE- | GATE VALVE, DISCHARGE, 24" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | VALVE- | ODOR CONTROL DRAINAGE VALVE, 4" |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | INFLUENT ASSEMBLY | VALVE- | SLUICE GATE INFLUENT TO BAR RACK CHANNEL | SLU-102 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | INFLUENT ASSEMBLY | VALVE- | SLUICE GATE INFLUENT TO BAR SCREEN CHANNEL | SLU-101 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | VALVE- | SUCTION VALVE, 24" KNIFE GATE |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | VALVE- | SUCTION VALVE, 24" KNIFE GATE |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | VALVE- | SUCTION VALVE, 30" KNIFE GATE |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | VALVE- | SUCTION VALVE, 30" KNIFE GATE |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | ODOR CONTROL ASSEMBLY | VFD- | VARIABLE FREQUENCY DRIVE ODOR CONTROL BLOWER | VFD-855 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SWBD- | SWITCH PANEL | VFD- | VARIABLE FREQUENCY DRIVE PUMP #1 | VFD-501 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SWBD- | SWITCH PANEL | VFD- | VARIABLE FREQUENCY DRIVE PUMP #2 | VFD-502 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SWBD- | SWITCH PANEL | VFD- | VARIABLE FREQUENCY DRIVE PUMP #3 | VFD-503 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SWBD- | SWITCH PANEL | VFD- | VARIABLE FREQUENCY DRIVE PUMP #4 | VFD-504 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | ASBLY- | INFLUENT ASSEMBLY | WETWELL- | INFLUENT GATE WELL |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | XFRMR- | SECONDARY TRANSFORMER, 480V |  | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | XFRMR- | TRANSFORMER, 75 KVA | XFMR T-1 | NOT READY | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | BASE-235753 | BASE |  | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | BASE-235759 | BASE |  | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | BASE-235766 | BASE |  | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | BASE-235775 | BASE |  | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | GEN-0178 | GENERATOR AT 2304 MCMILLAN ST | Move to Dist @ WRF | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | MCC-950664 | MCC PANEL, MCC-1 | HMI-231768 | HMI PANEL |  | OPERATING | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | MCC-950664 | MCC PANEL |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | MOTOR-206145 | MOTOR 125HP 500RPM |  | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | MOTOR-206146 | MOTOR 60 HP, 400 RPM |  | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | MOTOR-206147 | MOTOR 60 HP, 400 RPM |  | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | MOTOR-216010 | #4 MOTOR US ELECTRIC 125 hp, 600 rpm, 460v, 5008VP FRAME |  | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | OCA-206518 | ODOR CONTROL ASSEMBLY |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | OCA-258713 | SPRAYER UNIT |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | PIPE-235754 | PIPE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | PIPE-235760 | PIPE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | PIPE-235768 | PIPE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | PIPE-235776 | PIPE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | PIPE-260385 | MISCELLANEOUS PIPING |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPUMP2-213312 | SUMP PUMP ASSEMBLE 2 | PUMP-213313 | SUMP PUMP 2 |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPUMP1-213311 | SUMP PUMP ASSEMBLE 1 | PUMP-213314 | SUMP PUMP 1 |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | TANK-256741 | SEAL WATER TANK | PUMP-256742 | SEAL WATER PUMP #1 |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | TANK-256741 | SEAL WATER TANK | PUMP-256744 | SEAL WATER PUMP #2 |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | PUMP-900400 | WORTHINGTON, , IMP= , 60 HP, 400 RPM, DISCH SZ= 20 IN |  | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | PUMP-900401 | PUMP WORTHINGTON, , IMP= , 60 HP, 400 RPM, DISCH SZ= 20 IN |  | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | PUMP-900402 | WORTHINGTON, , IMP= , 125 HP, 500 RPM, DISCH SZ= IN |  | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | PUMP-903641 | PUMP WORTHINGTON, , IMP= , 125 HP, 500 RPM, DISCH SZ= IN |  | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | RADIO-10131 | RADIO |  | OPERATING | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 |  | OPERATING | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 |  | OPERATING | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 |  | OPERATING | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 |  | OPERATING | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | SPUMP1-213311 | SUMP PUMP ASSEMBLE 1 |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | SPUMP2-213312 | SUMP PUMP ASSEMBLE 2 |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | MCC-950664 | MCC PANEL, MCC-1 | START-209015 | SOFT START #2 |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | MCC-950664 | MCC PANEL, MCC-1 | START-270542 | SOFT START #1 |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | GEN-0178 | GENERATOR AT 2304 MCMILLAN ST | TANK- | GENERATOR FUEL TANK | Move to Dist @ WRF | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | TANK-256741 | SEAL WATER TANK |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | TRANSDUCER-215350 | FORCE MAIN TRANSDUCER |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | VALVE-235755 | CHECK VALVE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | VALVE-235756 | DISCHARGE VALVE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA1-001423 | SEWAGE PUMP ASSEMBLY 1 | VALVE-235757 | SUCTION VALVE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | VALVE-235762 | CHECK VALVE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | VALVE-235763 | DISCHARGE VALVE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA2-001423 | SEWAGE PUMP ASSEMBLY 2 | VALVE-235764 | SUCTION VALVE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | VALVE-235769 | CHECK VALVE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | VALVE-235770 | DISCHARGE VALVE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA3-001423 | SEWAGE PUMP ASSEMBLY 3 | VALVE-235771 | SUCTION VALVE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | VALVE-235777 | CHECK VALVE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | VALVE-235778 | DISCHARGE VALVE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | SPA4-001423 | SEWAGE PUMP ASSEMBLY 4 | VALVE-235779 | SUCTION VALVE |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | TANK-256741 | SEAL WATER TANK | VALVE-256745 | SEAL WATER INLET VALVE (CLA- VALVE) |  | OPERATING | Decommissioned
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | MCC-950664 | MCC PANEL, MCC-1 | VFD-216020 | MOTOR 4 VARIBLE FREQUENCY DRIVE |  | OPERATING | OOS-Spares
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W |  |  | WELL-001423 | WET WELL |  | OPERATING | Operating
LS-001423 | MCMILLAN ST - 2304; MCM-2304; F/S LatLong 30 21.0975 N, 81 41.4967 W | MCC-950664 | MCC PANEL, MCC-1 | XFRMR-216018 | MOTOR 4 TRANSFORMER |  | OPERATING | Decommissioned