## Appendix B - Bid Workbook
Appendix B - Bid Workbook
104-20 4511 Spring Park Road Pump Station Rehabilitation and Upgrade
PART A - BASE BID
Item | Description | Est. Quantity | Units | Unit Price | Total Price
1 | Wet well/splitter box/influent channels dewatering, cleaning, blasting and Debris Removal | 1 | LS | 0 | 0
2 | Phase 1 & 2 Temporary By-Pass Piping (includes all labor, supplies, fuel and equipment) per contract documents | 1 | LS | 0 | 0
3 | Demolition of Interior/Exterior Components, Site, Pumps, Piping, Electrical, Plumbing, Foundations & HVAC per contract documents | 1 | LS | 0 | 0
4 | Site/Restoration Work (grading, base replacement, concrete walks, asphalt paving, fencing & grassing, etc. per contract documents) | 1 | LS | 0 | 0
5 | Furnish/Install Biofilter Unit (includes equipment, electrical/controls, ducts, piping, covers, etc. - complete per contract documents) | 1 | LS | 0 | 0
6 | Concrete Pads, Pump Bases or Pipe/Equipment Supports (all per contract documents) | 1 | LS | 0 | 0
7 | Furnish & Install HVAC (to include units, electrical, I&C, mechanical, duct work & supports per contract documents) | 1 | LS | 0 | 0
8 | Furnish & Install all piping/fittings/valves/accessories/vaults/boxes/meters (both interior & exterior) per contract documents | 1 | LS | 0 | 0
9 | Furnish & Install (4) Four Service Pumps (motors, VFDs, controls, etc.) per contract documents | 1 | LS | 0 | 0
10 | Furnish & Install Ancillary Pump Systems (wash water pump & seal water system including piping) per contract documents | 1 | LS | 0 | 0
11 | Electrical, Instrumentation & Controls Complete per contract documents | 1 | LS | 0 | 0
12 | Electrical Building (Complete) per contract documents | 1 | LS | 0 | 0
13 | Coating & Building Rehabilitation per contract documents includes all items under Drawings PR1-2; PD1-4 & PS-1 | 1 | LS | 0 | 0
14 | Specialty Coatings for Wet well, Wet well Influent Channels and Influent Flow Splitter Box per contract documents | 1 | LS | 0 | 0
15 | Contract Document Items Not Covered Under Above Items Above (startup, testing, miscellaneous work items & supplies, etc.) | 1 | LS | 0 | 0
16 | Record Drawings | 1 | LS | 0 | 0
17 | Permitting (Allowance $40,000) | 1 | LS | 40000 | 40000
18 | JEA SWA | 1 | LS | 200000 | 200000
| Part A Subtotal Lump Sum Price Items |  |  |  | 240000
PART B - UNIT PRICE BID
Item | Description | Est. Quantity | Unit | Unit Price | Total Cost
19 | Concrete Repair Type A | 160 | SF | 0 | 0
20 | Concrete Repair Type B | 360 | SF | 0 | 0
21 | Concrete Repair Type C | 100 | SF | 0 | 0
22 | Concrete Repair Type D | 100 | SF | 0 | 0
23 | Concrete Repair Type E | 60 | LF | 0 | 0
24 | A-3 Sand | 30 | CY | 0 | 0
25 | #57 Stone | 30 | CY | 0 | 0
| Part B Subtotal Unit Price Bid Price Items |  |  |  | 0
| Part A + Part B Subtotal |  |  |  | 240000
27 | Bonds & Insurance (maximum 1.00% of Part A + Part B Subtotal) |  |  |  | 0
28 | Mobilization (maximum 1.50% of Part A + Part B Subtotal) |  |  |  | 0
29 | Demobilization (maximum 1.00% of Part A + Part B Subtotal) |  |  |  | 0
30 | General Conditions (maximum 10.00% of Part A + Part B Subtotal) |  |  |  | 0
| TOTAL BASE BID PRICE (Total Part A & B, INCLUDING Mobilization, Demobilization, Bonds & Insurance and GENERAL CONDITIONS) |  |  |  | 240000