## table
Description | UOM | Quantity (to be filled in) | Maximum Dimensions (to be filled in as applicable) | Maximum Weight Per piece - tons (to be filled in as applicable) | Quantity Explanation
Mechanical Equipment - Power Generation - HRSG | ea. |  | LATER | LATER | Number Units
Foundation Prep - HRSG
Anchor Bolts to be cast-in in the foundation pour for the HRSG Stack | ea. |  |  |  | # of anchor bolts
Anchor Bolts to be cast-in in the foundation pour for the HRSG (less the stack anchor bolts) | ea. |  |  |  | # of anchor bolts
Foundation interface hardware for HRSG to be grouted in place after the foundation pour | ea. |  |  |  | # of items to be grouted in place such as restraints, guides, plates, keys, etc.
Base / Sole Plates | ea. |  |  |  | Number of baseplates. Please distinguish between shop installed and field welded baseplates.
Grout | cf |  |  |  | Cubic feet of grout required for the support of the HRSG. This includes grout required for all Supplier Provided skids - Supplier may provide a foundation interface drawing in lieu of providing this quantity
Supplier Provided Steel - HRSG
Supplier Provided Steel - Platform Steel | ton |  |  |  | Total tonnage of steel members; columns, beams, channels, bracing etc. Includes weight of grating, stairs, ladders and handrail that are associated with the platforms. Grating, stairs, ladders, and handrail will also be broken out separately below with different units of measure. This shall include top platform steel, intermediate platform steel, burner access platforms etc. The intent is that the all steel tonnage is captured either in this account, the Silencer Spport account, the Stairtower account, or the Stack Platform account.
Supplier Provided Steel - Stair Tower | ton |  |  |  | Total tonnage of stairtower includes stair tower steel members, handrail, grating, stair treads etc.
Supplier Provided Steel - Grating | sf |  |  |  | Total square feet of grating. Please differentiate between shop and field installed grating. Do not include grating associated with the stairtower as we track the stairtower hours separately.
Supplier Provided Steel - Handrail | lf |  |  |  | Total length of handrail. Do not include handrail associated with the stairtower as we track the stairtower hours separately.
Supplier Provided Steel - Stairs and Ladders | lf |  |  |  | Total length of stairs and ladders. Stairs should be calculated as the length of the stair stringers, ladders should be the vertical rise from bottom to top landing. Do not include stairs associated with the stairtower as we track the stairtower hours separately.
Supplier Provided Steel - Silencer Support Steel | ton |  |  |  | Total tonnage of steel members; columns, beams, channels, bracing etc. Include weight of catalyst hoist monorails/frame.
Supplier Provided Steel - Aesthetic/ Acoustic panels | sf |  |  |  | If applicable - projected sf area covered by paneling (do not account for surface area around stiffeners etc.).
Supplier Provided Steel - Penthouse/Drum End Enclosures | sf |  |  |  | Total projected area of panels. With drum end enclosures
Supplier Provided Steel - Penthouse/Drum End Enclosures | ea. |  |  |  | Total count of enclosure panels to be assembled in the field
Supplier Provided Steel - Seal Weld Penthouse/ Drum End Enclosures | lf |  |  |  | Total length of welds - stitch welding should be measured as the actual length of weld, not seam length.
Casing and Internals - HRSG
Casing and Internals - Casing | sf |  |  |  | Total projected square footage area of casing skin (do not include surface area around stiffeners etc.). Burner and CO/SCR duct should be included in this qty (All casing from end of inlet duct to the breaching expansion joint).
Casing and Internals - Casing Moment Connections | ea. |  |  |  | Number of moment connections. Please specify whether these will be bolted or welded.
Casing and Internals - Casing Seal Weld | lf |  |  |  | Total length of welds associated with assembling the casing. This includes from end of inlet duct, the burner and CO/SCR ducts, and up to the breaching expansion joint - stitch welding should be measured as the actual length of weld, not seam length.
Casing and Internals - Inlet Duct | sf |  |  |  | Total projected square footage area of casing skin (do not include surface area around stiffeners etc.).
Casing and Internals - Inlet Duct – Moment Connections | ea. |  |  |  | Number of moment connections. Please specify whether these will be bolted or welded.
Casing and Internals - Duct Seal Weld | lf |  |  |  | Total length of welds required for assembly of the inlet duct - stitch welding should be measured as the actual length of weld, not seam length.
Casing and Internals - Internal Baffles | lf |  |  |  | Total length of field installed baffles.
Casing and Internals - Internal Insulation and Liners | lf |  |  |  | Total linear footage of seams to be insulated and covered with liner plates. If applicable insulation and liners in the stack and stack breaching section shall be broken out separately below in the stack accounts.
Casing and Internals - Inlet Duct Expansion Joint | lf |  |  |  | Total length in linear feet, of expansion joint (Belt Length)
Casing and Internals - Casing Penetrations and Bellows | ea. |  |  |  | Total count of casing penetrations and bellows. This shall include any bellows that must be touched in the field. If a bellow is installed on one side, but only tacked on the other it should be included in this count. Fully shop installed bellows should not be included.
Casing and Internals - SCR Frame | sf |  |  |  | Total square footage of SCR frame (cross sectional area of HRSG at the location).
Casing and Internals - CO Frame | sf |  |  |  | Total square footage of CO frame (cross sectional area of HRSG at the location).
Casing and Internals - Inlet Duct Distribution Grid | sf |  |  |  | Total square footage of distribution grid area (cross sectional area of HRSG at the location).
Supplier Provided Piping - Non Code - HRSG |  |  |  |  | General Note: This shall include all field installed piping include sub-Supplier piping (Burner Supplier piping, ammonia Supplier piping etc.)
Supplier provided Piping- LB Pipe Handling | lf |  |  |  | Total length of pipe, through center line of fittings and valves, to face of flange or terminal point. (2.5" and larger)
Supplier provided Piping- LB Pipe Bolt Ups | DI |  |  |  | Total count in diameter inches of bolt ups.
Supplier provided Piping- LB Pipe CS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.5" and larger. (One weld in a 4 inch nomial sized pipe is counted as 4 DI). This is for carbon steel (ASME P1 material class).
Supplier provided Piping- LB Pipe SS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.5" and larger. (One weld in a 4 inch nomial sized pipe is counted as 4 DI). This is for stainless steel (ASME P6, P7, P8 material classes).
Supplier provided Piping- LB Pipe CR Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.5" and larger. (One weld in a 4 inch nomial sized pipe is counted as 4 DI). This is for chrome alloy steel (ASME P3, P4, P5A, P5B, P15E material classes).
Supplier provided Piping- LB Valve Installation | ea. |  |  |  | Total count of field installed valves 2.5" and larger.
Supplier provided Piping- SB Valve Installation | ea. |  |  |  | Total count of field installed valves 2.0" and smaller
Supplier provided Piping- LB Pipe Supports | ea. |  |  |  | Total count of supports required on pipe 2.5" and larger. Separate count for every support ID.
Supplier provided Piping- SB Pipe Installation | lf |  |  |  | Total length of small bore pipe, through center line of fittings and valves, to face of flange or terminal point. (Everything smaller than 2.5" in diameter)
Supplier provided Piping- SB Pipe Bolt Ups | DI |  |  |  | Total count in diameter inches of bolt ups.
Supplier provided Piping- SB Pipe CS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.0" and smaller. (One weld in a 2 inch nomial sized pipe is counted as 2 DI). This is for carbon steel (ASME P1 material class).
Supplier provided Piping- SB Pipe SS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.0" and smaller. (One weld in a 2 inch nomial sized pipe is counted as 2 DI). This is for stainless steel (ASME P6, P7, P8 material classes).
Supplier provided Piping- SB Pipe CR Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.0" and smaller. (One weld in a 2 inch nomial sized pipe is counted as 2 DI). This is for chrome alloy steel (ASME P3, P4, P5A, P5B, P15E material classes).
Supplier provided Piping- SB Pipe Supports | ea. |  |  |  | Total count of supports required on pipe 2.0" and smaller. Separate count for every support ID.
Supplier provided Piping- Install HRSG MSCV & RSCV | ea.
Supplier provided Piping- HRSG Specials | ea. |  |  |  | Total count of pipe specials and in-line components.
Supplier provided Piping- HRSG Tubing | lf |  |  |  | Total length of small bore tubing. (Everything smaller than 2.5" in diameter)
Supplier provided Piping- HRSG Pre-insulated tubing | lf |  |  |  | Total length of pre-insulated tubing.
Supplier provided equipment insulation (blankets) | sf |  |  |  | Shall include lagging, insulation, heat tracing (as required)
Supplier provided equipment insulation (batt or other) | sf |  |  |  | Shall include lagging, insulation, heat tracing (as required)
Supplier provided insulation for pipe, supports, valves, instruments | sf |  |  |  | Shall include lagging, insulation, heat tracing (as required)
Supplier provided insulated instrument enclosures | ea.
Supplier Provided Piping - Code - HRSG |  |  |  |  | General note: All piping should be accounted for on this quantity fill-in sheet. If there is a piping system that does not fit into one of the listed descriptions, either lump it into the best fitting description or give us a separate quantity break out. Some examples are scanner cooling air (include with fuel gas pipe), blowdown pipe (include with code piping) etc.
Supplier provided Piping- LB Pipe Handling | lf |  |  |  | Total length of pipe, through center line of fittings and valves, to face of flange or terminal point. (2.5" and larger)
Supplier provided Piping- LB Pipe Bolt Ups | DI |  |  |  | Total count in diameter inches of bolt ups.
Supplier provided Piping- LB Pipe CS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.5" and larger. (One weld in a 4 inch nomial sized pipe is counted as 4 DI). This is for carbon steel (ASME P1 material class).
Supplier provided Piping- LB Pipe SS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.5" and larger. (One weld in a 4 inch nomial sized pipe is counted as 4 DI). This is for stainless steel (ASME P6, P7, P8 material classes).
Supplier provided Piping- LB Pipe CR Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.5" and larger. (One weld in a 4 inch nomial sized pipe is counted as 4 DI). This is for chrome alloy steel (ASME P3, P4, P5A, P5B, P15E material classes).
Supplier provided Piping- LB Valve Installation | ea. |  |  |  | Total count of field installed valves 2.5" and larger.
Supplier provided Piping- SB Valve Installation | ea. |  |  |  | Total count of field installed valves 2.0" and smaller
Supplier provided Piping- LB Pipe Supports | ea. |  |  |  | Total count of supports required on pipe 2.5" and larger. Separate count for every support ID.
Supplier provided Piping- SB Pipe Installation | lf |  |  |  | Total length of small bore pipe, through center line of fittings and valves, to face of flange or terminal point. (Everything smaller than 2.5" in diameter)
Supplier provided Piping- SB Pipe Bolt Ups | DI |  |  |  | Total count in diameter inches of bolt ups.
Supplier provided Piping- SB Pipe CS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.0" and smaller. (One weld in a 2 inch nomial sized pipe is counted as 2 DI). This is for carbon steel (ASME P1 material class).
Supplier provided Piping- SB Pipe SS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.0" and smaller. (One weld in a 2 inch nomial sized pipe is counted as 2 DI). This is for stainless steel (ASME P6, P7, P8 material classes).
Supplier provided Piping- SB Pipe CR Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.0" and smaller. (One weld in a 2 inch nomial sized pipe is counted as 2 DI). This is for chrome alloy steel (ASME P3, P4, P5A, P5B, P15E material classes).
Supplier provided Piping- SB Pipe Supports | ea. |  |  |  | Total count of supports required on pipe 2.0" and smaller. Separate count for every support ID.
Supplier provided Piping- Install HRSG MSCV & RSCV | ea.
Supplier provided Piping- HRSG Specials | ea. |  |  |  | Total count of pipe specials and in-line components.
Supplier provided Piping- HRSG Tubing | lf |  |  |  | Total length of small bore tubing. (Everything smaller than 2.5" in diameter)
Supplier provided Piping- HRSG Pre-insulated tubing | lf |  |  |  | Total length of pre-insulated tubing.
Supplier provided equipment insulation (blankets) | sf |  |  |  | Shall include lagging, insulation, heat tracing (as required)
Supplier provided equipment insulation (batt or other) | sf |  |  |  | Shall include lagging, insulation, heat tracing (as required)
Supplier provided insulation for pipe, supports, valves, instruments | sf |  |  |  | Shall include lagging, insulation, heat tracing (as required)
Supplier provided insulated instrument enclosures | ea.
Supplier Provided Piping Drawings (BOP to Supply) - Non Code - HRSG |  |  |  |  | General Note: This shall include all field installed piping include sub-Supplier piping (Burner Supplier piping, ammonia Supplier piping etc.)
Supplier provided Piping- LB Pipe Handling | lf |  |  |  | Total length of pipe, through center line of fittings and valves, to face of flange or terminal point. (2.5" and larger)
Supplier provided Piping- LB Pipe Bolt Ups | DI |  |  |  | Total count in diameter inches of bolt ups.
Supplier provided Piping- LB Pipe CS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.5" and larger. (One weld in a 4 inch nomial sized pipe is counted as 4 DI). This is for carbon steel (ASME P1 material class).
Supplier provided Piping- LB Pipe SS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.5" and larger. (One weld in a 4 inch nomial sized pipe is counted as 4 DI). This is for stainless steel (ASME P6, P7, P8 material classes).
Supplier provided Piping- LB Pipe CR Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.5" and larger. (One weld in a 4 inch nomial sized pipe is counted as 4 DI). This is for chrome alloy steel (ASME P3, P4, P5A, P5B, P15E material classes).
Supplier provided Piping- LB Valve Installation | ea. |  |  |  | Total count of field installed valves 2.5" and larger.
Supplier provided Piping- SB Valve Installation | ea. |  |  |  | Total count of field installed valves 2.0" and smaller
Supplier provided Piping- LB Pipe Supports | ea. |  |  |  | Total count of supports required on pipe 2.5" and larger. Separate count for every support ID.
Supplier provided Piping- SB Pipe Installation | lf |  |  |  | Total length of small bore pipe, through center line of fittings and valves, to face of flange or terminal point. (Everything smaller than 2.5" in diameter)
Supplier provided Piping- SB Pipe Bolt Ups | DI |  |  |  | Total count in diameter inches of bolt ups.
Supplier provided Piping- SB Pipe CS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.0" and smaller. (One weld in a 2 inch nomial sized pipe is counted as 2 DI). This is for carbon steel (ASME P1 material class).
Supplier provided Piping- SB Pipe SS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.0" and smaller. (One weld in a 2 inch nomial sized pipe is counted as 2 DI). This is for stainless steel (ASME P6, P7, P8 material classes).
Supplier provided Piping- SB Pipe CR Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.0" and smaller. (One weld in a 2 inch nomial sized pipe is counted as 2 DI). This is for chrome alloy steel (ASME P3, P4, P5A, P5B, P15E material classes).
Supplier provided Piping- SB Pipe Supports | ea. |  |  |  | Total count of supports required on pipe 2.0" and smaller. Separate count for every support ID.
Supplier provided Piping- Install HRSG MSCV & RSCV | ea.
Supplier provided Piping- HRSG Specials | ea. |  |  |  | Total count of pipe specials and in-line components.
Supplier provided Piping- HRSG Tubing | lf |  |  |  | Total length of small bore tubing. (Everything smaller than 2.5" in diameter)
Supplier provided Piping- HRSG Pre-insulated tubing | lf |  |  |  | Total length of pre-insulated tubing.
Supplier provided equipment insulation (blankets) | sf |  |  |  | Shall include lagging, insulation, heat tracing (as required)
Supplier provided equipment insulation (batt or other) | sf |  |  |  | Shall include lagging, insulation, heat tracing (as required)
Supplier provided insulation for pipe, supports, valves, instruments | sf |  |  |  | Shall include lagging, insulation, heat tracing (as required)
Supplier provided insulated instrument enclosures | ea.
Supplier Provided Piping Drawings (BOP to Supply) - Code - HRSG |  |  |  |  | General note: All piping should be accounted for on this quantity fill-in sheet. If there is a piping system that does not fit into one of the listed descriptions, either lump it into the best fitting description or give us a separate quantity break out. Some examples are scanner cooling air (include with fuel gas pipe), blowdown pipe (include with code piping) etc.
Supplier provided Piping- LB Pipe Handling | lf |  |  |  | Total length of pipe, through center line of fittings and valves, to face of flange or terminal point. (2.5" and larger)
Supplier provided Piping- LB Pipe Bolt Ups | DI |  |  |  | Total count in diameter inches of bolt ups.
Supplier provided Piping- LB Pipe CS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.5" and larger. (One weld in a 4 inch nomial sized pipe is counted as 4 DI). This is for carbon steel (ASME P1 material class).
Supplier provided Piping- LB Pipe SS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.5" and larger. (One weld in a 4 inch nomial sized pipe is counted as 4 DI). This is for stainless steel (ASME P6, P7, P8 material classes).
Supplier provided Piping- LB Pipe CR Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.5" and larger. (One weld in a 4 inch nomial sized pipe is counted as 4 DI). This is for chrome alloy steel (ASME P3, P4, P5A, P5B, P15E material classes).
Supplier provided Piping- LB Valve Installation | ea. |  |  |  | Total count of field installed valves 2.5" and larger.
Supplier provided Piping- SB Valve Installation | ea. |  |  |  | Total count of field installed valves 2.0" and smaller
Supplier provided Piping- LB Pipe Supports | ea. |  |  |  | Total count of supports required on pipe 2.5" and larger. Separate count for every support ID.
Supplier provided Piping- SB Pipe Installation | lf |  |  |  | Total length of small bore pipe, through center line of fittings and valves, to face of flange or terminal point. (Everything smaller than 2.5" in diameter)
Supplier provided Piping- SB Pipe Bolt Ups | DI |  |  |  | Total count in diameter inches of bolt ups.
Supplier provided Piping- SB Pipe CS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.0" and smaller. (One weld in a 2 inch nomial sized pipe is counted as 2 DI). This is for carbon steel (ASME P1 material class).
Supplier provided Piping- SB Pipe SS Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.0" and smaller. (One weld in a 2 inch nomial sized pipe is counted as 2 DI). This is for stainless steel (ASME P6, P7, P8 material classes).
Supplier provided Piping- SB Pipe CR Welding | DI |  |  |  | Total count in diameter inches of weld on pipe 2.0" and smaller. (One weld in a 2 inch nomial sized pipe is counted as 2 DI). This is for chrome alloy steel (ASME P3, P4, P5A, P5B, P15E material classes).
Supplier provided Piping- SB Pipe Supports | ea. |  |  |  | Total count of supports required on pipe 2.0" and smaller. Separate count for every support ID.
Supplier provided Piping- Install HRSG MSCV & RSCV | ea.
Supplier provided Piping- HRSG Specials | ea. |  |  |  | Total count of pipe specials and in-line components.
Supplier provided Piping- HRSG Tubing | lf |  |  |  | Total length of small bore tubing. (Everything smaller than 2.5" in diameter)
Supplier provided Piping- HRSG Pre-insulated tubing | lf |  |  |  | Total length of pre-insulated tubing.
Supplier provided equipment insulation (blankets) | sf |  |  |  | Shall include lagging, insulation, heat tracing (as required)
Supplier provided equipment insulation (batt or other) | sf |  |  |  | Shall include lagging, insulation, heat tracing (as required)
Supplier provided insulation for pipe, supports, valves, instruments | sf |  |  |  | Shall include lagging, insulation, heat tracing (as required)
Supplier provided insulated instrument enclosures | ea.
Auxiliary Equipment - HRSG
Auxiliary Equipment - Misc. Skids | ea. |  |  |  | Number of units.
Auxiliary Equipment - Duct Burners and Baffles | ea. |  |  |  | Count each burner and baffle individually.
Auxiliary Equipment - Ammonia Grids | ea. |  |  |  | Number of lances or sections to be field installed.
Auxiliary Equipment - Silencers | ea. |  |  |  | Number of units.
Auxiliary Equipment - Blowdown Tank and Silencer | ea. |  |  |  | Number of blowdown tanks.
Auxiliary Equipment - SCR Catalyst Hoist | ea. |  |  |  | Number of units.
Set Pressure Parts - HRSG
Set Pressure Parts - Set Tube Bundles | ea. |  |  |  | Number of units.
Set Pressure Parts - Set Steam Drums | ea. |  |  |  | Number of units.
Other Work - HRSG
Other Work - SCR Catalyst | ea. |  |  |  | Number of Catalyst Blocks
Other Work - CO Catalyst | ea. |  |  |  | Number of Catalyst Blocks
Stack - HRSG
Stack - Handle Stack Section | sf |  |  |  | Outer surface area of stack shell.
Stack - Weld Stack Section | lf |  |  |  | Total linear footage of joint welds. If applicable, stitch welding should be measured as the actual length of weld, not seam length.
Stack - Handle Breaching | sf |  |  |  | Outer surface area of stack breaching (terminates at stack expansion joint).
Stack - Weld Breaching | lf |  |  |  | Total linear footage of joint welds. If applicable, stitch welding should be measured as the actual length of weld, not seam length.
Stack - HRSG Outlet Expansion Joint | lf |  |  |  | Total length in linear feet, of expansion joint.
Stack - Stack Inlet Expansion Joint | lf |  |  |  | Total length in linear feet, of expansion joint.
Stack - Damper Install | ea. |  |  |  | Number of units.
Stack - Access Steel | ton |  |  |  | Total tonnage of stack access platform steel, includes handrail, grating, ladders, stair treads, etc. We track this separately similar to the stair-tower. Grating, handrail, and ladders associated with the stack access steel should not be included in the above Supplier Provided steel accounts. This is an all-in tonnage.
Stack - Insulation and Liners | lf |  |  |  | If applicable, total linear footage of stack and stack breaching seams to be field insulated and covered with liner plates.
Stack - Stack Silencer | ea. |  |  |  | Number of units, please indicate if baffles must be field installed.
Electrical and Instrumentation - HRSG
Supplier provided motor operated valves | ea. |  |  |  | Number of units.
Supplier provided loose instruments (non-skid mounted) | ea. |  |  |  | Number of units.
Supplier provided insulated instrument enclosures | ea. |  |  |  | Number of units.
Item # | General Requirements
1 | Preliminary erection manual shall be submitted as specified in the Schedule of Submittals (SOS)
2 | All components greater than 100 lbs. shipped to site shall have weights stenciled or otherwise clearly marked on the component as well as the erection drawings
3 | Large components shipped in containers (Structural steel, platform sections, piping etc.) shall be placed on removable sleds that can be slid out from shipping containers. Rigging of individual components within a shipping container is to be avoided (this is both a safety and productivity concern).
4 | Catalyst blocks shall be delivered in shipping containers with adequate protection for outdoor storage.
Item # | Casing
1 | Casing panels shall be Provided with shop drilled holes, or lugs for lifting
2 | Casing & duct panels shall be shipped in the largest sections possible. Supplier to provide GA drawing marked up with anticipated panel breaks.
3 | Inlet duct shall be of a modular casing design with main structural columns shop attached to the panels
4 | Ports for sky climber access shall be provided for access to all internal casing field seams
5 | Inlet duct shall be designed such that field adjustments can be made in all three dimensions
6 | Primary panels (if applicable) shall be provided with shop drilled holes for guy-wire attachment
7 | Casing edges requiring field welding shall be left as bare metal (fabricator shall tape edges during prime painting)
8 | Ammonia grid lance ports shall be shop installed on the associated casing panel
9 | Casing stiffeners and bracing shall be shop installed where possible. Field installed casing stiffeners shall be provided with bolted connections
10 | Casing panels shall be designed with lap joints on at least one side for field fit-up
11 | Access doors shall be provided for attic access during hydrotesting
12 | Liner plates shall be sorted and packaged by field seam
13 | Casing panels shall be packaged by area and stacked in reverse erection order to avoid double handling on site. Supplier to coordinate with B&V on packaging.
14 | Casing weld joints shall be designed for external seal welding only (no casing seal welding on the inside of the HRSG - it is understood there will be some welding associated with insulation and liners, SCR grid, bumpers etc.)
15 | All casing panels shall be Provided with shop installed internal insulation and liners - if field installed insulation must be installed (other than field seams), it must be noted (pyrobloc)
Item # | Structural Steel
1 | All structural steel connections shall be a 100% bolted design (no welding)
2 | All handrail shall be of a bolted design with closed ends (no splicing between handrails sections)
3 | All structural bolts requiring pre-tensioning shall be direct tension indicator type
4 | Stair tower shall be of a free-standing design
5 | Platforms shall be packaged by area and stacked in reverse erection order
6 | Silencer support steel shall be designed such that it may be ground assembled and lifted in large sections
7 | Supply overage on all structural and temporary erection bolts sufficient for non-destructive testing (at least 3 per lot)
8 | Grating penetrations & kick plate shall be shop installed
9 | Platform sections shall be shipped in pre-fabricated sections with grating shop installed.
10 | Stair stringers shall be assembled with bolted connections
11 | Platforms shall be shipped in sections as large as possible within agreed upon shipping constraints
Item # | Piping
1 | Isometric drawings with bill of material and dimensions shall be provided for all piping
2 | Piping isometrics shall have relative coordinates labeled
3 | Safe-ends should be shop installed on all drum and module tie-ins to eliminate the need for dissimilar field welds
4 | Large bore piping penetrations shall penetrate casing by at least 1 ft. to provide access for welding and PWHT wraps.
5 | Piping connections to vent silencers shall be bolted connections
6 | Piping shall be tagged by isometric number
7 | Control valves shall be Provided with necessary kits for hydrotest and commissioning, installed, and Provided in a condition ready for welding/PWHT.
8 | All vent and drain piping internal to the casing shall be shop installed and penetrate the casing (field welds are on the outside)
9 | B&V shall be given a one week review period to review and comment on field weld locations prior to fabrication.
10 | Vent silencers connections to support steel shall be of a bolted design
11 | Wherever metal expansion joint bellows must be field welded to pipe, reinforcing rings shall be installed to avoid PWHT after bellows have been installed.
12 | Small bore fitting shall be pre-sorted and packaged by line number
13 | Drain piping on top of the HRSG shall be routed into common headers to minimize the number of small bore runs down the sides of the HRSG.
14 | All welded attachments to pipe shall be shop welded (Shoes, guides, lugs, trunnions, thermowells etc.)
15 | All piping shall be shop fabricated.
16 | Piping shall be cut to design length and shop beveled.
17 | Piping associated with duct burner and ammonia system shall be skidded to the greatest extent possible only limited by shipping restrictions
18 | Drum trim piping shall be prefabricated and delivered along with steam drums
19 | Weld large bore valves into spools as required in the specification
20 | All bellows must be supplied with protective wrap or cover for damage prevention during construction.
21 | Shop fabricate small bore valve stations
Item # | Pipe Supports
1 | All pipe supports shall be shop fabricated to the greatest extent possible with bolted connections where possible
2 | If applicable all pipe support members shall be cut to length and shop beveled
3 | Pipe supports should be packaged by area rather than support type (all supports located on the top of the HRSG should be packaged together etc.)
4 | Pipe supports shall be shop prefabricated into assemblies to include clamps, rods, spring cans etc. and tagged by support number
5 | All welded lugs for pipe supports shall be shop welded to attaching steel
Item # | Modules
1 | Bumpers/restraint brackets shall be shop installed
2 | Module shipping steel shall be designed to stay in place on cold end boxes
3 | C-Frame modules (if applicable) shall be provided with shop drilled holes or lugs for guy-wire attachment
4 | Structural moment connections shall be a 100% bolted design unless seismic design dictates welding
Item # | Steam Drums
1 | Steam drums shall be provided with internals 100% shop installed
2 | Drum piping shall be designed to be supported from the drum to allow for ground fabrication of drum trim (necessary brackets and clips shall be shop welded to the steam drums)
3 | Steam drum saddles shall be shop installed
4 | Provide steam drums downcomer covers with orifices for chemical cleaning procedures.
Item # | Stack
1 | Stack shall be Provided with shop installed lifting trunnions and tailing lugs that do not require removal in the field
2 | Two anchor bolt templates shall be provided per stack
3 | If applicable stack damper shall be shipped in two halves (it is acceptable to ship linkages and actuators loose).
4 | All stack attachments shall be bolted connections (platform steel connections, personnel protection etc.)
5 | Breeching shall have one large opening with shop installed framing and stiffeners. Stack designs with multiple openings and stitch cut knock-outs shall not be allowed.