## Sheet1
1411829846 APPENDIX B – RESPONSE WORKBOOK
POWER ISLAND ADVANCED-CLASS COMBINED-CYCLE FACILITY
The Company must submit pricing in the highlighted cells below as indicated in each section. In order to participate in this Solicitation, pricing must be provided for each item included in this workbook. Prices provided by the company will be used as guidelines and are not a guarantee of work. All bid prices shall include all travel, freight, administration, and any other charges needed to provide products. Company’s firm price shall remain valid through the bid validity period of 180 days. |  | <COMPANY NAME>
SECTION I - Equipment
The Company must submit pricing in column E to include Total Cost to JEA.
ITEM# | DESCRIPTION | EXTENDED PRICE
1 | One CT with auxiliaries
2 | One ST with auxiliaries
3 | Hydrogen Cooled Generators with auxiliaries for CT and ST
4 | One triple pressure reheat HRSG with duct burners
5 | One set of HP, IP, and LP turbine bypass valves
6 | One set of HP and HRH terminal attemperators and associated spray water control valves
7 | One set of HP, IP, and LP turbine bypass valves
8 | Startup spare parts
9 | Engineering design, technical field services, and other miscellaneous services as detailed herein
10 | Freight
Total Equipment Price | Supplier shall provide the total amount of Equipment.
SECTION II - Equipment Options
The Company must submit pricing in column E to include Total Cost to JEA. Items will be ordered on as needed basis. Estimated quantities used in developing this calculation are used as guidelines and are not a guarantee of work. Quantities can increase or decrease throughout the life of the contract.
ITEM# | DESCRIPTION | EXTENDED PRICE
1 | Option: Available options for maintaining the STG in warm condition during short shutdowns. The intent of keeping the STG warm is to allow for quicker combined cycle startup.
2 | Alternate: Option pricing for a TEWAC generator for the STG only. An air cooled generator shall not be offered for the CTG, and will not being considered at this time.
3 | Option: Combustion Turbine Inlet air chillers.
4 | Alternate: High Temperature Steam cycle configured for 2400psig, >1100F main steam and hot reheat temperatures.
5 | Option: All necessary valves and equipment to allow warm and hot STG starting from full turbine bypass mode with the CT operating at a load of no less than 90% of Full Output. The HRSG Startup Vent valves may be used in conjunction with the bypass systems to achieve the required pressures to allow the steam turbine to restart.
6 | Option: Generator Partial Discharge Monitoring Slot couplers.
7 | Option: Generator Partial Discharge Monitoring Bus couplers.
8 | Option: Generator rotor flux sensors with continuous monitoring system.
9 | Option: Provisions for installation of ST blade vibration monitoring system.
10 | Option: Simulator
11 | Option: Power Island Equipment configured for future carbon capture system integration.
12 | Option: EMI monitoring using current transformers on the Generator.
13 | Option: Second identical advanced class CCGT power island. (JEA needs this option to make an optimal recommendation for compliance with the new GHG rules.)
SECTION III - LTSA
The Company must submit pricing in column E to include Total Cost to JEA. Items will be ordered on as needed basis. Estimated quantities used in developing this calculation are used as guidelines and are not a guarantee of work. Quantities can increase or decrease throughout the life of the contract.
ITEM# | DESCRIPTION | EXTENDED PRICE
A. Fixed Fee | [U.S. $ ___By Company]
B. Milestone Fees: | [U.S. $ ___ By Company]; Company shall provide Milestone Fees for each Combustion Inspection (as required), Hot Gas Path Inspection, and Major Inspection through the Term of the LTSA.
Total Contract Price from 78.4201 | Company shall provide the payment structure for the LTSA as further described below. All currency to be provided in 2024 USD.
SECTION IV - LTSA Options
The Company must submit pricing in column E to include Total Cost to JEA. Items will be ordered on as needed basis. Estimated quantities used in developing this calculation are used as guidelines and are not a guarantee of work. Quantities can increase or decrease throughout the life of the contract. Company shall provide the equivalent operating hours and equivalent starts to reach the Planned Maintenance Inspections.
i. Full Generator Coverage | [U.S. $ ___By Company]
ii. Parts at End of Term | [U.S. $ ___By Company]
iii. CT Rotor Repair/Replacement | [U.S. $ ___By Company]
iv. Additional Auxiliary Coverage | [U.S. $ ___By Company]
v. Control system upgrades | [U.S. $ ___By Company]
SECTION V - LTSA Options Section II - Parts and Discounted Time and Material Rates
The Company must submit pricing in column E to include Total Cost to JEA. Items will be ordered on as needed basis. Estimated quantities used in developing this calculation are used as guidelines and are not a guarantee of work. Quantities can increase or decrease throughout the life of the contract. Company shall provide Parts and Services being supplied as Extra Work and Unplanned Maintenance/Repair of Collateral Damage above the Unplanned Maintenance/Repair of Collateral Damage cap amounts at the lesser of (a) the pricing set forth in Company Attachment 2 T&M Parts and Services Rates, and (b) the Company’s then-current list price, subject in all cases to the following discount rates for each item below. Company shall maintain books and records of account concerning the performance of the work under the LTSA in accordance with generally accepted accounting principles and practices. JEA shall have the right to review and audit the pertinent books and records in order to verify amounts invoiced to JEA under the LTSA on a time and materials basis.
- Technical Advisory Services | [ ___By Company]%
- Repair Services | [ ___By Company]%
- Capital Parts | [ ___By Company]%
- Non-Capital Parts | [ ___By Company]%
- Purchased Labor & Material from non-Affiliated third parties | Invoice + [ ___By Company]%
- Purchased Labor & Material from Affiliates | Invoice + [ ___By Company]%
SUM of E16 & E41 - TRANSFER THIS AMOUNT TO APPENDIX B- RESPONSE FORM |  | 0