## Cover - Instructions
Appendix D - Response Submission Form
Instructions:
Respondents must fill out all fields for each Response in the applicable tab corresponding to the Response type. All Responses must have its own individual column and all fields must be filled out by Respondents for each of the Responses to meet the Solicitation's Minimum Requirements. Additionally, each Response must provide information for a guaranteed heat rate curve in the "Heat Rate Inputs" tab in the corresponding Response Number input section.

## PPA
Response Input Sheet - PPAs
| Respondent Name | Response Number | PPA Response 1 | PPA Response 2 | PPA Response 3 | PPA Response 4
Facility Name
Resource Type
Expected Commercial Operations Date
Guaranteed Commercial Operations Date
Delivery Term (Years)
Primary Fuel
Secondary Fuel (if applicable)
Generation Configuration
Energy Delivery Point
Interconnection Location
Operational Input
Facility Description
1 | Project Design Life | Years
2 | Net Maximum Capacity of Facility | MW
3 | Net Maximum Capacity Allocated to Buyer | %
4 | Interconnection Capacity | MW
5 | Expected Contract Capacity | MW
6 | Guaranteed Contract Capacity | MW
7 | MECL Dependable Capacity (allocated to Buyer) | MW
Facility Operations
8 | Minimum Run Time | Hours
9 | Minimum Down Time | Hours
10 | Maximum Ramp-up Rate | MW/minute
11 | Maximum Ramp-down rate | MW/minute
12 | Maximum number of Complete Starts per day | #
13 | Maximum number of Complete Starts per year | #
14 | Hot Start-up Time | Minutes
15 | Duration of Shut Down to Hot Start | Hours
16 | Warm Start-up Time | Minutes
17 | Duration of Shut Down to Warm Start | Hours
18 | Cold Start-up Time | Minutes
19 | Hot Start Fuel Quantity | MMBtu/MW/CT
20 | Warm Start Fuel Quantity | MMBtu/MW/CT
21 | Cold Start Fuel Quantity | MMBtu/MW/CT
Outage Information
22 | Planned Outage Rate | %
23 | Forced Outage Rate | %
24 | Availability Rate | %
Emmissions
25 | CO2 emission rate | lbs/Mwh
26 | NOx emission rate | lbs/MWh
27 | SOx emission rate | lbs/MWh
Pricing Input
PPA Price Components
Capacity Rate
28 | Year 1 | $/kW-mo
29 | Annual Escalation | %/year
Fixed O&M
30 | Fixed O&M - Year 1 | $/kW-mo
31 | FOM - Annual Escalation | %/year
Energy Charges
32 | Variable O&M - Year 1 | $/MWh
33 | VOM - Annual Escalation | %/year
34 | Start Charge - Year 1 | ($/Completed Start/CT)
35 | Start Charge - Annual Escalation | %/year
36 | Notes, If Any | Text

## Acquisition-BTA
Response Input Sheet - BTAs and Acquisitions
| Respondent Name | Response Number | BTA/APA Response 1 | BTA/APA Response 2 | BTA/APA Response 3 | BTA/APA Response 4
Facility Name
Resource Type
Expected Commercial Operations Date
Guaranteed Commercial Operations Date
Primary Fuel
Secondary Fuel (if applicable)
Generation Configuration
Energy Delivery Point
Interconnection Location
Operational Input
Facility Description
1 | Project Design Life | Years
2 | Guaranteed Net Electrical Output | MW
3 | Net Maximum Capacity Allocated to Buyer | %
4 | Interconnection Capacity | MW
5 | Guaranteed MECL Dependable Capacity (allocated to Buyer) | MW
Facility Operations
6 | Minimum Run Time | Hours
7 | Minimum Down Time | Hours
8 | Maximum Ramp-up Rate | MW/minute
9 | Maximum Ramp-down rate | MW/minute
10 | Maximum number of Complete Starts per day | #
11 | Maximum number of Complete Starts per year | #
12 | Hot Start-up Time | Minutes
13 | Duration of Shut Down to Hot Start | Hours
14 | Warm Start-up Time | Minutes
15 | Duration of Shut Down to Warm Start | Hours
16 | Cold Start-up Time | Minutes
17 | Hot Start Fuel Quantity | MMBtu/MW/CT
18 | Warm Start Fuel Quantity | MMBtu/MW/CT
19 | Cold Start Fuel Quantity | MMBtu/MW/CT
Outage Information
20 | Planned Outage Rate | %
21 | Forced Outage Rate | %
22 | Availability Rate | %
Emmissions
23 | CO2 emission rate | lbs/MWh
24 | NOx emission rate | lbs/MWh
25 | SOx emission rate | lbs/MWh
Pricing Input
Acquisition Price Components
26 | Acquisition Purchase Price | $
27 | Notes, If Any | Text

## Heat Rate Inputs
Response Input Sheet - BTAs and Acquisitions
Respondent Name
|  | PPA Guaranteed Heat Rate Information Request | PPA Response 1 |  | PPA Response 2 |  | PPA Response 3 |  | PPA Response 4
|  |  | Heat Rate | Capacity | Heat Rate | Capacity | Heat Rate | Capacity | Heat Rate | Capacity
|  | Summer Guaranteed Heat Rate | Btu/kWh | MW | Btu/kWh | MW | Btu/kWh | MW | Btu/kWh | MW
| 1 | Maximum Dependable with Supplemental Capacity
| 2 | Maximum Dependable Base Capacity
| 3 | 75% of Base Dependable Capacity
| 4 | 50% of Base Dependable Capacity
| 5 | MECL Dependable Capacity
Winter Guaranteed Heat Rate
| 6 | Maximum Dependable with Supplemental Capacity
| 7 | Maximum Dependable Base Capacity
| 8 | 75% of Base Dependable Capacity
| 9 | 50% of Base Dependable Capacity
| 10 | MECL Dependable Capacity
|  | BTA/APA Guaranteed Heat Rate Information Request | BTA/APA Response 1 |  | BTA/APA Response 2 |  | BTA/APA Response 3 |  | BTA/APA Response 4
|  |  | Heat Rate | Capacity | Heat Rate | Capacity | Heat Rate | Capacity | Heat Rate | Capacity
|  | Guaranteed Heat Rate for Summer Ambient Conditions | Btu/kWh | MW | Btu/kWh | MW | Btu/kWh | MW | Btu/kWh | MW
| 1 | Maximum Dependable with Supplemental Capacity
| 2 | Maximum Dependable Base Capacity
| 3 | 75% of Base Dependable Capacity
| 4 | 50% of Base Dependable Capacity
| 5 | MECL Dependable Capacity
Guaranteed Heat Rate for Winter Ambient Conditions
| 6 | Maximum Dependable with Supplemental Capacity
| 7 | Maximum Dependable Base Capacity
| 8 | 75% of Base Dependable Capacity
| 9 | 50% of Base Dependable Capacity
| 10 | MECL Dependable Capacity
Guaranteed Heat Rate for Average Ambient Conditions
| 11 | Maximum Dependable with Supplemental Capacity
| 12 | Maximum Dependable Base Capacity
| 13 | 75% of Base Dependable Capacity
| 14 | 50% of Base Dependable Capacity
| 15 | MECL Dependable Capacity