Date: 12/04/2024

## TO:                   THE CONTRACTOR

## FROM:             System Protection & Control Projects 20413

SUBJECT:      	Construction Specifications for Normandy Substation

Note 1: Any work performed without receiving a written electronic authorization from System Protection & Control Projects 20413 (SPCP), shall result in the contractor not being paid for all work performed without authorization.

Note 2: It shall be the responsibility of the contractor to receive an electronic written authorization from JEA SPCP for any additional work, which may result in a change order.

| JEA SPCP Contact Information |  |
| --- | --- |
| Derek Horn | Hornd@jea.com (772)-940-9106 |
| Ryan Heaton | heatrc@jea.com (904)-899-3671 |

Note 3: Use this document in conjunction with the issued “Cable schedule”, “Control House Plan”, “Control House Communication Tray”, “Control House Conduit Plant”, “Control House Conduit Details”, “AC/DC Low Voltage Plan & Details”, “Technical Specifications” and other forms of documentation given by JEA for performing this work successfully.

Note 4: THE CONTRACTOR shall follow instructions below to meet JEA SPCP’s expectations. Due to strict system outages, THE CONTRACTOR shall ensure that their crews will be able to mobilize within 48 hours upon receiving notice from JEA SPCP Project Manager.

Note 5: When reviewing the wiring diagrams, please follow the following conventions, WIRING DIAGRAMS TO BE PROVIDED AT A LATER DATE:

- Anything that is covered in a yellow hatch is considered removed and is not to be terminated into the panel.

- Anything that is done in blue is considered to be a note and is used merely to provide guidance

- If the wiring diagram is updated at later point, all changes will be shown in green.

Note 6: All material is property of JEA.

SCOPE OF WORK

JEA System Protection & Control Projects 20413 (SPCP) is requesting The Contractor to perform the following tasks for the Normandy substation:

- The Contractor shall be responsible to pick up cable reels from other JEA substations or various JEA storerooms.

- The Contractor maybe required to move interfering furniture items or boxes to make way for their work.

- The Contractor shall place twenty-nine (29) relay panels in the new Normandy substation control house.

- The Contractor shall make all provisions and install the new twenty-nine (29) Control Panel(s), remove existing panels, and discard them in dumpster provided by Investment Recovery Operations.

- The Contractor shall be responsible for all terminations into the new de-energized control panels wiring diagrams to be provided by JEA at a later date. The Contractor shall include cost of terminating twenty – nine (29) JEA Standard cabinet style relay control panels.

- The Contractor shall make electrical connections to the DC charger and previously installed battery system.

- The Contractor shall be responsible for running AC/DC cables from the AC & DC source to new relay control panels as per provided cable schedule.

- Fabrication, procurement, and installation of temporary cable termination racks (including terminal blocks) as specified in the Connection Diagrams (NMC596 & NMC597).

- The Contractor shall be responsible for procuring cable for AC/DC source panels.

- The Contractor shall be responsible for the termination of all cables inside the new DC panels and de-energized relay panels.

- The Contractor shall connect the panel ground to the control house ground. The Contractor shall be responsible to provide all equipment material to make these ground connections.

- The Contractor shall put all the decommissioned equipment into the correct scrap metal container located on site for Investment Recovery Operation to pick up (NO trash is to put into the containers).

- The Contractor shall dispose of all trash that is a byproduct of their work regardless if the trash was created by material that was given by JEA such as empty cable reels.