SYSTEM PROTECTION & CONTROL PROJECTS 20413

# TEAMPORARY CABLE SCHEDULE

NORMANDY APSTF

|  | UCABLE NOTES:U |
| --- | --- |
| 1. | TYPE B, BS, F, AND FO CABLE SHALL BE FURNISHED BY THE OWNER, UNLESS OTHERWISE SPECIFIED. |
| 2. | THE CONTRACTOR SHALL FURNISH ALL OTHER CABLE, AS SPECIFIED. |
| 3. | CONTRACTOR IS RESPONSIBLE FOR VERIFYING ALL CABLE LENGTHS. CABLE LENGTHS LISTED ARE APPROXIMATE. |
| 4. | THE CONTRACTOR SHALL VERIFY THE EXISTING CABLE CONNECTIONS AND DUPLICATE CABLES TO NEW DC PANELS EXISTING PANEL NUMBERS CAN BE DIFFERENT. |

|  | UCABLE LEGEND:U |
| --- | --- |
| A - | THHN INSULATED COPPER CONDUCTOR, RATED 600V |
| B - | CONTROL CABLE |
| BS - | SHIELDED CONTROL CABLE |
| C - | RHW, THHW, OR THWN INSULATED COPPER CONDUCTOR, RATED 600V |
| F - | INSTRUMENT CABLE |
| FO - | FIBER OPTIC CABLE |
| S - | SINGLE CONDUCTOR |
| M - | MULTIPLE CONDUCTOR |

| CABLE # | FROM | TO | VOLT | SIZE | #C | S/M | TYPE | LNGTH ckt ft | CONDUIT # | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| TERM RACK IN NEW CONTROL HOUSE |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TERM/C1 | TERM RACK NEW CH | TERM RACK OLD CH | 600 | 10 | 21 | M | BS | 743 |  | CONTROL |
| TERM/C2 | TERM RACK NEW CH | TERM RACK OLD CH | 600 | 10 | 21 | M | BS | 743 |  | CONTROL |
| TERM/C3 | TERM RACK NEW CH | TERM RACK OLD CH | 600 | 10 | 21 | M | BS | 743 |  | CONTROL |
| TERM/C4 | TERM RACK NEW CH | TERM RACK OLD CH | 600 | 10 | 21 | M | BS | 743 |  | CONTROL |
| TERM/C5 | TERM RACK NEW CH | TERM RACK OLD CH | 600 | 10 | 21 | M | BS | 743 |  | CONTROL |
| TERM/C6 | TERM RACK NEW CH | TERM RACK OLD CH | 600 | 10 | 21 | M | BS | 743 |  | CONTROL |
| TERM/C7 | TERM RACK NEW CH | TERM RACK OLD CH | 600 | 10 | 21 | M | BS | 743 |  | CONTROL |
| TERM/C8 | TERM RACK NEW CH | TERM RACK OLD CH | 600 | 10 | 21 | M | BS | 743 |  | CONTROL |
| TERM/C9 | TERM RACK NEW CH | TERM RACK OLD CH | 600 | 10 | 21 | M | BS | 743 |  | CONTROL |
| TERM/C10 | TERM RACK NEW CH | TERM RACK OLD CH | 600 | 10 | 21 | M | BS | 743 |  | CONTROL |
| TERM/C11 | TERM RACK NEW CH | TERM RACK OLD CH | 600 | 10 | 21 | M | BS | 743 |  | CONTROL |
| TERM/C | TERM RACK NEW CH | TERM RACK OLD CH | 600 | 10 | 21 | M | BS | 743 |  | CONTROL |
| P11TR1/9C7 | TERM RACK NEW CH | NEW 230KV PNL 11 | 600 | 10 | 8 | M | BS | 83 |  | CONTROL |
| P4TR1/941 | TERM RACK NEW CH | NEW 230KV PNL 4 | 600 | 10 | 8 | M | BS | 62 |  | CONTROL |
| P2TR1/940 | TERM RACK NEW CH | NEW 230KV PNL 2 | 600 | 10 | 8 | M | BS | 56 |  | CONTROL |
| P3TR1/944 | TERM RACK NEW CH | NEW 230KV PNL 3 | 600 | 10 | 8 | M | BS | 59 |  | CONTROL |
| P8TR1/928 | TERM RACK NEW CH | NEW 230KV PNL 8 | 600 | 10 | 8 | M | BS | 73 |  | CONTROL |
| P21TR1/9T7 | TERM RACK NEW CH | NEW 230KV PNL 21 | 600 | 10 | 8 | M | BS | 82 |  | CONTROL |
| P10TR1/9C8 | TERM RACK NEW CH | NEW 230KV PNL 10 | 600 | 10 | 8 | M | BS | 80 |  | CONTROL |
| P5TR1/947 | TERM RACK NEW CH | NEW 230KV PNL 5 | 600 | 10 | 21 | M | BS | 60 |  | CONTROL |
| P9TR1/936 | TERM RACK NEW CH | NEW 230KV PNL 9 | 600 | 10 | 21 | M | BS | 76 |  | CONTROL |
| P6TR1/921 | TERM RACK NEW CH | NEW 230KV PNL 6 | 600 | 10 | 21 | M | BS | 67 |  | CONTROL |
| P7TR1/927 | TERM RACK NEW CH | NEW 230KV PNL 7 | 600 | 10 | 21 | M | BS | 70 |  | CONTROL |
| P17TR1/9T6 | TERM RACK NEW CH | NEW 230KV PNL 17 | 600 | 10 | 8 | M | BS | 70 |  | CONTROL |
| P19TR1/9T8 | TERM RACK NEW CH | NEW 230KV PNL 19 | 600 | 10 | 8 | M | BS | 76 |  | CONTROL |

| CABLE # | FROM | TO | VOLT | SIZE | #C | S/M | TYPE | LNGTH ckt ft | CONDUIT # | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| TERM RACK IN NEW CONTROL HOUSE |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| P12TR1/9T6T7 | TERM RACK NEW CH | NEW 230KV PNL 12 | 600 | 10 | 4 | M | BS | 85 |  | CONTROL |
| P25TR1/835 | TERM RACK NEW CH | NEW 138KV PNL 25 | 600 | 10 | 8 | M | BS | 94 |  | CONTROL |
| P28TR1/837 | TERM RACK NEW CH | NEW 138KV PNL 28 | 600 | 10 | 8 | M | BS | 103 |  | CONTROL |
| P18TR1/8T6 | TERM RACK NEW CH | NEW 138KV PNL 18 | 600 | 10 | 8 | M | BS | 73 |  | CONTROL |
| P23TR1/8NS | TERM RACK NEW CH | NEW 138KV PNL 23 | 600 | 10 | 8 | M | BS | 88 |  | CONTROL |
| P29TR1/8T1 | TERM RACK NEW CH | NEW 138KV PNL 29 | 600 | 10 | 8 | M | BS | 106 |  | CONTROL |
| P29TR1/8T2 | TERM RACK NEW CH | NEW 138KV PNL 29 | 600 | 10 | 8 | M | BS | 106 |  | CONTROL |
| P26TR1/838 | TERM RACK NEW CH | NEW 138KV PNL 26 | 600 | 10 | 8 | M | BS | 97 |  | CONTROL |
| P27TR1/832 | TERM RACK NEW CH | NEW 138KV PNL 27 | 600 | 10 | 8 | M | BS | 100 |  | CONTROL |
| P24TR1/8C1 | TERM RACK NEW CH | NEW 138KV PNL 24 | 600 | 10 | 8 | M | BS | 91 |  | CONTROL |
| P22TR1/8T7 | TERM RACK NEW CH | NEW 138KV PNL 22 | 600 | 10 | 8 | M | BS | 85 |  | CONTROL |
| P20TR1/8T8 | TERM RACK NEW CH | NEW 138KV PNL 20 | 600 | 10 | 8 | M | BS | 74 |  | CONTROL |

| CABLE # | FROM | TO | VOLT | SIZE | #C | S/M | TYPE | LNGTH ckt ft | CONDUIT # | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| TERM RACK IN OLD CONTROL HOUSE |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| P13TR2/9C7 | TERM RACK OLD CH | OLD 230KV PNL 13 | 600 | 10 | 8 | M | BS | 114 |  | CONTROL |
| P1TR2/941 | TERM RACK OLD CH | OLD 230KV PNL 1 | 600 | 10 | 8 | M | BS | 92 |  | CONTROL |
| P1TR2/940 | TERM RACK OLD CH | OLD 230KV PNL 1 | 600 | 10 | 8 | M | BS | 92 |  | CONTROL |
| P5TR2/944 | TERM RACK OLD CH | OLD 230KV PNL 5 | 600 | 10 | 8 | M | BS | 62 |  | CONTROL |
| P4TR2/928 | TERM RACK OLD CH | OLD 230KV PNL 4 | 600 | 10 | 8 | M | BS | 85 |  | CONTROL |
| P10TR2/9T7 | TERM RACK OLD CH | OLD 230KV PNL 10 | 600 | 10 | 8 | M | BS | 94 |  | CONTROL |
| P1TR2/9C8 | TERM RACK OLD CH | OLD 230KV PNL 14 | 600 | 10 | 8 | M | BS | 114 |  | CONTROL |
| P12TR2/947 | TERM RACK OLD CH | OLD 230KV PNL 12 | 600 | 10 | 21 | M | BS | 68 |  | CONTROL |
| P11TR2/936 | TERM RACK OLD CH | OLD 230KV PNL 11 | 600 | 10 | 21 | M | BS | 108 |  | CONTROL |
| P1TR2/921 | TERM RACK OLD CH | OLD 230KV PNL 1 | 600 | 10 | 8 | M | BS | 92 |  | CONTROL |
| P5TR2/92144 | TERM RACK OLD CH | OLD 230KV PNL 5 | 600 | 10 | 8 | M | BS | 62 |  | CONTROL |
| P1TR2/927 | TERM RACK OLD CH | OLD 230KV PNL 1 | 600 | 10 | 8 | M | BS | 92 |  | CONTROL |
| P4TR2/92728 | TERM RACK OLD CH | OLD 230KV PNL 4 | 600 | 10 | 8 | M | BS | 85 |  | CONTROL |
| P1TR2/9T6 | TERM RACK OLD CH | OLD 230KV PNL 1 | 600 | 10 | 8 | M | BS | 92 |  | CONTROL |
| P10TR2/9T7 | TERM RACK OLD CH | OLD 230KV PNL 10 | 600 | 10 | 8 | M | BS | 94 |  | CONTROL |
| P2TR2/9T6T7 | TERM RACK OLD CH | OLD 230KV PNL 2 | 600 | 10 | 4 | M | BS | 90 |  | CONTROL |
| P1TR2/9T8 | TERM RACK OLD CH | OLD 230KV PNL 1 | 600 | 10 | 8 | M | BS | 92 |  | CONTROL |

| CABLE # | FROM | TO | VOLT | SIZE | #C | S/M | TYPE | LNGTH ckt ft | CONDUIT # | REMARKS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| TERM RACK IN OLD CONTROL HOUSE |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| P4TR2/835 | TERM RACK OLD CH | OLD 138KV PNL 4 | 600 | 10 | 8 | M | BS | 75 |  | CONTROL |
| P1ATR2/837 | TERM RACK OLD CH | OLD 138KV PNL 1A | 600 | 10 | 8 | M | BS | 65 |  | CONTROL |
| P1BTR2/8T6 | TERM RACK OLD CH | OLD 138KV PNL 1B | 600 | 10 | 8 | M | BS | 62 |  | CONTROL |
| P1TR2/8NS | TERM RACK OLD CH | OLD 138KV PNL 1 | 600 | 10 | 4 | M | BS | 67 |  | CONTROL |
| P1ATR2/8NS | TERM RACK OLD CH | OLD 138KV PNL 1A | 600 | 10 | 4 | M | BS | 65 |  | CONTROL |
| P1TR2/8T1 | TERM RACK OLD CH | OLD 138KV PNL 1 | 600 | 10 | 8 | M | BS | 67 |  | CONTROL |
| P1TR2/8T2 | TERM RACK OLD CH | OLD 138KV PNL 1 | 600 | 10 | 8 | M | BS | 67 |  | CONTROL |
| P3TR2/838 | TERM RACK OLD CH | OLD 138KV PNL 3 | 600 | 10 | 8 | M | BS | 72 |  | CONTROL |
| P2TR2/832 | TERM RACK OLD CH | OLD 138KV PNL 1 | 600 | 10 | 8 | M | BS | 67 |  | CONTROL |
| P1BTR2/8C1 | TERM RACK OLD CH | OLD 138KV PNL 1B | 600 | 10 | 8 | M | BS | 62 |  | CONTROL |
| P1TR2/8T7 | TERM RACK OLD CH | OLD 138KV PNL 1 | 600 | 10 | 8 | M | BS | 67 |  | CONTROL |
| P1TR2/8T8 | TERM RACK OLD CH | OLD 138KV PNL 1 | 600 | 10 | 8 | M | BS | 67 |  | CONTROL |
| P1TR2/138NBFI | TERM RACK OLD CH | OLD 138KV PNL 1 | 600 | 10 | 8 | M | BS | 67 |  | CONTROL |
| P1TR2/138SBFI | TERM RACK OLD CH | OLD 138KV PNL 1 | 600 | 10 | 8 | M | BS | 67 |  | CONTROL |