## Response Workbook
1412012050 Appendix B - Response Workbook General Substation Construction Services (Only complete the prices in blue cells)
Company Name:
Bid Item | Bid Item Description (Only items highlighted in yellow will be included in the bid, however, JEA requests pricing be entered in all the blue cells for informational and planning purposes) | Units | 3 Year Estimated Quantity | Unit Price | Total Price
CONCRETE AND ASPHALT MATERIAL
1 | 3000# Concrete, 18" Or Less, Slab Type Foundations | Cubic Ft | 0 |  | 0
2 | 3000# Concrete, >18" to 24", Slab Type Foundations | Cubic Ft | 0 |  | 0
3 | 4000# Concrete, 18" Or Less, Slab Type Foundations | Cubic Ft | 2120 |  | 0
4 | 4000# Concrete, >18" to 24", Slab Type Foundations | Cubic Ft | 0 |  | 0
5 | 5000# Concrete, 18" Or Less, Slab Type Foundations | Cubic Ft | 0 |  | 0
6 | 5000# Concrete, >18" to 24", Slab Type Foundations | Cubic Ft | 0 |  | 0
7 | Concrete Removal, Slab Type Foundations, Up to 20" Below Grade | Cubic Ft | 1300 |  | 0
8 | Asphalt Installation, 1-1/2" Thickness, Type S-1 per FDOT Standards | Cubic Ft | 0 |  | 0
9 | Asphalt Removal, 1-1/2: Thickness, Type S-1 | Cubic Ft | 0 |  | 0
MANHOLE UNITS
10 | Manhole Installation 6' x 4' x 6' | EA | 0 |  | 0
11 | Manhole Installation 12' x 6' x 7' | EA | 0 |  | 0
12 | Manhole Installation 12' x 8' x 7' | EA | 0 |  | 0
13 | Manhole Installation 16' x 8' x 8' | EA | 0 |  | 0
14 | Manhole Installation 9' x 6' x 7' | EA | 0 |  | 0
15 | Manhole Installation 10' x 16' x 7' | EA | 0 |  | 0
AGGREGATE UNITS | AGGREGATE UNITS |  |  |  | 0
16 | Rock Installation, #5 Bluegray Limestone, 4" Depth | Cubic Yard | 0 |  | 0
17 | Sand Installation, A-3 | Cubic Yard | 0 |  | 0
CONDUIT UNITS | CONDUIT UNITS
18 | Conduit Installation 1" - 2", 18" Depth | LF | 5680 |  | 0
19 | Conduit Installation 3" - 4", 18" Depth | LF | 300 |  | 0
20 | Conduit Installation 5" - 6", 18" Depth | LF | 0 |  | 0
GROUNDING UNITS | GROUNDING UNITS |  |  |  | 0
21 | 19#8 Copper Ground Grid Installation, 24" Depth | LF | 150 |  | 0
22 | 7#5 Copper Ground Grid Installation, up to 24" Depth | LF | 1162 |  | 0
23 | Equipment ground connection | EA | 114 |  | 0
24 | Below grade Cadwell exothermic connection | EA | 114 |  | 0
25 | 5/8" x 8 ' Ground Rod Installation, 50' Depth | EA | 0 |  | 0
MEDIUM/HIGH VOLTAGE BARE CONDUCTOR UNITS
26 | Aluminum Jumper, 954 ACSR - 1590 ACSR | LF | 0 |  | 0
27 | Aluminum Jumper, 636 AAC - 954 AAC | LF | 2150 |  | 0
28 | Copper Jumper, 250CU - 1000CU | LF | 1850 |  | 0
29 | Medium/High Voltage Conductor Termination | EA | 378 |  | 0
LOW VOLTAGE CABLE UNITS | LOW VOLTAGE CABLE UNITS |  |  |  | 0
30 | Low Voltage Control Cable Installation #8 - #18 | LF | 20050 |  | 0
31 | Low Voltage Power Cable Installaiton #8 - #18 | LF | 3600 |  | 0
32 | Low Voltage Power Cable Installation #1 - #6 RHW | LF | 90 |  | 0
33 | Low Voltage Power Cable Installation 1/0 or 250MCM | LF | 0 |  | 0
34 | Low Voltage Cable Removal | LF | 22800 |  | 0
35 | Low Voltage Cable Terminations | EA | 2725 |  | 0
SUBSTATION EQUIPMENT UNITS | SUBSTATION EQUIPMENT UNITS |  |  |  | 0
36 | Breaker Removal, 230kV, 15,000 lbs. Or Greater | EA | 0 |  | 0
37 | Breaker Removal, 230kV, 15,000 lbs. Or Less | EA | 1 |  | 0
38 | Breaker Removal, 138kV, 15,000 lbs. Or Greater | EA | 0 |  | 0
39 | Breaker Removal, 138kV, 15,000 lbs. Or Less | EA | 1 |  | 0
40 | Breaker Removal, 69kV | EA | 1 |  | 0
41 | Breaker Removal 26kV | EA | 6 |  | 0
42 | Breaker Installation, 230kV | EA | 1 |  | 0
43 | Breaker Installation, 138kV | EA | 1 |  | 0
44 | Breaker Installation, 69kV | EA | 1 |  | 0
45 | Breaker Installation, 26kV | EA | 6 |  | 0
46 | Switch Removal, 230kV, High-Profile, 3 Phase Set | EA | 0 |  | 0
47 | Switch Removal, 138kV, High-Profile, 3 Phase Set | EA | 0 |  | 0
48 | Switch Removal, 69kV, High-Profile, 3 Phase Set | EA | 0 |  | 0
49 | Switch Removal, 26kV, High-Profile, 3 Phase Set | EA | 0 |  | 0
50 | Switch Installation, 230kV, High-Profile, 3 Phase Set | EA | 0 |  | 0
51 | Switch Installlation, 138kV, High-Profile, 3 Phase Set | EA | 0 |  | 0
52 | Switch Installation, 69kV, High-Profile, 3 Phase Set | EA | 0 |  | 0
53 | Switch Installation, 26kV, High-Profile, 3 Phase Set | EA | 0 |  | 0
54 | Switch Removal, 230kV, Low-Profile, 3 Phase Set | EA | 0 |  | 0
55 | Switch Removal, 138kV, Low-Profile, 3 Phase Set | EA | 0 |  | 0
56 | Switch Removal, 69kV, Low-Profile, 3 Phase Set | EA | 0 |  | 0
57 | Switch Removal, 26kV, Low-Profile, 3 Phase Set | EA | 0 |  | 0
58 | Switch Installation, 230kV, Low-Profile, 3 Phase Set | EA | 0 |  | 0
59 | Switch Installation, 138kV, Low-Profile, 3 Phase Set | EA | 0 |  | 0
60 | Switch Installation, 69kV, Low-Profile, 3 Phase Set | EA | 0 |  | 0
61 | Switch Installation, 26kV, Low-Profile, 3 Phase Set | EA | 0 |  | 0
62 | Motor Operator Removal | EA | 6 |  | 0
63 | Motor Operator Installation | EA | 6 |  | 0
64 | PT Removal, 230kV | EA | 25 |  | 0
65 | PT Removal, 138kV | EA | 25 |  | 0
66 | PT Removal, 69kV | EA | 10 |  | 0
67 | PT Removal, 26kV | EA | 0 |  | 0
68 | PT Installation, 230kV | EA | 25 |  | 0
69 | PT Installation, 138kV | EA | 25 |  | 0
70 | PT Installation, 69kV | EA | 10 |  | 0
71 | PT Installation, 26kV | EA | 0 |  | 0
72 | CT Removal, 230kV | EA | 0 |  | 0
73 | CT Removal, 138kV | EA | 0 |  | 0
74 | CT Removal, 69kV | EA | 0 |  | 0
75 | CT Removal, 26kV | EA | 0 |  | 0
76 | CT Installation, 230kV | EA | 0 |  | 0
77 | CT Installation, 138kV | EA | 0 |  | 0
78 | CT Installation, 69kV | EA | 0 |  | 0
79 | CT Installation, 26kV | EA | 0 |  | 0
80 | Arrestor Removal, 230kV | EA | 0 |  | 0
81 | Arrestor Removal, 138kV | EA | 0 |  | 0
82 | Arrestor Removal, 69kV | EA | 0 |  | 0
83 | Arrestor Removal, 26kV | EA | 0 |  | 0
84 | Arrestor Installation, 230kV | EA | 0 |  | 0
85 | Arrestor Installation, 138kV | EA | 0 |  | 0
86 | Arrestor Installation, 69kV | EA | 0 |  | 0
87 | Arrestor Installation, 26kV | EA | 0 |  | 0
88 | Cap Switcher/VBM Removal | EA | 21 |  | 0
89 | Cap Switcher Installation, 230kV | EA | 0 |  | 0
90 | Cap Switcher Installation, 138kV | EA | 0 |  | 0
91 | Cap Switcher Intallation, 26kV | EA | 21 |  | 0
92 | Geo-Web, 4" | EA | 0 |  | 0
LOW VOLTAGE AUXILIARY UNITS | LOW VOLTAGE AUXILIARY UNITS |  |  |  | 0
93 | AC Yard Panel Installation, 3 Phase | EA | 0 |  | 0
94 | AC Yard Panel Installation, 1 Phase | EA | 0 |  | 0
95 | Junction Box Removal | EA | 25 |  | 0
96 | Junction Box Installation | EA | 25 |  | 0
LABOR UNITS | LABOR UNITS |  |  |  | 0
1 | Superintendent, straight time | Hour | 0 |  | 0
2 | Superintendent, 1.5 x straight time | Hour | 0 |  | 0
3 | Foreman, straight time | Hour | 110 |  | 0
4 | Foreman, 1.5 x straight time | Hour | 0 |  | 0
5 | Lineman, straight time | Hour | 0 |  | 0
6 | Lineman, 1.5 x straight time | Hour | 0 |  | 0
7 | Journeyman, straight time | Hour | 150 |  | 0
8 | Journeyman, 1.5 x straight time | Hour | 0 |  | 0
9 | Journeyman apprentice, straight time | Hour | 150 |  | 0
10 | Journeyman apprentice, 1.5 x straight time | Hour | 0 |  | 0
11 | Helper, straight time | Hour | 0 |  | 0
12 | Helper, 1.5 x straight time | Hour | 0 |  | 0
EQUIPMENT UNITS | EQUIPMENT UNITS |  |  |  | 0
1 | Truck, pick-up |  | 80 |  | 0
2 | Truck, flatbed 14'-16' |  | 80 |  | 0
3 | Truck, dump, 6 yards |  | 0 |  | 0
4 | Truck, dump. 16 yards |  | 0 |  | 0
5 | Truck, bucket, 42 foot working height |  | 153 |  | 0
6 | Truck, bucket, 65 foot working height |  | 0 |  | 0
7 | Truck, bucket, 90 foot working height |  | 0 |  | 0
8 | Truck, centermount |  | 0 |  | 0
9 | Crane, 15 ton, hydraulic |  | 0 |  | 0
10 | Crane, 40 ton |  | 0 |  | 0
11 | Crane, 70 ton |  | 0 |  | 0
12 | Backhoe, Case 580C or equal, w/transport |  | 0 |  | 0
13 | Backhoe, Case 780C or equal, w/transport |  | 0 |  | 0
14 | Tractor and mower, bush hog, w/transport |  | 0 |  | 0
15 | Trencher, Davis 40+4 or equal, w/transport |  | 0 |  | 0
16 | Excavator, 3/4 yard bucket, w/transport |  | 0 |  | 0
17 | Mini-Excavator, w/transport |  | 0 |  | 0
18 | Trailer, material/equipment, 6 wheel |  | 0 |  | 0
19 | Trailer, material/equipment, enclosed |  | 0 |  | 0
20 | Trailer, semi |  | 0 |  | 0
21 | Tractor , semi |  | 0 |  | 0
22 | Trailer, lowboy |  | 0 |  | 0
23 | Welder, portable, capable of steel or aluminum welding. |  | 0 |  | 0
24 | Compactor, vibratory plate type, gas, 24" plate or equal |  | 0 |  | 0
25 | Compactor, jumping jack type |  | 0 |  | 0
26 | Compactor, roller, 2 drum, 2000lb or equal |  | 0 |  | 0
27 | ood |  | 0 |  | 0
28 | Pump, single diaphragm, 3", w/hose |  | 0 |  | 0
29 | Pump, 4" discharge, w/hose |  | 0 |  | 0
30 | Pump, 6" discharge, w/hose |  | 0 |  | 0
31 | Wellpoint system, 6" discharge, price per day |  | 0 |  | 0
32 | Additional well points, above 40 included in item 31, price of each additional |  | 0 |  | 0
33 | Generator, 1.5-3kW, 3 phase, 120/240V, price per day |  | 0 |  | 0
34 | Vibrator, concrete |  | 0 |  | 0
35 | Air compressor, 250 cfm or higher |  | 0 |  | 0
36 | Cutting torch, including gas |  | 0 |  | 0
37 | Hammer, pneumatic, 80 lb, or equal |  | 0 |  | 0
38 | Oil pump and filter press, 40 gpm, or equal |  | 0 |  | 0
39 | Oil tanker, 1800 gallon, or equal, price per day |  | 0 |  | 0
40 | Man lift, price per day |  | 0 |  | 0
41 | Water truck, price per day |  | 0 |  | 0
42 | Markup for JEA-directed subcontractor, if required |  | 0 |  | 0
Subtotal: |  |  |  |  | 0
SUPPLEMENTAL WORK AUTHORIZATION AND MATERIAL REIMBURSEMENT | MATERIAL REIMBURSEMENT AND SUPPLEMENTAL WORK AUTHORIZATION
1 | Supplemental Work Authorization (SWA) |  | 10% |  | 0
2 | Material Reimbursement (not to exceed 10%) |  | 0% |  | 0
Subtotal: |  |  |  |  | 0
Bid Total (Enter this amount on Page 1 of the Bid Form) |  |  |  |  | 0