## UG Civil Work
Schedule of Values
Scope | # | ITEM DESCRIPTION | UOM | Quantity | Unit Price | Extended Price
Civil Construction Indirects | 1 | 1.1 MOBILIZATION | Lump Sum | 1 |  | 0
| 2 | 1.2 DEMOBILIZATION | Lump Sum | 1 |  | 0
| 3 | 1.3 BID BOND | Lump Sum | 1 |  | 0
| 4 | 1.4 SITE SERVICES | Lump Sum | 1 |  | 0
| 5 | 1.5 PROJECT MANAGEMENT | Lump Sum | 1 |  | 0
| 6 | 1.6 SAFETY | Lump Sum | 1 |  | 0
| 7 | 1.7 PERMITS | Lump Sum | 1 |  | 0
| 8 | 1.8 SITE SECURITY | Lump Sum | 1 |  | 0
Site Preparation | 9 | 2.1 SURVEYING - LAYOUT PROPOSED TRENCH PATH | Lump Sum | 1 |  | 0
| 10 | 2.2 SURVEYING - STAKE EXTENTS OF EXCAVATION | Lump Sum | 1 |  | 0
| 11 | 2.3 SURVEYING - STAKE BOUNDARIES OF PERMANENT AND TEMPORARY EASEMENTS | Lump Sum | 1 |  | 0
| 12 | 2.4 SITE PREPARATION | Lump Sum | 1 |  | 0
| 13 | 2.5 TRAFFIC CONTROL | Lump Sum | 1 |  | 0
UG Civil Work Installation / Removal | 14 | 3.1 DUCT BANK TRENCH EXCAVATION | Lump Sum | 1 |  | 0
| 15 | 3.2 EXCAVATION DEWATERING | Lump Sum | 1 |  | 0
| 16 | 3.3 INSTALLATION OF CONCRETE-ENCASED DUCT BANK (CONDUITS, THERMAL CONCRETE, WARNING TAPE, THERMAL BACKFILL) | Lump Sum | 1 |  | 0
| 17 | 3.4 SUPPORT OF EXISTING TRANSITION RISER POLE DURING UG DUCT BANK EXCAVATION AND INSTALLATION | Lump Sum | 1 |  | 0
| 18 | 3.5 SUPPORT OF EXISTING SUBSTATION TERMINATION STRUCTURE DURING UG DUCT BANK EXCAVATION AND INSTALLATION | Lump Sum | 1 |  | 0
| 19 | 3.6 INSTALLATION OF MARKER BALLS | Lump Sum | 1 |  | 0
| 20 | 3.7 TESTING AND PROOFING OF INSTALLED DUCT BANKS | Lump Sum | 1 |  | 0
| 21 | 3.8 CONCRETE DUCT BANK THERMAL RESISTIVITY TESTING (EVERY 50CY OF CONCRETE POURED) | Lump Sum | 1 |  | 0
| 22 | 3.9 CONCRETE DUCT BANK COMPRESSIVE STRENGTH TESTING (EVERY 50CY OF CONRCETE POURED) | Lump Sum | 1 |  | 0
| 23 | 3.10 BACKFILL THERMAL RESISTIVITY TESTING (EVERY 50CY OF THERMAL BACKFILLES PLACED) | Lump Sum | 1 |  | 0
| 24 | 3.11 BACKFILL COMPACTION TESTING (EVERY 50CY OF THERMAL BACKFILL PLACED) | Lump Sum | 1 |  | 0
| 25 | 3.12 REMOVAL OF EXISTING ABANDONED 6" WATER LINE WHERE IN CONFLICT WITH THE PROPOSED 69-KV UG DUCT BANK TRENCH ACTIVITIES (PER CONTRACT DRAWING AND SPECIFICATIONS) | Lump Sum | 1 |  | 0
| 26 | 3.13 REMOVAL OF EXISTING 69KV JEA CIRCUIT 601 UG CABLE - TO BE REMOVED WHERE IN CONFLICT WITH PROPOSED FDOT IMPROVEMENTS AND IN CONFLICT WITH THE PROPOSED DUCT BANK ROUTING (PER CONTRACT DRAWING AND SPECIFICATIONS) | Lump Sum | 1 |  | 0
| 27 | 3.14 ROADWAY MATERIAL MISC. TESTING (ASPHALT DENSITY, CONCRETE CURB, ETC.) | Lump Sum | 1 |  | 0
| 28 | 3.15 EXCESS MATERIAL DISPOSAL TO OWNER-APPROVED LANDFILL | Lump Sum | 1 |  | 0
| 29 | 3.16 RESTORATION (INCLUDING ASPHALT ROADS, SIDEWALKS, PAVEMENT, GRASS, ETC.) | Lump Sum | 1 |  | 0
| 30 | 3.17 AS-BUILT DRAWINGS | Lump Sum | 1 |  | 0
| 31 | 3.19 SILT FENCE, EROSION AND SEDIMENT CONTROL ASSEMBLY, INSTALLATION, AND REMOVAL | Lump Sum | 1 |  | 0
| 32 | 3.18 ALL OTHER CIVIL CONSTRUCTION ITEMS UNDER THIS SCOPE OF WORK | Lump Sum | 1 |  | 0
Civil Materials (UG Contractor is responsible for procuring sufficient quantity of these items to construct the project to completion in accordance with the drawings and specifications provided) | 33 | 4.1 6-INCH SCHEDULE 40 PVC CONDUITS | Lump Sum | 1 |  | 0
| 34 | 4.2 2-INCH SCHEDULE 40 PVC CONDUITS | Lump Sum | 1 |  | 0
| 35 | 4.3 PVC FITINGS, PRIMER, GLUE | Lump Sum | 1 |  | 0
| 36 | 4.4 MULE TAPE (PER SPECIFICATIONS) | Lump Sum | 1 |  | 0
| 37 | 4.5 DUCT SPACERS - DUCT BANK | Lump Sum | 1 |  | 0
| 38 | 4.6 THERMAL CONCRETE FOR DUCT BANK | Lump Sum | 1 |  | 0
| 39 | 4.7 THERMAL BACKFILL FOR DUCT BANK | Lump Sum | 1 |  | 0
| 40 | 4.8 MARKER BALLS | Lump Sum | 1 |  | 0
| 41 | 4.9 WARNING TAPE | Lump Sum | 1 |  | 0
| 42 | 4.10 ALL OTHER CIVIL MATERIALS UNDER THIS SCOPE OF WORK | Lump Sum | 1 |  | 0
Subtotal Line 1 - 41 Above | [5 empty] | 0
SWA (10% of Subtotal) | [5 empty] | 0
Total Bid Price (Enter this amount on line 1 of the Bid Form) | [5 empty] | 0

## UG Electrical Work
Schedule of Values
Scope | # | ITEM DESCRIPTION | UOM | Quantity | Unit Price | Extended Price
Electrical Construction Indirects | 1 | 1.1 MOBILIZATION | Lump Sum | 1 |  | 0
| 2 | 1.2 DEMOBILIZATION | Lump Sum | 1 |  | 0
| 3 | 1.3 BID BOND | Lump Sum | 1 |  | 0
| 4 | 1.4 SITE SERVICES | Lump Sum | 1 |  | 0
| 5 | 1.5 PROJECT MANAGEMENT | Lump Sum | 1 |  | 0
| 6 | 1.6 SAFETY | Lump Sum | 1 |  | 0
| 7 | 1.7 PERMITS | Lump Sum | 1 |  | 0
| 8 | 1.8 SITE SECURITY | Lump Sum | 1 |  | 0
Site Preparation | 9 | 2.1 SITE PREPARATION | Lump Sum | 1 |  | 0
| 10 | 2.2 TRAFFIC CONTROL | Lump Sum | 1 |  | 0
UG Electrical Installation / Removal | 11 | 3.1 DUCT BANK PROOFING (IF UG ELECTRICAL CONTRACTOR IS NOT PRESENT DURING CIVIL UG CONTRACTOR PROOFING OF THE CONDUITS) | Lump Sum | 1 |  | 0
| 12 | 3.2 TRANSPORTATION OF JEA MATERIALS TO JOB SITE | Lump Sum | 1 |  | 0
| 13 | 3.3 RETURN UNUSED JEA MATERIALS | Lump Sum | 1 |  | 0
| 14 | 3.4 69-KV UG EPR CABLE INSTALLATION | Lump Sum | 1 |  | 0
| 15 | 3.5 69-KV UG CABLE TERMINATING | Lump Sum | 1 |  | 0
| 16 | 3.6 GROUND CONTINUITY CONDUCTOR INSTALLATION | Lump Sum | 1 |  | 0
| 17 | 3.7 BONDING AND GROUNDING OF UG ELECTRICAL MATERIALS AT TRANSITION RISER STRUCTURE | Lump Sum | 1 |  | 0
| 18 | 3.8 BONDING AND GROUNDING OF UG ELECTRICAL MATERIALS AT SUBSTATION TERMINATION STRUCTURES
| 19 | 3.9 REMOVAL OF EXISTING UG POTHEAD/TERMINATIONS AT TERMINATION STRUCTURES | Lump Sum | 1 |  | 0
| 20 | 3.10 REMOVAL OF EXISTING LIGHTNING ARRESTERS AT TERMINATION STRUCTURES | Lump Sum | 1 |  | 0
| 21 | 3.11 REMOVAL OF EXISTING CABLE IN CONFLICT WITH NEW CABLE INSTALLATION AT TERMIANTION STRUCTURES | Lump Sum | 1 |  | 0
| 22 | 3.12 INSTALLATION OF LIGHTNING ARRESTERS AT TRANSITION RISER STRUCTURE | Lump Sum | 1 |  | 0
| 23 | 3.13 INSTALLATION OF CABLE GUARD AT THE BASE OF THE TRANSITION RISER STRUCTURE | Lump Sum | 1 |  | 0
| 24 | 3.14 INSTALLATION OF EARTH LINK BOX AT TRANSITION RISER STRUCTURE | Lump Sum | 1 |  | 0
| 25 | 3.15 INSTALLATION OF SVL LINK BOX AT SUBSTATION TERMINATION STRUCTURE | Lump Sum | 1 |  | 0
| 26 | 3.16 COMMISSIONING TESTING OF INSTALLED UG CABLE SYSTEM (AC HIPOT AND CABLE JACK INTEGRITY TESTING) | Lump Sum | 1 |  | 0
| 27 | 3.17 TESTING SUPPORT FOR SOAK TEST | Lump Sum | 1 |  | 0
| 28 | 3.18 RESTORATION AND CLEAN-UP | Lump Sum | 1 |  | 0
| 29 | 3.19 ALL OTHER ELECTRICAL INSTALLATION ITEMS UNDER THIS SCOPE OF WORK | Lump Sum | 1 |  | 0
Electrical Materials (UG Contractor is responsible for procuring sufficient quantity of these items to construct the project to completion in accordance with the drawings and specifications provided) | 30 | 4.1 6 CABLE CLAMPS AND MOUNTING HARDWARE AS REQUIRED FOR MOUNTING CABLE TO EXISTING UG CABLE RISER POLE | Lump Sum | 1 |  | 0
| 31 | 4.2 EARTH LINK BOX MOUNTING MATERIALS | Lump Sum | 1 |  | 0
| 32 | 4.3 SVL LINK BOX MOUNTING MATERIALS | Lump Sum | 1 |  | 0
| 33 | 4.4 GALVANIZED STEEL CABLE GUARDS | Lump Sum | 1 |  | 0
| 34 | 4.5 GROUNDING AND BONDING CONENCTION MATERIALS | Lump Sum | 1 |  | 0
| 35 | 4.6 ALL OTHER ELECTRICAL MATERIALS UNDER THIS SCOPE OF WORK | Lump Sum | 1 |  | 0
Subtotal Line 1 - 35 Above | [5 empty] | 0
SWA (10% of Subtotal) | [5 empty] | 0
Total Bid Price (Enter this amount on line 1 of the Bid Form) | [5 empty] | 0