## Approved Plant STG GSU
1412156246 (RFP) JEA St. Johns River Power Park (SJRPP) Unit 3 Combined Cycle – Generator Step-Up Transformers
Approved Plant – Steam Turbine Generator (STG) GSU
Instructions: To bid on the Approved Plant Tab, the Respondent must be the approved manufacturer or authorized distributor of the items listed in the Appendix B – Bid Response Workbook and be manufactured at the approved location. The list of approved manufacturers and locations are found below: A. Prolec-GE / Waukesha, WI B. Hitachi Energy / Varennes, Canada C. Hitachi Energy / Guarulhos, Brazil D. Hyundai / Montgomery, AL E. Hyundai / Busan, South Korea F. PTI Canada / Winnipeg, Canada G. Royal SMIT / Nijmegen, Netherlands H. Siemens / Zagreb, Croatia
Item Description | Vendor Quoted Unit Price | Gauranteed Delivery Month and Year | Quantity | Total Price
Steam Turbine Generator (STG) GSU: 18kV Delta / 230kV Grounded Wye, 360/480 MVA, ONAN/ONAF Z = 9% at 360 MVA and rated voltage | 0 | 0 | 1 | 0

## Approved Plant CTG GSU
1412156246 (RFP) JEA St. Johns River Power Park (SJRPP) Unit 3 Combined Cycle – Generator Step-Up Transformers
Approved Plant – Combustion Turbine Generator (CTG) GSU
Instructions: To bid on the Approved Plant Tab, the Respondent must be the approved manufacturer or authorized distributor of the items listed in the Appendix B – Bid Response Workbook and be manufactured at the approved location. The list of approved manufacturers and locations are found below: A. Prolec-GE / Waukesha, WI B. Hitachi Energy / Varennes, Canada C. Hitachi Energy / Guarulhos, Brazil D. Hyundai / Montgomery, AL E. Hyundai / Busan, South Korea F. PTI Canada / Winnipeg, Canada G. Royal SMIT / Nijmegen, Netherlands H. Siemens / Zagreb, Croatia
Item Description | Vendor Quoted Unit Price | Gauranteed Delivery Month and Year | Quantity | Total Price
Combustion Turbine Generator (CTG) GSU: 24 KV Delta / 230kV Grounded Wye, 450/600/750 MVA, ONAN/ONAF1/ONAF2 Z = 18% at 450 MVA and rated voltage | 0 | 0 | 2 | 0

## Alternate Plant STG GSU
1412156246 (RFP) JEA St. Johns River Power Park (SJRPP) Unit 3 Combined Cycle – Generator Step-Up Transformers
Alternative Plant – Steam Turbine Generator (STG) GSU
Instructions: To bid on the Alternative Plant Tab, the Respondent must be the approved manufacturer or authorized distributor of the items listed in the Appendix B – Bid Response Workbook. The list of approved manufacturers are found below: A. Prolec-GE / Monterrey, Mexico
Item Description | Vendor Quoted Unit Price | Gauranteed Delivery Month and Year | Quantity | Total Price
Steam Turbine Generator (STG) GSU: 18kV Delta / 230kV Grounded Wye, 360/480 MVA, ONAN/ONAF Z = 9% at 360 MVA and rated voltage | 0 | 0 | 1 | 0

## Alternate Plant CTG GSU
1412156246 (RFP) JEA St. Johns River Power Park (SJRPP) Unit 3 Combined Cycle – Generator Step-Up Transformers
Alternative Plant – Combustion Turbine Generator (CTG) GSU
Instructions: To bid on the Alternative Plant Tab, the Respondent must be the approved manufacturer or authorized distributor of the items listed in the Appendix B – Bid Response Workbook. The list of approved manufacturers are found below: A. Prolec-GE / Monterrey, Mexico
Item Description | Vendor Quoted Unit Price | Gauranteed Delivery Month and Year | Quantity | Total Price
Combustion Turbine Generator (CTG) GSU: 24 KV Delta / 230kV Grounded Wye, 450/600/750 MVA, ONAN/ONAF1/ONAF2 Z = 18% at 450 MVA and rated voltage | 0 | 0 | 2 | 0

## Phase I (hidden)
JEA Item ID | Mfg Name | Mfg Part Number | MPN
SWEPA001 | ALMETEK INDUSTRIES, INC. | 12649 | S AND C ELECTRIC CO., PER SPEC (55243R3A10E133)
SWEPA001 |  |  | S AND C ELECTRIC CO., PER SPECIFICATION
SWEPA002 |  |  | S AND C ELECTRIC CO., PER SPEC (55363R3A10E133)
SWEPA002 |  |  | S AND C ELECTRIC CO., PER SPECIFICATION
SWEPA003 | 3M | 3M3430 | S AND C ELECTRIC CO., PER SPEC (55353R3A10E133)
SWEPA003 |  |  | S AND C ELECTRIC CO., PER SPECIFICATION
SWEPA005 | ALMETEK INDUSTRIES, INC. | LABEL-11659 | S AND C ELECTRIC CO., 55313R3-A10-EXXX
SWEPA009 | AVERY (OFFICE SUPPLIES) | OL1000 | S AND C ELECTRIC CO., PER SPEC (56453R1-A10C19Y2Y4Y6Y8-E107)
SWEPA010 | UTICOM SYSTEMS INC. | U7510WWN-ES-JEA-10 | S AND C ELECTRIC CO., PER SPEC (156233R3-A10W1Y4-EXXX)
SWEPA021 | ALMETEK INDUSTRIES, INC. | TR230 | G AND W ELECTRIC SPECIALTY CO., ORDER BY DRAWING
SWEPA022 | ELECTROMARK | FLATKYAR2S0 | G AND W ELECTRIC SPECIALTY CO., PLT43-386-12-11FBVU-DW
SWEPA023 | LEM PRODUCTS | LAT2RF0/O | G AND W ELECTRIC SPECIALTY CO., PLT42-386-12-9FBVU-DW
SWEPA026 | TECH PRODUCTS INC. | RF2BY10 | G AND W ELECTRIC SPECIALTY CO., PLS42-386-12-9FBVU
SWEPA028 | ALMETEK INDUSTRIES, INC. | TR231 | G AND W ELECTRIC SPECIALTY CO., PLS42-386-12-9FBVU-A
SWEPA031 | ELECTROMARK | FLATKYAR2S1 | FEDERAL PACIFIC, PSE-10-54400-JEA-C
SWEPA031 | ELECTROMARK | FLATKYAR2S1 | HUBBELL, B100A00F0209
SWEPA032 | LEM PRODUCTS | LAT2RF1 | FEDERAL PACIFIC, PSE-11-54311-JEA-C
SWEPA032 | LEM PRODUCTS | LAT2RF1 | HUBBELL, B110A4HF0209
SWEPA033 | TECH PRODUCTS INC. | RF2BY01 | FEDERAL PACIFIC, PSE-9-54221-JEA-C
SWEPA033 | TECH PRODUCTS INC. | RF2BY01 | HUBBELL, B090A4HF0209
|  |  |  | Mfg Name | Mfg Part Number
|  |  |  | S AND C ELECTRIC CO. | PER SPEC (55243R3A10E133)
|  |  |  | S AND C ELECTRIC CO. | PER SPEC (55363R3A10E133)
|  |  |  | S AND C ELECTRIC CO. | PER SPEC (55353R3A10E133)
|  |  |  | S AND C ELECTRIC CO. | 55313R3-A10-EXXX,
|  |  |  | S AND C ELECTRIC CO. | PER SPEC (56453R1-A10C19Y2Y4Y6Y8-E107)
|  |  |  | S AND C ELECTRIC CO. | PER SPEC (156233R3-A10W1Y4-EXXX)
|  |  |  | G AND W ELECTRIC SPECIALTY CO. | ORDER BY DRAWING
|  |  |  | G AND W ELECTRIC SPECIALTY CO. | PLT43-386-12-11FBVU-DW
|  |  |  | G AND W ELECTRIC SPECIALTY CO. | PLT42-386-12-9FBVU-DW
|  |  |  | G AND W ELECTRIC SPECIALTY CO. | PLS42-386-12-9FBVU
|  |  |  | G AND W ELECTRIC SPECIALTY CO. | PLS42-386-12-9FBVU-A
|  |  |  | FEDERAL PACIFIC | PSE-10-54400-JEA-C
|  |  |  | HUBBELL | B100A00F0209
|  |  |  | FEDERAL PACIFIC | PSE-11-54311-JEA-C
|  |  |  | HUBBELL | B110A4HF0209
|  |  |  | FEDERAL PACIFIC | PSE-9-54221-JEA-C
|  |  |  | HUBBELL | B090A4HF0209