## Combustion Turbine GSU
Evaluation Matrix
Solicitation: GSU Transformer |  | Company: |  |  | Evaluator: | Notes:
Quotation of Rates (40 Points) | Quotation of Rates (40 Points)
| Pricing Provided in Response Workbook | Low Bidder = 40 pts Other bidders points = 40*(Low bidder/Bidder)
| (40 points) | (40 points) |  |  |  |  | 40
Lead Time (40 Points) | Lead Time (40 Points)
| Delivery Date to Substantial Completion (including transportation, unloading, etc.) | Prior to November 30, 2029 | After November 30, 2029, but before February 28, 2030 | After February 28, 2030, but before June 30, 2030 | After June 30, 2030, but before November 30, 2030 | After 11/30/2030
| (40 points) | (40 points) | (35 points) | (25 points) | (20 points) | (0 points) | 40
Risk Profile (20 Points) | Risk Profile (20 Points)
| Experience of the manufacturer building similar size models | Respondant has demonstrateable experience building 750MVA or larger GSUs. |  | Respondent has demonstratable experience building 650-699 MVA GSUs. |  | Respondent has no demonstratable experience building greater than 600 MVA GSUs.
| Past Performance with JEA Projects | References includes recent JEA references and transformers had no issues. |  | References include some or older JEA references |  | References do not include JEA references.
| Reference Projects | References include 750MVA or larger GSUs. References are exemplary. Include North American utility references. |  | References include some or larger GSUs, but are not North American utilities) |  | References do not include similar size GSUs or this GSU will be the largest GSU this manufacturer has built at this plant. References do not include North American utility references. References are not available.
| Transit Model | Factory is domestic and utilizes Rail to the location and pricing is quoted DDP. Supplier has experience in shipping to North America similarly sized units. |  | Shipping method includes Rail and Waterway Transit to the location and pricing is quoted in DDP. Supplier demonstrates familiarity with shipping similar sized units. |  | Shipping method needs improvement.
| Price Adjustment Models & Tarriffs | Supplier commits to price indexing adjustments and proposal includes weight chart and corresponding website links for indices that is trued up 90 days prior to shipping. Tarriffs are fixed. Currency is USD and not subject to adjustment. |  | Price Adjustment Models need some review and discussion, but are overall acceptable. |  | Price Adjustment Models do not adhere to JEA requests and need improvement.
| (20 points) | Outstanding | Great | Good | Poor | Unsatisfactory | 20
Total: | [6 empty] | 100

## Steam Turbine GSU
Evaluation Matrix
Solicitation: GSU Transformer |  | Company: |  |  | Evaluator: | Notes:
Quotation of Rates (40 Points) | Quotation of Rates (40 Points)
| Pricing Provided in Response Workbook | Low Bidder = 40 pts Other bidders points = 40*(Low bidder/Bidder)
| (40 points) | (40 points) |  |  |  |  | 40
Lead Time (40 Points) | Lead Time (40 Points)
| Delivery Date to Substantial Completion (including transportation, unloading, etc.) | Prior to November 30, 2029 | After November 30, 2029, but before February 28, 2030 | After February 28, 2030, but before June 30, 2030 | After June 30, 2030, but before November 30, 2030 | After 11/30/2030
| (40 points) | (40 points) | (35 points) | (25 points) | (20 points) | (0 points) | 40
Risk Profile (20 Points) | Risk Profile (20 Points)
| Experience of the manufacturer building similar size models | Respondant has demonstrateable experience building 480MVA or larger GSUs. |  |  |  | Respondent has no demonstratable experience building greater than 480 MVA GSUs.
| Past Performance with JEA Projects | References includes recent JEA references and transformers had no issues. |  | References include some or older JEA references |  | References do not include JEA references.
| Reference Projects | References include 480MVA or larger GSUs. References are exemplary. Include North American utility references. |  | References include some or larger GSUs, but are not North American utilities) |  | References do not include similar size GSUs or this GSU will be the largest GSU this manufacturer has built at this plant. References do not include North American utility references. References are not available.
| Transit Model | Factory is domestic and utilizes Rail to the location and pricing is quoted DDP. Supplier has experience in shipping to North America similarly sized units. |  | Shipping method includes Rail and Waterway Transit to the location and pricing is quoted in DDP. Supplier demonstrates familiarity with shipping similar sized units. |  | Shipping method needs improvement.
| Price Adjustment Models & Tarriffs | Supplier commits to price indexing adjustments and proposal includes weight chart and corresponding website links for indices that is trued up 90 days prior to shipping. Tarriffs are fixed. Currency is USD and not subject to adjustment. |  | Price Adjustment Models need some review and discussion, but are overall acceptable. |  | Price Adjustment Models do not adhere to JEA requests and need improvement.
| (20 points) | Outstanding | Great | Good | Poor | Unsatisfactory | 20
Total: | [6 empty] | 100