## Sheet1
Item | Quantity | UOM | PartDescription | Vendor | SupplierPartNum | ClassCode
SS | 0 | EA | STEEL STRUCTURES |  |  | 9999
SS1 | 1 | EA | 26KV H-FRAME STRUCTURE, BREAKER DISCONNECT, SINGLE BAY, 18FT CONDUCTOR HEIGHT PROVISIONS FOR: HOOKSTICKS HORIZONTAL INSULATORS CIRCUIT BREAKER UNDERNEATH | Steel Fabricator |  | 2006
SS2 | 3 | EA | 26KV 3Ø TERMINATOR STRUCTURE, 18FT BUS HEIGHT PROVISIONS FOR: 3 ARRESTERS BELOW GRADE TERMINATION | Steel Fabricator |  | 2006
SS3 | 8 | EA | 26KV 3Ø LOW BUS SUPPORT, 15FT BUS HEIGHT | Steel Fabricator |  | 2006
SS4 | 1 | EA | 26KV 3Ø BUS SUPPORT, 18FT BUS HEIGHT PROVISIONS FOR: 3 FUSED DISCONNECTS 3 PT'S 1 JUNCTION BOX | Steel Fabricator |  | 2006
SS5 | 1 | EA | 26KV 3Ø BUS SUPPORT STAND, 18FT BUS HEIGHT PROVISIONS FOR: 2 FUSED DISCONNECTS 2 CT'S 2 SSVT'S AUX CT JUNCTION BOX MOUNTING CONDUIT MOUNTING FOR JUNCTION BOX | Steel Fabricator |  | 2006
SS6 | 1 | EA | 26KV 3Ø BUS SUPPORT, 18FT STRUCTURE HEIGHT PROVISIONS FOR: INSULATORS | Steel Fabricator |  | 2006
SS7 | 1 | EA | 26KV DISTRIBUTION STRUCTURE, 3 BAYS, 18FT BUS HEIGHT PROVISIONS FOR: 3 HOOKSTICKS PER BAY (CANTILEVERED ON 3 BAYS) BUS SUPPORT ABOVE EACH BAY | Steel Fabricator |  | 2006
SS8 | 2 | EA | 26KV H-FRAME STRUCTURE, BREAKER DISCONNECT, SINGLE BAY, 18FT CONDUCTOR HEIGHT PROVISIONS FOR: HOOKSTICKS HORIZONTAL INSULATORS CIRCUIT BREAKER UNDERNEATH | Steel Fabricator |  | 2006
SS9 | 1 | EA | 26KV DISTRIBUTION STRUCTURE, 3 BAYS, 18FT BUS HEIGHT PROVISIONS FOR: 6 HOOKSTICKS PER BAY 1 CIRCUIT BREAKER PER BAY | Steel Fabricator |  | 2006
SS10 | 1 | EA | STATIC POLE (PP4) | Steel Fabricator |  | 2007
SS11 | 1 | EA | GROUND PLATFORM 3FT X 4FT -(1) FOR CIRCUIT SWITCHER | DIS-TRAN |  | 1011
SS12 | 1 | EA | 26KV CAP SWITCHER FUSED DISCONNECT STAND PROVISIONS FOR: AUX CT MOUNTING JUNCTION BOX MOUNTING | Steel Fabricator |  | 2006
ME | 0 | EA | MAJOR EQUIPMENT |  |  | 9999
ME1 | 1 | EA | 230KV CIRCUIT SWITCHER, 1200A, 20KA INTERRUPTING 20FT STR HEIGHT, 10FT PHASE SPACING | S&C Electric Co., Inc. | 197031-B-E10-H1-K-M-W1-Y | 2001
ME2 | 36 | EA | 34.5KV, 1200A, 200KV BIL, 61KA MOM, SINGLE PHASE, HOOKSTICK OPERATED VEE SWITCH COMPLETE WITH: -TR210 INSULATORS -VERTICAL MOUNTING -70-180 DEGREE BLADE OPENING -SOUTHERN STATES: PBO1-34 -CLEAVELAND PRICE: C102A230-G16 -USCO: HH6-03820-SIO3210N | Cleaveland Price Inc. | C102A230G11 | 1001
ME3 | 9 | EA | STATION CLASS SURGE ARRESTER, 21KV DUTY CYCLE, 17KV MCOV, ANSI 72, GRAY, POLYMER HITACHI: Q021SA017B COOPER: UHAA021017A1445A11 GE: 9L11XPA021AS HPS: EVP0017003001 | Cooper Power Systems | UHAA021017A1445A11 | 1003
ME4 | 3 | EA | 26KV POTENTIAL TRANSFORMER, 150KV BIL, 120:1 RATIO, 0.3WXYZ&ZZ BURDEN, 14.4KV PRIMARY ABB: VOG-15B / E-923A680G03 RITZ: 122031010.395685 | Ritz Instrument Transformer | VEF25-10 | 1004
ME5 | 2 | EA | 34.5KV CURRENT TRANSFORMER, 200KV BIL, 300/600:5, GE: HITACHI: KOR-20 / E-7524A21G10 RITZ: TRENCH: | ABB Inc. | KOR-20 | 1004
ME6 | 8 | EA | 26KV FUSED DISCONNECT SWITCH, 150KV BIL, SMD-40 W/ TR210 INSULATORS & TIN-PLATED COPPER TERMINALS | S&C Electric Co., Inc. | 192323-SP-Z5 | 1002
ME7 | 1 | LOT | FUSES -(3) SMU-40 200E // 823200 -(1) SMU-40 5E // S&C 823005 -(1) SMU-40 10E // S&C 823010 -(3) SMU-40 1E // S&C 823001 | S&C Electric Co., Inc. |  | 1002
ME7.4 | 2 | EA | KILOVOLTS: 25 AMPERES: 10 SPEED: 153-2 (E) SMU-40 POWER FUSE UNIT (1) SPARE | S&C Electric Co., Inc. | 823010 | 1002
ME7.5 | 4 | EA | KILOVOLTS: 25 AMPERES: 1 SPEED: 115-2 SMU-40 POWER FUSE UNIT (1) SPARE | S&C Electric Co., Inc. | 823001 | 1002
ME8 | 54 | EA | STATION POST INSULATOR, 200KV BIL, STANDARD STRENGTH, 2000# CANTILEVER, 3" BOLT CIRCLE, TR210 NGK: PS02010 LAPP: 315208-70 NEWELL: 231004-7001 VICTOR: 1753I MACLEAN: NPP20XG15S | Victor Insulators, Inc. | 1753-I | 1005
ME9 | 3 | EA | KILOVOLTS: 34.5 KILOVOLTS BIL: 200 SMD-1A RIGHT-ANGLE STYLE TRANSMISSION POWER FUSE MOUNTING | S&C Electric Co., Inc. | 192004R2 | 1002
ME11 | 4 | EA | KILOVOLTS: 34.5 AMPERES: 200 SPEED: 153-1 (E) SMD-1A POWER FUSE UNIT (1) SPARE | S&C Electric Co., Inc. | 444200R1 | 1002
ME9 | 1 | EA | S&C ELECTRIC BANKGARD RELAY, TYPE LUC MOUNTED INSIDE A WATERPROOF CABINET WITH AN ELECTRIC HEATER, 125 VOLT A/C | S&C Electric Co., Inc. | 38220-BH | 2002
B1 | 1 | LOT | TERMINAL BOLTS | Threaded Fasteners, Inc. |  | 1015
B2 | 1 | LOT | EQUIPMENT MOUNTING BOLTS | Threaded Fasteners, Inc. |  | 1015
B3 | 1 | EA | ANCHOR BOLTS & TEMPLATES FOR DIS-TRAN SUPPLIED STEEL STRUCTURES | Threaded Fasteners, Inc. |  | 1009
TP1 | 30 | EA | 16X16 TEMPLATE FOR 1" ABOLTS |  |  | 1009
BC | 0 | EA | BUS & CONDUCTOR |  |  | 9999
BC1 | 70 | EA | 4/0 AAC "OXLIP" | Champion Wire |  | 1007
BC2 | 1 | EA | ALUMINUM FLAT BAR, 1/2" X 4" X 20' (1) 20FT SECTION -FABRICATED PER DETAIL "D" -INCLUDES FABRICATION COST | Three D Metals |  | 1008
BC3 | 960 | EA | 2" SCH 40, 6063-T6 AL. BUS PIPE, 40FT SECTIONS -MAIN BUS -ATAPS | Three D Metals |  | 1008
BC4 | 25 | EA | #4 CU | Champion Wire |  | 1007
BC5 | 920 | EA | 397.5 ACSR "IBIS" 26/7 -DAMPENING CABLE | Champion Wire |  | 1007
BC6 | 830 | EA | 636 AAC "ORCHID" | Champion Wire |  | 1007
BC7 | 160 | EA | 954 AAC "MAGNOLIA" | Champion Wire |  | 1007
BC8 | 70 | EA | 500 KCM CU BARE | Champion Wire |  | 1007
C191 | 250 | EA | 7 #5 COPPER CLAD STEEL WIRE | Champion Wire |  | 1007
HS | 0 | EA | HIGH SIDE BUS FITTINGS |  |  | 9999
HS1 | 15 | EA | WELDED TERMINAL, 954 AAC "MAGNOLIA" TO 4" 4-HP | Sefcor, Inc. | WFC-34-4B | 1006
HS2 | 3 | EA | CABLE TEE, (1) 954 AAC "MAGNOLIA" TO (1) 954 AAC "MAGNOLIA" | Sefcor, Inc. | ACRCT-3434 | 1006
LS | 0 | EA | LOW SIDE BUS FITTINGS |  |  | 9999
LS1 | 87 | EA | WELDED TERMINAL, (2) 636 AAC TO 4" 4HP | Sefcor, Inc. | WFC2-24-4B | 1006
LS2 | 3 | EA | WELDED TERMINAL, (2) 636 AAC TO 4" 4HP, 90 DEGREE | Sefcor, Inc. | WFC2-90-24-4B | 1006
LS3 | 3 | EA | CABLE SPACER, (2) 636 AAC TO 4 HOLE PAD, 4" SPACING | Sefcor, Inc. | ASPC-24-4-4B | 1006
LS4 | 42 | EA | CABLE SPACER, (2) 636 AAC, 4" SPACING | Sefcor, Inc. | ASPC-24-4 | 1006
LS5 | 18 | EA | TERMINAL, BOLTED, BRONZE, 500 KCM CU BARE TO 4" 4-HP | Sefcor, Inc. | FNCT-20-4B | 1006
LS6 | 14 | EA | WELDED TERMINAL, 4/0 AAC TO 4" 4HP | Sefcor, Inc. | WFC-11-4B | 1006
LS7 | 10 | EA | WELDED TERMINAL, 4/0 AAC TO 2HP | Sefcor, Inc. | WFC-11-2B | 1006
LS8 | 9 | EA | TEE CONNECTOR, 500 KCM BARE CU TO 4/0 AAC, BOLTED | Sefcor, Inc. | TCRCT-2020-SND | 1006
LS9 | 3 | EA | TERMINAL, 2" ALUM PIPE TO 4 HOLE PAD, WELDED, EXPANSION, SEMI FLEXIBLE | Sefcor, Inc. | WFXTC-V-58-4B | 1006
LS10 | 51 | EA | BUS SUPPORT CLAMP, 2" SPS ALUM TUBING TO 3" B.C. HOOK ON TYPE, WELDED | Sefcor, Inc. | ASWH-58-3-SE | 1006
LS11 | 18 | EA | TEE CONNECTOR, 2" IPS ALUM TUBING MAIN TO 2" IPS ALUM TUBING TAP, WELDED, 15 DEGREE | Sefcor, Inc. | WFTT15-5858 | 1006
LS12 | 9 | EA | VEE CONNECTOR, 2" IPS ALUM TUBING MAIN TO (2) 2" IPS ALUM TUBING TAPS, WELDED | Sefcor, Inc. | WFVT15-5858 | 1006
LS13 | 3 | EA | END BELL, 2" IPS ALUM TUBING, DRIVE TYPE | Sefcor, Inc. | DP-58-AL | 1006
LS14 | 33 | EA | TERMINAL, WELDED, 2" IPS ALUM TUBING TO 4" 4-HOLE PAD, 90 DEGREE | Sefcor, Inc. | WFT90-58-4B | 1006
LS15 | 9 | EA | WELDED TEE, 2" IPS ALUM TUBING TO 4" 4-HP | Sefcor, Inc. | WTF-3960-4B | 1006
LS16 | 12 | EA | TERMINAL, WELDED, 2" IPS ALUM TUBING TO 4" 4-HOLE PAD, | Sefcor, Inc. | WFTC-58-4B | 1006
LS17 | 18 | EA | COUPLER, 2" IPS ALUM TUBING TO 2" IPS ALUM TUBING, WELDED, 90 DEGREE | Sefcor, Inc. | WLBI90-5858 | 1006
LS18 | 9 | EA | TEE CONNECTOR, 2" IPS ALUM TUBING TO 2" IPS ALUM TUBING, WELDED | Sefcor, Inc. | WFTT-5858 | 1006
LS19 | 6 | EA | COUPLER, 2" ALUM TUBING TO 2" ALUM TUBING, STRAIGHT, WELDED | Sefcor, Inc. | WSC-5858 | 1006
LS20 | 3 | EA | TERMINAL, WELDED, 2" IPS ALUM TUBING TO 4" 4-HOLE PAD, 45 DEGREE | Sefcor, Inc. | WFT45-58-4B-FAB | 1006
LS21 | 6 | EA | ALUMINUM GROUNDING STUD FOR 2" IPS ALUM TUBING, WELDED | Sefcor, Inc. | WTS-3960 | 1006
LS22 | 9 | EA | TRANSITION PLATE FOR 4" PAD | Sefcor, Inc. | ATP-D | 1006
LS23 | 1 | EA | GROUND CLAMP, BOLTED, 19#9 COPPERWELD TO 2" SPS PIPE | Hubbell Power Systems, Inc. | GC1117C | 1006
LS24 | 6 | EA | TERMINAL, WELDED, 2" IPS ALUM TUBING TO 4" 4-HOLE PAD, 45 DEGREE | Sefcor, Inc. | WFT45-58-4A | 1006
LS25 | 3 | EA | ALUMINUM LAMINATED FLEX CONNECTOR, 90 DEGREES, 4 HOLE, 3" PAD, 4 HOLE 3" PAD | Sefcor, Inc. | AFX90-4A-3 | 1006
LS26 | 27 | EA | TERMINAL, WELDED ALUM, 2" SPS ALUM TUBE, 3" 4 HOLE PAD, 90° | Sefcor, Inc. | WFT90-58-4A | 1006
LS27 | 15 | EA | TERMINAL, WELDED ALUM, 2" SPS ALUM TUBE, 3" 4 HOLE PAD, CENTERFORMED | Sefcor, Inc. | WFTC-58-4A | 1006
LS28 | 9 | EA | TERMINAL WELDED ALUMINUM, 4/0(7) MCMAAC, 4 HOLE 3" PAD | Sefcor, Inc. | WFC-11-4A | 1006
LS31 | 15 | EA | TERMINAL, WELDED ALUM, 556.5(24/7) MCM ACSR, 3" 4 HOLE PAD, 90� | Sefcor, Inc. | WFC90-24-4A | 1006
LS32 | 6 | EA | TERMINAL, WELDED ALUM, 4/0 MCM AAC TO 2 HOLE PAD, 90° | Sefcor, Inc. | WFC90-11-2B | 1006
LS33 | 3 | EA | TERMINAL WELDED ALUMINUM, 4/0(7) MCMAAC, 4 HOLE 3" PAD | Sefcor, Inc. | WFC-11-4A | 1006
LS34 | 3 | EA | TERMINAL, WELDED ALUM, 954-1000 MCM AAC, 4" 4 HOLE PAD, 90° | Sefcor, Inc. | WFC90-34-4B | 1006
LS35 | 54 | EA | TERMINAL, (2) 636 MCM AAC TO 3" 4 HOLE PAD, WELDED | Sefcor, Inc. | WFC2-24-4A | 1006
LS36 | 3 | EA | Welded Aluminum Terminal, Cables to Flat, (2) 636-700 kcmil AAC Cables to 3" 4-Hole NEMA Pad | Sefcor, Inc. | WFC2-45-24-4A | 1006
LS37 | 3 | EA | TERMINAL, WELDED ALUM, 954-1033 MCM AAC, 795, 900(45/7) & 954 (45/7) ACSR 3" 4 HOLE PAD | Sefcor, Inc. | WFC-34-4A | 1006
LS38 | 6 | EA | TEE, WELDED, ALUM., FOR 1" - 2 1/2" IPS MAIN TO 2" WIDE 2-HOLE PAD | Sefcor, Inc. | WTF-3960-2B | 1006
LS40 | 30 | EA | BOLT SHIELD, 4" 4 HOLE | Sefcor, Inc. | AA-1094 | 1006
LS41 | 9 | EA | TERMINAL BOLTED BRONZE, 1/0-500 MCM COPPER, 4 HOLE 3" PAD | Sefcor, Inc. | FNCT-20-4A | 1006
LS42 | 9 | EA | CONNECTOR, BOLTED CABLE OFFSET TERMINAL, BRONZE, 2" PAD, 1/0-500MCM CABLE RANGE | Sefcor, Inc. | FNCT-20-2B | 1006
LS44 | 9 | EA | TEE CONNECTOR, 500 KCM BARE CU TO 4/0 AAC, BOLTED | Sefcor, Inc. | TCRCT-2020-SND | 1006
G | 0 | EA | ABOVE GRADE GROUNDING |  |  | 9999
G1 | 90 | EA | GROUND CLAMP, 2 PC, 1 CON, 7#5 COPPERWELD STEEL, TINNED | Anderson (AEC) | GC141AG2-TP | 1006
G2 | 45 | EA | GROUND CLAMP, 2PC 2 CON, 7 #5 COPPERWELD TO STEEL, TINNED | Anderson (AEC) | GC143AG2-TP | 1006
G3 | 10 | EA | TERMINAL, BRONZE BOLTED, 7#5 COPPERWELD TO 2 HOLE PAD | Sefcor, Inc. | FNCT-12-2B | 1006
G4 | 250 | EA | 7 #5 COPPER WELD CABLE FOR STRUCUTRE GROUNDING | Champion Wire |  | 1007
G5 | 12 | EA | INHIBITOR, CONTACT PASTE IN 8OZ BOTTLES | Anderson (AEC) | VS8HTJC | 1006