## Sheet1
RFQ 98716 GENERAL ELECTRIC TURBINE PARTS FOR JEA INVENTORY STOCK
VENDOR NAME | GENERAL ELECTRIC INTERNATIONAL
Instructions: Insert the requested information in the green highlighted sections. The usage quantities provided are the amounts we anticipate on purchasing over the term of the contract. The lead time listed in Column K must be the number of calendar days after receipt of order that JEA will receive the material, not the number of days to ship. If there are any comments needed, list them in Column M. Any blanks left on the bid workbook will be considered to be a "no bid."
INVENTORY ORG | JEA ITEM ID | ITEM DESCRIPTION | UOM | APPROVED MANUFACTURES | APPROVED MFG PART NUMBER | QUOTED MPNs | 3 YEAR USAGE | UNIT PRICE | BID PRICE | LEAD TIME IN CALENDAR DAYS AFTER RECEIPT OF ORDER
CSC STORES | TBJDI010 | CANVAS COVER, ATM RELIEF DIAPHRAGM SHIELD, DWG. 236B2916P0008, TURBINE S/N 270T630, (BBCC - STEAM TURBINE) | EA | GENERAL ELECTRIC | 236B2916P0008 | 236B2916P0008 | 0 |  |  | 46
CSC STORES | TBJDT011 | DETECTOR, FLAME, 2 WIRE, TURBINE, CI CONSUMABLES, (BBCC - KS CT8 TURBINE CONSUMABLES) | EA | GENERAL ELECTRIC | 362A1052P104 | 362A1052P104 | 0 |  |  | 21
CSC STORES | TBJEL106 | BRUSHES, CARBON, SHAFT, GROUNDING, (BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072) AH-1 | EA | GENERAL ELECTRIC | 323B7989P0002 | 323B7989P0002 | 16 |  |  | 31
CSC STORES | TBJEL116 | RELAY, OVERLOAD, COOLING WATER FAN MOTOR, 88FC-1 88FC-2 88FD-2 88FC-4 88FD-1 (BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072) AH-1 | EA | GENERAL ELECTRIC | CR324FXLS | CR324FXLS | 0 |  |  | 23
CSC STORES | TBJFI050 | STRAINER BASKET, WITH HANDLE, SS, (BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072) AH-1 | EA | GENERAL ELECTRIC | 360A7454P017 | 360A7454P017 | 1 |  |  | 56
CSC STORES | TBJGA005 | GASKET, PIGTAIL, (BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072) AH-1 | EA | GENERAL ELECTRIC | 302A4594P027 | 372A1159P009 | 5 |  |  | 25
CSC STORES | TBJGA023 | GASKET, IGNITOR, (BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072) AH-1 | EA | GENERAL ELECTRIC | 184A8731P001 | 184A8731P001 | 22 |  |  | 41
CSC STORES | TBJIC007 | BACKPLANE, LCI, ( BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072 ) AH-1 | EA | GENERAL ELECTRIC | DS200VPBLG1A | DS200VPBLG1A | 0 |  |  | 81
CSC STORES | TBJIC023 | MODULE, POWER DISTRIBUTION, (BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072) AH-1 | EA | GENERAL ELECTRIC | DS200TCPDG2B | DS200TCPDG2B | 3 |  |  | 71
CSC STORES | TBJIC040 | CARD, VME ANALOG OUTPUT, ( BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072 ) AH-1 | EA | GENERAL ELECTRIC | IS200VAOCH1B | IS200VAOCH1B | 1 |  |  | 46
CSC STORES | TBJIC041 | CARD, VME ANALOG INPUT, ( BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072 ) AH-1 | EA | GENERAL ELECTRIC | IS200VAICH1C | IS200VAICH1C | 0 |  |  | 71
CSC STORES | TBJIC053 | BOARD, TERMINATION, ANALOG INPUT, (BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072) AH-1 | EA | GENERAL ELECTRIC | IS200TBA1H1A | IS200TBAIH1B | 1 |  |  | 71
CSC STORES | TBJIC143 | THERMOCOUPLE, WHEELSPACE STAGE 3, AFT OUTER TYPE K, WS3AO-1, WS3AO-2, (BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072) AH-1 | EA | GENERAL ELECTRIC | 361A2289P193 | 361A2289P193 | 10 |  |  | 41
CSC STORES | TBJIC288 | THERMOCOUPLE, SHL 1ST STAGE BOWL INNER SURFACE, TE-203A, DWG. 6402B0D, CAT. #6402B0D, MOD #D11, S/N 270T630 (BBCC - STEAM TURBINE) | EA | GENERAL ELECTRIC | 04110J75P0047 | 04110J75P0047 | 2 |  |  | 51
CSC STORES | TBJIC300 | DETECTOR, SHELL EXPANSION DETECTOR, SEDP-1, DWG. 0386B1K, CAT. # 0386B1K, MOD # D11, S/N 270T630, (BBCC - STEAM TURBINE) | EA | GENERAL ELECTRIC | 24765-02-01 | 24765-02-01 | 0 |  |  | 31
CSC STORES | TBJIC306 | CABLE, SPEED PICKUP ASM - MAG PICKUP, DWG. , MOD # D11, S/N 270T630, (BBCC - STEAM TURBINE) | EA | GENERAL ELECTRIC | 331B6304G0002 | 267B4404G0002 | 1 |  |  | 46
CSC STORES | TBJIC336 | THERMOCOUPLE, OIL TANK, TE-260B, TE-260H, DWG. 200EB4S, CAT. #200EB4S, MOD #D11, S/N 270T630 (BBCC - STEAM TURBINE) | EA | GENERAL ELECTRIC | U252K109U0055 | U252K109U0055 | 1 |  |  | 26
CSC STORES | TBJIC362 | RESISTOR, (BBCC - MARK VI) | EA | GENERAL ELECTRIC | 323A2354P2 | 323A2354P2 | 3 |  |  | 81
CSC STORES | TBJIC366 | CABLE, 37 CONDUCTOR, 10 FT LONG, (BBCC - MARK VI) | EA | GENERAL ELECTRIC | 323A3347P10 | 323A3347P10 | 0 |  |  | 80
CSC STORES | TBJIC371 | CABLE, 37 CONDUCTOR, 7FT LONG, (BBCC - MARK VI) | EA | GENERAL ELECTRIC | 323A5750P7 | 323A3347P7 | 0 |  |  | 36
CSC STORES | TBJIC372 | CABLE, 37 CONDUCTOR, 8FT LONG, (BBCC - MARK VI) | EA | GENERAL ELECTRIC | 323A3347P8 | 323A3347P8 | 0 |  |  | 81
CSC STORES | TBJIC373 | CABLE, 37 CONDUCTOR, 9FT LONG, (BBCC - MARK VI) | EA | GENERAL ELECTRIC | 323A3347P9 | 323A3347P9 | 0 |  |  | 80
CSC STORES | TBJIC394 | BOARD, TERMINATION, ANALOG INPUT, TURBINE S/N 270T630, (BBCC - MARK VI) | EA | GENERAL ELECTRIC | IS200TBAIH1C | IS200TBAIH1C | 0 |  |  | 61
CSC STORES | TBJIC397 | BOARD, TERMINATION, TURBINE, (BBCC - MARK VI) | EA | GENERAL ELECTRIC | IS200TTURH1B | IS200TTURH1B | 1 |  |  | 61
CSC STORES | TBJIC399 | CONTACTS IN, RELAYS OUT, (BBCC - MARK VI) | EA | GENERAL ELECTRIC | IS200VCRCH1B | IS200VCRCH1B | 0 |  |  | 61
CSC STORES | TBJIC401 | CARD, VIBRATION, VME, (BBCC - MARK VI) | EA | GENERAL ELECTRIC | IS200VVIBH1C | IS200VVIBH1C | 1 |  |  | 61
CSC STORES | TBJIC402 | POWER SUPPLY, MARK VI/NO-335V, S/N 270T630, (BBCC - MARK VI), N01/N02 CFB UNITS, | EA | GENERAL ELECTRIC | IS2020RKPSG3A | IS2020RKPSG2A | 0 |  |  | 21
CSC STORES | TBJIC403 | CARD-VMIC, VME CONTROLLER, (BBCC - MARK VI) | EA | GENERAL ELECTRIC | IS215UCVEH2A | IS415UCVHH1A | 0 |  |  | 96
CSC STORES | TBJIC405 | VME PROTECTION ASSEMBLY, (BBCC - MARK VI) | EA | GENERAL ELECTRIC | IS215VPROH1B | IS215VPROH1B | 0 |  |  | 81
CSC STORES | TBJIC412 | BOARD, TERMINAL, FOR CONTACT, (BBCC MARK VI) | EA | GENERAL ELECTRIC | IS200TBCIH1B | IS200TBCIH1B | 2 |  |  | 81
CSC STORES | TBJIC416 | CARD, VME COMMUNICATIONS A, (BBCC MARK VI) | EA | GENERAL ELECTRIC | IS215VCMIH1B | PK-IS215VCMIH1B | 0 |  |  | 86
CSC STORES | TBJIC418 | CARD, VME COMM INTERFACE, TB CNTRL PNL-GT, (BBCC - KS CT8 TURBINE CONTROLS) | EA | GENERAL ELECTRIC | IS215VCMIH2C | IS215VCMIH2C | 2 |  |  | 81
CSC STORES | TBJIG001 | LEAD, IGNITION, EXPLOSION PROOF, ( BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072 ) AH-1 | EA | GENERAL ELECTRIC | 354A1513P114 | 354A1513P114 | 9
CSC STORES | TBJIG010 | IGNITOR ASSEMBLY, SPARK PLUG, (PART OF THE SPRING POSITIONEER SPARK PLUG GE #188D9489G005), BRANDY BRANCH & KGS CT MOD MS7001FA, TURBINE S/N #297188, GENERATOR S/N 337X072 | EA | GENERAL ELECTRIC | 362A3952P001 | 362A3952P001 | 12 |  |  | 81
CSC STORES | TBJPG015 | PLUG, BORESCOPE HOLE, ITEM 24 (VOLUME II, TAB 7, SECTION 0705), ( BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072 ) | EA | GENERAL ELECTRIC | 318A9801P002 | 318A9801P002 | 2 |  |  | 71
CSC STORES | TBJPG016 | PLUG, BORESCOPE HOLE, ITEM 23 (VOLUME II, TAB 7, SECTION 0705), ( BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072 ) | EA | GENERAL ELECTRIC | 318A9800P002 | 318A9800P002 | 4
CSC STORES | TBJPG018 | PLUG, BORESCOPE, ( BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072 ) | EA | GENERAL ELECTRIC | 104T2321P0001 | 104T2321P0001 | 23 |  |  | 36
CSC STORES | TBJPG020 | PLUG ASSEMBLY, SEAL-BORESCOPE, ( BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072 ) | EA | GENERAL ELECTRIC | 239B5958G003 | 239B5958G003 | 4 |  |  | 71
CSC STORES | TBJSD001 | SHIELD, ATM RELIEF DIAPHRAGM SHIELD, IN, DWG. 313A7233P0015, TURBINE S/N 270T630, (BBCC - STEAM TURBINE) | EA | GENERAL ELECTRIC | 313A7233P0015 | 313A7233P0015 | 0 |  |  | 21
CSC STORES | TBJSD002 | SHIELD, ATM RELIEF DIAPHRAGM SHIELD, OUT, DWG. 313A7233P0016, TURBINE S/N 270T630, (BBCC - STEAM TURBINE) | EA | GENERAL ELECTRIC | 313A7233P0016 | 313A7233P0016 | 0 |  |  | 21
CSC STORES | TBJTC011 | NUT, JAM, HEX HEAD, FOR EXHAUST THERMOCOUPLE, ( BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072 ) AH-1 | EA | GENERAL ELECTRIC | N229P00029 | N229P29 | 3 |  |  | 71
CSC STORES | TBJVA035 | VALVE, CHECK, LIQUID FUEL, ( BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072 **VALVES ARE NORMALLY ISSUED IN SETS OF 14 EACH** ) AH-1 | EA | GENERAL ELECTRIC | 361A2943P005 | 361A2943P005 | 28 |  |  | 46
CSC STORES | TBJVA051 | VALVE, LIQUID FUEL, LOW FLOW PURGE, NORM = NC; 358A8811P006, VA19-1L, (BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072) AH-1 | EA | GENERAL ELECTRIC | 358A8811P006 | 358A8811P006 | 0 |  |  | 41
CSC STORES | TBJVA052 | VALVE, LIQUID FUEL, NOZZLE, PURGE, VA19-2, (BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072) AH-1 | EA | GENERAL ELECTRIC | 358A8811P001 | 358A8811P001 | 0 |  |  | 51
CSC STORES | TBJVA558 | VALVE, CHECK, EXCESS FLOW, CDP TRANSMITTER (BRANDY BRANCH & KGS C.T. MOD MS7001FA, REF. TURBINE S/N 297188 & GENERATOR S/N 337X072) 96CD-1 | EA | GENERAL ELECTRIC | 362A1259P001 | 362A1259P001 | 0 |  |  | 16
CSC STORES | TBJVA566 | VALVE, SOLENOID, CRV-SV HYD ACTUATOR, DWG. 124E6873P0024, TURBINE S/N 270T630, (BBCC - STEAM TURBINE) | EA | GENERAL ELECTRIC | 124E6873P0024 | 124E6873P0024 | 2 |  |  | 56
ESTIMATED 1 YEAR USAGE TTL