## Instructions
Instructions: Equipment Attribute Worksheets Main Street Well #13
JEA employs an Enterprise Asset Management system (EAM) to assist in efficient management of it's many assets. One component of the EAM is an Asset Management Database. JEA uses IBM's Maximo database software for this purpose. The data allows JEA to make sound business decisions regarding it's assets. Data collected includes specification information on assets and locations, Vendor and Manufacturer contact information, Local representatives for each asset, spare parts associated with each asset and preventative maintenance requirements for each asset. This spreadsheet is the standard data required for a JEA water treatment plant.
Step One:
1. Go to the "Location Data" tab and fill in location related data.
2. Go to the "Assets" tab.
3. For each asset in column E, fill in the information indicated in Columns I through AL.
4. For reference, see "Assets Sample" tab for example of filled out form.
Step Two:
1. Go to the "Vendor-Manufacturer" tab.
2. For each Vendor and/or Manufacturer listed on the "Assets" tab, fill in a row with the Vendor and/or Manufacturer contact information.
3. Assign each Vendor/Manufacturer a unique Vendor ID.
4. For reference, see "Vendor/Manufacturer Sample" tab for example of filled out form.
Step Three:
1. Go to the "Local Representative" tab.
2. For each Vendor and/or Manufacturer listed on the "Vendor-Manufacturer" tab, fill in a row with the associated Local Representative contact information.
3. Indicate which Vendor is associated with each Local Representative by filling in the Vendor ID / Man. ID column.
4. For reference, see "Local Representative Sample" tab for example of filled out form.
Step Four:
1. Go to the "Spare Parts" tab.
2. For each Asset ID Description for which spare parts are required / provided, fill in a row with the spare part data requested.
3. For reference, see "Spare Parts Sample" tab for example of filled out form.

## Location Data
WELL ADDRESS
ASSOCIATED WTP
CASING DEPTH (ft)
CASING TOTAL DEPTH (ft)
GALLONS PER MINUTE
DATE WELL DRILLED
LAT / LONG COORDINATES
WELL CASING DIAMETER (inch)

## Assets
|  |  |  | Asset Data |  |  | Attributes required for all equipment | [9 empty] | Additional Attributes based on Classification
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Asset Group | Attribute Group | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | MANUFACTURER | TYPE | MASTER RADIO SITE | HEIGHT | STREET NAME | STREET NUMBER | GPS X COORD | GPS Y COORD
GRS-230906 | SCADA- | SCADA ASSEMBLY, WELL #13 | ANT- | ANTENNA, WELL #13, MAIN ST WTP | WW-ANTENNA | WW-ANTENNA | Y
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Asset Group | Attribute Group | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | MANUFACTURER | SIZE | TYPE OF ARV
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | ARV- | AIR RELEASE VALVE, TOP OF CASING, MAIN ST WTP (ARV-1-1-1A) | WW-VALVE-ARV-WATER | WW-ARV | N
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | ARV- | AIR RELEASE VALVE, DSISCHARGE PIPE, MAIN ST WTP (ARV-1-1-1B) | WW-VALVE-ARV-WATER | WW-ARV | N
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Asset Group | Attribute Group | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | MANUFACTURER | CONTINUOUS AMP RATING | VOLTAGE | PHASE | SIZE
GRS-230906 | CP- | SWITCHBOARD PANEL, WELL 13, MAIN ST WTP | BRKR- | GENERATOR BREAKER 400 AMP, MAIN ST WTP | WW-BREAKER | WW-CIRCUIT BREAKER | Y
GRS-230906 | CP- | SWITCHBOARD PANEL, WELL 13, MAIN ST WTP | BRKR- | VFD BREAKER 300 AMP, WELL 13, MAIN ST WTP | WW-BREAKER | WW-CIRCUIT BREAKER | N
GRS-230906 | CP- | SWITCHBOARD PANEL, WELL 13, MAIN ST WTP | BRKR- | MAIN BREAKER 400 AMP, MAIN ST WTP | WW-BREAKER | WW-CIRCUIT BREAKER | Y
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Spec Table | Attribute Group | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | DEPTH | MATERIAL | LENGTH | CASING DIAMETER
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | CASING- | CASING, WELL #13, MAIN ST WTP, 20" | WW-CASING | WW-CASING
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Spec Table | Attribute Group | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | MANUFACTURER | VOLTAGE | PHASE | STARTER TYPE | STARTER SIZE | NUMBER OF STARTERS | BREAKER SIZE | MAIN BREAKER SIZE | MAIN CONDUCTOR SIZE
GRS-230906 | SCADA- | SCADA ASSEMBLY, WELL #13 | CP- | SCADA CONTROL PANEL, WELL 13, MAIN ST WTP | WW-CONTROL PANEL | WW-CONTROL PANEL | Y
GRS-230906 |  |  | CP- | CONTROL PANEL, WELL # 13, MAIN ST WTP (LCP-1-1) | WW-CONTROL PANEL | WW-CONTROL PANEL | Y
GRS-230906 |  |  | CP- | SWITCHBOARD PANEL, WELL 13, MAIN ST WTP | WW-CONTROL PANEL | WW-CONTROL PANEL | Y | MCC-CTRL
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Spec Table | Attribute Group | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | MANUFACTURER | TYPE
GRS-230906 | SCADA- | SCADA ASSEMBLY, WELL #13 | HMI- | HUMAN MACHINE INTERFACE, MAIN ST WTP | WW-HMI | WW-HMI | Y
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Spec Table |  | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | MANUFACTURER | TYPE | PHASE | SIZE | DISPLAY RANGE | DISPLAY RANGE LOWER | DISPLAY RANGE UPPER | OUTPUT RANGE | OUTPUT RANGE LOWER | OUTPUT RANGE UPPER | METER ACCURACY
GRS-230906 |  |  | METER- | WELL PUMP # 13, VENTURI FLOW METER, MAIN ST WTP (FIT-1-1-1) | WW-METER | WW-METER | Y | METER
GRS-230906 |  |  | METER- | LEVEL METER AND TRANSMITTER, WELL #13, MAIN ST WTP (LE/LIT-1-1-1) | WW-METER | WW-METER | Y | METER
GRS-230906 |  |  | METER- | PRESSURE METER AND TRANSMITTER, UPSTREAM OF CHECK VALVE, MAIN ST WTP (PI/PIT-1-1-1) | WW-METER | WW-METER | Y | METER
GRS-230906 |  |  | METER- | PRESSURE METER AND TRANSMITTER, DOWNSTREAM OF CHECK VALVE, MAIN ST WTP (PI/PIT-1-1-2) | WW-METER | WW-METER | Y | METER
GRS-230906 |  |  | METER- | CONDUCTIVITY METER AND TRANSMITTER, MAIN ST WTP (CE/CIT-1-1-1) | WW-METER | WW-METER | Y | METER
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Spec Table |  | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | Manufacturer | Part Number | Type | Use of Module
GRS-230906 | SCADA- | SCADA ASSEMBLY, WELL #13 | MODULE- | COMMUNICATION MODULE, WELL #13, MAIN ST WTP | WW-MODULE | WW-MODULE | Y | MODULE
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Spec Table |  | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | MANUFACTURER | HP | VOLTAGE | PHASE | FULL LOAD AMPS | RPM | TYPE | DUTY | FRAME | LUBE OIL-GREASE
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | MOTOR- | MOTOR, WELL PUMP, WELL # 13, MAIN ST WTP | WW-MOTOR | WW-MOTORS | Y
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Spec Table |  | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | MATERIAL | LENGTH | WIDTH
GRS-230906 |  |  | PAD- | PAD, WELL # 13, MAIN ST WTP | WW-PAD | WW-PAD | > 3 CY Only
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Spec Table |  | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | TYPE | PIPE SIZE | LENGTH | PIPE LINED | LINER TYPE
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | PIPE- | WELL HEADER PIPING, 10", 12", MAIN ST WTP | WW-PIPE | WW-PIPE | Y
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Spec Table |  | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | MANUFACTURER | PART NUMBER | ANALOG INPUTS | DIGITAL INPUTS
GRS-230906 | SCADA- | SCADA ASSEMBLY, WELL #13 | PLC- | PLC, WELL #13, MAIN ST WTP (PLC-1) | WW-PLC | WW-PLC | N | PLC
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Spec Table |  | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | SERIALNO | PUMP MODEL NO | PUMP TYPE | DESIGN CAPACITY | HP | RPM | VOLTS | IMPELLER DIA. | MANUFACTURER | FULL LOAD AMPERES | DISCHARGE SIZE | IMPELLER | SEALNO | VENDOR | PHASE
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | PUMP- | PUMP, WELL # 13, MAIN ST WTP (MS-P-1-1-1) | WW-PUMP | WW-PUMP | Y | PUMP
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Spec Table |  | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | MANUFACTURER | LICENSED Y / N
GRS-230906 | SCADA- | SCADA ASSEMBLY, WELL #13 | RADIO- | RADIO, WELL #13, MAIN ST WTP | WW-RADIO | WW-RADIO
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Spec Table |  | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | MANUFACTURER | VALVE TYPE | VALVE SIZE | VALVE LENGTH | SLUICE GATE SIZE | PORT SIZE | BODY MATERIAL | SEAL MATERIAL | PACKING SIZE | PRESSURE RATING | OPERATOR TYPE
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | VALVE- | CHECK VALVE, WELL #13, MAIN ST WTP, 12", (V614) | WW-VALVE | WW-VALVE | Y | VALVE
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | VALVE- | DISCHARGE VALVE, WELL #13, MAIN ST WTP, Butterfly 12" (V500) | WW-VALVE | WW-VALVE | Y | VALVE
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | VALVE- | DISCHARGE VALVE, DOWNSTREAM OF FLOW METER, WELL #13, MAIN ST WTP, Butterfly 12" (V500) | WW-VALVE | WW-VALVE | Y | VALVE
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Spec Table |  | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | MANUFACTURER | STARTER SIZE | STARTER TYPE | VOLTAGE | CONTINUOUS AMP RATING
GRS-230906 | CP- | CONTROL PANEL, WELL # 13, MAIN ST WTP (LCP-1-1) | VFD- | VFD WELL PUMP, WELL 13, MAIN ST WTP (VFD-13) | WW-STARTER | WW-STARTER
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Spec Table |  | Capital Asset (Yes / No) | Failure Class | Warranty Duration (Years) | Vendor | Serial Number | Model Number | Life Expectancy (Years) | Purchase Price | Replacement Cost (Including Labor) | Install Date | MANUFACTURER | OPERATING VOLTAGE | PRIMARY 1 VOLTAGE | PRIMARY 2 VOLTAGE | SECONDARY OPERA VOLTAGE | SECONDARY 1 VOLTAGE | SECONDARY 2 VOLTAGE | MVATHIRD | IMPEDANCE | COOLING
GRS-230906 | CP- | CONTROL PANEL, WELL # 13, MAIN ST WTP (LCP-1-1) | XFMR | MAIN TRANSFORMER, WELL 13, MAIN ST WTP | WW-TRANSFORMER | WW-TRANSFORMER

## Asset Hierarchy
Location | Parent Asset ID | Parent Asset Description | Parent or Child Asset ID | Asset Description | Asset Group
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | ARV- | AIR RELEASE VALVE, TOP OF CASING, MAIN ST WTP (ARV-1-1-1A) | WW-VALVE-ARV-WATER
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | ARV- | AIR RELEASE VALVE, DSISCHARGE PIPE, MAIN ST WTP (ARV-1-1-1B) | WW-VALVE-ARV-WATER
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | CASING- | CASING, WELL #13, MAIN ST WTP, 20" | WW-CASING
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | MOTOR- | MOTOR, WELL PUMP, WELL # 13, MAIN ST WTP | WW-MOTOR
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | PIPE- | WELL HEADER PIPING, 10", 12", MAIN ST WTP | WW-PIPE
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | PUMP- | PUMP, WELL # 13, MAIN ST WTP (MS-P-1-1-1) | WW-PUMP
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | VALVE- | CHECK VALVE, WELL #13, MAIN ST WTP, 12", (V614) | WW-VALVE
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | VALVE- | DISCHARGE VALVE, WELL #13, MAIN ST WTP, Butterfly 12" (V500) | WW-VALVE
GRS-230906 | ASBLY- | WELL #13 ASSEMBLY, XXX WTP | VALVE- | DISCHARGE VALVE, DOWNSTREAM OF FLOW METER, WELL #13, MAIN ST WTP, Butterfly 12" (V500) | WW-VALVE
GRS-230906 | CP- | SWITCHBOARD PANEL, WELL 13, MAIN ST WTP | BRKR- | GENERATOR BREAKER 400 AMP, MAIN ST WTP | WW-BREAKER
GRS-230906 | CP- | SWITCHBOARD PANEL, WELL 13, MAIN ST WTP | BRKR- | VFD BREAKER 300 AMP, WELL 13, MAIN ST WTP | WW-BREAKER
GRS-230906 | CP- | SWITCHBOARD PANEL, WELL 13, MAIN ST WTP | BRKR- | MAIN BREAKER 400 AMP, MAIN ST WTP | WW-BREAKER
GRS-230906 | CP- | CONTROL PANEL, WELL # 13, MAIN ST WTP (LCP-1-1) | VFD- | VFD WELL PUMP, WELL 13, MAIN ST WTP (VFD-13) | WW-STARTER
GRS-230906 | CP- | CONTROL PANEL, WELL # 13, MAIN ST WTP (LCP-1-1) | XFMR | MAIN TRANSFORMER, WELL 13, MAIN ST WTP | WW-TRANSFORMER
GRS-230906 | SCADA- | SCADA ASSEMBLY, WELL #13 | ANT- | ANTENNA, WELL #13, MAIN ST WTP | WW-ANTENNA
GRS-230906 | SCADA- | SCADA ASSEMBLY, WELL #13 | CP- | SCADA CONTROL PANEL, WELL 13, MAIN ST WTP | WW-CONTROL PANEL
GRS-230906 | SCADA- | SCADA ASSEMBLY, WELL #13 | HMI- | HUMAN MACHINE INTERFACE, MAIN ST WTP | WW-HMI
GRS-230906 | SCADA- | SCADA ASSEMBLY, WELL #13 | MODULE- | COMMUNICATION MODULE, WELL #13, MAIN ST WTP | WW-MODULE
GRS-230906 | SCADA- | SCADA ASSEMBLY, WELL #13 | PLC- | PLC, WELL #13, MAIN ST WTP (PLC-1) | WW-PLC
GRS-230906 | SCADA- | SCADA ASSEMBLY, WELL #13 | RADIO- | RADIO, WELL #13, MAIN ST WTP | WW-RADIO
GRS-230906 |  |  | CP- | CONTROL PANEL, WELL # 13, MAIN ST WTP (LCP-1-1) | WW-CONTROL PANEL
GRS-230906 |  |  | CP- | SWITCHBOARD PANEL, WELL 13, MAIN ST WTP | WW-CONTROL PANEL
GRS-230906 |  |  | METER- | WELL PUMP # 13, VENTURI FLOW METER, MAIN ST WTP (FIT-1-1-1) | WW-METER
GRS-230906 |  |  | METER- | LEVEL METER AND TRANSMITTER, WELL #13, MAIN ST WTP (LE/LIT-1-1-1) | WW-METER
GRS-230906 |  |  | METER- | PRESSURE METER AND TRANSMITTER, UPSTREAM OF CHECK VALVE, MAIN ST WTP (PI/PIT-1-1-1) | WW-METER
GRS-230906 |  |  | METER- | PRESSURE METER AND TRANSMITTER, DOWNSTREAM OF CHECK VALVE, MAIN ST WTP (PI/PIT-1-1-2) | WW-METER
GRS-230906 |  |  | METER- | CONDUCTIVITY METER AND TRANSMITTER, MAIN ST WTP (CE/CIT-1-1-1) | WW-METER
GRS-230906 |  |  | PAD- | PAD, WELL # 13, MAIN ST WTP | WW-PAD

## Vendor - Manufacturer
Vendor and Manufacturer Data
Vendor ID | VendorName | Address | City | State | ZIP | Phone | Fax | Contact Name | Contact Phone | Contact Fax | Contact email
4 | Vaughan

## Local Representative
Local Representative Data
Company Name | Address | City | State | ZIP | Contact Name | Contact Phone | Contact Fax | Contact email | Vendor ID / Man. ID
4

## Spare Parts
Spare Part Data
Spare Part or Kit ID | Spare Part / Kit Description | Vendor ID | Kit Contents | Asset ID(s)

## Assets - Sample
Asset Data
Asset Data | Attributes required for all equipment | [6 empty] | Additional Attributes based on Classification
Asset Description | Vendor | Serial Number | Model | Life Expectancy (Years) | Purchase Price | Warranty Start Date | Warranty Duration (Years) | Horsepower | Ratio | Input | Output
AERATOR 1, RESERVOIR #1, GREENLAND WTP | VENDORA | RF77 | ABX | 25 | 5000 | 2012-05-01 | 1 Year | 25 | 7.22:1 | 1770 rpm | 245 rpm
Description | Vendor | Serial Number | Model | Life Expectancy (Years) | Purchase Price | Warranty Start Date | Warranty Duration (Years) | Service Factor | Frame | Horsepower | Phase | RPM | Hertz | Volts
Mechanical Bar Screen #1 Motor | VENDORA | 086811-01 |  |  | 10000 | 2012-05-01 | 2 Years | 1.15 | 447VP | 25 | 3 | 1770 | 60 | 460
Description | Vendor | Serial Number | Model | Life Expectancy (Years) | Purchase Price | Warranty Start Date | Warranty Duration (Years) | Service Factor | Frame | Horsepower | Phase | RPM | Hertz | Volts
Effluent Pump #1 Motor | VENDORA | 20080665-100R1 |  |  | 7000 | 2012-06-01 | 5 Years | 1.15 | 447VP | 100 | 3 | 885 | 60 | 460

## Vendor - Manufacturer Sample
Vendor and Manufacturer Data
Vendor ID / Man. ID | Vendor/ Manufacturer Name | Address | City | State | ZIP | Phone | Fax | Contact Name | Contact Phone | Contact Fax | Contact email
ACME | ACME Company | 1 Main St | Jacksonville | FL | 32210 | 9041234567 | 9041234568 | John Doe | 1234569 | 1234560 | john.doe@acme.com
VENDORA | Vendor A | 2 Main St | Jacksonville | FL | 32210 | 9042222222 | 9042222223 | Jane Doe | 2222224 | 2222225 | jane.doe@vendora.com

## Local Representative Sample
Local Representative Data
Company Name | Address | City | State | ZIP | Contact Name | Contact Phone | Contact Fax | Contact email
Rep Company A | 3 Main St | Jacksonville | FL | 32210 | John Smith | 1234569 | 1234560 | john.smith@rep-a.com
Rep Company B | 4 Main St | Jacksonville | FL | 32210 | Jane Smith | 2222224 | 2222225 | jane.smith@rep-b.com

## Spare Parts Sample
Spare Part Data
Spare Part or Kit ID | Spare Part / Kit Description | Vendor/Manufacturer ID | Kit Contents | Asset ID(s)
EXURXN2 | Exxon Mobil Unirex N2 Lithium Complex Grease, NLGI #2 with additives | VENDORA |  | GR0001, GR0002
ASCORBK | ASCO Rebuild Kit | ACME |  | VALVE111, VALVE112, VALVE113, VALVE114
1 Retaining cap
1 Retaining clip
1 Solenoid base sub-assembly
1 Bonnet gasket
1 Core spring
1 Core diaphragm sub-assembly
1 Body gasket
MOB600 | Mobilgear 600 XP-150, ISO 150 | VENDORA |  | GR0001, GR0002